Georgia Power Company’s

Monthly Baghouse Project Monitoring Report

Through September 30, 2012

This report is being provided in accordance with the Georgia Public Service Commission’s Final Order in Docket No. 34218, which specified that Georgia Power Company (“Georgia Power” or the “Company”) shall provide regular monthly compliance reports regarding baghouse installation at Plant Bowen Units 1-4, Plant Wansley Units 1 and 2, and Plant Hammond Units 1-4.  The total amount approved in Docket No. 34218 for initial baghouse work is REDACTED.  This budget covers the period of January 2012 through June 2013.  Further review of the needed environmental controls will be addressed in the Company’s 2013 Integrated Resource Plan filing, which will be made on January 31, 2013.

General Baghouse Update:

As previously communicated, the Company will install baghouses at Plant Bowen Units 3 and 4 and activated carbon and hydrated lime injection systems on Plant Bowen Units 1 - 4, Plant Wansley Units 1 and 2, and Plant Hammond Units 1 - 4.

Actual Expenditures through September 30, 2012:

Expenditures on baghouse planning activities through September 30, 2012 total REDACTED.  These baghouse planning activities include, but are not limited to, scope development, layouts and constructability reviews, early engineering design, determination of required relocations at each site and other work necessary to ensure the projects can be implemented in a timely manner.

Major Contracts (defined as contracts exceeding $10M):

| Vendor | Product/Work | Month Executed | Amount |
| --- | --- | --- | --- |
| REDACTED REDACTED | Bowen Units 3 and 4 Baghouses | REDACTED | REDACTED |
| REDACTED REDACTED | Bowen Baghouse Ductwork | REDACTED | REDACTED |

*Original estimate of REDACTED was the base contract cost and did not include freight, escalation, licensing fee and agreed upon change orders to date for items described below in the Procurement Status of Significant Components section.

Procurement Status of Significant Components:

The change orders for the REDACTED contracts covered the following baghouse related

items:

- Supply of air compressors and design of baghouse compressor air piping

- Fabrication and installation of lifting lugs for the baghouse hoppers

- Supply of site specific instrumentation

Projected Spending Curve through June 30, 2013:

Spending curves by month and by unit supporting the request made in the 2011 IRP Update are shown below along with expenditures to date.  As previously communicated, variances are the result of projected spending that anticipated installation of seven baghouses and actual spending reflecting the revised compliance strategy to date.  Final approved spending curves will be included in the November baghouse report.

Projected Spending Curve by Month:

|  |  | Cumulative | Cumulative | Cumulative |
| --- | --- | --- | --- | --- |
|  | Projected | Projected | Actual | Variance |
|  | Spend | Spend | Expenditures | To Date |
|  | (millions) | (millions) | (millions) | (millions) |
| As of 3/31/12 | REDACTED | REDACTED | REDACTED | REDACTED |
| 4/2012 | REDACTED | REDACTED | REDACTED | REDACTED |
| 5/2012 | REDACTED | REDACTED | REDACTED | REDACTED |
| 6/2012 | REDACTED | REDACTED | REDACTED | REDACTED |
| 7/2012 | REDACTED | REDACTED | REDACTED | REDACTED |
| 8/2012 | REDACTED | REDACTED | REDACTED | REDACTED |
| 9/2012 | REDACTED | REDACTED | REDACTED | REDACTED |
| 10/2012 | REDACTED | REDACTED |  |  |
| 11/2012 | REDACTED | REDACTED |  |  |
| 12/2012 | REDACTED | REDACTED |  |  |
| 1/2013 | REDACTED | REDACTED |  |  |
| 2/2013 | REDACTED | REDACTED |  |  |
| 3/2013 | REDACTED | REDACTED |  |  |
| 4/2013 | REDACTED | REDACTED |  |  |
| 5/2013 | REDACTED | REDACTED |  |  |
| 6/2013 | REDACTED | REDACTED |  |  |

Spending Curve by Unit through 9/30/2012:

| September |  |  | Cumulative |
| --- | --- | --- | --- |
|  | Cumulative | Cumulative | Variance |
|  | Projected | Actual | To Date |
| Unit | Spend | Expenditures | (millions) |
| Bowen (Unit 1) | REDACTED | REDACTED | REDACTED |
| Bowen (Unit 2) | REDACTED | REDACTED | REDACTED |
| Bowen (Unit 3) | REDACTED | REDACTED | REDACTED |
| Bowen (Unit 4) | REDACTED | REDACTED | REDACTED |
| Hammond (Units 1-4) | REDACTED | REDACTED | REDACTED |
| Wansley (Ownership) (Unit 1) | REDACTED | REDACTED | REDACTED |
| Wansley (Ownership) (Unit 2) | REDACTED | REDACTED | REDACTED |
| September Total | REDACTED | REDACTED | REDACTED |