# Technical Appendix Volume 1

# Index

# 2013 IRP: Plan & Mix Study

# Resource Ledger

# IRP Main Document Reference Tables and Figures

# IRP Resource Mix Study

# Generation Technology Data Book

# Reserve Margin Study

# 2012 Expected Unserved Energy Study

(This page is intentionally blank.)

Long term resource additions are shown to maintain an acceptable planning reserve margin.  Demand Side Options (DSO) additions include both dispatchable and non-dispatchable options as shown below.  Dispatchable DSO additions are shown as combustion turbine equivalent megawatts.  Existing non-dispatchable DSO additions are reflected in the load forecast.   Committed and proposed resource additions are shown by plant name or by technology type.  Uncommitted resource additions are shown as one of three types (peaking, intermediate, or base) based on projected hours of operation.  A list of technology options for these three resource types is shown on page 11.  Detailed economic and reliability studies will be made as appropriate to determine additions on a timely basis.

“ROCs” refers to Retail Operating Companies and reflects the long term resource additions for the entire Southern system.

|  | Georgia |  | ROCs |  |
| --- | --- | --- | --- | --- |
| Year | Type | MW | Type | MW |
| 2013 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | GREEN ENERGY PARTNERS | REDACTED | GREEN ENERGY PARTNERS | REDACTED |
|  | MCDONOUGH 6 | REDACTED | MCDONOUGH 6 | REDACTED |
|  | ROLLCAST PIEDMONT (Barnesville) | REDACTED | ROLLCAST PIEDMONT (Barnesville) | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  | GPC (2013) Total | REDACTED | ROC (2013) Total | REDACTED |
| 2014 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | NORTH STAR RENEWABLE POWER | REDACTED | NORTH STAR RENEWABLE POWER | REDACTED |
|  | ROLLCAST GREENWAY (LaGrange) | REDACTED | ROLLCAST GREENWAY (LaGrange) | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  | GPC (2014) Total | REDACTED | ROC (2014) Total | REDACTED |
| 2015 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Wholesale to Retail | REDACTED | Wholesale to Retail | REDACTED |
|  | DAHLBERG 4 | REDACTED | DAHLBERG 4 | REDACTED |
|  | FRANKLIN 2 - GPC | REDACTED | FRANKLIN 2 - GPC | REDACTED |
|  | SIMON SOLAR FARM | REDACTED | SIMON SOLAR FARM | REDACTED |
|  | SOLAR D&D CAMILLA | REDACTED | SOLAR D&D CAMILLA | REDACTED |
|  | SOLAR D&D MERIWETHER COUNTY | REDACTED | SOLAR D&D MERIWETHER COUNTY | REDACTED |
|  | GPC ASI 2015 | REDACTED | GPC ASI 2015 | REDACTED |
|  | WEST GEORGIA 2 | REDACTED | WEST GEORGIA 2 | REDACTED |
|  | WEST GEORGIA 4 | REDACTED | WEST GEORGIA 4 | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  | GPC (2015) Total | REDACTED | ROC (2015) Total | REDACTED |
| 2016 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | GPC ASI 2016 | REDACTED | GPC ASI 2016 | REDACTED |
|  | Wholesale to Retail | REDACTED | Wholesale to Retail | REDACTED |
|  | GPC (2016) Total | REDACTED | ROC (2016) Total | REDACTED |

| 2017 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
| --- | --- | --- | --- | --- |
|  | GPC ASI 2017 | REDACTED | GPC ASI 2017 | REDACTED |
|  | VOGTLE 3 (45.70%) | REDACTED | VOGTLE 3 (45.70%) | REDACTED |
|  |  | REDACTED | System Territorial Purchase | REDACTED |
|  | GPC (2017) Total | REDACTED | ROC (2017) Total | REDACTED |
| 2018 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | VOGTLE 4 (45.70%) | REDACTED | VOGTLE 4 (45.70%) | REDACTED |
|  | GPC (2018) Total | REDACTED | ROC (2018) Total | REDACTED |
| 2019 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | MONROE POWER (Incremental Capacity) | REDACTED | MONROE POWER (Incremental Capacity) | REDACTED |
|  | WALTON COUNTY (Incremental Capacity) | REDACTED | WALTON COUNTY (Incremental Capacity) | REDACTED |
|  | WASHINGTON COUNTRY (Incremental Capacity) | REDACTED | WASHINGTON COUNTRY (Incremental Capacity) | REDACTED |
|  | GPC (2019) Total | REDACTED | ROC (2019) Total | REDACTED |
| 2020 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | GPC (2020) Total | REDACTED | ROC (2020) Total | REDACTED |
| 2021 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | GPC (2021) Total | REDACTED | ROC (2021) Total | REDACTED |
| 2022 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | GPC (2022) Total | REDACTED | ROC (2022) Total | REDACTED |
| 2023 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | GPC (2023) Total | REDACTED | ROC (2023) Total | REDACTED |
| 2024 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Peaking | REDACTED | Peaking | REDACTED |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | GPC (2024) Total | REDACTED | ROC (2024) Total | REDACTED |
| 2025 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Peaking | REDACTED | Peaking | REDACTED |
|  | GPC (2025) Total | REDACTED | ROC (2025) Total | REDACTED |
| 2026 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | GPC (2026) Total | REDACTED | ROC (2026) Total | REDACTED |
| 2027 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | GPC (2027) Total | REDACTED | ROC (2027) Total | REDACTED |
| 2028 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | GPC (2028) Total | REDACTED | ROC (2028) Total | REDACTED |
| 2029 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | GPC (2029) Total | REDACTED | ROC (2029) Total | REDACTED |

| 2030 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
| --- | --- | --- | --- | --- |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | Peaking | REDACTED | Peaking | REDACTED |
|  | GPC (2030) Total | REDACTED | ROC (2030) Total | REDACTED |
| 2031 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Peaking | REDACTED | Peaking | REDACTED |
|  | GPC (2031) Total | REDACTED | ROC (2031) Total | REDACTED |
| 2032 | DSO (Dispatchable and Non-dispatchable) | REDACTED | DSO (Dispatchable and Non-dispatchable) | REDACTED |
|  | Intermediate | REDACTED | Intermediate | REDACTED |
|  | Peaking | REDACTED | Peaking | REDACTED |
|  | GPC (2032) Total | REDACTED | ROC (2032) Total | REDACTED |

|  | 2013 Resource Ledger |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Schedule of Proposed Base Case Resource Additions |  |  |  |  |  |
| Dispatchable DSO additions are shown as combustion turbine equivalent megawatts. |  |  |  |  |  |  |  |
| Non-dispatchable DSO equivalents are shown as peak load reduction megawatts. |  |  |  |  |  |  |  |
|  |  | Georgia |  |  | ROCs |  |  |  |
|  |  | Type | MW |  | Type | MW |  |  |
| 2013 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2013 Total | REDACTED |  | ROCs 2013 Total | REDACTED |  |  |
| 2014 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2014 Total | REDACTED |  | ROCs 2014 Total | REDACTED |  |  |
| 2015 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2015 Total | REDACTED |  | ROCs 2015 Total | REDACTED |  |  |
| 2016 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2016 Total | REDACTED |  | ROCs 2016 Total | REDACTED |  |  |
| 2017 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2017 Total | REDACTED |  | ROCs 2017 Total | REDACTED |  |  |
| 2018 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2018 Total | REDACTED |  | ROCs 2018 Total | REDACTED |  |  |
| 2019 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2019 Total | REDACTED |  | ROCs 2019 Total | REDACTED |  |  |
| 2020 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2020 Total | REDACTED |  | ROCs 2020 Total | REDACTED |  |  |
| 2021 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2021 Total | REDACTED |  | ROCs 2021 Total | REDACTED |  |  |
| 2022 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2022 Total | REDACTED |  | ROCs 2022 Total | REDACTED |  |  |
| 2023 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2023 Total | REDACTED |  | ROCs 2023 Total | REDACTED |  |  |
| 2024 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2024 Total | REDACTED |  | ROCs 2024 Total | REDACTED |  |  |
| 2025 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2025 Total | REDACTED |  | ROCs 2025 Total | REDACTED |  |  |
| 2026 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2026 Total | REDACTED |  | ROCs 2026 Total | REDACTED |  |  |
| 2027 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2027 Total | REDACTED |  | ROCs 2027 Total | REDACTED |  |  |
| 2028 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2028 Total | REDACTED |  | ROCs 2028 Total | REDACTED |  |  |
| 2029 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2029 Total | REDACTED |  | ROCs 2029 Total | REDACTED |  |  |
| 2030 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2030 Total | REDACTED |  | ROCs 2030 Total | REDACTED |  |  |
| 2031 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2031 Total | REDACTED |  | ROCs 2031 Total | REDACTED |  |  |
| 2032 |  | Dispatchable | REDACTED |  | Dispatchable | REDACTED |  |  |
|  |  | Non-Dispatchable | REDACTED |  | Non-Dispatchable | REDACTED |  |  |
|  |  | Georgia 2032 Total | REDACTED |  | ROCs 2032 Total | REDACTED |  |  |

# 2013 IRP Resource Ledger

## Uncommitted Resource Options

Assumptions for cost, performance, design maturity, regulatory approval, and other parameters for uncommitted resource options continue to change.  The following list represents, but is not all inclusive of, resource options that may be selected in the future.

Peaking

- Combustion Turbine

- Power Purchases

- Demand-Side Options

- Solar Photovoltaic

- Compressed Air Energy Storage

- Pumped Storage Hydro

Intermediate

- Combined Cycle

- Power Purchases

- Demand-Side Options

- Biomass

Base

- Combined Cycle

- Nuclear

- Pulverized Coal with Carbon Capture and Storage

- Integrated Gasification Combined Cycle Oxygen/Air Blown with Carbon Capture and Storage

- Power Purchases

- Demand-Side Options

- Landfill Gas

- Dedicated Biomass

# 2013 IRP Main Document Reference Tables and Figures

Table 4.1.1		Georgia Territory Base Case Loads vs. Existing Capability

Table 4.1.2		Resource Additions Required Under The Plan

Figure 4.1	Base Case Reserve Margin - No New Resources

Table 6.4.2		Data Assumptions for Technology Screening Economics

Figure 6.4.2.1	Capital Cost

Figure 6.4.2.2	Base Case Busbar Screening Plot

Table 6.5.2.1		Base Case ROC’s Benchmark Plan Generic Cumulative Additions

Figure 6.5.2.1	Base Case Retail Operating Companies’ Energy Mix by Fuel Type

Figure 6.5.2.2	Base Case Nuclear, Coal, and Hydro Energy

Figure 8.2		Base Case 2013 IRP

Table 8.2		Base Case IRP Cumulative Additions for GPC

(This page is intentionally blank.)

Figure 6.4.2.1 – Capital Cost (2026 $/kW Installed)

Figure 6.4.2.2 – Base Case Busbar Screening Plot

Year 2026 Dollars

Figure 6.5.2.1 Base Case Retail Operating Companies’ Energy Mix by Fuel Type

Figure 6.5.2.2 – Base Case GPC Nuclear, Coal and Hydro Energy

Figure 8.2 Base Case 2013 IRP