Southern Company’s 2012 Expected Unserved Energy Cost Study

June 2012

Freeman, Sullivan & Co.
101 Montgomery St., 15th Floor
San Francisco, CA  94104
fscgroup.com

Prepared for:

Don Brundage
Southern Company Services, Inc.
241 Ralph McGill Boulevard  NE

Atlanta, GA  30308-3374

Prepared by:

Michael Sullivan, Ph.D.
Josh Schellenberg, M.A.

Jason Burwen, M.P.P.

Freeman, Sullivan & Co.
fscgroup.com

Table of Contents

1	Executive Summary	1

1.1	Response to Survey	2

1.2	Results for Single Outage Scenarios	2

1.3	Results for Multiple Outage Scenarios	4

1.4	Comparison to 1990 Outage Cost Study	6

2	Introduction	7

2.1	Evaluating Reliability Benefits	7

2.2	Study Methodology	7

2.3	Report Structure	8

3	Methodology	9

3.1	Survey Instrument Design	9

3.2	Sample Design	11

3.2.1	Residential Customers	13

3.2.2	Commercial Customers	14

3.2.3	Industrial Customers	15

3.2.4	Large Business Customers	16

3.3	Data Collection Procedures	16

3.3.1	Residential Customers	16

3.3.2	Commercial Customers	17

3.3.3	Industrial Customers	17

3.3.4	Large Business Customers	18

4	Results	19

4.1	Residential Customers	21

4.1.1	Response to Survey	21

4.1.2	Single Outage Scenarios	23

4.1.3	Multiple Outage Scenarios	24

4.2	Commercial Customers	25

4.2.1	Response to Survey	25

4.2.2	Single Outage Scenarios	27

4.2.3	Multiple Outage Scenarios	28

4.3	Industrial Customers	29

4.3.1	Response to Survey	29

4.3.2	Single Outage Scenarios	30

4.3.3	Multiple Outage Scenarios	32

4.4	Large Business Customers	33

4.4.1	Response to Survey	33

4.4.2	Single Outage Scenarios	34

4.4.3	Multiple Outage Scenarios	36

5	Comparison to 1990 Outage Cost Study	37

Appendix A.	Assessment of Non-response Bias	39

Appendix B.	Alternative Valuation of Service Reliability	44

Appendix C.	Residential Survey Instrument

Appendix D.	Commercial Survey Instrument

Appendix E.	Industrial Survey Instrument

Appendix F.	Large Business Survey Instrument

# Executive Summary

This report summarizes the methodology and results of Southern Company’s 2012 expected unserved energy (EUE) cost study.  EUE is the expected quantity of electricity that would have been consumed if a power outage had not occurred.  Its cost is the value that customers place on receiving service, commonly known as value of service.  Since the value of service reliability cannot be measured directly, it is estimated from outage cost surveys of utility customers.  These cost estimates can be used to assess the cost-effectiveness of investments in generation, transmission and distribution systems and to strategically compare alternative investments in order to determine which provides the most combined benefits to the utility and its customers.

The primary objectives of the 2012 EUE cost study were to:

Estimate EUE cost by customer class for outages that occur during time periods with high system demand; and

Assess how EUE cost by customer class changes as the number of outages per summer increases.

Considering that this report is similar to a study that was conducted over 20 years ago, a secondary objective was to compare the 1990 EUE cost estimates to the 2012 estimates.

These objectives were addressed in this study by conducting an outage cost survey of Georgia Power Company (GPC) and Mississippi Power Company (MPC) customers.  This survey methodology has been implemented by many electric utilities throughout the United States over the past 25 years.  This study and the prior studies employed a common survey methodology, including sample designs, measurement protocols, survey instruments and operating procedures.  This methodology is described in detail in EPRI’s Outage Cost Estimation Guidebook.  The results of 28 prior studies are part of a meta-analysis of nationwide outage costs that is summarized in a 2009 report by Lawrence Berkeley National Laboratory.

The survey was conducted among the following four customer classes:

Residential;

Commercial (below 1 MW average demand);

Industrial (below 1 MW average demand); and

Large business (commercial and industrial customers above 1 MW average demand).

Large business customers above 1 MW average demand were part of a separate segment because the data collection method was different (in-person interview) and prior studies have consistently shown that high usage customers have substantially different EUE costs.

## Response to Survey

Table 1-1 describes the total number of completed surveys by operating company and customer class.  A total of 3,410 completed surveys were recorded.  The total number of completed surveys varied by customer class and was roughly proportional to the size of the underlying populations.  With 1,288 and 1,355 completed surveys respectively, the residential and commercial customer classes had the largest number of participants in the study.  In the industrial segment, 668 respondents completed the survey and 99 large business customers participated in the in-person interviews.  The number of completed surveys was divided proportionately between GPC and MPC, relative to the size of the population for each operating company.  Across the customer classes, GPC comprised 89% to 94% of the population.

Table 1-1:
Total Number of Completed Surveys 
by Operating Company and Customer Class

| Operating Company | Residential | Commercial | Industrial | Large Business |
| --- | --- | --- | --- | --- |
| Georgia Power | 1,189 | 1,252 | 621 | 92 |
| Mississippi Power | 99 | 103 | 47 | 7 |
| Overall | 1,288 | 1,355 | 668 | 99 |

## Results for Single Outage Scenarios

Table 1-2 provides the cost per outage event estimates by customer class for the single outage scenarios.  Cost per outage event is the average cost per customer resulting from each outage scenario.  As shown in the table, the impact of advance warning varies by customer class.  For residential customers, advance warning leads to a minimal reduction among the 1-hour and 8-hour outage scenarios.  Industrial customers are best able to mitigate costs as a result of advance warning.  The industrial cost per event is 50.2% lower with warning for a 1-hour outage and 46.9% lower with warning for an 8-hour outage.  Commercial customers report a 47.8% reduction in cost per event at 1 hour, but the impact lowers to 21.7% at 8 hours.  Large business customers are also able to mitigate costs as a result of advance warning, but to a lesser extent with a 24.8% reduction at 1 hour and a 9% reduction at 8 hours.  For commercial and large business customers, this result suggests that a customer’s ability to mitigate costs as a result of advance warning reduces as outage duration increases.  At 8 hours, there is relatively little that a commercial or large business customer can do to mitigate costs and advance warning no longer has as much of an impact.

Table 1-2:
2012 Cost per Outage Event Estimates – by Customer Class

| Outage Scenario | Residential ($/event) | Commercial ($/event) | Industrial ($/event) | Large Business ($/event) |
| --- | --- | --- | --- | --- |
| 1 hour, no warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 2 hours, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 8 hours, no warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 8 hours, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 1 hour, no warning, winter | REDACTED | REDACTED | REDACTED | REDACTED |

Table 1-3 summarizes cost per average kW by customer class for the single outage scenarios.  Cost per average kW is the average cost per outage event normalized by average customer demand.  This metric is useful for comparing outage costs across segments because it is normalized by customer demand.  A result that is consistent across all customer classes is that there is a relatively small increase in costs as outage duration increases from 1 hour to 2 hours.  An outage with advance warning costs customers $REDACTED to $REDACTED per average kW at 1 hour and $REDACTED to $REDACTED per average kW at 2 hours.  These two scenarios with advance warning are identical in terms of timing (3 PM), season (summer) and day of week (weekday), which ensures that the only difference in cost is attributable to the change in outage duration.  Although outage duration doubles from 1 hour to 2 hours, cost only increases by around 6% for residential, 55% for commercial, 31% for industrial and 20% for large business customers.  This trend occurs because there is a fixed cost associated with each outage, regardless of the duration.  Whether an outage is 1 hour or 8 hours, residential customers still must reset their clocks and find their flashlights or candles and business customers still have to reset their equipment, replace any equipment that was damaged when power went out, conduct safety procedures to make sure all operations are back to normal, etc.  Incremental to these fixed costs, there are costs that vary with outage duration, but these variable costs change relatively little in 1-hour increments of outage duration.

Table 1-3:
2012 Cost per Average kW Estimates – by Customer Class

| Outage Scenario | Residential ($/kW) | Commercial ($/kW) | Industrial ($/kW) | Large Business ($/kW) |
| --- | --- | --- | --- | --- |
| 1 hour, no warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 2 hours, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 8 hours, no warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 8 hours, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 1 hour, no warning, winter | REDACTED | REDACTED | REDACTED | REDACTED |

Table 1-4 provides the 2012 EUE cost estimates by customer class for the single outage scenarios.  EUE cost is the cost per outage event normalized by the expected amount of unserved kWh for each outage scenario.  This metric is useful because it can be readily used in planning applications, for which the expected amount of unserved kWh as a result of a given outage is usually available.  A 1-hour outage without warning has an EUE cost of $REDACTED for residential customers, which is substantially lower than the EUE cost for the other three segments.  In the non-residential segments, a 1-hour outage without warning has an EUE cost of $REDACTED for commercial customers, $REDACTED for industrial customers and roughly half of that for large business customers at $REDACTED.  The EUE cost decreases by at least 40% across all customer classes for an 8-hour outage without warning because cost increases substantially less relative to EUE as duration increases.

By comparing the 1-hour winter morning scenario with the 1-hour summer afternoon scenario without warning, it is possible to understand the impact of season and time of day for each customer class.  For residential and industrial customers, there is a minimal difference in EUE cost between the two outage scenarios.  For commercial and large business customers, the 1-hour winter morning EUE cost is around 32% lower than the 1-hour summer afternoon EUE cost.  In the commercial segment, it is likely that this reduction is primarily due to the outage occurring at 7 AM as opposed to 3 PM, which is a peak business hour for commercial customers.

Table 1-4:
2012 EUE Cost Estimates – by Customer Class

| Outage Scenario | Residential ($/kWh) | Commercial ($/kWh) | Industrial ($/kWh) | Large Business ($/kWh) |
| --- | --- | --- | --- | --- |
| 1 hour, no warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 2 hours, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 8 hours, no warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 8 hours, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 1 hour, no warning, winter | REDACTED | REDACTED | REDACTED | REDACTED |

## Results for Multiple Outage Scenarios

Table 1-5 provides the customer responses when asked about how the cost for each individual outage changes as the number of outages per summer increases.  For residential, commercial and industrial customers, around 80% of respondents indicated that the cost for each individual outage would stay the same.  Another 17% to 20% of respondents indicated that cost per outage would increase.  For commercial and industrial customers that reported increasing costs, the open-ended, follow-up response to this question frequently indicated that they were concerned about losing customers as a result of frequent business interruptions.  One outage may not have much of an impact on customer perception, but frequent business interruptions as a result of power outages would lead to lost customers for some respondents.

For large business customers, all but one respondent indicated that the cost for each individual outage would stay the same.  Although the large business segment has a substantially higher percentage of respondents indicating that costs would stay the same, this difference may be due to the data collection method as opposed to characteristics specific to large business customers.  Because large business customers were interviewed in-person, the trained interviewer ensured that the respondent fully understood the question before recording the response.  For this particular question, the interviewer was trained to confirm that the respondent understood that the question referred to the unit cost for each individual outage as frequency increases.  Based on some of the open-ended, follow-up responses for the other three customer classes, some respondents seemed to misunderstand the unit cost nature of the question and simply focused on costs overall, which made them more likely to report that costs increase, even though the unit cost may not necessarily increase.

Table 1-5:
“As the number of outages per summer increases, 
how does the cost for each individual outage change?” – by Customer Class

| Response | Residential | Commercial | Industrial | Large Business |
| --- | --- | --- | --- | --- |
| Stays the same | 78.3% | 78.3% | 82.2% | 99.0% |
| Increases | 19.3% | 20.4% | 17.1% | 1.0% |
| Decreases | 2.4% | 1.3% | 0.7% | 0.0% |

Table 1-6 provides the 2012 EUE cost estimates by customer class as the number of outages increases.  As suggested by Table 1-5, there is clearly no trend in EUE cost for large business customers as outage frequency increases.  There is no clear trend for the residential segment as well.  For commercial customers, there seems to be a slight increase in EUE cost as outage frequency increases.  However, this trend is not statistically significant as there is substantial overlap in the confidence intervals across all scenarios. For industrial customers, the EUE costs vary greatly, but these differences are also not statistically significant because of the width of the confidence intervals across the scenarios.  See Section 4 for further discussion of these issues and for the confidence intervals for each outage scenario and customer class.

Table 1-6:
2012 EUE Cost as the Number of Outages Increases – by Customer Class

| Outage Scenario | Residential ($/kWh) | Commercial ($/kWh) | Industrial ($/kWh) | Large Business ($/kWh) |
| --- | --- | --- | --- | --- |
| 1 x 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 2 x 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 3 x 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 4 x 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |
| 5 x 1 hour, with warning, summer | REDACTED | REDACTED | REDACTED | REDACTED |

## Comparison to 1990 Outage Cost Study

To compare this study with the previous study, the 1990 EUE cost estimates were converted to 2012 dollars using the gross domestic product deflator, which was obtained from the U.S. Department of Commerce’s Bureau of Economic Analysis.  The residential EUE cost estimates are roughly consistent between the two studies.  However, EUE cost estimates for the non-residential customer classes are significantly higher in this study.  Commercial EUE cost estimates are roughly double, industrial estimates are 133% higher and large business EUE cost is more than 140% higher.  Although the business environment and mix of industries in Georgia and Mississippi have changed substantially over the past 22 years, the increase in EUE cost is mostly due to a methodological difference between the two studies as opposed to changes in underlying customer costs.  For this study, the top 0.5% of values normalized by usage was dropped from the analysis for the residential, commercial and industrial segments, which is the current standard practice for this type of survey.  For the previous study, the values that exceeded the estimated cost associated with the installation of backup generation or uninterruptible power supply (UPS) to avoid a given outage scenario were dropped from the analysis for the residential, commercial and industrial segments. The approach utilized in this study includes more high cost responses than the previous study and is more appropriate because expecting customers to provide back-up generation is unreasonable as backup power's costs and frequency of use are very uncertain. Section 5 provides more details on the rationale for this methodological change and discusses why the EUE cost estimates from this study are a significant improvement on the estimates from the 1990 study.

# Introduction

Freeman, Sullivan & Co. (FSC) was retained by Southern Company to conduct its 2012 expected unserved energy (EUE) cost study.  In this report, we summarize the methodology and results of the study.  The primary objectives of the 2012 EUE cost study were to:

Estimate EUE cost by customer class for outages that occur during time periods with high system demand; and

Assess how EUE cost by customer class changes as the number of outages per summer increases.

Considering that this report is similar to a study that was conducted over 20 years ago, a secondary objective was to compare the 1990 EUE cost estimates to the 2012 estimates.

## Evaluating Reliability Benefits

EUE is the expected quantity of electricity that would have been consumed if a power outage had not occurred.  Its cost is the value that customers place on receiving service, commonly known as value of service.  Since the value of service reliability cannot be measured directly, it is estimated from outage cost surveys of utility customers.  These cost estimates can be used to assess the cost-effectiveness of investments in generation, transmission and distribution systems and to strategically compare alternative investments in order to determine which provides the most combined benefits to the utility and its customers.

Since the 1990 EUE cost study, Southern Company has frequently applied the cost of unserved energy as a result of supply shortages in its generation planning.  By incorporating the cost of customer outages into its generation planning, Southern Company has been able to optimize its generation reserve margin based not only on utility costs, but on customer outage costs as well.  This comprehensive approach to valuing reliability, commonly known as “value-based reliability planning,” has been a well-established theoretical concept in the utility industry for the past 30 years.  Nonetheless, Southern Company is one of few utilities that has successfully applied the theory by incorporating the cost of customer outages into its generation planning.  Results from the 2012 EUE cost study will improve this planning practice by providing updated EUE cost estimates.

## Study Methodology

The objectives above were addressed in this study by conducting an outage cost survey of GPC and MPC customers.  This survey methodology has been implemented by many electric utilities throughout the United States over the past 25 years.  This study and prior studies employed a common survey methodology, including sample designs, measurement protocols, survey instruments and operating procedures.  This methodology is described in detail in EPRI’s Outage Cost Estimation Guidebook.  The results of 28 prior studies are part of a meta-analysis of nationwide outage costs that is summarized in a 2009 report by Lawrence Berkeley National Laboratory.

The survey was conducted among the following four customer classes:

Residential;

Commercial (below 1 MW average demand);

Industrial (below 1 MW average demand); and

Large business (commercial and industrial customers above 1 MW average demand).

Large business customers above 1 MW average demand were part of a separate segment because the data collection method was different (in-person interview) and prior studies have consistently shown that high usage customers have substantially different EUE costs.

## Report Structure

The rest of this report proceeds as follows.  Section 3 covers the methodology of the study, including the survey instrument design, sample design and data collection procedures.  Section 4 begins with an explanation of how the key results of this study were calculated and then provides detailed outage cost estimates for each customer class.  Section 5 is a comparison of the 2012 EUE cost estimates with the 1990 EUE cost estimates.  In Appendix A, an analysis of non-response bias for the survey is presented.  Appendix B provides survey results related to an alternative valuation of service reliability.  The remaining appendices include the survey instruments for each customer class.

# REMAINDER OF REPORT IS REDACTED IN ITS ENTIRETY

Sullivan, M.J., and D. Keane (1995). Outage Cost Estimation Guidebook. Report no. TR-106082. Palo Alto, CA: EPRI.

Sullivan, M.J., M. Mercurio, and J. Schellenberg (2009). Estimated Value of Service Reliability for Electric Utility Customers in the United States. Lawrence Berkeley National Laboratory Report No. LBNL-2132E.

For a concise summary of this approach, see: Carden, K., J. Pfeifenberger, and N. Wintermantel (2011). The Value of Resource Adequacy.  Public Utilities Fortnightly, March 2011: 35-40.

For an early paper on value-based reliability planning, see: Munasinghe, M. (1981). "Optimal Electricity Supply, Reliability, Pricing and System Planning."  Energy Economics, 3: 140-152.

Sullivan, M.J., and D. Keane (1995).  Outage Cost Estimation Guidebook.  Report no. TR-106082.  Palo Alto, CA: EPRI.

Sullivan, M.J., M. Mercurio, and J. Schellenberg (2009).  Estimated Value of Service Reliability for Electric Utility Customers in the United States.  Lawrence Berkeley National Laboratory Report No. LBNL-2132E.