GEORGIA POWER COMPANY

BUDGET 2013

LOAD AND ENERGY FORECAST

2013 TO 2032

Prepared by:

Georgia Power Company
Georgia Power Company

Budget 2013 Load and Energy Forecast

Table of Contents

SECTION 1 - EXECUTIVE SUMMARY	8

SECTION 2 - FORECAST RESULTS	21

SECTION 3 - INTRODUCTION	27

SECTION 4 - SHORT-TERM MODEL DESIGN	30

SECTION 5 - LONG-TERM MODEL DESIGN	45

SECTION 6 - PEAK DEMAND MODEL DESIGN	103

SECTION 7 - SENSITIVITY AND SCENARIO DEVELOPMENT	118

SECTION 8 - FORECAST ASSUMPTIONS	129

SECTION 9 - FINAL IRP REQUIREMENTS	145

SECTION 10 - APPENDICES	239

TABLE OF CONTENTS

1.0	EXECUTIVE SUMMARY OVERVIEW	8

1.1	PEAK DEMAND, TERRITORIAL SUPPLY, AND TERRITORIAL REQUIREMENTS	9

Figure 1.1-1: Peak Demand Forecast	10

Figure 1.1-2: Territorial Energy Sales	11

1.2	RETAIL ENERGY SALES	11

1.2.1 Residential	11

Figure 1.2.1-1: Residential Energy Forecast	12

1.2.2 Commercial	12

Figure 1.2.2-1: Commercial Energy Forecast	13

1.2.3	Industrial	13

Figure 1.2.3-1: Industrial Energy Forecast	14

1.2.4	Other Retail: Governmental Lighting, MARTA	14

Figure 1.2.4-1: Governmental Lighting Energy Forecast	15

Figure 1.2.4-2: MARTA Energy Forecast	16

1.3	ECONOMICS	16

1.4	FORECAST ASSUMPTIONS AND METHODS	17

1.5	DEMAND SIDE PROGRAMS	18

1.6	SENSITIVITIES AND SCENARIOS	19

2.0     ANNUAL SUMMARY	21

Attachment 2.0-1: Budget 2013 Forecast Annual Summary	21

2.1     MONTHLY ENERGY REQUIREMENTS	22

Attachment 2.1-1: Budget 2013 Monthly Energy Requirements by Class of Service - Forecast	22

Attachment 2.1-1: Budget 2013 Monthly Energy Requirements by Class of Service - Forecast	23

Attachment 2.1-2: Monthly Energy Requirements by Class of Service - Historical	24

2.2	CUSTOMERS	25

Attachment 2.2-1: Customers Historical and Forecast Customers (Annual Average) Budget 2013	25

3.0	GENERAL FORECASTING OVERVIEW	27

3.1	ECONOMETRIC REGRESSION	27

3.2	END-USE	27

3.3	JUDGMENT	28

3.4	TOOLS	28

4.0	SHORT-TERM MODEL DESIGN OVERVIEW	30

4.1	RETAIL SALES SECTORS	30

4.1.1	Residential Sales	30

Table 4.1.1-1: Residential Use per Customer	31

4.1.2	Commercial Sales	33

Table 4.1.2-1: Commercial Energy Sales	34

4.1.3	Industrial Sales	36

Table 4.1.3-1: Industrial Energy Sales	37

4.1.4	MARTA Sales	38

Table 4.1.4-1: MARTA Energy Sales	38

4.1.5	Governmental Lighting Sales	39

Table 4.1.5-1: Governmental Lighting Energy Sales	39

4.2	CUSTOMER FORECASTS	39

4.2.1	Residential Customers	39

Table 4.2.1-1: Residential Customers	40

4.2.2	Commercial Customers	40

Table 4.2.2-1: Commercial Customers	40

4.2.3	Industrial Customers	41

Table 4.2.3-1: Industrial Customers	41

4.2.4	Governmental Lighting Customers	42

Table 4.2.4-1: Governmental Lighting Customers	42

4.3	CALENDAR MONTH FORECAST	42

Table 4.3-1: Billing to Calendar Ratios	43

5.0	LONG-TERM MODEL DESIGN	45

Table 5.0-1 Model Type List	45

5.1	LONG-TERM ENERGY SALES	46

5.1.1	Residential Long-Term Energy Sales	46

Attachment 5.1.1-1: Total Residential Energy Sales	49

Attachment 5.1.1-2: GWh/BBtu Sales by End Use	50

Attachment 5.1.1-3: GWh/BBtu Sales by End Use – Single Family	53

Attachment 5.1.1-4: GWh/BBtu Sales by End Use – Multi Family	56

Attachment 5.1.1-5: GWh/BBtu Sales by End Use – Manufactured Home	59

Attachment 5.1.1-6: GWh/BBtu Sales by Fuel	62

Attachment 5.1.1-7: Average UEC (kWh/BBtu)	63

Attachment 5.1.1-7: Average UEC (cont’d)	64

Attachment 5.1.1-7: Average UEC (cont’d)	65

Attachment 5.1.1-8: Average Share of Market	66

Attachment 5.1.1-9: Marginal Share of Market	69

Attachment 5.1.1-10: Average Efficiency	72

Attachment 5.1.1-11: Marginal Efficiency	75

5.1.2	Commercial Long-Term Energy Sales	78

Attachment 5.1.2-1: Total Commercial Energy Sales (GWh)	83

Attachment 5.1.2-2: Sales by Building Type and Percentage of Class (GWh and Percentages)	84

Attachment 5.1.2-3: Total Sales by End Use and Percentage (GWh and Percentages)	85

Attachment 5.1.2-4: Average Share of Market	86

Attachment 5.1.2-5: Marginal Share of Market	87

Attachment 5.1.2-6: Cogeneration	88

5.1.3	Industrial Long-Term Energy Sales	89

Attachment 5.1.3-1: Total Industrial Energy Sales (GWh)	95

Attachment 5.1.3-2: Industrial Sales by NAICS Category (GWh and Percentages)	96

Attachment 5.1.3-3: Industrial Sales by End-Use (GWh and Percentages)	98

Attachment 5.1.3-4: Cogeneration (GWh)	99

5.2	ANNUAL TO MONTHLY BASED ENERGY FORECASTS	100

Table 5.2-1: Annual to Monthly Allocation Percentages	100

5.3	INTEGRATION OF SHORT AND LONG-TERM ENERGY FORECASTS	100

6.0	PEAK DEMAND FORECAST	103

Attachment 6.0-1: Annual Coincident Demand with Adjustments (MW)	105

Attachment 6.0-2: Annual Unadjusted Non-Coincident Demand (MW)	106

Attachment 6.0-3: Monthly Coincident Demand with Adjustments (MW)	107

Attachment 6.0-4: Monthly Unadjusted Non-Coincident Demand (MW)	109

Attachment 6.0-5: Expansion Factors	111

Attachment 6.0-6: Annual Supply with Adjustments (GWh)	112

Attachment 6.0-7: Monthly Supply by Class (GWh)	113

Attachment 6.0-8: Coincident & Non-Coincident Historical Peak Demand by Class	115

7.0	SENSITIVITY AND SCENARIO DEVELOPMENT OVERVIEW	118

7.1	SENSITIVITIES	118

Attachment 7.1-1: Annual Energy Sensitivity Summary	119

Attachment 7.1-2: Annual Peak Demand Sensitivity Summary	120

7.2	SCENARIOS	121

Attachment 7.2-1: Annual Energy Scenario Summary	124

Attachment 7.2-2: Annual Peak Demand Scenario Summary	126

8.0	FORECAST ASSUMPTIONS OVERVIEW	129

8.1	SHORT-TERM ENERGY MODEL ECONOMIC ASSUMPTIONS	130

8.2	LONG-TERM ENERGY MODEL ECONOMIC ASSUMPTIONS	131

8.2.1	Overview	131

8.2.2	Income (Residential Activity)	131

8.2.3	Floor Space (Commercial Activity)	131

8.2.4	Industrial Production (Industrial Activity)	131

8.2.5	Demographics	132

8.2.5.1 Household Size	132

8.2.5.2 Housing Type Distribution	132

8.3	FUEL PRICE ASSUMPTIONS	132

8.3.1	Forecasts by Fuel Type: Electricity, Natural Gas, Refined Oil	132

8.3.2	Substitution of Electricity with Competing Fuels, Saturation, and Penetration			133

8.4	FORECAST ADJUSTMENTS	135

8.4.1	Demand Side Strategies and Customer Actions	135

8.4.2	Cogeneration	136

8.4.3	Real Time Pricing and Time of Use	136

8.4.4	Distribution Efficiency Program	136

8.5	IMPACTS OF APPLIANCE EFFICIENCY STANDARDS	137

8.6	BUDGET 2013 ECONOMICS AND ADJUSTMENTS	138

Attachment 8.6-1: Retail Class Fuel Prices	138

Attachment 8.6-2: Cogeneration Energy Adjustments - Energy / Meter (MWh)	139

Attachment 8.6-3: Cogeneration Energy Adjustments - Energy / Generator (MWh)	140

Attachment 8.6-4: Cogeneration Peak Demand Adjust.-Territorial / Meter (MW)	141

Attachment 8.6-5: Cogeneration Peak Demand Adjust.-Territorial/Generator (MW)	142

8.7	RESOURCE SIDE DEMAND SIDE OPTIONS	143

9.0	FINAL IRP REQUIREMENT OVERVIEW	145

9.1	DESCRIPTION OF WEATHER NORMALIZATION	145

9.2	REVIEW OF ECONOMIC INPUTS AND LOAD PROFILES	146

Attachment 9.2-1: Load Profiles (MW)	149

9.3	ACTUAL & EXPECTED INTERRUPTIBLE DEMAND	218

Attachment 9.3-1: Budget 2013 Actual & Expected Interruptible Demand	218

9.4	EVALUATION OF PREVIOUS FORECASTS	219

Attachment 9.4-1: Energy Comparisons by Class	220

Attachment 9.4-2: Actual and Budget Peak Demand	226

Attachment 9.4-3: Comparison of Forecast and Actual Demand	227

Attachment 9.4-4: Comparison of Forecast and Weather Normal Demand	227

9.4.1	General Enhancements	228

9.4.2	Specific Enhancements	229

9.5	ENERGY RESEARCH PLAN	231

9.5.1	Confidentiality	232

9.5.2	Introduction	232

Table 9.5.2-1: Research Requirements for Complying with PSC Rules 515-3-4	233

9.5.3	Summary	234

9.5.4	Survey Research	235

9.5.4.1  Regulatory Requirements	235

9.5.4.2  Data Collection and Utilization Plan	235

9.5.5	Load Research	236

9.5.5.1  Regulatory Requirements	236

9.5.5.2  Class Load Research Project	236

9.5.6	Analysis	236

9.5.6.1  Regulatory Requirements	236

9.5.6.2  Analysis Projects	237

9.5.6.2-1  End Use Load Shape Catalog	237

9.5.6.2-2  End Use Load Shape Modeling	237

10.0 ACRONYM & ABBREVIATION GLOSSARY	239

SECTION 1.0 – EXECUTIVE SUMMARY

1.0	EXECUTIVE SUMMARY OVERVIEW	8

1.1	PEAK DEMAND, TERRITORIAL SUPPLY, AND TERRITORIAL REQUIREMENTS	9

Figure 1.1-1: Peak Demand Forecast	10

Figure 1.1-2: Territorial Energy Sales………………………………………………………………………………..11

1.2	RETAIL ENERGY SALES	11

1.2.1 Residential	11

Figure 1.2.1-1: Residential Energy Forecast	12

1.2.2 Commercial	12

Figure 1.2.2-1: Commercial Energy Forecast	13

1.2.3	Industrial	13

Figure 1.2.3-1: Industrial Energy Forecast	14

1.2.4	Other Retail: Governmental Lighting, MARTA	14

Figure 1.2.4-1: Governmental Lighting Energy Forecast	15

Figure 1.2.4-2: MARTA Energy Forecast	16

1.3	ECONOMICS	16

1.4	FORECAST ASSUMPTIONS AND METHODS	17

1.5	DEMAND SIDE PROGRAMS	18

1.6	SENSITIVITIES AND SCENARIOS	19

# 1.0	EXECUTIVE SUMMARY OVERVIEW

The purpose of this report is to summarize the Budget 2013 Load and Energy Forecast.

The Budget 2013 Load and Energy Forecast is for Georgia Power Company, which may also be referred to as the “Company”.  Unless otherwise noted all data, figures, and statistics contained within this document include both the legacy Georgia Power Company and the former Savannah Electric and Power Company.

A twenty-year forecast of energy sales and peak demand was developed to meet the planning needs of Georgia Power Company.  The Budget 2013 Forecast includes the retail classes of residential, commercial, industrial, MARTA, and governmental lighting. The City of Hampton, previously included in the forecast as a wholesale customer, is no longer served by Georgia Power Company.  The baseline forecast was started in the spring of 2012 and completed in the fall of 2012.

The nation’s recovery from the Great Recession has been full of promise that, for the most part, has not yet materialized.  Georgia’s economic recovery has been similar but with a lag and by some measures weaker than the nation’s.  For the past few years, the economy has shown signs of good strength early in the year only to weaken by year end.  Since the recession ended in mid-2009, real GDP has grown an average of 2.3% at an annual rate; Georgia’s corresponding real GSP has grown an average of 2.2% over the same period.  The nation’s unemployment rate has fallen from its peak of 10.0% in 2009 to 7.8% as of December 2012 while the state’s rate, which peaked at 10.5% in 2010 has dropped to 8.6% as of December 2012. Both the state and the nation would show significantly better economic statistics if the recovery had been typical of recoveries following previous recessions.

The slow economy has been reflected in Georgia Power Company’s energy sales statistics for the past few years.  Weather normalized total energy sales for 2012 were nearly REDACTED% below the prior year’s level and remain more than REDACTED% below the previous peak in 2007.  The major drop since the recession has been in industrial sales, which remain almost REDACTED% below their pre-recession level on a weather-normalized basis in spite of healthy growth in 2010 and moderate growth in 2011.  Commercial and residential energy sales levels were REDACTED% below and REDACTED% below 2007 levels in 2012, respectively.

Although underperforming for the past few years, Georgia’s economy is expected to regain significant strength over the next several years.  Surveys show that the state remains an attractive place to do business and that living costs remain favorable relative to those in many states.  Recent announcements of companies’ plans to locate or expand in the state include those by Baxter International and Caterpillar which are expected to bring 2,900 jobs to the state.  The demographic forces that once propelled the state to near the top of the economic growth league should strengthen once home price adjustments break the housing logjam that nearly halted net migration.  As the economy improves, energy sales will follow suit.  Total energy sales are projected to grow at an average annual rate of REDACTED% from 2013 to 2020.  Residential sales will be the strongest of the three major customer classes with growth averaging REDACTED% per year; industrial and commercial will average REDACTED% and REDACTED% respectively.

A more detailed discussion of customer class energy sales and forecast results is presented below.

# 1.1	PEAK DEMAND, TERRITORIAL SUPPLY, AND TERRITORIAL REQUIREMENTS

A territorial peak demand of REDACTED MW was set on August 9, 2007 for the Georgia Power Company service territory.  In 2015, weather normal peak demand is expected to be REDACTED MW and then grow to REDACTED MW in 2020.  Figure 1.1-1 shows the comparison of the Budget 2012 and Budget 2013 peak demand forecasts.  Peak demand is expected to grow at a compound average annual rate of REDACTED% or REDACTED MW per year from 2011 to 2021.  Budget 2012 anticipated REDACTED % compound annual growth for the same period.

### Figure 1.1-1: Peak Demand Forecast

The peak demand forecast for Budget 2013 shown here has been adjusted for the effects of Real Time Pricing (“RTP”) customers’ response, expected cogeneration, and the Distribution Efficiency Program (“DEP”).

### Figure 1.1-2: Territorial Energy Sales

In absolute terms, the amount of GWh growth can be seen as the average annual growth rate (“AAGR”).  The historical period from 2001 to 2011, which encompasses two economic recessions (2001 and 2007 – 2009), saw an average growth of 779 GWh per year.  Budget 2013 anticipates an average growth of REDACTED GWh each year from 2012 - 2022, while Budget 2012 predicted REDACTED GWh.  Assumptions of continued recovery from the recession and moderately strong economic growth in subsequent years are reflected in each budget.

# 1.2	RETAIL ENERGY SALES

## 1.2.1 Residential

In the medium term, 2013-2015, Budget 2013 residential energy sales projections are somewhat lower than Budget 2012 because the period of strong economic growth once expected to occur during 2011-2013 has been pushed out in the economic forecasts to 2014 – 2015.  In the longer run, the two forecasts have similar growth rates, but Budget 2013 remains permanently below Budget 2012 in level terms.  Figure 1.2.1-1 shows the comparison of Budget 2013 with the Budget 2012 residential energy forecast.

The Budget 2013 residential forecast projects a slightly smaller increase in the number of customers over time compared with Budget 2012. The lower growth in the number of customers comes from a lower forecast of housing stock and a somewhat more pessimistic unemployment rate forecast than incorporated into Budget 2012. Slower growth in energy sales in the near term, particularly in 2013, primarily reflects the effects of a still-sluggish economy.  In later years, price elasticity effects, demand side energy programs, increases in appliance efficiencies, and anticipated additional efficiency standards moderate the growth of energy use among residential customers.

### Figure 1.2.1-1: Residential Energy Forecast

## 1.2.2 Commercial

The Budget 2013 commercial energy forecast is significantly below the Budget 2012 view for the class.  Budget 2013 returns to positive growth in 2013 but remains below the level forecasted in the former budget until 2034.  This can be seen in figure 1.2.2-1 below.

Sales to the commercial class, which declined for four years (2009 – 2012), are expected to resume rising in 2013 but at a much slower rate in both the short and long run than the average 3.2% annual rate in the decade before the Great Recession.   In the Budget 2013 forecast, sales are expected to grow at a lower rate over the next ten years, with average annual growth of REDACTED % reflecting slightly slower economic growth as well as a reduced view of growth in commercial square footage.

### Figure 1.2.2-1: Commercial Energy Forecast

## 1.2.3	Industrial

The nation’s and the state’s industrial economies were hit especially hard during the 2007 – 2009 recession, but a partial rebound in manufacturing helped lead the economy out of the recession.  Strength in manufacturing continued into 2011 before slower world economic growth and the US’s own moderate recovery began to slow the industrial sector.  Georgia’s industrial sector has been relatively hampered by its mix of industries – fairly large shares in lumber and wood, stone, clay, glass, and textiles – which are tied to the still slow construction industry. Georgia Power’s industrial sales are expected to decline slightly in 2013 before resuming a moderate upward trend consistent with the nation’s economic growth pattern. Figure 1.2.3-1 shows a comparison of the Budget 2012 and Budget 2013 forecasts.

### Figure 1.2.3-1: Industrial Energy Forecast

## 1.2.4	Other Retail: Governmental Lighting, MARTA

The Budget 2013 governmental lighting forecast is somewhat lower than Budget 2012.  Figure 1.2.4-1 shows a comparison of the two forecasts for governmental lighting.  The slight reduction in B 2013 relative to B 2012 reflects an update of the forecasting equation to incorporate the latest history as well as a change in the housing stock forecast, the primary economic driver in the forecasting equation.

### Figure 1.2.4-1: Governmental Lighting Energy Forecast

The Budget 2013 MARTA forecast is lower than Budget 2012 because of lower ridership and because MARTA budget constraints are likely to reduce expansion and marketing.  Figure 1.2.4-2 shows a comparison of the two forecasts for MARTA.

### Figure 1.2.4-2: MARTA Energy Forecast

# 1.3	ECONOMICS

Georgia’s rate of economic expansion is showing improvement consistent with the nation’s.  Recent employment statistics show that jobs in Georgia increased 1.7% in the past year, a rate that was somewhat faster than the nation’s 1.4% rise.  Georgia’s 8.5% unemployment rate in November, however, was well above the 7.8% for the US overall during the same month.  Professional and business services, health services, wholesale and retail trade, and durable goods manufacturing are the sectors providing the majority of the state’s new jobs.  Although housing permits and starts data suggest that the housing market is improving, construction sector employment has been slow to rebound and home prices are not yet firm in many areas of the state.

Companies, large and small, continue to find Georgia an attractive place to do business.  In addition to Caterpillar and Baxter International, Interroll has announced a new conveyor systems plant and CBS will open an IT and software services office in the state.  The rate of net in-migration that fueled much of the state’s economic growth before the recession has not yet recovered, but demographic forecasts anticipate that above-average population growth will return gradually over the next couple of years.  This in turn will stimulate healthy new business formation and further job and income growth.   Over a ten-year horizon, employment gains are expected to average REDACTED% per year, which is healthy by historical standards and relative to the nation as a whole.

Georgia’s projected employment outlook and favorable living costs will support in-migration, which in turn drives household formation and population growth.     In the forecast, Georgia’s population is expected to increase REDACTED% per year between 2012 and 2022, while the nation’s population is expected to increase REDACTED% per year. From 2010-2012, housing starts averaged less than REDACTED per year.  Going forward, new home construction is projected to increase gradually, with housing starts averaging REDACTED per year through 2015 and REDACTED annually over the next decade.

Recovery of Georgia’s population and household and business formation growth rates are expected to once again provide a firm foundation for robust long-term economic growth in the state.

# 1.4	FORECAST ASSUMPTIONS AND METHODS

The Budget 2013 forecast assumptions were developed through a joint effort of Georgia Power Company and Southern Company Services.  The forecast was developed through careful consideration and methodical examination of key demographic and economic variables that have historically been significant indicators of energy consumption.  Major assumptions include the economic outlook for the U.S. and Georgia, energy prices, and market profiles for class end uses.

The economic forecast gives a description of the economy for the next 20 years and includes many elements of the economy such as gross product, population, employment, commercial building square footage, and industrial production.  The economic forecast for Budget 2013 was obtained from Moody’s Analytics, a national provider of economic data and forecasts.

The economic models used to produce both short and long-term energy and demand forecasts test a variety of economic and demographic variables as drivers of energy use.  The short-term forecasting models incorporate retail electricity prices, for example, while the long-term models allow both electricity and gas prices to affect the purchasing decisions of customers.  Price projections of the alternative fuels that energy consuming devices use to support a consumer need, business purpose, or industrial process are developed from internal processes so that device choice through consumer behavior can be modeled.

Weather, income, employment, historical load data, and industry standards for electrical equipment are among the other variables used in the forecasting models.  Both the short-term and the long-term energy models are based on “normal” weather - the twenty-year average of Cooling Degree Days (“CDD”) and Heating Degree Days (“HDD”).

Short-term energy projections are based on linear regression models developed for the various energy classes.  The details of these regression models can be found in Section 4.

The long-term models for the major classes are end-use models.  The Residential End-Use Energy Planning System (“REEPS”) model is used for the residential class, the Commercial End-Use Model (“COMMEND”) is used for the commercial class, and the Industrial End-Use Forecasting Model (“INFORM”) is used for the industrial class. These are discussed in greater detail in section 5.

Governmental lighting and MARTA forecasts are based on econometrics and information from Georgia Power Company field personnel.

The results of the short-term and long-term models are integrated into a unified forecast.  In the Budget 2013 forecast, the short-term forecast results were used for 2013 through 2015 and long term from 2016 to 2032. Additional information on methodology can be found in Section 3.

# 1.5	DEMAND SIDE PROGRAMS

Georgia Power offers marketing programs to promote energy savings to customers and encourage use during off-peak months.  These programs have existed for more than a decade, and the benefits from the programs are embedded in Georgia Power Company’s historical load and energy sales.  The forecasts produced by using historical energy data, therefore, have an embedded effect propagated throughout the forecast.  Other conservation measures undertaken by customers, whether explicitly induced by a marketing program or proactively undertaken by a customer for some other reason, will become embedded in the historical energy data and will be implicitly propagated throughout the forecast.

An additional type of demand side impact considered in the Budget 2013 forecast is the adopted efficiency standards in the residential end-use models.  These efficiency standards represent the continuing trend of increasing end-use efficiency driven in part by programs such as ENERGY STAR®.

# 1.6	SENSITIVITIES AND SCENARIOS

Throughout the forecast process, extensive analyses and review are performed to evaluate the forecast results.  The Budget 2013 Load and Energy Forecast is a base case forecast, using as its foundation the most probable economic scenario and current regulatory environment.  However, there are a number of possible events or actions that could affect the business and operating environment of Georgia Power Company and, consequently, energy sales.  Given the current regulatory discussions surrounding carbon legislation and renewable energy standards, nine scenarios were developed to evaluate the impacts of possible outcomes under different regulatory environments with respect to various carbon and fuel price combinations.

It is also important to understand the possible impacts of variations in the description of the factors (variables) that are used in the forecast and their impact on the results.  Consequently, five additional sensitivities have been run: 1) high economic growth, 2) low economic growth, 3) no load growth but with continued DSM growth, 4) no load growth with no DSM growth, and 5) load growth with aggressive DSM growth.  The economic sensitivities were driven by variations on the economic forecasts provided by Moody’s Analytics.  Section 7 provides the details of the various scenarios and sensitivities.

SECTION 2.0 – ANNUAL SUMMARY

2.0     ANNUAL SUMMARY	21

Attachment 2.0-1: Budget 2013 Forecast Annual Summary	21

2.1     MONTHLY ENERGY REQUIREMENTS	22

Attachment 2.1-1: Budget 2013 Monthly Energy Requirements by Class of Service - Forecast	22

Attachment 2.1-1: Budget 2013 Monthly Energy Requirements by Class of Service - Forecast	23

Attachment 2.1-2: Monthly Energy Requirements by Class of Service - Historical	24

2.2     Customers	25

Attachment 2.2-1: Customers Historical and Forecast Customers (Annual Average) Budget 2013	25

# 2.0     ANNUAL SUMMARY

### Attachment 2.0-1: Budget 2013 Forecast Annual Summary

# 2.1     MONTHLY ENERGY REQUIREMENTS

### Attachment 2.1-1: Budget 2013 Monthly Energy Requirements by Class of Service - Forecast

### Attachment 2.1-1: Budget 2013 Monthly Energy Requirements by Class of Service - Forecast

### Attachment 2.1-2: Monthly Energy Requirements by Class of Service - Historical

# 2.2	CUSTOMERS

### Attachment 2.2-1: Customers Historical and Forecast Customers (Annual Average) Budget 2013

SECTION 3.0 – GENERAL FORECASTING OVERVIEW

3.0	GENERAL FORECASTING OVERVIEW	27

3.1	ECONOMETRIC REGRESSION	27

3.2	END-USE	27

3.3	JUDGMENT	28

3.4	TOOLS	28

# 3.0	GENERAL FORECASTING OVERVIEW

This section describes the modeling methods, procedures, and results used to produce the Budget 2013 Energy Forecast for Georgia Power Company.  The forecast uses a variety of statistical techniques and other methods.  The availability of data, characteristics of the market, and uses of the forecast all help determine which method will be used for a particular part of the forecast.

The Budget 2013 energy forecast uses three methods:

1)	Econometric regression

2)	End-use

3)	Judgment

# 3.1	ECONOMETRIC REGRESSION

Econometric regression is a statistical technique with which model parameters are estimated from time series, cross sectional, or a combination of time series and cross sectional (pooled) data.  Basic classical regression assumptions apply to the models.  These models are well suited for modeling the relationships between energy consumption and explanatory variables such as economics, weather, and changes in behavior such as increases in the use of electronic devices in the home.

# 3.2	END-USE

End-use forecasting models are used to represent the elements of energy use in fine detail.  These models are sometimes referred to as engineering models because the early end-use models relied on measured energy consumption characteristics of appliances by fuel type, appliance saturation surveys, and conditional demand studies.  End-use models estimate residential energy use by looking at appliance saturation and penetration surveys and then determining aggregate class usage by adding up all of the elements of energy consumption across households.  Each major energy-consuming activity – refrigeration, space heating, and the like – is identified, and the corresponding energy consumption is specified.  This approach has a strong intuitive appeal because energy consumption is clearly associated with appliance use. The models can also produce energy sales forecasts of end-use equipment with a wide range of efficiency and usage sensitivities with respect to fuel prices, income levels, and other factors.

The detailed nature of the early end-use models is the basis for some of the major advantages of end-use models relative to econometric models, but the detailed input requirements are also the major source of their limitations.  These models require extensive information about projected appliance market penetration and usage rates.  It is a challenge to produce such projections that are sensitive to changes in energy prices, household incomes, and lifestyles.

The newer end-use models used by Georgia Power combine the benefits of end-use detail and class segmentation with more sophisticated methods to estimate energy consumption.  These newer end-use models also borrow from econometrics and incorporate a more sophisticated collection of economic principles.

# 3.3	JUDGMENT

Even the best modeling techniques need to be augmented by insights gained through relationships with customers and through discussions with marketing personnel.  In cases where on-site generation equipment is added at existing sites, an industrial plant closes, or a large customer is added to the electrical grid, for example, trend-based models may not adequately be able to capture the impact.  In order to supplement the modeling tools used to project trends, some amount of judgment was used to refine the forecast.

# 3.4	TOOLS

The tools used to prepare the energy forecast include MetrixND and E-Views (regression software), REEPS, COMMEND, INFORM, the peak demand model (Hourly Electric Load Model-“HELM”) and Microsoft Excel.

SECTION 4.0 – SHORT-TERM MODEL DESIGN OVERVIEW

4.0	SHORT-TERM MODEL DESIGN OVERVIEW	30

4.1	RETAIL SALES SECTORS	30

4.1.1	Residential Sales	30

Table 4.1.1-1: Residential Use per Customer	31

4.1.2	Commercial Sales	33

Table 4.1.2-1: Commercial Energy Sales	34

4.1.3	Industrial Sales	36

Table 4.1.3-1: Industrial Energy Sales	37

4.1.4	MARTA Sales	38

Table 4.1.4-1: MARTA Energy Sales	38

4.1.5	Governmental Lighting Sales	39

Table 4.1.5-1: Governmental Lighting Energy Sales	39

4.2	CUSTOMER FORECASTS	39

4.2.1	Residential Customers	39

Table 4.2.1-1: Residential Customers	40

4.2.2	Commercial Customers	40

Table 4.2.2-1: Commercial Customers	40

4.2.3	Industrial Customers	41

Table 4.2.3-1: Industrial Customers	41

4.2.4	Governmental Lighting Customers	42

Table 4.2.4-1: Governmental Lighting Customers	42

4.3	CALENDAR MONTH FORECAST	42

Table 4.3-1: Billing to Calendar Ratios	43

# 4.0	SHORT-TERM MODEL DESIGN OVERVIEW

This section describes the quantitative methods used to develop the Georgia Power Company customer and short-term energy sales forecasts.  The forecasts from the short-term energy models cover the period from January 2013 through December 2015.  These short-term energy forecasts are then integrated with the long-term results discussed in Section 5.  All short-term models generate results on both a calendar and billing basis.

The estimate of the number of customers is derived from econometric models that have a twenty-year forecast horizon.  The short-term energy forecasts, developed on a customer class basis, also employ regression methodology.  Although models vary by customer class, the models as a whole include explanatory variables that relate changes in monthly sales or customers to changes in Georgia’s economy, demographic make-up, weather, and monthly and/or seasonal binary variables.

Because the residential class comprises a relatively homogenous group of consumers, sales in this class are modeled in terms of monthly billed use-per-customer.  The variation in the consumption patterns of individual customers within the commercial and industrial classes limits the usefulness of forecasting class sales on a use-per-customer basis. Instead, these classes are forecasted at an aggregate sales level on a monthly billing basis.  Energy sales for governmental lighting and MARTA are modeled at the monthly sales level as well.

The model parameters were estimated with the EViews software package.  EViews is a well-established software package used in econometric analysis, forecasting, and simulation.  Moody’s Analytics provided the economic historical and forecast data used in the short-term models.  As is the case with the long-term models, a 20-year average of cooling degree days and heating degree days is assumed for “normal” weather.

# 4.1	RETAIL SALES SECTORS

The retail sector includes energy sales for the residential, commercial, industrial, MARTA, and governmental lighting classes.

## 4.1.1	Residential Sales

The model of energy sales in the residential class depends on the following major factors:

Number of customers

Weather

Number of days in the billing cycle

Economics

The impacts of demographic trends on residential sales are included by modeling energy use with a use-per-customer formulation.  The short-term residential energy sales forecast, therefore, depends upon a forecast of residential customers.  The residential customer forecast is presented in section 4.2.1.

Weather has a significant impact on residential energy sales.  Heating and cooling degree days are used to measure the impact of weather on monthly residential energy sales.  The degree days are computed as an average of the billing cycles.  Residential heating degree days use a 60°F threshold, and cooling degree days use a 68°F threshold.  Degree days are averaged over seven U.S. Weather Bureau stations, and the temperatures at the weather stations are weighted by the residential energy use in the Georgia Power Company regions that are mapped to the seven weather stations.

Another consideration is the variation in the length of the billing period.  This variation in sales is addressed by including billing days as an independent variable in the model.  Historical average billing days per month are obtained from the meter reading schedule (published by the company’s accounting department). The fifteen-year average is used to obtain billing month lengths for the forecast period.  Forecasted residential billing days are set equal to forecasted retail billing days.

A regression model relating residential energy use-per-customer to an intercept, twelve seasonal or monthly weather variables interacted with an efficiency variable in summer months, the number of residential billing days, and economic variables was developed for the short-term residential energy forecast.  Cooling degree days and heating degree days are interacted with seasonal variables to better distinguish their impact on the residential class at various times of the year.  Real personal income (constant dollars) and total price of residential electricity were chosen to represent the effects of Georgia’s economy on residential energy sales.  A humidity variable was also included in the residential model to capture the impact of humidity on energy use.

The forecast of residential use-per-customer is multiplied by the customer forecast to get forecasted residential energy sales.  Table 4.1.1-1 contains a summary of the parameter estimates and statistics for the short-term residential energy model.

### Table 4.1.1-1: Residential Use per Customer

Short-Term Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | -1.46 |
| Billed Total Price | REDACTED | -1.87 |
| JAN_HDD | REDACTED | 24.71 |
| FEB_HDD | REDACTED | 25.43 |
| MAR_HDD | REDACTED | 13.76 |
| NOV_HDD | REDACTED | 5.63 |
| DEC_HDD | REDACTED | 18.02 |
| APR_CDD_SEER | REDACTED | 5.51 |
| MAY_CDD_SEER | REDACTED | 6.53 |
| JUN_CDD_SEER | REDACTED | 21.32 |
| JUL_CDD_SEER | REDACTED | 30.08 |
| AUG_CDD_SEER | REDACTED | 33.98 |
| SEP_CDD_SEER | REDACTED | 26.36 |
| OCT_CDD_SEER | REDACTED | 10.03 |
| BILDAY_R | REDACTED | 3.19 |
| B_HUMCDD60MO_R | REDACTED | 0.96 |
| YP_REAL_S2 | REDACTED | 3.53 |
| AR(1) | REDACTED | 3.70 |

| Where: |  |  |
| --- | --- | --- |
| B_MWh_R | = | Residential energy per customer (dependent variable) |
| CONST | = | Regression equation constant term |
| Billed Total Price | = | Total price for residential electricity |
| JAN_HDD | = | January HDDs |
| FEB_HDD | = | February HDDs |
| MAR_HDD | = | March HDDs |
| NOV_HDD | = | November HDDs |
| DEC_HDD | = | December HDDs |
| APR_CDD_SEER | = | April CDDs interacted with SEER |
| MAY_CDD_SEER | = | May CDDs interacted with SEER |
| JUN_CDD_SEER | = | June CDDs interacted with SEER |
| JUL_CDD_SEER | = | July CDDs interacted with SEER |
| AUG_CDD_SEER | = | August CDDs interacted with SEER |
| SEP_CDD_SEER | = | September CDDs interacted with SEER |
| OCT_CDD_SEER | = | October CDDs interacted with SEER |
| BILDAY_R | = | Average residential monthly billing days |
| B_HUMCDD60MO_R | = | Humidity applied to May through October |
| YP_REAL | = | Real personal income |
| AR(1) | = | Autoregressive variable |

## 4.1.2	Commercial Sales

The model of energy sales in the commercial class depends on the following major factors:

Weather

Price

Economics

Commercial energy sales (MWh) are projected using a monthly energy use econometric regression model with independent variables that capture the impacts of varying weather conditions and economic trends.

While not as weather sensitive as the residential class, heating and cooling degree days are used to measure the impact of weather on monthly commercial energy sales.  As with the residential class, they are computed as an average of the billing cycles.  Heating degree days are computed with a 50o threshold and cooling degree days are computed with a 65F threshold for the commercial class.  Degree days are averaged over seven U.S. Weather Bureau stations, and the temperatures at the weather stations are weighted by the commercial energy use in the Georgia Power Company regions that are mapped to the seven weather stations.

The regression model relates monthly commercial energy sales to eleven seasonal weather variables. Other variables included in the model for their explanatory and predictive power are Georgia real GSP of commercial industries and Atlanta population.  GSP was chosen as an indicator of general economic activity in the state as it relates to electricity usage.  Atlanta population is a proxy for new business formation in the state’s most economically active region.  Additionally, the total price of electricity (base and fuel) is included in the model to capture customers’ responses to changes in price.

A summary of parameter estimates and statistics for the short-term commercial energy model can be found in Table 4.1.2-1.

### Table 4.1.2-1: Commercial Energy Sales

Short-Term Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | 0.49 |
| JAN_HDD | REDACTED | 11.20 |
| FEB_HDD | REDACTED | 5.84 |
| APR_CDD | REDACTED | 2.44 |
| MAY_CDD | REDACTED | 6.43 |
| JUN_CDD | REDACTED | 20.05 |
| JUL_CDD | REDACTED | 25.69 |
| AUG_CDD | REDACTED | 34.70 |
| SEP_CDD | REDACTED | 26.14 |
| OCT_CDD | REDACTED | 11.80 |
| NOV_CDD | REDACTED | 1.74 |
| DEC_HDD | REDACTED | 4.70 |
| BILLED TOTAL PRICE | REDACTED | -1.75 |
| ATL_POP | REDACTED | 2.29 |
| CRGSP | REDACTED | 2.68 |
| AR(1) | REDACTED | 2.39 |
| AR(5) | REDACTED | 2.75 |
| AR(6) | REDACTED | -2.43 |

| Where: |  |  |
| --- | --- | --- |
| B_MWh_C | = | Commercial monthly energy sales (dependent variable) |
| JANHDD | = | January binary interacted with monthly HDDs |
| FEBHDD | = | February binary interacted with monthly HDDs |
| APRCDD | = | April binary interacted with monthly CDDs |
| MAYCDD | = | May binary interacted with monthly CDDs |
| JUNCDD | = | June binary interacted with monthly CDDs |
| JULCDD | = | July binary interacted with monthly CDDs |
| AUGCDD | = | August binary interacted with monthly CDDs |
| SEPCDD | = | September binary interacted with monthly CDDs |
| OCTCDD | = | October binary interacted with monthly CDDs |
| NOVHDD | = | November binary interacted with monthly HDDs |
| DECHDD | = | December binary interacted with monthly HDDs |
| BILLED TOTAL PRICE | = | Total price for commercial electricity |
| CRGSP | = | Real Gross State Product in constant 2000$ of Commercial industries |
| ATL_POP | = | Atlanta population |
| AR(1), AR(5), AR(6) | = | Autoregressive variables |

## 4.1.3	Industrial Sales

The model of energy sales to the industrial class depends on the following major factors:

Weather

Economics

Price

Industrial energy sales (MWh) are projected using a monthly energy use econometric regression model with independent variables that captures the impacts of varying weather conditions, economic trends, and the changing industrial customer mix.

While not as weather sensitive as either the commercial or the residential class, cooling degree days are used to measure the impact of weather on monthly industrial energy sales.  As with the commercial class, cooling degree days are computed as an average of the billing cycles using a 65◦F threshold.  They are averaged over seven U.S. Weather Bureau stations, and the temperatures at the weather stations are weighted by the industrial energy use in the Georgia Power Company regions that are mapped to the seven weather stations.

The regression model relates the total monthly industrial energy sales to eight monthly binary variables, cooling degree days, the price of electricity, and industrial production (“IP”).

A summary of the parameter estimates and statistics for the short-term industrial energy model is presented in Table 4.1.3-1.

### Table 4.1.3-1: Industrial Energy Sales

Short-Term Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | 5.59 |
| IP | REDACTED | 15.60 |
| Billed Total Price | REDACTED | -2.04 |
| Apr_CDD | REDACTED | 4.12 |
| May_CDD | REDACTED | 3.51 |
| Jun_CDD | REDACTED | 8.01 |
| July_CDD | REDACTED | 8.38 |
| Aug_CDD | REDACTED | 10.50 |
| Sep_CDD | REDACTED | 9.98 |
| Oct_CDD | REDACTED | 6.81 |
| Nov_CDD | REDACTED | 3.04 |

| Where: |  |  |
| --- | --- | --- |
| IndMWh | = | Industrial monthly energy sales (dependent variable) |
| IP | = | Industrial production index weighted by Georgia sector employment |
| Billed Total Price | = | Total price for industrial electricity |
| Apr_CDD | = | April binary interacted with monthly CDDs |
| May_CDD | = | May binary interacted with monthly CDDs |
| Jun_CDD | = | June binary interacted with monthly CDDs |
| Jul_CDD | = | July binary interacted with monthly CDDs |
| Aug_CDD | = | August binary interacted with monthly CDDs |
| Sep_CDD | = | September binary interacted with monthly CDDs |
| Oct_CDD | = | October binary interacted with monthly CDDs |
| Nov_CDD | = | November binary interacted with monthly CDDs |

## 4.1.4	MARTA Sales

MARTA energy sales, both short term and long term, are forecast with an econometric model that relates sales to lagged sales and cooling degree days Table 4.1.4-1 presents the specific parameter estimates and statistics of the MARTA energy model.

### Table 4.1.4-1: MARTA Energy Sales

Energy Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | 7.21 |
| B_MWH_M(-1) | REDACTED | 5.82 |
| Jan_HDD | REDACTED | 8.21 |
| Feb_HDD | REDACTED | 2.96 |
| Jun_CDD | REDACTED | 4.51 |
| July_CDD | REDACTED | 5.15 |
| Aug_CDD | REDACTED | 5.29 |
| Sep_CDD | REDACTED | 3.51 |
| Dec_HDD | REDACTED | 5.13 |

| Where: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| B_MWH_M |  |  | = | Marta monthly energy sales (dependent variable) |  |  |
| B_MWH_M(-1) |  |  | = | Lagged dependent variable |  |  |
| Jan_HDD |  | = | January binary interacted with monthly HDDs |  |  |
| Feb_HDD |  | = | February binary interacted with monthly HDDs |  |  |  |
| Jun_CDD |  | = | June binary interacted with monthly CDDs |  |  |  |
| July_CDD |  | = | July binary interacted with monthly CDDs |  |  |  |
| Aug_CDD |  | = | August binary interacted with monthly CDDs |  |  |  |
| Sep_CDD |  | = | September binary interacted with monthly CDDs |  |  |  |
| Dec_HDD |  | = | December binary interacted with monthly HDDs |  |  |  |

## 4.1.5	Governmental Lighting Sales

A single regression model relating governmental lighting energy sales to the growth in governmental lighting customers for Georgia Power was developed for use in both the short-term and long-term governmental lighting energy forecasts.  Table 4.1.5-1 presents the specific parameter estimates and statistics for the governmental lighting energy model.

### Table 4.1.5-1: Governmental Lighting Energy Sales

Energy Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | 2.60 |
| HSTK1 | REDACTED | 2.30 |
| Oct_98 | REDACTED | 7.07 |
| Jan_02 | REDACTED | 8.68 |
| Feb_02 | REDACTED | -6.65 |
| April_08 | REDACTED | 9.65 |
| LagDep(1) | REDACTED | 45.15 |

| Where: |  |  |
| --- | --- | --- |
| B_MWh_GL | = | Governmental Lighting monthly energy sales (dependent variable) |
| HSTK1 | = | Single family Housing Stock for Georgia |
| Oct_98 | = | Binary accounting for data issue for October 1998 |
| Jan_02 | = | Binary accounting for data issue for January 2002 |
| Feb_02 | = | Binary accounting for data issue for February 2002 |
| April_08 | = | Binary accounting for data issue for April 2008 |
| LagDep(1) | = | Lagged Dependent variable of one (1) month |

# 4.2	CUSTOMER FORECASTS

The Budget 2013 customer forecasts for the residential, commercial, industrial, and governmental lighting classes were developed using regression models.

## 4.2.1	Residential Customers

The Georgia Power Company residential customer forecast was developed using an econometric model that includes housing stock, the unemployment rate, and a one-month lag of customers as explanatory variables.  Table 4.2.1-1 presents the specific parameter estimates and statistics for the residential customer model.

### Table 4.2.1-1: Residential Customers

Customer Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | 3.2 |
| Hous_Stock | REDACTED | 2.8 |
| Unemp_rate | REDACTED | (5.2) |
| LagDep(1) | REDACTED | 20.4 |

| Where: |  |  |
| --- | --- | --- |
| Hous_Stock | = | Housing stock for the State of Georgia |
| Unemp_rate | = | Unemployment rate for the State of Georgia |
| LagDep (1) | = | Lagged dependent variable of one (1) month |

## 4.2.2	Commercial Customers

The Georgia Power Company commercial customer forecast was developed using a regression model that includes a one-month lag of customers and nonmanufacturing employment as the independent variables.  Unlike the other customer and energy use models, the equation for commercial customers is estimated in first difference form using annual data in order to resolve nonstationarity issues that appear in the specification that uses monthly data.   The annual forecasts that results are then spread across the months using an estimate of the monthly historical pattern.  Table 4.2.2-1 presents the specific parameter estimates and statistics for the commercial customer model.

### Table 4.2.2-1: Commercial Customers

Customer Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | 0.74 |
| LagDep (1) | REDACTED | 5.86 |
| ENMF | REDACTED | 1.73 |

| Where: |  |  |
| --- | --- | --- |
| LagDep (1) | = | Lagged dependent variable of one (1) month, change |
| ENMF | = | Nonmanufacturing employment in the State of Georgia, change |

## 4.2.3	Industrial Customers

The Georgia Power Company industrial customer forecast was developed using a regression model, with a one-month lag of customers as the explanatory variable.  Table 4.2.3-1 presents the specific parameter estimates and statistics for the industrial customer model.

### Table 4.2.3-1: Industrial Customers

Customer Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| CONST | REDACTED | 1.36 |
| LagDep (1) | REDACTED | 295.56 |
| AR(1) | REDACTED | 4.68 |

| Where: |  |  |
| --- | --- | --- |
| LagDep (1) | = | Lagged dependent variable of one (1) month |
| AR(1) | = | Autoregressive variable |

## 4.2.4	Governmental Lighting Customers

The Georgia Power Company governmental lighting customer forecast was developed using a regression model that includes a lagged dependent variable and the single family housing stock for the State of Georgia as explanatory variables.  Variables to capture changes in the billing system’s identification of governmental lighting customers in both 2008 for the recoding of Savannah lighting customers and 2009 are also included.  The specific parameter estimates and statistics for the governmental lighting customer model are presented in Table 4.2.4-1.

### Table 4.2.4-1: Governmental Lighting Customers

Customer Model

Budget 2013

| Variable | Coefficient | T-Ratio |
| --- | --- | --- |
| LagDep (1) | REDACTED | 68.50 |
| HSTK1 | REDACTED | 4.46 |
| SAV_MERGER_08 | REDACTED | 4.80 |
| JAN_09_FWD | REDACTED | 2.46 |

| Where: |  |  |
| --- | --- | --- |
| LagDep (1) | = | Lagged dependent variable of one (1) month |
| HSTK1 | = | Single Family Housing Stock for the State of Georgia |
| Sav_Merger_08 | = | Binary variable – represents a permanent shift beginning in Jan 2008 for classifying Savannah lighting customers |
| JAN_09_FWD | = | Binary variable – represents a permanent shift beginning in Jan 2009 for billing system data issues |

# 4.3	CALENDAR MONTH FORECAST

Georgia Power Company budgeting and accounting records are based on calendar month sales; meters, however, are not read according to calendar months.  Instead, they are read according to the billing schedule for each class.  Separate calendar month sales forecasts, derived from billing month forecasts, are prepared for Georgia Power Company residential, commercial, and industrial classes.  Calendar month sales forecasts for the other retail customers are assumed to be equal to their billing month forecasts because their billing periods nearly coincide with calendar months.

In the short-term forecast (2013 – 2015), billing to calendar ratios, presented in table 4.3-1, are applied to the billing sales forecasts for the residential, commercial and industrial classes.  The billing-to-calendar ratios were derived from analysis of the ratio of historical billing data to historical calendar data.  The analysis was used to capture trends over time with the greatest possible accuracy.

### Table 4.3-1: Billing to Calendar Ratios

| BILLING TO CALENDAR RATIOS (energy sales) |  |  |  |
| --- | --- | --- | --- |
| Month | Residential | Commercial | Industrial |
| Jan | REDACTED | REDACTED | REDACTED |
| Feb | REDACTED | REDACTED | REDACTED |
| Mar | REDACTED | REDACTED | REDACTED |
| Apr | REDACTED | REDACTED | REDACTED |
| May | REDACTED | REDACTED | REDACTED |
| Jun | REDACTED | REDACTED | REDACTED |
| Jul | REDACTED | REDACTED | REDACTED |
| Aug | REDACTED | REDACTED | REDACTED |
| Sep | REDACTED | REDACTED | REDACTED |
| Oct | REDACTED | REDACTED | REDACTED |
| Nov | REDACTED | REDACTED | REDACTED |
| Dec | REDACTED | REDACTED | REDACTED |

SECTION 5.0 – LONG-TERM MODEL DESIGN

5.0	LONG-TERM MODEL DESIGN	45

Table 5.0-1 Model Type List	45

5.1	LONG-TERM ENERGY SALES	46

5.1.1	Residential Long-Term Energy Sales	46

Attachment 5.1.1-1: Total Residential Energy Sales	49

Attachment 5.1.1-2: GWh/BBtu Sales by End Use	50

Attachment 5.1.1-3: GWh/BBtu Sales by End Use – Single Family	53

Attachment 5.1.1-4: GWh/BBtu Sales by End Use – Multi Family	56

Attachment 5.1.1-5: GWh/BBtu Sales by End Use – Manufactured Home	59

Attachment 5.1.1-6: GWh/BBtu Sales by Fuel	62

Attachment 5.1.1-7: Average UEC (kWh/BBtu)	63

Attachment 5.1.1-7: Average UEC (cont’d)	64

Attachment 5.1.1-7: Average UEC (cont’d)	65

Attachment 5.1.1-8: Average Share of Market	66

Attachment 5.1.1-9: Marginal Share of Market	69

Attachment 5.1.1-10: Average Efficiency	72

Attachment 5.1.1-11: Marginal Efficiency	75

5.1.2	Commercial Long-Term Energy Sales	78

Attachment 5.1.2-1: Total Commercial Energy Sales (GWh)	83

Attachment 5.1.2-2: Sales by Building Type and Percentage of Class (GWh and Percentages)	84

Attachment 5.1.2-3: Total Sales by End Use and Percentage (GWh and Percentages)	85

Attachment 5.1.2-4: Average Share of Market	86

Attachment 5.1.2-5: Marginal Share of Market	87

Attachment 5.1.2-6: Cogeneration	88

5.1.3	Industrial Long-Term Energy Sales	89

Attachment 5.1.3-1: Total Industrial Energy Sales (GWh)	95

Attachment 5.1.3-2: Industrial Sales by NAICS Category (GWh and Percentages)	96

Attachment 5.1.3-3: Industrial Sales by End-Use (GWh and Percentages)	98

Attachment 5.1.3-4: Cogeneration (GWh)	99

5.2	ANNUAL TO MONTHLY BASED ENERGY FORECASTS	100

Table 5.2-1: Annual to Monthly Allocation Percentages	100

5.3	INTEGRATION OF SHORT AND LONG-TERM ENERGY FORECASTS	100

# 5.0	LONG-TERM MODEL DESIGN

The long-term forecasts for the residential, commercial and industrial customer classes were produced with end-use models.  The end-use approach allows for a detailed examination of the end uses that contribute to the energy usage of a customer class.  For example, specific assumptions about appliance ownership, appliance efficiency improvements, and consumer choice characteristics are factored into the residential forecast.  The Budget 2013 long-term forecasts use the REEPS, COMMEND, and INFORM models.  REEPS, COMMEND, and INFORM were developed under contracts with the Electric Power Research Institute (“EPRI”).  The EPRI long-term forecast models are used by utilities across the nation and are well known in the industry.  By using the EPRI end-use models for the three major classes, Georgia Power Company has achieved additional efficiencies while maintaining depth of information.

Twenty year forecasts for governmental lighting and MARTA were produced using econometric regression models.  In these forecasts, there was no distinction between the short- and long-term forecast.  Detailed model specifications can be found in the short-term documentation, Section 4, while forecasted values can be found in Section 2.

The following chart shows the distinction between long-term and short-term energy modeling and the approaches used.

### Table 5.0-1 Model Type List

| Class | Short-Term | Long-Term |
| --- | --- | --- |
| Residential | Econometric | REEPS |
| Commercial | Econometric | COMMEND |
| Industrial | Econometric | INFORM |
| Governmental Lighting | Econometric | One model |
| MARTA | Econometric | One model |

# 5.1	LONG-TERM ENERGY SALES

## 5.1.1	Residential Long-Term Energy Sales

Originally developed by EPRI as a national planning tool in the 1980s, REEPS evolved into an electric utility end-use forecasting tool and analysis model.  Through the years, REEPS has undergone further development and has been updated as new changes in regulation and new information have become available.  Georgia Power Company has used REEPS since its development and used REEPS version 2.3 to produce the long-term Budget 2013 residential energy forecast.

REEPS forecasts end-use or appliance-specific residential energy consumption using a variety of demographic, housing, economic, energy, and weather information.  REEPS models energy consumption from three main components: housing stock served (customers), share of the housing stock served by appliance end-use by fuel type, and unit energy consumption of the appliance end-use by fuel type.  Appliance end-use by fuel type refers to an end-use class of appliances that consume a particular fuel (electricity or natural gas) such as electric clothes dryers or gas stovetops.

The model simulates household energy decisions with respect to three basic types of choices—appliance ownership by fuel type, appliance efficiency, and appliance utilization (energy usage).  For a given end-use and fuel type, consumption is the product of the number of households, percentage of the segment (households) with the end-use, and the average unit energy consumption.  The equation that uses these three main components to determine consumption, or sales, is called the central energy equation:

In its most basic form, the central energy equation can be written:

Sales = HH x Share x (Size/Efficiency) x Use

or

Sales = HH x Share x UEC

Where:		Sales	 =	Total sales for a given end-use by fuel type

HH	 =	Households

Share	 =	Share of the housing/demographic segment with

the end-use/appliance by fuel type (percent)

Size	 =	Size of the end-use/appliance

(e.g., cubic feet, tons)

Efficiency =	Appliance efficiency

Use	 =	Number of days or hours of use for a given end

use/appliance

UEC	 =	Unit energy consumption

{(Size/Efficiency) x Use}

The appliance ownership shares used in the REEPS model are calibrated to Georgia Power Company’s service territory and initialized to a base year of 2007.

The residential energy model predicts energy consumption for 24 major household end-uses:

| 1. Cooling | 13. Conventional TV |
| --- | --- |
| 2. Heating | 14. Flat Screen TV |
| 3. Secondary Heating | 15. Incandescent Lighting |
| 4. Dishwasher | 16. Fluorescent Lighting |
| 5. Clothes Washer | 17. Microwave |
| 6. Water Heating | 18. Ceiling Fans |
| 7. Oven | 19. Well Pump |
| 8. Stovetop | 20. Pool Pump |
| 9. Refrigerator | 21. Computer |
| 10. Second Refrigerator | 22. Computer Monitor |
| 11. Freezer | 23. DVR |
| 12. Clothes Dryer | 24. Other (All remaining energy-consuming activity) |

Additionally, the model is segmented by housing type (single-family, multi-family, and manufactured housing), and its logic distinguishes between new and existing housing behavior.  Each customer group is described by the combinations of these attributes. As an example, new single family demonstrates characteristic choice behaviors in the selection of the alternative appliances and fuel technologies available to the market.  This choice behavior or demonstrated preference for a particular fuel choice technology in a given end-use category is measured by residential surveys.

For each of the end-uses, REEPS forecasts equipment purchases, efficiency, and utilization choices.  Within the simulation, the probability of installing a given appliance in a dwelling is dependent upon the operating and performance characteristics of the competing alternatives, as well as household and dwelling features.  Certain end-uses are highly interdependent, such as heating and water heating, which typically use the same fuel type.  The functional forms of the appliance choice models are multinomial logit and nested logit systems.  The parameters of these models quantify the sensitivity of the appliance installation choices to costs and other characteristics.  The magnitudes of these parameters have been estimated statistically from household survey data.

Average annual end-use consumption levels (often referred to as unit energy consumption or UEC) are from the Energy Data Sourcebook for the US Residential Sector, Lawrence Berkeley National Laboratory (1997), the 2005 Residential Energy Consumption Survey conducted by the DOE, the 2008 Appliance Efficiency Rulemaking report by the California Energy Commission, the DOE’s 2009 Buildings Energy Data Book, and the EnerSim Model.  Final UECs are then calibrated to the base year.  Average appliance size and efficiency by appliance vintage are from survey results and national shipment data compiled by Itron.

Appliance operating efficiency and utilization rates are simulated as interdependent decisions.  Efficiency choice is dependent on operating cost at the planned utilization rate, while actual utilization depends on operating cost given the appliance efficiency.  The sensitivity of efficiency and utilization decisions to costs, climate, household and dwelling size, and income have been estimated from historical survey data.

Other exogenous variables include fuel prices (electricity and natural gas), average household income, household size, rural home shares (new and existing), weather (measured in degree days), natural gas availability, technology availability, and efficiency standards by end-use.  Saturation and penetration rates are from the saturation surveys.  Surveys, field observations, and other information are used to estimate gas availability and rural and non-rural housing shares.

The sources of inputs are varied.  Historical natural gas prices are statewide averages from the U.S. Department of Energy and the State Energy Data System.  Forecast residential natural gas prices are derived internally by Southern Company Services Fuel Services. Historical electricity prices are from Georgia Power Company’s records and forecasted electricity prices are based on the retail price from the 10-year financial model and extrapolated based on historical trends for the remaining years.  REEPS uses a normal weather condition of cooling and heating degree days in deriving the forecast.  This weather condition is a twenty-year average of cooling and heating degree days for 1992 through 2011 which is consistent with the short-term econometric model.  Efficiency data are from the national default database developed by Itron, SCS Market Intelligence, and EIA’s Technology Forecast Update for the reference case.   Economic data are purchased from Moody’s Analytics on an annual basis.  Customers are separately forecasted at an aggregate level using the forecast of households in Georgia.  This forecast is then disaggregated to single family, multi-family, and manufactured home using housing type trends from Moody’s Analytics housing stock forecast and calibrated to 2007 Georgia Power Company Residential Saturation Survey splits.

The residential long-term forecast is modeled on a billing basis.  The Budget 2013 forecast is presented as a calendar based forecast.  The long-term billing forecast is integrated with the short-term billing forecast and then both are converted to a calendar basis.

### Attachment 5.1.1-1: Total Residential Energy Sales

Budget 2013

* In the following tables, values are based on the LT Billed end-use models.  No external adjustments were made.

### Attachment 5.1.1-2: GWh/BBtu Sales by End Use

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-2: GWh/BBtu Sales by End Use (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-2: GWh/BBtu Sales by End Use (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-3: GWh/BBtu Sales by End Use – Single Family

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-3: GWh/BBtu Sales by End Use – Single Family (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-3: GWh/BBtu Sales by End Use – Single Family (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-4: GWh/BBtu Sales by End Use – Multi Family

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-4: GWh/BBtu Sales by End Use – Multi Family (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-4: GWh/BBtu Sales by End Use – Multi Family (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-5: GWh/BBtu Sales by End Use – Manufactured Home

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-5: GWh/BBtu Sales by End Use – Manufactured Home (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-5: GWh/BBtu Sales by End Use – Manufactured Home (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-6: GWh/BBtu Sales by Fuel

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-7: Average UEC (kWh/BBtu)

Residential Long-Term Forecast (REEPS) unadusted

Budget 2013

### Attachment 5.1.1-7: Average UEC (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-7: Average UEC (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-8: Average Share of Market

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-8: Average Share of Market (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-8: Average Share of Market (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-9: Marginal Share of Market

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-9: Marginal Share of Market (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-9: Marginal Share of Market (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-10: Average Efficiency

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-10: Average Efficiency (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-10: Average Efficiency (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

### Attachment 5.1.1-11: Marginal Efficiency

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-11: Marginal Efficiency (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

Attachment 5.1.1-11: Marginal Efficiency (cont’d)

Residential Long-Term Forecast (REEPS) unadjusted

Budget 2013

## 5.1.2	Commercial Long-Term Energy Sales

The long-term forecast of electric energy sales to Georgia Power Company’s commercial class was produced using COMMEND.  COMMEND was originally developed under an EPRI contract in the early to mid-1980’s and has undergone various revisions.  Georgia Power Company was involved early in the development of COMMEND.  COMMEND was selected for the Budget 2013 forecast because it maintains consistency with the conceptual framework of the residential and industrial long-term models.  COMMEND uses floor space by building type and fuel price forecasts to produce a commercial forecast by end-use and building type.

The commercial sector is segmented into thirteen building types, nine end-uses, and two fuel types.  The thirteen building types are:

| 1. Office | 8. Healthcare |
| --- | --- |
| 2. Restaurant | 9. Lodging |
| 3. Retail | 10. Miscellaneous Buildings |
| 4. Grocery | 11. Religion |
| 5. Warehouse | 12. Public |
| 6. Education | 13. Datacenter |
| 7. Amusement |  |

The nine end-uses modeled for each of the building types listed above are:

| 1. Primary Heat (Space Heating) | 6. Outdoor Lighting |
| --- | --- |
| 2. Cooling (Air Conditioning) | 7. Indoor Lighting |
| 3. Water Heating | 8. Office Equipment |
| 4. Cooking | 9. Miscellaneous |
| 5. Refrigeration |

The two fuel types used for the commercial market are electricity and natural gas.

COMMEND forecasts the energy consumption for each end-use in each market segment in the commercial class.  Energy consumption is determined by building type, end-use, and fuel type.  Energy use patterns and end-use composition vary considerably between building types; therefore, building type is the primary differentiation of the commercial market.  This segmentation is done to group together market segments with relatively common characteristics while separately identifying segments with distinctly different characteristics.

The differences in building type reflect differences in operating characteristics as well as differences in the composition and choice of energy consumption activities and energy consuming equipment and technology.  These energy-consuming activities that deliver service to the occupants by various devices and equipment are called end-uses.  An end-use is the energy service delivered by energy using equipment, such as lighting, cooking, or air conditioning.  The composition and intensity of energy usage and the energy consuming activities within each building type vary according to the consumer activity and behavior resulting from the business purpose associated with the building.  For example, a grocery store contains relatively more refrigeration and lighting while a restaurant has more energy consuming devices related to cooking.  Therefore, the relative concentration of the different end-uses varies by building type.  Also, the energy consumption characteristics of each end-use will vary by building type because the selection of equipment to deliver that end-use service is made as appropriate to the function of the activities inside the building.

Consumers have the opportunity to select alternative energy consuming equipment (devices and appliances) that deliver the same service (for example, water heating or cooking) but vary by fuel.  Since capital and operating costs vary for similar devices of different fuel types, and consumer preference varies by fuel, fuel costs also have an impact in the selection of end-use equipment.

COMMEND uses information about the operating characteristics, ownership decisions, and behavioral characteristics to determine energy consumption patterns of customers.  Factors influencing the energy consumption within a building include the operating characteristics of the building, preferences in the construction of the building, consumer behavior of the occupants of the building, and operational design and influences in the building such as energy management systems and controls.

COMMEND models energy consumption using four main components:  building floor space, share of the floor space served by appliance end-use and fuel type, energy consumption per square foot of floor space, and an index reflecting changes in energy usage of a fuel type.  Appliance end-use by fuel type refers to an end-use class of appliances that consume a particular fuel (electricity or natural gas) such as electric cooking or gas room heating.  The equation that uses these four main components to determine energy consumption, or sales, is called the central energy equation for the commercial class:

Sales = SQFT * Share * EUI * UI

| where: |  |  |
| --- | --- | --- |
| Sales | = | total sales for a given end-use by fuel type |
| SQFT | = | square footage |
| Share | = | share (%) of the square footage served by the end-use appliance and fuel type |
| EUI | = | energy consumption per square foot |
| UI | = | index of energy usage relative to the base year |

COMMEND uses economic, fuel price, market data, operating characteristics, and weather information to produce the energy forecast for the commercial class.  The economic variable used is floor space by building type and is forecast by Moody’s Analytics.  It is the primary driver of energy consumption in the commercial class.  Floor space is measured in square footage of building space.  The share, sometimes referred to as fuel share, is the share of building floor space that is served by a specified end-use and fuel type and is applied to total floor space.  So, if 95% of the total floor space is in buildings that have heating, the fuel shares across fuel types will add up to 95%.

There are two types of share definitions.  The whole building concept measures the share of floor space in buildings with an end-use regardless of the portion of each building that is served by the end-use (for example, refrigeration in an office building).  The second share concept refers to conditioned floor space and accounts for the fraction of each building that is conditioned by the end-use (for example, air conditioning).  The EUI is the average annual energy per square foot of floor space that is served by a particular end-use and fuel type.  The usage index (“UI”) is an index measured relative to the base year that indicates the relative amount of energy service (e.g. lighting) delivered for a specified end-use and fuel type within a particular building type.  The UI is determined by consumer (occupant) behavior, equipment controls, weather, and other operating characteristics.  Consumer behavior and choice decisions such as changes in thermostat settings or operating hours can result in changes in energy usage.

The information from fuel share, energy use intensity, building intensity, and sales for each end-use comprise the market profile of energy use for a particular building type.  Market profiles of energy use for a building type are developed for each fuel type. End-use energy consumption, or sales, is the product of fuel share, EUI, and floor space.  The product of the fuel share and EUI is called the building intensity.  Market profiles show this decomposition of energy use.  The information for the market profiles in the current Georgia Power Company commercial model is derived from the 1999 Commercial Buildings Energy Consumption Survey (“CBECS”), the 1995 Southern Company Services (“SCS”) End-Use Profiling Project, the EnerSim Model, and the 2004 Georgia Power Company Commercial Saturation Survey.

COMMEND recognizes the variation in building vintages.  COMMEND calculates sales by summing the results of the central energy equation across all vintages.  The central energy equation is as before, except that vintage detail differentiates the floor space:

Sales = SQFT * Share * EUI * UI

The numerical values of the components in this definition change over time.  These changes reflect the economic decisions made in the commercial marketplace concerning the choice of building construction and building materials, installation of energy consuming end-use equipment, and usage patterns resulting from the consumer behavior of the occupants in the finished building.  End-use modeling is concerned with capturing the effects of the primary influences on these decisions and projects the trend of each of these components throughout the forecast horizon.

Fuel share and EUIs reflect the choices among building and energy technology of investment decisions made by building owners, architects, and contractors at the time of new building construction or replacement of equipment.  The choice of whether to include end-use equipment, along with which fuel equipment or technology, affects fuel shares, end-use penetration, and energy consumption.  Selection of building design options, energy-using equipment choice, building characteristics, and usage patterns determine the EUI for each fuel.  Owner preferences, consumer behavior of the occupants of a building, and decisions made about the frequency and intensity of energy equipment use affect usage levels.

The COMMEND model explicitly identifies some factors influencing the usage, such as fuel prices, weather data, operating hours, occupancy rates, and other information.  Fuel prices and weather data are specific to the Georgia Power Company territory.  Where Georgia Power Company data were not available, national and regional data were substituted.

COMMEND models the economic investment decision process of a building owner.  Investment decisions in the commercial market have a major role in the energy consumption within a building.  The decisions regarding construction or equipment replacement for a building represent a trade-off between capital and operating costs of equipment.  This trade-off is then reduced to decisions related to the fuel and equipment efficiency decisions of operating equipment and capital costs.  COMMEND uses a probabilistic method to model the decision process regarding which equipment system will be installed in a building.  This method depends on factors such as the capital and operating costs of alternative options and building characteristics.  Initial values for the market shares are input into the model for the base year to calibrate the model.

The economic driver used to forecast long-term sales of the commercial class is floor space, measured in square feet.  Moody’s Analytics developed floor space forecasts.  Historical floor space data comes from F.W. Dodge.

The historical energies (TBtu/Yr) for the commercial class are estimated using energy intensities (“EUIs”) and device saturations from the 1999 Commercial Buildings Energy Consumption Survey, the 2004 Georgia Power Commercial Saturation Survey, the EnerSim Model, and the 1995 SCS End-use Profiling Project.  Using EUI, saturation, and square foot information (from the Georgia Economic Model), sales (energy = (energy/sq ft) * (saturation %) * (square footage)) can be calculated.

Customers have the opportunity to purchase appliances and equipment that use a variety of fuels.  The price of the fuel affects the usage patterns and purchasing habits of the decision maker.  Electricity and natural gas prices are forecasted for the commercial sector and used in COMMEND.

COMMEND calibrates to the historical energy and segment information of the commercial class for the base year of 1999.  Additionally, the long-term forecast produced by COMMEND is calibrated to anticipate changes in use-per-square foot in the commercial class.

The commercial long-term forecast is modeled on a billing basis.  The Budget 2013 forecast is presented as a calendar based forecast.  The long-term billing forecast is integrated with the short-term billing forecast and then both are converted to a calendar basis.

Several attachments follow which comprise the Budget 2013 Commercial Long-term Forecast.

### Attachment 5.1.2-1: Total Commercial Energy Sales (GWh)

Budget 2013

*In the following tables, values are based on the LT Billed end-use model.  No external adjustments were made.

### Attachment 5.1.2-2: Sales by Building Type and Percentage of Class (GWh and Percentages)

Commercial Long-Term Forecast (COMMEND)

Budget 2013

### Attachment 5.1.2-3: Total Sales by End Use and Percentage (GWh and Percentages)

Commercial Long-Term Forecast (COMMEND)

Budget 2013

### Attachment 5.1.2-4: Average Share of Market

Commercial Long-Term Forecast (COMMEND)

Budget 2013

### Attachment 5.1.2-5: Marginal Share of Market

Commercial Long-Term Forecast (COMMEND)

Budget 2013

### Attachment 5.1.2-6: Cogeneration

Commercial Long-Term Forecast

Budget 2013

## 5.1.3	Industrial Long-Term Energy Sales

The long-term forecast of electricity sales to Georgia Power Company’s industrial class was produced using INFORM.  INFORM was developed by Itron for EPRI.  INFORM was selected because of its capability to forecast at the end-use level and the increased effectiveness of resource utilization from using the EPRI family of long-term forecasting models.  INFORM maintains consistency of the conceptual framework similar to the residential and commercial long-term forecast models while providing information appropriate to the industrial class.

The industrial sector is segmented into 15 SIC categories and five end-uses.  (Please refer to section 8.2.4 for SIC to NAICS conversion discussion)  The 15 SIC categories are:

| 1. 20 - Food | 9. 33 - Primary Metals |
| --- | --- |
| 2. 22 - Textiles | 10. 34 - Metal Products |
| 3. 23 - Apparel | 11. 35 - Machinery |
| 4. 24 - Lumber & Wood | 12. 36 - Electrical Equipment |
| 5. 26 - Paper | 13. 37 - Transportation |
| 6. 28 - Chemicals | 14. 39 - Miscellaneous Manufacturing |
| 7. 30 - Rubber | 15. Non-Manufacturing |
| 8. 32 - Stone, Clay, and Glass |  |

The five end-uses modeled for each of the SIC categories listed above are:

| 1. Motors 2. Lighting | 4. Other (electrolysis, steam, space heat, and space cooling) |
| --- | --- |
| 3. Thermal | 5. Miscellaneous |

In the industrial sector, energy requirements are largely related to the energy-to-output relationship, augmented by the share of alternative equipment choices and fuel options.  In the industrial sector, economic output is measured by the amount of industrial production.  Energy is required to manufacture the product.  For example, a plant requires a certain amount of motive power (i.e. work from motors) or process heat to produce its product.  A textile mill requires a certain amount of motive force (work) to weave a yard of fabric or make a carpet.  A plant that melts steel requires a certain amount of energy to melt a ton of steel, which is determined by the process efficiency of converting fuel sources into useful work.  These energy requirements are supplied by energy consuming equipment.  The amount of energy consumed by the equipment to meet this need is the amount of end-use sales.  By installing more efficient equipment, a plant operator can lower the amount of energy needed to meet the requirements of the process.  The end-use machinery that supplies the energy requirements of the plant needs a fuel source itself.  This could be one of several fuels:  electricity, natural gas, oil, or some other fuel.  The plant is typically designed and operated to use a combination of equipment that use different fuel sources and maximize efficient use of resources while providing end-use service economically and reliably.

The long-term industrial model uses the elements of economic activity, industrial production operations, fuel choices, and equipment (or process) characteristics to model energy requirements arising from the supporting end-uses of an industrial activity.  The description of the economic activity and production operations of an industry come from industrial production, capacity utilization rates, and output capacity.  Output capacity measures the level of output of plants when they are operating at full capacity.  From this, a description of the energy required to support a given level of production can be made.  Fuel prices are used to model the choice of end-use equipment employed to provide end-use service.  These choices, although influenced by the preferences of the decision maker, are largely economic and are captured through analyzing life-cycle costs.  The capital costs of equipment also affect the selection of equipment.  In addition, the model uses information about the mix of equipment options, sizes, and ratings to determine end-use consumption characteristics.

The motor and lighting models are the most detailed in the industrial class.  These rely on stock accounting algorithms that recognize equipment vintage.  The consumption is derived from the mix of the various sizes of equipment and the corresponding utilization factors.  For motors, this would recognize the stock and mix of the various sizes of motors and efficiencies.  For lights, this would recognize the various sources and sizes of lamps and ballasts.  Output capacity and capacity utilization rates are the key factors determining consumption projections.  Capacity is used as an indicator of the amount of plant and equipment available for production and is used to describe the equipment stocks of motors and lighting equipment.  Once these stocks are determined, capacity utilization rates determine changes in operating hours and usage levels.

Efficiencies, equipment size, and usage characteristics determine consumption.  Equipment purchase decisions result in the stock and efficiency mix of new equipment.  The first type of equipment replacement decision is made at the time of physical decay of a device and is modeled using assumptions about equipment lifetimes.  The second type of equipment purchase decision results from plant construction or expansion and is modeled using changes in capacity.  Share equations are used to compute market shares for the various efficiency options and are based on a logic function describing equipment purchases based on life cycle costs.  Data from available surveys as well as national and regional information are used to describe these parameters for each industry.

Motors are used to serve functions for several industrial applications.  INFORM tracks the stock of motors by motor use, motor size category, type of load, and efficiency.  New motors are purchased to replace motors that have been retired and to meet additional requirements of plant expansion.  In addition, the horsepower requirements relative to the unit of capacity served will change through time.  For example, plant automation will tend to increase this ratio.  The product of horsepower ratio and economic output results in a measure of the rated capacity of the stock of motors (horsepower).  Defining the motor size distribution and motor drive shares results in detailed stock accounting of motor capacity.  The distribution of motors across efficiency options is determined by share equations that depend on motor costs and energy prices and are calibrated to known shares from available information.  This information was taken from the 1994 Commercial and Industrial Survey for the Standard Industrial Classifications (“SICs”) surveyed.  For the non-surveyed SICs, available national and regional data was used.  The number of operating hours the motor is used relative to the base year is based on the relative change in capacity utilization.  The number (share), operating load factor, and efficiency of each type of motor are used to determine the energy requirements for each class of motor.  Also, the rated efficiency of a motor, and therefore, energy requirement, will change if a motor is not operated at full load.  Load elasticity is used to describe the relationship between the motor efficiency and energy consumption.  The power requirements curve describes the relationship between the fraction of input power required and the fraction of motor load capacity.

The central energy equation for motors is developed to calculate energy requirements using the energy consumption characteristics of motors, the size distribution of motor stock, and the level of motor stock.  The central energy equation for motors is:

Sales = Q * HPR * Hrs * 0.746 KW/HP * Share * LF *(1/EFF)

and:

HP = Q * HPR

| where: |  |  |
| --- | --- | --- |
| Sales | = | annual electricity use |
| Q | = | Output |
| HPR | = | ratio of horsepower stock to output capacity |
| HP | = | sum of the rated capacity of the stock of motors in a specific application category (use, size, drive-type) |
| Hrs | = | average number of annual operating hours |
| 0.746 | = | conversion factor between horsepower and KW |
| Share | = | share (%) for an efficiency option |
| LF | = | average operating load factor |
|  | = | part-load elasticity describing the degree of proportionality between a particular motor efficiency and energy consumption |
| EFF | = | rated motor efficiency |

The lighting model also uses the stock accounting approach to determine energy requirements.  The central energy equation is similar to that for motors, with a slight modification to tailor it to the lighting end-use, but is conceptually the same.  Instead of the horsepower ratio, the lighting end-use uses a lumen requirements ratio.  The lumen requirements ratio and output capacity determine lighting requirements.  These requirements are served by different types of lamps and ballasts and are specified by a lighting option share.  The share is derived using a logit function using the life cycle costs (capital costs and operating costs) of the various lighting options.  As before, the operating hours and an efficiency describing the lighting options (lumens per watt) are used to determine energy consumption.  The central energy equation for Lighting is:

Sales = Q * LRR * Share * Hrs * (1/EFF)

| where: |  |  |
| --- | --- | --- |
| Sales | = | annual electricity use |
| Q | = | Output |
| LRR | = | lumen requirement ratio |
| Share | = | share (%) for an efficiency option |
| Hrs | = | annual operating hours |
| EFF | = | lighting option efficiency |

The energy requirements of the other end-use models (thermal process, HVAC, and miscellaneous) are modeled using the amount of industrial production, a ratio to describe the energy necessary to support an industrial process, the shares of the various equipment options, and a fuel requirement ratio for each equipment option.  These measures reflect the energy necessary for an industrial activity and reflect characteristics of the equipment and processes required to support the level of industrial output.  The choices of equipment and fuel sources reflect economic evaluations of equipment options and preferences of the decision maker.

Thermal processes include energy used for process heating, process cooling, refrigeration, boilers, and other applications.  Energy prices, market penetration of electro technologies, and other, sometimes naturally occurring, process improvements all have an impact on the energy requirements necessary to support the industrial application.  Thermal processes require energy to transform raw material into intermediate and final products.  The energy required to support this process is dependent on the thermal use, equipment option, and fuel.  The mix and choice of equipment varies by industry as end-use service needs and priorities differ.  The process heat ratio describes how much heat is required to be delivered to the target substance for each dollar of output.  The share is the share of the heating requirement that is delivered by a particular equipment option.  These ratios and shares are represented relative to the delivered heat and not the share of fuel input.  The fuel requirement ratio is the requirement for a specific fuel used by a particular equipment option.  For single fuel efficiencies, these ratios are inverse efficiencies.  For example, if a device has an efficiency of 60%, then 1.67 BTUs of fuel input is required for each BTU of delivered heat.  A conversion factor is used to convert BTUs into kWhs so that this ratio describes the amount of electricity required to deliver 1 BTU of heat.  This energy equation is modeled for all fuels.

Industrial production for the state of Georgia, from Moody’s Analytics, is used to calculate the output levels that must be supported by the end-uses.  The process heat ratio equations are used to determine increases or decreases over time in the process heat ratios.  Process efficiency improvements are modeled as decreases over time in this ratio.  Equipment option shares and the fuel requirements ratios are projected over time.  Reductions in the fuel requirements ratios reflect equipment efficiency improvements.

The central energy equations for thermal processes, HVAC, and miscellaneous are all similar and conceptually the same.  HVAC and miscellaneous use a heat requirements ratio instead of the process heat ratio.  Miscellaneous does not use a share fraction and assumes a generalized fuel requirements ratio to capture the miscellaneous end-uses.  The central energy equation for a thermal process is:

Sales = Q * PHR * Share * FRR

| where: |  |  |
| --- | --- | --- |
| Sales | = | annual electricity use |
| Q | = | industrial production |
| PHR | = | process heat ratio |
| Share | = | share of heating requirement for the use and delivered by the equipment option |
| FRR | = | fuel requirement ratio for a specific fuel used by a specific equipment option |

The economic driver used to forecast long-term sales for each NAICS category in the industrial class is the corresponding value for industrial production and is a measure of output and directly links the forecast of energy consumption with production output.  The use of industrial production allows for the explicit modeling of the input-output structure of the Georgia economy.  Also, industrial production data are tracked and measured by the Federal Reserve.  Consequently, by using industrial production in the energy models, energy consumption is directly linked to a measure of industrial economic output.    Section 8.2.4 addresses industrial activity.

Historical energy, energy relationships (shares), and fuel shares were developed from several sources in addition to historical electric energy from Georgia Power Company books and records.  Five industrial SICs were surveyed in the 1994 Commercial & Industrial Energy Survey.  They were SICs 20 (food), 22 (textiles), 26 (paper), 32 (stone, clay, and glass), and 33 (primary metals).  Energy end-use shares for electricity and natural gas were developed from this survey (information for oil was augmented from other sources).  Information and estimates of natural gas and fossil fuel consumption for the other SICs were developed from the 1991 Manufacturers Energy Consumption Survey (“MECS”).

Electricity, natural gas, and oil prices are forecasted for the industrial class and used in INFORM.

INFORM uses a base year of 1990 to establish initial calibration.  The model also calibrates to historical energy through 2011.  Additionally, INFORM is calibrated to the energy of each economic category, according to the North American Industry Classification System (NAICS), over the period of the short-term forecast, 2013 through 2015.

Cogeneration is a significant activity for certain industries.  In the course of providing general manufacturing production processes, electricity is made available as a by-product.  Georgia Power Company has assembled information to project the energy and demand changes from cogeneration for the near future.  This cogeneration forecast is produced independently of the electricity sales forecast of the industrial class.  See Section 8.4.2 for additional discussion on cogeneration.

The industrial long-term forecast is modeled on a billing basis.  The Budget 2013 forecast is presented as a calendar based forecast.  The long-term billing forecast is integrated with the short-term billing forecast and then both are converted to a calendar basis.

Several attachments follow which comprise the Budget 2013 Industrial Long-term Forecast.

### Attachment 5.1.3-1: Total Industrial Energy Sales (GWh)

Budget 2013

*In the following tables, values are based on the LT Billed end-use model.  No external adjustments were made.

### Attachment 5.1.3-2: Industrial Sales by NAICS Category (GWh and Percentages)

Industrial Long-Term Forecast (INFORM)

Budget 2013

GWH Sales

Percentage Total Sales

### Attachment 5.1.3-3: Industrial Sales by End-Use (GWh and Percentages)

Industrial Long-Term Forecast (INFORM)

Budget 2013

### Attachment 5.1.3-4: Cogeneration (GWh)

Industrial Long-Term Forecast

Budget 2013

| Year | GWh |
| --- | --- |
| 2012 | REDACTED |
| 2013 | REDACTED |
| 2014 | REDACTED |
| 2015 | REDACTED |
| 2016 | REDACTED |
| 2017 | REDACTED |
| 2018 | REDACTED |
| 2019 | REDACTED |
| 2020 | REDACTED |
| 2021 | REDACTED |
| 2022 | REDACTED |
| 2023 | REDACTED |
| 2024 | REDACTED |
| 2025 | REDACTED |
| 2026 | REDACTED |
| 2027 | REDACTED |
| 2028 | REDACTED |
| 2029 | REDACTED |
| 2030 | REDACTED |
| 2031 | REDACTED |
| 2032 | REDACTED |

# 5.2	ANNUAL TO MONTHLY BASED ENERGY FORECASTS

The official forecast is one of monthly calendar energies.  However, the long-term end-use models are of an annual frequency and based on billing data which results in annual billing energy forecasts.

The long-term end-use annual forecasts were converted to monthly forecasts by allocating each annual forecasted value per its class monthly percentage (see Table 5.2-1).  For all three classes, the monthly percentages from the last year of the short-term models were used as the monthly pattern in the long term projections.  The result is a 20-year monthly forecast.  Once all class forecasts are on a monthly basis for 20 years, the monthly billing-to-calendar ratios that are used in the short-term forecast (described in section 4.4) can be applied.

### Table 5.2-1: Annual to Monthly Allocation Percentages

# 5.3	INTEGRATION OF SHORT AND LONG-TERM ENERGY FORECASTS

The short-term and long-term energy forecasts were produced using different methods.  Although both the long-term and short-term energy models used a 20-year average as the predicted weather, the impacts from using different forecast methodologies for the two periods increase the likelihood that integration techniques are needed to smooth out the forecast.  The forecast should be smooth because the timing of economic, demographic, and weather events further into the future from historical results becomes less and less certain.  Adjustments to ensure a smooth transition of the various elements of the forecast and between years of the forecast were made to the energy forecast during the development of the energy forecast for each class.  Specifically, the long-term models are calibrated to historical and short-term model results for integration purposes.

SECTION 6.0 – PEAK DEMAND FORECAST

6.0	PEAK DEMAND FORECAST	103

Attachment 6.0-1: Annual Coincident Demand with Adjustments (MW)	105

Attachment 6.0-2: Annual Unadjusted Non-Coincident Demand (MW)	106

Attachment 6.0-3: Monthly Coincident Demand with Adjustments (MW)	107

Attachment 6.0-4: Monthly Unadjusted Non-Coincident Demand (MW)	109

Attachment 6.0-5: Expansion Factors	111

Attachment 6.0-6: Annual Supply with Adjustments (GWh)	112

Attachment 6.0-7: Monthly Supply by Class (GWh)	113

Attachment 6.0-8: Coincident & Non-Coincident Historical Peak Demand by Class	115

# 6.0	PEAK DEMAND FORECAST

Georgia Power Company used HELM in the Budget 2013 Forecast to predict peak demands.  HELM is an EPRI product and was developed by ICF Resources Inc.

HELM uses historical hourly load research data for each customer class to derive functions that describe the relationship of load to the corresponding weather and defined day types.  The Company’s HELM model was developed and calibrated using load research data for 2006 and 2010.  The historical load data for the commercial and industrial classes were adjusted to “normalize” the impacts of price sensitive rates.

Christensen and Associates provides a Real Time Pricing response model, updated in fall 2010, which estimates load response at various prices.  As with the previous model developed in 2004, their updated study used metered hourly data for each RTP customer and segmented the responses by Hour Ahead and Day Ahead customers.  This model was used to estimate the historical MW response and is used to estimate the projected MW response.  To get the projected MW response, an expected RTP price forecast is obtained from SCS Strategic Generation Planning and used in the Christensen model.

The methodology determining “typical” weather uses 20 years of average daily temperatures which were rank ordered and then averaged to form a “temperature duration curve”.  The most representative pattern of actual temperatures was chosen using a least sum of squares criteria.  The temperature duration curve was then re-sorted to the chronological order of the representative pattern.  The class monthly energy sales were then used along with the HELM class load profiles, the description of “typical” weather, and the relationships of load and weather developed in HELM from the historical load research data.  Both the coincident and non-coincident demands by class could then be established.

Currently, the Georgia Power Company HELM model defines the five class load shapes of the Georgia Power Company territory:  residential, commercial, industrial, governmental lighting, and MARTA.  Load profiles and the functions that describe the relationships between class load, the corresponding temperatures and selected day types were developed and calibrated for each class.  The HELM model was used to determine the coincident demands of each class with the territorial demand, where the “territory” is defined as the aggregate of the five classes listed above.

The demand forecast was developed using the monthly calendar based energies as inputs into the peak demand model.  The forecasted energies are based on a 20-year average weather assumption.  Using the forecasted energies directly in the peak demand model maintains consistency between projected energy sales and the forecast demands.

The results from the HELM model are unadjusted for RTP response, additional cogeneration projects and the demand side management program (“DSM”).  Estimates for RTP response, cogeneration, and DSM are made for the reduction in demand and incorporated externally into the peak demand model.  See sections 8.4.1 through 8.4.4 for more information on adjustments made to the peak demand forecast.

HELM also expands the monthly sales data to supply level (sales plus losses) for generation required for the projected energy and demands.  HELM uses expansion factors, in Attachment 6.0-5, to go from the customer level to the supply level energy and demands.  Georgia Power Company uses the results as the supply forecast.

### Attachment 6.0-1: Annual Coincident Demand with Adjustments (MW)

Calendar Based

Budget 2013

### Attachment 6.0-2: Annual Unadjusted Non-Coincident Demand (MW)

Calendar Based

Budget 2013

|  | Unadjusted Class Non-Coincident Demand (MW) |  |  |  |  | Unadjusted Coincident Demand |
| --- | --- | --- | --- | --- | --- | --- |
| Year | Res. | Com. | Ind. | Gov. Lighting | Marta |  |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2016 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2017 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2018 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2019 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2020 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2021 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2022 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2023 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2024 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

### Attachment 6.0-3: Monthly Coincident Demand with Adjustments (MW)

Calendar Based

Budget 2013

Attachment 6.0-3: Monthly Coincident Demand with Adjustments (MW) [cont’d]

Calendar Based

Budget 2013

### Attachment 6.0-4: Monthly Unadjusted Non-Coincident Demand (MW)

Calendar Based

Budget 2013

| Date | Unadjusted Class Non-Coincident Demand (MW) |  |  |  |  | Unadjusted Coincident Demand |
| --- | --- | --- | --- | --- | --- | --- |
|  | Res. | Com. | Ind. | Gov. Lighting | Marta |  |
| Jan-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jan-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

Attachment 6.0-4: Monthly Unadjusted Non-Coincident Demand (MW) [cont’d]

Calendar Based

Budget 2013

| Date | Unadjusted Class Non-Coincident Demand (MW) |  |  |  |  | Unadjusted Coincident Demand |
| --- | --- | --- | --- | --- | --- | --- |
|  | Res. | Com. | Ind. | Gov. Lighting | Marta |  |
| Jan-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jan-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

### Attachment 6.0-5: Expansion Factors

Budget 2013

| T&D Loss Multipliers – Expansion Factors |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Energy |  |  |  |  |  |  |  |  |  |  |  |
| Class | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| Residential | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Commercial | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Industrial | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Govt. Lighting | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| MARTA | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

| T&D Loss Multipliers – Expansion Factors |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Peak |  |  |  |  |  |  |  |  |  |  |  |
| Class | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| Residential | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Commercial | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Industrial | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Govt. Lighting | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| MARTA | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

### Attachment 6.0-6: Annual Supply with Adjustments (GWh)

Calendar Based

Budget 2013

### Attachment 6.0-7: Monthly Supply by Class (GWh)

Calendar Based

Budget 2013

Attachment 6.0-7: Monthly Supply by Class (GWh) [cont’d]

Calendar Based

Budget 2013

### Attachment 6.0-8: Coincident & Non-Coincident Historical Peak Demand by Class

| Georgia Power Company |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Non-Coincident Peak Demands (MW) by Class, 2009-2011 |  |  |  |  |  |  |
|  | Residential | Commercial | Industrial | Gov. Lighting | MARTA | Hampton |
| Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | Residential | Commercial | Industrial | Gov. Lighting | MARTA | Hampton |
| Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | Residential | Commercial | Industrial | Gov. Lighting | MARTA | Hampton |
| Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

Attachment 6.0-8: Coincident & Non-Coincident Historical Peak Demand by Class (cont’d)

| Georgia Power Company |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Coincident Peak Demands (MW) by Class, 2009-2011 |  |  |  |  |  |  |
|  | Residential | Commercial | Industrial | Gov. Lighting | MARTA | Hampton |
| Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | Residential | Commercial | Industrial | Gov. Lighting | MARTA | Hampton |
| Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | Residential | Commercial | Industrial | Gov. Lighting | MARTA | Hampton |
| Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

SECTION 7.0 – SENSITIVITY AND SCENARIO DEVELOPMENT OVERVIEW

7.0	SENSITIVITY AND SCENARIO DEVELOPMENT OVERVIEW	118

7.1	SENSITIVITIES	118

Attachment 7.1-1: Annual Energy Sensitivity Summary	119

Attachment 7.1-2: Annual Peak Demand Sensitivity Summary	120

7.2	SCENARIOS	121

Attachment 7.2-1: Annual Energy Scenario Summary	124

Attachment 7.2-2: Annual Peak Demand Scenario Summary	126

# 7.0	SENSITIVITY AND SCENARIO DEVELOPMENT OVERVIEW

The Budget 2013 Load and Energy Forecast is a base case forecast using Moody’s Analytics’s economic forecast, a 20-year normal weather definition, and an electricity price forecast based on results of financial planning models and information from the Department of Energy.  The economic forecast for the base case represents a description of the economic environment that is most likely to take place absent climate legislation or new environmental rulemaking.  There are many possible events or actions that could occur, however, to change the characteristics of the economy or business environment of Georgia Power Company and, consequently, forecasted energy sales.  Similarly, there is a possibility of deviation from the price assumptions and current regulatory environment.  In order to evaluate the impact of changes to some of these key assumptions and variables, sensitivities around the key forecast variables and scenarios around potential carbon and fuel price outcomes were developed.

# 7.1	SENSITIVITIES

Five sensitivities were developed for Budget 2013.  Relative to the "Base Case" forecast, they are 1) high economic growth, 2) low economic growth, 3) no load growth with continued DSM growth, 4) no load growth and no additional DSM, and 5) load growth with aggressive DSM growth.  In the current application, a sensitivity is defined as a specified collection of univariate changes occurring coincidentally.  The high and low economic scenarios used alternative economic forecasts from Moody’s Analytics.  For the high economic sensitivity, the economy’s average and peak short-term growth rates are somewhat higher than in the base case.  The low economic sensitivity assumes a long-term economic growth rate below what is currently thought to be the economy’s potential.

These sensitivities were performed to identify impacts to the energy and peak demand forecasts pursuant to the specified changes in economic variables utilized in the energy forecast.  Identification of the sensitivities does not imply that they will necessarily occur.

The variables and results of the sensitivities are identified in the following attachments.

### Attachment 7.1-1: Annual Energy Sensitivity Summary

Budget 2013

### Attachment 7.1-2: Annual Peak Demand Sensitivity Summary

Budget 2013

# 7.2	SCENARIOS

Nine scenarios were developed for Budget 2013 to evaluate the effects of different potential combinations of carbon cost and fuel forecasts. The three fuel scenarios are 1) Low, 2) Moderate (the basis for the “Base Case” energy forecast), and 3) High.  Potential carbon legislation was modeled as a tax on the economy at varying prices resulting in differing economic conditions. The levels of the carbon cost used are 1) existing CO2 (current legislative environment and the basis for the “Base Case” energy forecast), 2) moderate CO2, and 3) significant CO2. Charles River Associates (“CRA”), a leading economic consulting firm, was engaged to develop economic models that could be used to investigate the effects of various carbon costs on the economy.

Each of the nine cases was created by comparing the “Base Case” residential, commercial, and industrial outcomes with respect to electricity demand with the same variables in the scenario case.  Multipliers derived from this comparison were used to adjust residential, commercial, and industrial energy use and demand forecasts at the Southern Company level using REEPS, COMMEND, and INFORM.  Southern Company (“SOCO”) results were then allocated across the four retail operating companies, Georgia Power, Alabama Power, Mississippi Power, and Gulf Power.

These scenarios were done to identify impacts to the energy and peak demand forecasts pursuant to the matrix of fuel forecasts and carbon costs.  Identification of the scenarios does not imply that they will necessarily come to fruition.

The formulaic description for the process for each forecast year is:

• CRA change case electricity demand ÷ CRA base case electricity demand = Scenario variable multiplier

• Unadjusted Budget 2013 class-level energy in end use model x Scenario variable multiplier = Adjusted class-level energy used for scenario energy forecast

Once all years are calculated for all classes, they are combined together for the Southern Company scenario energy forecast.

The CRA model outputs include estimated impacts on retail energy by customer class and the CRA energy changes can be applied directly to internal energy projections.  Estimating the effects of fuel/carbon cost combinations on peak demand is more difficult than on energy use, because changes in energy by class will typically result in a change in the class composition of the total system shape.  The shares of residential, commercial, and industrial energy use in the total system will generally change.  Each of these customer classes exhibits different hourly patterns, and these differences in load shapes mean that the change in total peak demand will not equal the change in total energy.  Because of time and resource constraints, it was impractical to re-run each of the operating companies’ HELM models for all scenarios.  As a result, a simplified method of estimating a new total system peak demand was developed.

The change in total peak demand will differ from the change in total energy if there is a change in the class composition.  But, for a single class, the change in non-coincident peak (“NCP”) is the same as the change in energy if a constant load factor is a function of the coincident peak (“CP”) of that class and the CP is a function of the NCP and the diversity factor for that class.

If the diversity factor for each class remains constant across the various scenarios, a new total system peak demand can be estimated by calculating new NCPs for each class and new CPs for each class.

The key assumptions for this result are: 1) for each class, load factors are not affected by changes in energy, and 2) diversity factors for each class are not affected by changes in the total system’s class composition for energy.  Diversity factors remain the same even if energy shares by class change.

Example

Assume a given system with the following:

|  | Residential | Commercial | Industrial | System |
| --- | --- | --- | --- | --- |
| Energy (GWH) | 10,000 | 10,000 | 10,000 | 30,000 |
| Load factor | 40.0 % | 60.0 % | 80.0 % |  |
| Diversity | 90.0 % | 95.0 % | 98.0 % |  |

The NCPs and CPs are as follows:

|  | Residential | Commercial | Industrial | System |
| --- | --- | --- | --- | --- |
| NCP (MW) | 2,854 | 1,903 | 1,427 |  |
| CP (MW) | 2,568 | 1,807 | 1,398 | 5,774 (Load factor=59.3%) |

New NCPs and CPs result from the indicated changes in energy use:

|  | Residential | Commercial | Industrial | System |
| --- | --- | --- | --- | --- |
| Change (%) | -5.0 % | -10.0 % | -15.0 % |  |
| Energy (GWH) | 9,500 | 9,000 | 8,500 | 27,000 (-10% change) |
| NCP (MW) | 2,711 | 1,712 | 1,213 |  |
| CP (MW) | 2,440 | 1,627 | 1,189 | 5,255 (-9.0 % change) |

The variables and results of the scenarios are identified in the following attachments.

### Attachment 7.2-1: Annual Energy Scenario Summary

Budget 2013

| Year | Existing Carbon |  |  | Moderate Carbon |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Low Fuel | Moderate Fuel (Base Case) | High Fuel | Low Fuel | Moderate Fuel | High Fuel |  |
|  | (GWh) | (GWh) | (GWh) | (GWh) | (GWh) | (GWh) |  |
| 2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2016 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2017 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2018 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2019 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2020 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2021 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2022 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2023 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2024 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |

Attachment 7.2-1: Annual Energy Scenario Summary (cont’d)

Budget 2013

| Year | Significant Carbon |  |  |
| --- | --- | --- | --- |
|  | Low Fuel | Moderate Fuel | High Fuel |
|  | (GWh) | (GWh) | (GWh) |
| 2013 | REDACTED | REDACTED | REDACTED |
| 2014 | REDACTED | REDACTED | REDACTED |
| 2015 | REDACTED | REDACTED | REDACTED |
| 2016 | REDACTED | REDACTED | REDACTED |
| 2017 | REDACTED | REDACTED | REDACTED |
| 2018 | REDACTED | REDACTED | REDACTED |
| 2019 | REDACTED | REDACTED | REDACTED |
| 2020 | REDACTED | REDACTED | REDACTED |
| 2021 | REDACTED | REDACTED | REDACTED |
| 2022 | REDACTED | REDACTED | REDACTED |
| 2023 | REDACTED | REDACTED | REDACTED |
| 2024 | REDACTED | REDACTED | REDACTED |
| 2025 | REDACTED | REDACTED | REDACTED |
| 2026 | REDACTED | REDACTED | REDACTED |
| 2027 | REDACTED | REDACTED | REDACTED |
| 2028 | REDACTED | REDACTED | REDACTED |
| 2029 | REDACTED | REDACTED | REDACTED |
| 2030 | REDACTED | REDACTED | REDACTED |
| 2031 | REDACTED | REDACTED | REDACTED |
| 2032 | REDACTED | REDACTED | REDACTED |

### Attachment 7.2-2: Annual Peak Demand Scenario Summary

Budget 2013

| Year | Existing Carbon |  |  | Moderate Carbon |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Low Fuel | Moderate Fuel (Base Case) | High Fuel | Low Fuel | Moderate Fuel | High Fuel |  |
|  | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) |  |
| 2013 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2014 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2015 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2016 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2017 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2018 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2019 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2020 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2021 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2022 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2023 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2024 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |

Attachment 7.2-2: Annual Peak Demand Scenario Summary (cont’d)

Budget 2013

| Year | Significant Carbon |  |  |
| --- | --- | --- | --- |
|  | Low Fuel | Moderate Fuel | High Fuel |
|  | (MW) | (MW) | (MW) |
| 2013 | REDACTED | REDACTED | REDACTED |
| 2014 | REDACTED | REDACTED | REDACTED |
| 2015 | REDACTED | REDACTED | REDACTED |
| 2016 | REDACTED | REDACTED | REDACTED |
| 2017 | REDACTED | REDACTED | REDACTED |
| 2018 | REDACTED | REDACTED | REDACTED |
| 2019 | REDACTED | REDACTED | REDACTED |
| 2020 | REDACTED | REDACTED | REDACTED |
| 2021 | REDACTED | REDACTED | REDACTED |
| 2022 | REDACTED | REDACTED | REDACTED |
| 2023 | REDACTED | REDACTED | REDACTED |
| 2024 | REDACTED | REDACTED | REDACTED |
| 2025 | REDACTED | REDACTED | REDACTED |
| 2026 | REDACTED | REDACTED | REDACTED |
| 2027 | REDACTED | REDACTED | REDACTED |
| 2028 | REDACTED | REDACTED | REDACTED |
| 2029 | REDACTED | REDACTED | REDACTED |
| 2030 | REDACTED | REDACTED | REDACTED |
| 2031 | REDACTED | REDACTED | REDACTED |
| 2032 | REDACTED | REDACTED | REDACTED |

SECTION 8.0 – FORECAST ASSUMPTIONS OVERVIEW

8.0	FORECAST ASSUMPTIONS OVERVIEW	129

8.1	SHORT-TERM ENERGY MODEL ECONOMIC ASSUMPTIONS	130

8.2	LONG-TERM ENERGY MODEL ECONOMIC ASSUMPTIONS	131

8.2.1	Overview	131

8.2.2	Income (Residential Activity)	131

8.2.3	Floor Space (Commercial Activity)	131

8.2.4	Industrial Production (Industrial Activity)	131

8.2.5	Demographics	132

8.2.5.1 Household Size	132

8.2.5.2 Housing Type Distribution	132

8.3	FUEL PRICE ASSUMPTIONS	132

8.3.1	Forecasts by Fuel Type: Electricity, Natural Gas, Refined Oil	132

8.3.2	Substitution of Electricity with Competing Fuels, Saturation, and Penetration			133

8.4	FORECAST ADJUSTMENTS	135

8.4.1	Demand Side Strategies and Customer Actions	135

8.4.2	Cogeneration	136

8.4.3	Real Time Pricing and Time of Use	136

8.4.4	Distribution Efficiency Program	136

8.5	IMPACTS OF APPLIANCE EFFICIENCY STANDARDS	137

8.6	BUDGET 2013 ECONOMICS AND ADJUSTMENTS	138

Attachment 8.6-1: Retail Class Fuel Prices	138

Attachment 8.6-2: Cogeneration Energy Adjustments - Energy / Meter (MWh)	139

Attachment 8.6-3: Cogeneration Energy Adjustments - Energy / Generator (MWh)	140

Attachment 8.6-4: Cogeneration Peak Demand Adjust.-Territorial / Meter (MW)	141

Attachment 8.6-5: Cogeneration Peak Demand Adjust.-Territorial/Generator (MW)	142

8.7	RESOURCE SIDE DEMAND SIDE OPTIONS	143

# 8.0	FORECAST ASSUMPTIONS OVERVIEW

The Budget 2013 forecast assumptions were jointly developed by Georgia Power Company’s Market Planning, and Financial Planning and Analysis departments, and Southern Company Services Forecasting, Marketing, Fuel Services, and System Planning departments.  Major assumptions include the economic outlook for the U.S. and Georgia, as well as the long-term outlook for fuel prices and market profiles for class end uses.

Moody’s Analytics provided the economic forecasts for the Budget 2013 energy forecast.  The economic forecast was developed in the summer of 2012.  Moody’s Analytics. is a leading independent provider of economic, financial, country, and industry research designed to meet the diverse planning and information needs of businesses, governments, and professional investors worldwide. Their research has many dimensions: country analysis; financial markets; industrial markets; and regional markets.  Moody’s Analytics’s information and services are used in a variety of ways, including strategic planning; product and sales forecasting; risk and sensitivity management; and as investment research.  They have over 500 clients worldwide, including the largest commercial and investment banks, insurance companies, financial services firms, mutual funds, governments at all levels, manufacturers; utilities, and industrial and technology clients (Source: Moody’s Analytics web page).

Moody’s Analytics’s national and regional economic modeling system is an econometric system used each month to produce economic, demographic, and financial projections at the national, state, metropolitan, and county levels.  The modeling system is composed of two different models.  The models are known as the Industry Dominant Model (“IDM”) and the Comparative Advantage Model (“CAM”).   The first is based on the performance of the industrial mix of a region.  The second model places emphasis on the comparative advantages of the economy of the region.   Together the models produce a regional outlook for a specific area.  Moody’s economic forecast was reviewed and validated by Georgia Power Company and SCS Forecasting personnel.  The economic forecast is the foundation for the remaining forecast components (customers and energy).

As a part of the forecasting process, prices for electricity and alternative fuels such as natural gas and oil are reviewed and analyzed.  Electricity price forecasts were based on results of internal financial planning models.  The financial planning models produce electricity price forecasts assuming a specific company construction plan, the financial needs of Georgia Power Company, and economic conditions.  The electricity price forecasts were developed in the spring of 2012.  Projections of natural gas prices were developed by SCS Fuel Services. Oil price projections were developed by SCS Forecasting using the 2012 Annual Energy Outlook from the Department of Energy.  Georgia Power Company’s long-term forecasting models incorporate these retail fuel prices when modeling the fuel choices and efficiency decisions of consumers and decision-makers.

Other factors such as the impacts of appliance efficiency standards were also considered in both the short- and long-term forecasts. The end-use models for the long-term energy forecast incorporate minimum standards for new appliances as well as replacement options. An aggregate measure of these standards is also used in the short-term residential model.

Both the short-term and the long-term energy models assume a 20-year average of Cooling Degree Days and Heating Degree Days for “normal” weather.

# 8.1	SHORT-TERM ENERGY MODEL ECONOMIC ASSUMPTIONS

The Budget 2013 short-term models use economic and demographic inputs from a Georgia forecast produced by Moody’s Analytics. The short-term energy forecasts rely on the monthly interpolations derived from quarterly projections of various economic variables, including personal income, commercial real estate square footage, manufacturing employment, industrial production, and the industry-specific values of gross state product.  Please refer to Attachment 8.6-1 for details.

# 8.2	LONG-TERM ENERGY MODEL ECONOMIC ASSUMPTIONS

## 8.2.1	Overview

The Budget 2013 long-term energy models used economic and demographic inputs developed from the Georgia forecast produced by Moody’s Analytics.

Several general indicators are used to evaluate and assess the state of the Georgia economy.  Gross state product, population, real personal income, inflation, employment, and the number of housing starts are good indicators of the state of the economy.  Inflation was measured using the chain-weighted gross domestic product deflator.  The historical and projected data for several of the economic and demographic variables for the state of Georgia developed in the economic model are provided in Attachment 8.6-1.

## 8.2.2	Income (Residential Activity)

The long-term residential energy forecast is produced using average real household income as the key economic driver.  The Georgia average real household income is obtained by dividing real personal income by the number of households in Georgia.  It is assumed that the average derived from this calculation adequately represents the average household income for the residential customers of Georgia Power Company.  Moreover, this proxy is used in forecasting residential energy consumption through describing the income effects on appliance usage.

## 8.2.3	Floor Space (Commercial Activity)

The commercial energy model, COMMEND, used in Budget 2013 uses floor space by building type to produce a long-term forecast.  The economic forecast provides floor space by several economic categories often referred to as building types.

## 8.2.4	Industrial Production (Industrial Activity)

The industrial end-use model, INFORM, used in Budget 2013 uses monthly industrial production by selected SIC categories for the state of Georgia as a driver to forecast long-term energy sales.  This driver describes the output of each SIC category in the industrial class.  Since the energy requirements of each SIC group are closely related to the quantity of output produced, this measure is a good choice for a driver of the industrial forecast.  Since the government reclassified economic activity from a SIC to a NAICS basis in 1997, SIC classified industrial production data is no longer available from Moody’s Analytics. For Budget 2013, industrial production was grouped on a NAICS basis and mapped to SIC during the industrial forecast process.

## 8.2.5	Demographics

Demographic trends in Georgia are an integral part of the Georgia economy and play an important role in energy consumption trends.  Consequently, several demographic variables are key indicators for the various energy and customer models used in Budget 2013.  Population, the number of households, and housing stock forecasts are produced by the economic model.

## 8.2.5.1 Household Size

The long-term residential energy model uses annual projections of the number of persons per household.  This was obtained by dividing the population of Georgia by the number of households in Georgia.  This average represented the characteristics of household size for the residential customers of Georgia Power Company.

## 8.2.5.2 Housing Type Distribution

The long-term residential energy model, REEPS, is configured to forecast energy sales by housing type.  The three housing types modeled are single family, multi-family, and manufactured homes.  REEPS requires an annual projection of the housing stock by each of these housing types.  Historical and forecast values for the Georgia Power Company residential customer housing stock distributions by housing type were based on the 2007 Georgia Power Company Residential Saturation Survey and Moody’s Analytics’s housing stock forecast.

# 8.3	FUEL PRICE ASSUMPTIONS

## 8.3.1	Forecasts by Fuel Type: Electricity, Natural Gas, Refined Oil

Forecasts of retail fuel prices were required for the energy models of three customer classes: residential, commercial, and industrial.

The long-term residential, commercial, and industrial energy models require forecasted fuel prices as an exogenous input.  The electricity price forecasts are based on results of financial planning models produced by Financial Planning and Analysis.  These prices were developed in the spring of 2012.  The natural gas prices are developed by SCS Fuel Services. The oil prices are developed using the 2012 Annual Energy Outlook from the Department of Energy.  The long-term forecasting models incorporate these retail fuel prices when modeling the fuel choices and efficiency decisions of consumers and decision-makers.  Electricity, natural gas, and oil price projections for the residential, commercial, and industrial classes are presented in Attachment 8.6-2.

## 8.3.2	Substitution of Electricity with Competing Fuels, Saturation, and Penetration

Fuel choice is an important factor to consider in the development of the forecast.  Each customer responds, in various ways, to the price of electricity relative to the price of alternative fuels.  The responsiveness of the customer, or decision-maker, depends on the customer’s desire and ability to change.  These factors are recognized and are incorporated in the Georgia Power Company forecast.

The residential long-term energy model incorporates electricity and gas prices.  The model calibrates the historical base year energies for each appliance type to unit energy consumption (“UEC”) values and total class energy.  The UEC’s are derived from conditional demand studies, engineering estimates, and field tests and observations.  The model uses multinomial logit logic to calibrate the effect of the base year prices to the energies by appliance.  The multinomial logic is extended throughout the forecast period and uses a measurement of price elasticity to describe the customer’s responsiveness to changes in price.  The price elasticity is obtained from national estimates.  In this way, the effect on energy is a result of the responsiveness (price elasticity) that a customer has to a specified change in fuel price.  The choice of a new appliance is determined by evaluating the life cycle cost of alternative appliances for a given end use.  The life cycle cost includes the projected price of electricity, capital cost, and consumer discount rate.

A residential customer can respond to electricity prices by changing his thermostat setting (setting his own comfort level), altering the use of his appliances, turning off unnecessary lights, or changing any number of behaviors that result in a change in consumption.

The residential, commercial, and industrial long-term energy models use the same modeling and conceptual framework.  The model simulates the decision making process of the decision maker by evaluating both price and non-price factors.  The price-related factors include the operating cost, capital cost, and any additional O&M costs that are associated with each end-use appliance.  The non-price factors include consumer preferences, perceptions, and behavioral practices that are not price related but influence the selection of an appliance technology.  The model calibrates to historical energy patterns and assigns the responses to price and non-price factors.

The model focuses on decisions made at the margin.  For example, in the construction of a building or plant, the building owner or plant manager evaluates all of the available efficiency options given the fuel prices for each of those options.  He looks at the costs associated with those options, including fuel price, capital cost, life cycle cost, and associated O&M of each technology choice.  All of these factors are evaluated given the consumer’s (building owner or plant manager) implied discount rates.  In addition to evaluating all of the price factors, he also evaluates non-price factors.  His decisions include his biases for or against particular choices based on his preferences, attitudes, and perceptions.  The model simulates this by evaluating the end-use fuel choices based on economic choices and then compares this to the historical choices actually made.  Any difference between the economic choice due to price and actual historical choice is assumed to be a non-price market factor.

In the forecast, economic and non-price factors are considered in order to determine the end-use market shares that decision makers would choose.  The capital cost, operating cost, and O&M costs make up the life cycle cost of a particular energy using device with a known or assumed efficiency.  As the prices vary among the alternative fuels (e.g., electricity and gas), the operating cost will also vary and will affect the choices of end-use fuel types made by the consumer.  Likewise, as the capital cost of the appliances of alternative fuel choices vary, the choices of appliances will also vary.  In this manner, the long-term commercial and industrial energy models capture the effects of competing fuels in end uses.

End-use data showing penetration and saturation rates are provided in Section 5.

# 8.4	FORECAST ADJUSTMENTS

Demand side strategies and customer actions, existing distribution efficiency program (“DEP”), and Time of Use (“TOU”) rates are captured directly in the forecast.  RTP response, cogeneration, and new DSM are captured in the forecast through an external adjustment.  Attachment 6.0-1 shows the external adjustments capturing the annual impacts of RTP response, cogeneration, and new DSM to the peak demand.

## 8.4.1	Demand Side Strategies and Customer Actions

The Budget 2013 forecast incorporated adjustments for load responses by customers to changes in price, as well as for demand side programs being offered to customers that are anticipated to result in reduced peak demand.  There are two types of impacts incorporated directly in the forecast:  (1) the historical set of customer actions embedded in the historical data that are implicitly propagated throughout the forecast, and (2) adopted efficiency standards in the residential end-use models.

Georgia Power Company offers marketing programs to promote energy savings to residential customers and to encourage use during off-peak months.  These programs have existed for more than a decade and the benefits from the programs are embedded in Georgia Power Company’s historical load and energy sales.  Therefore, the forecasts produced by using historical energy data and the embedded energy effects have an embedded effect propagated throughout the forecast.  Other conservation measures undertaken by customers, whether explicitly induced by a marketing program or proactively undertaken by a customer for some other reason will become embedded in the historical energy data and will be implicitly propagated throughout the forecast.

An additional type of demand side impact considered in the Budget 2013 forecast is the adopted efficiency standards in the residential end-use models.  The efficiency standards represent the continuing trend of increasing end-use efficiency driven in part by programs such as ENERGY STAR®.

## 8.4.2	Cogeneration

The effects of cogeneration are incorporated in the Budget 2013 forecast.  Available near-term information for known and expected cogeneration projects has been assembled. INFORM was developed as the basis of electricity sales without assumptions for new cogeneration.  Adjustments to the Budget 2013 forecast for the impacts of additional (new) cogeneration were made exogenously and were applied to the commercial and industrial forecasts beginning in 2012.  Attachments 8.6-3 (cogeneration energy reduction at meter) and 8.6-4 (cogeneration reduction at generator) each provides a table of the projected cogeneration.

Information for known and expected increases in cogeneration was obtained by Georgia Power Company Sales and Service personnel from interviews with industrial customers with either existing cogeneration or an announced project.  A probability that each reported cogeneration project would actually materialize was estimated for each.  The probability-weighted MW announcements were then used to project the amount of additional cogeneration to incorporate in the forecast.  The estimated MW cogeneration load was then converted into MWh energy generation using a common load factor.

## 8.4.3	Real Time Pricing and Time of Use

The RTP rate is designed to enable customers to take advantage of the variations in hourly system marginal costs.  This gives the customer the opportunity to control their own cost in using electricity by changing their load shape in response to hourly price signals.  Current estimates based on analyses of customer responsiveness to the RTP rate indicate a reduction to peak demand of REDACTED MW in 2012, increasing to a reduction of REDACTED MW in 2032.   RTP response is captured in the forecast through an external adjustment.

TOU rates also give customers the incentive to control their costs by the differentiation of the prices of energy depending on time of day.  Customers have been on TOU rates for a number of years and the impact of their usage patterns is being captured in the class load shapes that were used in development of the peak demand model.

## 8.4.4	Distribution Efficiency Program

Georgia Power’s Distribution Efficiency Program consists of two parts.  DEP and CVR (Conservation Voltage Reduction).  The Distribution Efficiency Program was implemented in 1998 and the direct benefits of system load reduction have been captured in the load history and therefore directly in the forecast.  Benefits from CVR are Resource Adjustments.

# 8.5	IMPACTS OF APPLIANCE EFFICIENCY STANDARDS

The efficiency of appliances and devices selected by decision-makers and consumers has a substantial impact on the energy requirements of the forecast.  Market forces and conditions, economic valuation, and convenience have considerable impact on the choice of appliances.  Various state and federal regulatory bodies and legislation, however, have also made provisions to ensure increases in appliance efficiency.  Notable instruments that serve to ensure the efficient use of electricity and thermal building integrity include the Georgia State Energy Code for Buildings, the National Energy Policy Act of 1992 (“NEPA”, also known as “EPACT”), the Energy Policy Act of 2005, the National Appliance Energy Conservation Act of 1987 (“NAECA”) and the Energy Independence and Security Act of 2007 (“EISA”).  In addition to these, new review and rule-making proceedings are routinely conducted at the state and federal levels.

These Acts contain a wide variety of provisions that will affect the demand and supply of electricity.  Budget 2013 incorporates the Energy Conservation Standards for Water Heaters in 2004 and 2010, the National Efficiency Standards for central air conditioners and heat pumps in 2006, and the NEPA standards detailed in Title I.  The end-use models incorporate projected efficiencies which are generally consistent with those in the Department of Energy’s Annual Energy Outlook 2009-2011.

# 8.6	BUDGET 2013 ECONOMICS AND ADJUSTMENTS

### Attachment 8.6-1: Retail Class Fuel Prices

Budget 2013

(Fuel Prices Reported in Nominal Values)

### Attachment 8.6-2: Cogeneration Energy Adjustments - Energy / Meter (MWh)

Energy Requirements at the Meter by Month

Budget 2013

### Attachment 8.6-3: Cogeneration Energy Adjustments - Energy / Generator (MWh)

Energy Supply at the Generator by Month

Budget 2013

### Attachment 8.6-4: Cogeneration Peak Demand Adjust.-Territorial / Meter (MW)

Georgia Territorial Peak Demand at the Meter by Month

Budget 2013

### Attachment 8.6-5: Cogeneration Peak Demand Adjust.-Territorial/Generator (MW)

Georgia Territorial Peak Demand at the Generator by Month

Budget 2013

# 8.7	RESOURCE SIDE DEMAND SIDE OPTIONS

Demand Side Options (“DSO”) that are used as capacity resources do not affect the Peak Demand forecast directly.   DSOs that fall into this category include Direct Load Control (DLC - Power Credit), Demand Plus Energy Credit (DPEC - Interruptible rate), SBG (Stand by Generation), CVR, and Extreme RTP Response.

SECTION 9.0 – FINAL IRP REQUIREMENT OVERVIEW

9.0	FINAL IRP REQUIREMENT OVERVIEW	145

9.1	DESCRIPTION OF WEATHER NORMALIZATION	145

9.2	REVIEW OF ECONOMIC INPUTS AND LOAD PROFILES	146

Attachment 9.2-1: Load Profiles (MW)	149

9.3	ACTUAL & EXPECTED INTERRUPTIBLE DEMAND	218

Attachment 9.3-1: Budget 2013 Actual & Expected Interruptible Demand	218

9.4	EVALUATION OF PREVIOUS FORECASTS	219

Attachment 9.4-1: Energy Comparisons by Class	220

Attachment 9.4-2: Actual and Budget Peak Demand	226

Attachment 9.4-3: Comparison of Forecast and Actual Demand	227

Attachment 9.4-4: Comparison of Forecast and Weather Normal Demand	227

9.4.1	General Enhancements	228

9.4.2	Specific Enhancements	229

9.5	ENERGY RESEARCH PLAN	231

9.5.1	Confidentiality	232

9.5.2	Introduction	232

Table 9.5.2-1: Research Requirements for Complying with PSC Rules 515-3-4	232

9.5.3	Summary	234

9.5.4	Survey Research	235

9.5.4.1  Regulatory Requirements	235

9.5.4.2  Data Collection and Utilization Plan	235

9.5.5	Load Research	236

9.5.5.1  Regulatory Requirements	236

9.5.5.2  Class Load Research Project	236

9.5.6	Analysis	236

9.5.6.1  Regulatory Requirements	236

9.5.6.2  Analysis Projects	237

9.5.6.2-1  End Use Load Shape Catalog	237

9.5.6.2-2  End Use Load Shape Modeling	237

# 9.0	FINAL IRP REQUIREMENT OVERVIEW

This section is a supplement to the Budget 2013 Load and Energy Forecast documentation book (the standard documentation) for the Georgia Power Company Budget 2013 Load and Energy Forecast.  It supplements the standard documentation to ensure the IRP rules are completely satisfied.

# 9.1	DESCRIPTION OF WEATHER NORMALIZATION

The purpose of weather normalizing energy and peak demand is to isolate the portion of variance between forecasted and actual values that arise from factors other than weather.  Methods for accounting for variances from weather for energy are similar to those used for peak demand.  Both are appropriate and justifiable.

Traditionally, energy forecasts are built using econometric models.  That is, energy sales may be dependent on some economic variables and weather.  A regression model will yield parameters that explain that relationship.  To build an econometric forecast of energy sales requires a forecast for the economic variables and weather.  For weather, the assumption is that future weather will be similar to the average of the prior 20 years, which is termed “normal weather.”  Then, using normal weather with the regression models yields a prediction of energy sales under average weather conditions.  To weather normalize after a period is over requires only the actual weather to be used with the model.  The difference between the normal weather-predicted energy sales and the actual weather-predicted energy sales is the amount of variance due to weather.

For years prior to 2000, a regression model was used to complete the peak demand normalization.  However, the method was subsequently changed so as to be in sync with how energies are handled.  That is, the model developed for the peak demand forecast is the same model used for the peak demand weather normalization.  The peak demand forecast model is built in HELM using “normal weather” and forecasted energies, which are based on “normal weather”.  To weather normalize, actual weather is input into this same HELM model; it is analogous to an “actual weather” scenario.  The difference between the normal weather-predicted peak demand and the actual weather-predicted peak demand is the amount of variance due to weather.

The peak demand can be affected by unanticipated high or low RTP prices in the same way that it is affected by extreme weather; therefore, it makes sense to also price normalize peak demand.  A model developed by the consulting group Christensen and Associates predicts the amount of RTP response to expect from customers based on “normal weather” and the RTP price forecast.  Actual weather and actual RTP prices are run through this same model in order to estimate the amount of response that actually occurred.  The difference between this estimated actual response and the forecasted response is the amount of variance due to RTP response, or price.

# 9.2	REVIEW OF ECONOMIC INPUTS AND LOAD PROFILES

Georgia Power Company’s forecasting organization carefully reviews all forecast inputs from internal and external sources for reasonableness and accuracy and requires providers to document assumptions and justify results that represent significant deviations from previous trends or expectations.  If we believe that the supporting documentation or explanation is inadequate, we work with the information provider to reach an outcome that is mutually agreed upon by us and the provider.

For the 2013 IRP, we reviewed all economic forecast inputs provided by Moody’s Analytics and, after receiving additional information from them and following some adjustments by them, we were satisfied that the economic forecast inputs were reasonable and consistent with those of other economic forecasters at the time the energy and load forecasts were developed.

Three areas of particular concern in the 2010 IRP – 1) the number of persons per household, 2) growth in average household income, and 3) the level of miscellaneous household energy consumption – were given particular scrutiny in the 2013 IRP.  Comparisons of the 2010 and 2013 assumptions for these three variables are shown in the graphs below.  We believe the current assumptions are reasonable.  Other economic data used to prepare the 2013 IRP are discussed below in various sections pertaining to each of the customer classes.

REDACTED

REDACTED

REDACTED

### Attachment 9.2-1: Load Profiles (MW)

| 1-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Jan-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Feb-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Mar-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Apr-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-May-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jun-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Jul-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Aug-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Sep-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Oct-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Nov-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Dec-09 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Jan-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Feb-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Mar-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Apr-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-May-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jun-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Jul-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Aug-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Sep-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Oct-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Nov-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Dec-10 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Jan-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Feb-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Mar-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Apr-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-May-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jun-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Jul-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Aug-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Sep-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Oct-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Nov-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 1-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 3-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 4-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 5-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 6-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 7-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 8-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 9-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 10-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 11-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 12-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 13-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 14-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 15-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 16-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 17-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 18-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 19-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 20-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 21-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 22-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 23-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 24-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 25-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 26-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 27-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 28-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 29-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 30-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 31-Dec-11 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
|  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

# 9.3	ACTUAL & EXPECTED INTERRUPTIBLE DEMAND

### Attachment 9.3-1: Budget 2013 Actual & Expected Interruptible Demand

# 9.4	EVALUATION OF PREVIOUS FORECASTS

This section describes an evaluation of the last four forecasts developed over the past five years.  This includes Budget 2009, Budget 2010, Budget 2011, and Budget 2012.  This section will show comparisons of actual and weather normalized energy and demand to the various Budgets.  This section will also give a qualitative assessment of the general changes that were made in the development of each forecast and the specific major changes that have been made in the development of recent forecasts.

Georgia Power Company monitors the performance of the current forecast for the current month.  This is done through a forecast variance report.  The monthly forecast variance report compares the forecast of class sales for the current month to the actual class sales of the current month.  This report also identifies how much energy is a result of the deviation between the actual weather conditions for the month and those used in the forecast.  The actual sales (by class) are compared to the forecast and weather adjusted forecast.  These comparisons are made for the billing month and calendar month for each class.  Reports of this sort help detect deviations from forecast and help identify discrepancies that may be systematic.  After review, there does not appear to be any systematic bias in the forecast that is not associated with actual versus forecasted economics.

Certain changes are made from year to year in response to evaluating previous forecasts, incorporating additional information, and meeting new or enhanced informational needs.  These changes are generally described in two categories:  (9.4.1) general activities and procedures used to produce new forecasts and (9.4.2) specific enhancements made to improve the forecasts.

Attachment 9.4-1 shows comparisons of actual and weather adjusted (weather normalized) energy versus budget by class of service for Georgia Power Company.  The report contains comparisons for residential, commercial, industrial, street lighting, MARTA, retail, and territorial.

### Attachment 9.4-1: Energy Comparisons by Class

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual Territorial Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Actual | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather Adjusted Territorial Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Weather Adjusted | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual Retail Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Actual | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather Adjusted Retail Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Weather Adjusted | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

Attachment 9.4-1: Energy Comparisons by Class (cont’d)

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual Residential Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Actual | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather Adjusted Residential Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Weather Adjusted | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual Commercial Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Actual | B08 | % Diff | B09 | % Diff | B10 | % Diff | B11 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather Adjusted Commercial Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Weather Adjusted | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

Attachment 9.4-1: Energy Comparisons by Class (cont’d)

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual Industrial Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Actual | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather Adjusted Industrial Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Weather Adjusted | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual Governmental Lighting Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Actual | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

| Georgia Power Company |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual MARTA Energy (GWh) |  |  |  |  |  |  |  |  |  |
| Year | Actual | B09 | % Diff | B10 | % Diff | B11 | % Diff | B12 | %Diff |
| 2007 | REDACTED |  |  |  |  |  |  |  |  |
| 2008 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2009 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

See Note following Attachment 9.4-1

Note: 1) Calendar data

The tables as listed below show comparisons of actual and weather normalized peak demand versus budget by class of service for Georgia Power Company.

### Attachment 9.4-2: Actual and Budget Peak Demand

| GEORGIA POWER COMPANY TOTAL DEMAND (MW) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Year | ACTUAL | Budget 2009 | Budget 2010 | Budget 2011 | Budget 2012 | Budget 2013 |
| 2001 | 15,320 |  |  |  |  |  |
| 2002 | 16,559 |  |  |  |  |  |
| 2003 | 15,841 |  |  |  |  |  |
| 2004 | 16,116 |  |  |  |  |  |
| 2005 | 16,925 |  |  |  |  |  |
| 2006 | 17,160 |  |  |  |  |  |
| 2007 | 17,985 |  |  |  |  |  |
| 2008 | 17,271 | 16,873 |  |  |  |  |
| 2009 | 16,081 | 17,244 | 17,038 |  |  |  |
| 2010 | 17,153 | 17,643 | 17,014 | 17,016 |  |  |
| 2011 | 16,942 | 18,158 | 17,232 | 17,128 | 16,848 |  |
| 2012 | 16,441 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2013 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2014 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2015 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2016 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2017 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2018 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2019 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2020 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2021 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2022 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2023 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2024 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2025 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2026 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2027 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2028 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2029 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2030 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2031 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2032 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| 2033 |  | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

Note: All data is Calendar data

### Attachment 9.4-3: Comparison of Forecast and Actual Demand

| GEORGIA POWER COMPANY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ACTUAL | Budget 2009 | Budget 2010 | Budget 2011 | Budget 2012 | Budget 2013 |
| 2009 | 16,081 | REDACTED | REDACTED |  |  |  |
| 2010 | 17,153 | REDACTED | REDACTED | REDACTED |  |  |
| 2011 | 16,942 | REDACTED | REDACTED | REDACTED | REDACTED |  |
| 2012 | 16,441 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |

Note: All data is Calendar data

### Attachment 9.4-4: Comparison of Forecast and Weather Normal Demand

| GEORGIA POWER COMPANY |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | WN Demand | Budget 2009 | Budget 2010 |  | Budget 2011 | Budget 2012 | Budget 2013 |
| 2009 | REDACTED | REDACTED | REDACTED |  |  |  |  |
| 2010 | REDACTED | REDACTED | REDACTED | REDACTED |  | REDACTED | REDACTED |
| 2011 | REDACTED | REDACTED | REDACTED | REDACTED |  | REDACTED | REDACTED |
| 2012 | REDACTED | REDACTED | REDACTED | REDACTED |  | REDACTED | REDACTED |

Note: All data is Calendar data

## 9.4.1	General Enhancements

Whenever possible, each new forecast incorporates changes in a variety of areas that will improve the quality of the forecast.  New and revised data relating to the economy, demographic conditions, and fuel, for example, are included.  In addition, existing models are enhanced or are replaced with new models that take advantage of better data or improved estimation techniques.  Model specification, parameters, and equations are reviewed, assessed, and changed as appropriate.  The following list identifies the major updates and enhancements to the forecast.

Data:  Each energy use and demand forecast uses a recent, comprehensive set of consistent economic and demographic variables.  Currently, this includes information relating to income, output, households, floor space, and employment.  The latest available forecasts of the prices of alternative fuels (generally gas and electricity) and the latest available saturation data are also incorporated where appropriate.  End use device standards are reassessed and updated as available information permits.  Market profile data from survey and end-use research are assembled and used as newer or better data become available.  Weather files are updated annually.

Models:  Model specifications are reviewed and adjusted if necessary to account for new products, data availability, and significant events that may affect model accuracy.  In the most recent round of forecasts, for example, manufacturing employment was dropped from the industrial energy forecasting equation because the variable was no longer statistically significant in the equation, presumably because productivity improvements and the change in the mix of industries has greatly reduced the importance of employment as an indicator of energy use in the industrial sector.   In addition, and sample periods have been adjusted for all models to improve the statistical properties of the models.

Model Coefficients: Whenever new data are available or model specifications change, we re-estimate the forecasting equations, generate new model coefficients, and calculate new elasticities.

Judgment:  Based on new research, information, and experience, the collective expertise available to the Company is used to refine model results to produce the best possible forecast.

## 9.4.2	Specific Enhancements

Research, new information, and reviews of previous forecasts often reveal findings that enable the Company to make improvements in the forecast.  The changes identified below chronicle the evolution of the Budget 1998 forecast through the current Budget 2013 forecast.  Budgets are typically completed in the fall of the previous year (Budget 2013 was completed during fall 2012).  The major changes are identified below:

Budget 1998

Modeling of the economic and demographic forecasts and production of the economic forecast for the state of Georgia were outsourced to Regional Financial Associates.  Data Resources Incorporated (“DRI”) provided the national economic forecast.

The existing commercial and industrial models were replaced by EPRI models, COMMEND and INFORM.  This was done to maximize resource efficiency, minimize costs, and maximize resource expertise.  Forecasts for all three major energy classes were developed using EPRI products (REEPS for residential).  The EPRI products are well recognized nationally throughout the utility industry and employ consistent frameworks in each model while specifically targeting the necessary elements unique to each class.

Budget 2000

Trend-regression (econometric) methods used to develop residential, commercial, and industrial short-term energy models.

Budget 2001

Consistent 15-year weather normal definition adopted for both the econometric (short-term) and end-use (long-term) models for the energy sales forecast.

Adopted HELM to determine peak demand weather normalization, beginning with 2000’s peak.   Regression model used for years prior to 2000.

Updated HELM with new class load data and included multiple years in the development.

Budget 2004

Normal weather definition in HELM changed from a 30-year average to a 15-year average, making HELM normal weather consistent with the energy models.

Budget 2006

Updated the RTP response model.

Made adjustments in data to capture continuing customer reclassification.

Budget 2007

Energy histories further adjusted for customer reclassification.

Transmission and distribution loss factor methodology updated.

Savannah merger impacts:

Energy histories updated

Weather history updated

REEPS, COMMEND and INFORM updated

HELM updated

Budget 2009

Added price variables to short-term energy models.

Budget 2010

Replaced industrial GSP with industrial production to measure output in the short-term industrial energy models.  Replaced 15-year weather with 20-year weather to improve forecast consistency across operating companies.

Budget 2011

In the long-term residential model, added several new end uses, including computers, ceiling fans, DVRs, pool pumps, well pumps; split lighting into two types (traditional and fluorescent); split television into 2 types (conventional and other technologies such as plasma & LCD).

In the long-term commercial model, revised base year EUIs for education and warehouses due to addition of some base year share for office equipment.  Added office occupancy rate as an exogenous variable to capture downturn in the economy.

In the residential customer model, the households variable was replaced with housing stock and housing starts to capture new housing activity.

A number of changes were made in the short-term commercial model.  The data range was shortened to begin in 2000 rather than 1990.  Also, the interaction of the weather variables (heating and cooling degree days) with square footage was dropped because of the increase in the commercial vacancy rate associated with the Great Recession.  The billing days variable was dropped, and Atlanta population was added as a variable to capture new business formation.

In the short-term industrial model, cooling degree days interacted with monthly binaries replaced individual monthly dummy variables.

Budget 2012

In the long-term residential model, the following changes were made:

Base year was changed from 1999 to 2007

Vintages for shares/size/efficiency were updated so that prior to 2005 is “old” and 2005 to current is “new”

Base year “existing” shares obtained from 2007 Saturation Survey

Penetration “new” shares obtained from 2010 Saturation Survey

Changed UEC source (for all end uses except HVAC) from national RECS data to ENERSIM results run in-house, in order to get a more realistic picture of usage specific to GPC service territory

Split COOK into two categories (oven and stovetop)

Split water heating from two to five end uses (electric resistance, electric HP, electric tankless, gas, gas tankless)

Updated income and home size elasticities

In the residential customer model, the data range was shortened to begin in 2000 rather than 1990.  The unemployment rate replaced housing starts as an economic variable.

Budget 2013

Historical data ranges were shortened in the short-term residential, commercial, and industrial models.  For residential, the data for the new model begins in 2002 rather than 1999, and for commercial and industrial, it begins in 2005 rather than 2000.  In the industrial energy model, manufacturing employment was dropped.

9.5	ENERGY RESEARCH PLAN

This is Georgia Power Company’s Energy Research Plan (2013-2015) for the 2013 Integrated Resource Plan.

## 9.5.1	Confidentiality

Georgia Power Company will provide all requested data and analysis developed in connection with the projects described, subject to the following data being filed in accordance with statutes governing treatment of confidential material in O.C.G.A.  Section 50-18-72:

- Data on individual customers or data which because of the small number of customers in a

class could be identified as a specific customer’s.

- Specific production processes, trade secrets or other information where a customer has

requested confidential treatment, and Georgia Power has assured the customer that as a

condition of receiving the data, the information would not be revealed to third parties

without the express written consent of the customer.

- Certain information which the Company deems proprietary in nature, and which will be

identified as such in the filing of the information.

## 9.5.2	Introduction

In compliance with Georgia Public Service Commission Utility Rule, Integrated Resource Planning, Georgia Power Company submits its four-year Research Plan, 2010-2013. This plan contains three major sections:

1. 	Survey Research

2.	Load Research

3.	Analysis

The research program addresses specific requirements of the rules issued to comply with O.C.G.A. 46-3A-2.  It includes only that research which is designed to meet specific filing requirements, or associated with meeting data requirements to support the filing of an integrated resource plan.  Research programs associated with evaluation plans for demand side program certification are contained in the respective program filing.  Table 9.5.2-1 summarizes the specific sections of the rules, and the proposed research program.

### Table 9.5.2-1: Research Requirements for Complying with PSC Rules 515-3-4

| Section | Requirement | Research Program |
| --- | --- | --- |
| 515-3-4.03 (1) - (2) (b) Energy and demand forecasting requirements | Historical peak demands, load factors, energy consumption by class. | Perform a continuous class load research study. |
| 515-3-4-.03 (3) (a) Forecast methodology | Most current data on end use penetration and saturation; penetration and saturation of the market of competing fuel end uses; behavioral factors affecting energy use. | Identify and incorporate secondary sources of data, supplemented as needed by surveys of individual customer classes to measure saturation, and behavioral factors affecting energy use. |
| 515-3-4-.03 (3) (c) Data requirements | Develop a data base of electricity consumption patterns by customer class and end use. | Supplement existing end use load shape information through use of user-friendly end use loadshape development tools created by Southern Company Services i.e., SitePro, EnerSim. |
| 515-3-4-.03 (3) (e) | Identify and describe ongoing and planned load research | Continuous load research studies of all customer classes. The quality of each sample is checked periodically and the sample is replaced if needed. |
| 515-3-4-.04 (4). Potential new demand side resources | Data to support analysis of new demand side resources, including identification of customer needs, and assessment of market potential. | Conduct secondary research to identify potential new demand side resources. Utilize periodic surveys to assess market potential and customer preferences for demand side programs and customer end use preferences. Monitor NAECA standards promulgated by the U.S. D.O.E. to better anticipate demand side effects. |

## 9.5.3	Summary

This document contains a description of the proposed research program that will allow Georgia Power Company to meet the requirements of Public Service Commission Rule 515-3-4, including required filing of information, development of forecasts, and evaluation of demand and supply side resources.  The key elements of this plan include:

Secondary Research.  Use readily available information such as the United States Department of Energy’s Energy Information Administration Residential Energy Consumption Survey (“RECS”), CBECS and MECS for the South Atlantic Region to develop end use penetration and saturation trends and measure customer building characteristics.

Customer Surveys.  Use customer surveys to develop end use penetration and saturation, and measure customer building characteristics

Continuous Load Study.  Install load research meters on a sample of all customer classes to ensure that load shapes can be developed by class for any time period, and that historical loads by class are available for the IRP filing.  A continuous load study will be conducted, and class samples will be rotated and changed on an as needed basis to maintain quality.

For end use load data, a data visualization tool as well as new load shape modeling tools have been developed to leverage use of the existing end use database and load shape catalog.

## 9.5.4	Survey Research

9.5.4.1  Regulatory Requirements

Public Service Commission rules require the filing of information on the saturation and penetration of end use equipment, including both electrical and alternative fueled end uses.  In addition, the rules require that the forecast be based on a disaggregated end use method or some other comparable forecasting methodology, which requires information on the saturation and penetration of end use equipment.  Further, the rules require the development of an end use technology catalog based on service area specific information, including information on equipment efficiencies, useful life, and energy and capacity impact information.  To the extent that the disaggregated end use methodology is used to develop the forecast, this research program will provide the data necessary to support this analysis and development of the forecast.

9.5.4.2  Data Collection and Utilization Plan

Residential Saturation Surveys were completed in 2007 and 2010. The results of these surveys were used to update the long-term, end use residential energy forecasting model (REEPS).  A new residential saturation survey is planned for completion in 2014.  A saturation survey to update several key commercial sectors was completed in 2004 and used to update the long-term end use commercial forecasting model (COMMEND).

If it is deemed necessary, the readily available survey data will be supplemented with surveys of appliance saturation and end use penetration in the various customer classes.

## 9.5.5	Load Research

9.5.5.1  Regulatory Requirements

Public Service Commission rules require the filing of information on the demand and energy characteristics of each of the utility's classes, including load profiles, on-peak, off-peak, and shoulder kWh, and summer, winter and annual peak demands, for the most recent three years of history and the first three years of the forecast period.

The rules require the development and filing of end use load and consumption information for each customer class.  In addition, the rules require that the forecast used in the Integrated Resource Plan filing be based on disaggregated end-use methods or some other comparable forecasting methodology.

The load research component of this research plan will provide the data to meet these requirements.

9.5.5.2  Class Load Research Project

Georgia Power uses continuous load studies of the residential, commercial and industrial classes that include a series of studies designed to the rate/class level. Over 1,400 customers are selected for these studies. The studies have a combination of census groups for small populations and statistical samples for larger customer groups served at secondary distribution. These studies have installed load metering equipment on a sample of customers from each rate/class combination. Combined with over 2,400 customers with interval metering equipment used for billing, the studies provide half hour data for each rate/class combination.

## 9.5.6	Analysis

9.5.6.1  Regulatory Requirements

Public Service Commission Rules Chapter 515-3-4 have the following requirements that will continue to be met through analysis of data collected in the preceding described research projects and/or review of existing currently available data from other sources:

Development of a data base of electricity consumption patterns by customer class and end use. (Section 515-3-4-.03 (3) (c))

9.5.6.2  Analysis Projects

9.5.6.2-1  End Use Load Shape Catalog

Using information collected in the end use load studies, and compiled from industry sources where necessary, Georgia Power Company has developed an end use load shape catalog.  The catalog contains load shapes for each major end use, for each customer class.  The catalog uses service territory specific data collected as part of the end use load studies and data from industry sources to fill data gaps. The catalog resides on the company intranet. A data visualization tool has been developed to increase ease of use of the existing end use database.

9.5.6.2-2  End Use Load Shape Modeling

User-friendly tools have been created by Southern Company to enable development of end use and individual customer load shapes based on both empirical data and engineering models.  The SitePro tool incorporates the end use load data that has been collected in previous research projects and couples that empirical data with the DOE-2 energy simulation program.  The tool provides the user with an ability to quickly and easily develop load shapes for a given end use and facility.  The EnerSim tool is an adaptation of the AXCESS Building Energy Simulation model.  It is an engineering based simulation tool that enables the user to easily develop energy use profiles and load shapes for various building types and energy system combinations.  The EZ-Sim tool is a residential version of the EnerSim tool.

SECTION 10.0 – ACRONYM & ABBREVIATION GLOSSARY

10.0 ACRONYM & ABBREVIATION GLOSSARY	239

# 10.0 ACRONYM & ABBREVIATION GLOSSARY

| Acronym | Definition |
| --- | --- |
| AAGR | Average Annual Growth Rate |
| ARIMA | Autoregressive Integrated Moving Average |
| BDR | Billing Data Retrieval |
| BTU | British Thermal Unit |
| CAGR | Compound Annual Growth Rate |
| CBECS | Commercial Building Energy Consumption Survey |
| CDD | Cooling Degree Days |
| COGEN | Cogeneration |
| COMMEND | Commercial End-Use Model |
| CRA | Charles Rivers and Associates. |
| CSS | Customer Service System |
| CVR | Conservation Voltage Reduction |
| DEP | Distribution Efficiency Program |
| DOE | U.S. Department of Energy |
| DSO | Demand Side Options |
| DPEC | Demand Plus Energy Credit Rider |
| EPRI | Electric Power Research Institute |
| EUI | Energy Usage Index |
| GDP | Gross Domestic Product |
| GSP | Gross State Product |
| HDD | Heating Degree Days |
| HEL | High Efficiency Lighting |
| HELM | Hourly Electric Load Model |
| HVAC | Heating Ventilation Air Conditioning |
| INFORM | Industrial End-Use Forecasting Model |
| IS | Interruptible Service |
| LT | Long Term |
| MEAG | Municipal Electric Authority of Georgia |
| NAECA | National Appliance Energy Conservation Act of 1987 |
| NEPA | National Energy Policy Act of 1992 |
| NAICS | North American Industry Classification System |
| OPC | Oglethorpe Power Corporation |
| RECS | Residential Energy Consumption Survey |
| REEPS | Residential End-Use Planning System |
| RTP | Real Time Pricing |
| SBG | Stand-by Generation |
| SCS | Southern Company Services |
| Acronym | Definition |
| SEPA | South Eastern Power Administration |
| SES | Southern Energy Services |
| SIC | Standard Industrial Classification |
| SSA | Special Service Accounts – Those that require custom billing. Example: RTP customers |
| ST | Short Term |
| TMY | Typical Meteorological Year |
| TOU | Time of Use |
| UEC | Unit Energy Consumption |
| UI | Usage Index for a Base Year |