11/19/2013

CERTIFIED MAIL – RETURN RECEIPT REQUESTED

Mr. Reece McAlister

Executive Secretary

Georgia Public Service Commission

244 Washington Street

Atlanta, GA  30334

RE:  	Docket No. 37066

Inspection No. SS13-011

Dear Mr. McAlister:

The City of Lumpkin (“Lumpkin”) respectfully files this response to the Report on Inspection No. SS13-011, dated October 31, 2013, under Docket No. 37066.  In accordance with the Process for Responding to Enforcement Letters Issued by the Georgia Public Service Commission that was attached to the Report.

Enclosed herewith are five (5) copies of this response, as well as a CD containing an electronic version of the response.

CONTINUING PROBABLE VIOLATIONS

“Regarding the violation of 192.455 which was cited in inspection number LB10-047, Staff determined that this violation is still being addressed by the Operator and could not be cleared at this time. Staff will schedule a separate follow-up inspection for this probable violation.”

RESPONSE

In accordance with section IIb2 of the Process for Responding to Enforcement Letters Issued by the Georgia Public Service Commission, Lumpkin does not seek an informal conference and files a written plan of action outlining corrective measures that will be taken to achieve compliance and when compliance is anticipated, as follows:

In April, 2013, Lumpkin hired a contractor to complete bare service remediation.  Approximately 47 services have been remediated to date.

Lumpkin has identified some of the work, performed by the contractor, as unsatisfactory.   All work completed by the contractor is now being reviewed by both parties.

The unsatisfactory work and review has pushed the projected completion date back.  The project will be assigned to a new contractor, but will not be completed as previously projected.

“Regarding the violation of 192.805 which was cited in inspection number LB12-024, Staff determined that the Operator is still revising the new template for their OQ plan (see note on page 1 of attachment 1). Staff determined that this probable violation could not be cleared at this time.”

RESPONSE

In accordance with section IIb2 of the Process for Responding to Enforcement Letters Issued by the Georgia Public Service Commission, Lumpkin does not seek an informal conference and files a written plan of action outlining corrective measures that will be taken to achieve compliance and when compliance is anticipated, as follows:

Lumpkin has received updates to the GMA Gas Section Operator Qualification Plan.   Lumpkin will customize and implement the plan by March, 2014.

Please let us know if you have any questions or need additional information.

Sincerely,

CITY OF LUMPKIN

Phillip Hite

Lumpkin City Administrator

Attachments

cc:	Michelle Thebert, GPSC

Mikel Small, GPSC

Sam Yarley, SRCS