CERTIFIED MAIL – RETURN RECEIPT REQUESTED

Mr. Reece McAlister

Executive Secretary

Georgia Public Service Commission

244 Washington Street

Atlanta, GA  30334

RE:  	Docket No. 37066

Inspection No. CW14-028

Dear Mr. McAlister:

The City of Lumpkin (“Lumpkin”) respectfully files this acknowledgement of receipt of the Report on Inspection No. CW14-028 that was filed on July 15, 2014, under Docket No. 37066, in accordance with the Process for Responding to Enforcement Letters Issued by the Georgia Public Service Commission that was attached to the Report.  An update on the status of the Continuing Violation listed in the Report is included in this filing.

Enclosed herewith are five (5) copies of this response, as well as a CD containing an electronic version of the response.

CONTINUING VIOLATION

49 CFR §192.455  External corrosion control:  Buried or submerged pipelines installed after July 31, 1971

UPDATE

In accordance with section IIb2 of the Process for Responding to Enforcement Letters Issued by the Georgia Public Service Commission, Lumpkin does not contest the violation alleged or request an informal conference and files the following written updated plan of action outlining the corrective measures that will be taken to achieve compliance and when compliance is anticipated:

Lumpkin has performed many bare steel service replacements, but will not complete the remaining 25 bare steel services in house.  The city will be selecting a different contractor to complete the replacements.  Selection of a contractor and final remediation will be completed by February, 2015.

Please let us know if you have any questions or need additional information.

Sincerely,

city of lumpkin

Phillip Hite

City Administrator

cc:	Michelle Thebert, GPSC

Chris Welborn, GPSC

Sam Yarley, SRCS