BEFORE THE

GEORGIA PUBLIC SERVICE COMMISSION

| IN THE MATTER OF: GEORGIA POWER COMPANY’S FUEL COST RECOVERY APPLICATION (FCR-24) | DOCKET NO. 39638 |
| --- | --- |

PUBLIC DISCLOSURE

|  | DIRECT TESTIMONY |  |
| --- | --- | --- |
|  | AND EXHIBITS |  |
|  | OF |  |
|  | PHILIP M. HAYET |  |

On Behalf of the

Georgia Public Service Commission

Public Interest Advocacy Staff

November 4, 2015

TABLE OF CONTENTS

I.	BACKGROUND AND QUALIFICATIONS	2

II.	CONCLUSIONS AND RECOMMENDATIONS	4

III.	PROJECT SCOPE	5

Prudence Standard	7

Reasonableness Standard	9

Cost Eligibility	10

Minimum Filing Requirements	12

Fuel Balance and Proposed Rates	13

IV.	HISTORICAL REVIEW PERIOD	15

Historic Variance Analysis	16

Green Energy Program	18

Coal Inventory Review	19

Coal Procurement	28

Generation Units	33

2013 Plant Bowen Outage	38

Carrying Costs	52

V.	PROJECTED TEST PERIOD REVIEW	53

Staff's FCR-24 Rate Proposal	53

Time-of-Use Rates	54

Fuel Price Forecast Assumptions	55

Sales Sharing Mechanism	57

Senior Citizen Discount	59

Vogtle 3 and 4 Lost Fuel Savings	60

# BACKGROUND AND QUALIFICATIONS

Q.	Please state your nameS and business address.

A.	My name is Philip M. Hayet and my business address is 570 Colonial Park Drive, Suite 305, Roswell, Georgia, 30075.

Q.	What IS your occupation and WHERE are you employed?

A.	I am a utility rate and planning consultant holding the position of Vice President and Principal with the firm of J. Kennedy and Associates, Inc. (“Kennedy and Associates”).  I am appearing in this proceeding as a witness for the Georgia Public Service Commission (“Commission”) Public Interest Advocacy Staff (“Staff”).

Q.	briefly describe the nature of the consulting services provided by Kennedy and Associates.

A.	Kennedy and Associates provides consulting services to clients within the electric utility industry.  The firm provides expertise in resource planning, fuel auditing, load forecasting, financial analysis, cost of service, revenue requirements, rate design, production cost modeling, and utility industry policy analysis.

Q.	PLEASE SUMMARIZE YOUR EDUCATION, QUALIFICATIONS AND APPEARANCES.

A.	I earned a Bachelor of Science degree in Electrical Engineering from Purdue University in 1979, and a Master of Science degree in Electrical Engineering, with a specialization in Power Systems in 1980 from the Georgia Institute of Technology.  I have over thirty years of experience working in the electric utility industry.  More details regarding my educational background, professional qualifications, and appearances in regulatory proceedings may be found in Exhibit No.___(STF-Hayet-1).

Q.	HAVE YOU APPEARED PREVIOUSLY BEFORE THIS COMMISSION?

A.	Yes, I have testified on behalf of Staff on several occasions.  In June 2004, I testified in Georgia Power Company (“Georgia Power” or “Company”) and Savannah Electric's 2004 Integrated Resource Planning (“IRP”) proceedings (Docket Nos. 17687 and 17688).  I testified in Georgia Power’s 2007 and 2013 IRPs (Docket Nos. 24505 and 36498, respectively).  I testified in Georgia Power’s Application for Certification of Vogtle Units 3 and 4 (Docket No. 27800), and in each of Georgia Power’s Semi-Annual Vogtle Construction Monitoring proceedings (Docket No. 29849).  I testified in the following fuel cost recovery (“FCR”) proceedings: Docket Nos. 22403 (FCR-18), 23540 (FCR-19), 26794 (FCR-20), 28945 (FCR-21), 33302 (FCR-22), and 35277 (FCR-23).  In 2011, I testified concerning Georgia Power’s decertification of Plant Branch Units 1 & 2 (Docket No. 34218).

Q.	IS ANYONE ELSE SUBMITTING TESTIMONY ON BEHALF OF STAFF?

A.	Yes.  Dr. William R. Jacobs, Jr. will file testimony regarding nuclear plant issues, and Mr. Tom Newsome will file testimony concerning specific issues including fuel hedging and the Interim Fuel Rider Tariff (“IFR”).

Q.	WHAT IS THE PURPOSE OF YOUR TESTIMONY?

A.	In this testimony, I present recommendations concerning Georgia Power’s requested rate changes covering the 41-month historic period since the FCR-23 case, and the 24-month projected period.  I also present findings and recommendations regarding additional requests Georgia Power has made in this proceeding.  In this testimony any discussion of the fuel balance refers to the cumulative amount of fuel costs that has either been under-recovered or over-recovered from ratepayers.  An under-recovered fuel balance occurs when the fuel costs incurred by the Company exceed the fuel revenues collected from customers based on previously established fuel cost rates.  An over-recovered fuel balance occurs when the fuel costs incurred by the Company are less than the fuel revenues collected from customers based on the previously established fuel cost rates.

# CONCLUSIONS AND RECOMMENDATIONS

Q.	PLEASE SUMMARIZE YOUR CONCLUSIONS AND RECOMMENDATIONS.

A.	I have worked with Staff to develop the following conclusions and recommendations:

- Minimum Filing Requirements - Staff agrees with the Company’s proposal to revise minimum filing requirements and recommends a rulemaking docket be opened to review existing MFRs and determine if any additions, deletions, or modifications should be made to the existing requirements.  This process should be completed and an updated list of MFRs should be filed with the Commission at least 90 days prior to the next FCR filing.

- Green Energy Program – Staff intends to continue investigating the Green Pricing Tariff, and depending on our findings, may report them at the hearing.

- Coal Inventory – During the historical period in this proceeding, Georgia Power encountered problems managing its coal inventories, which led to having to burn coal uneconomically in some months at an additional cost that ratepayers would not have incurred had the units dispatched economically.  While I believe that Georgia Power took appropriate steps to manage its inventories, I request the Company to explain further what steps it will take to avoid encountering similar issues in the future.

- Removal of Plant Bowen Outage Costs - Staff has reviewed the Company’s calculation of the replacement power costs incurred associated with an extended Plant Bowen Outage that occurred in 2013.  The Company determined the fuel replacement cost from this outage was $1.3 million.  The Company recorded this cost by reducing the fuel balance by $1.3 million in June 2015.  The Company derived its estimate based on a spreadsheet dispatch model it developed.  Staff has reviewed and corrected flaws it found in the Company’s model  Staff’s revised estimate of the replacement power cost from this outage is $7.3 million. To properly account for this revision, Staff recommends an additional reduction in the fuel balance of $6 million be made.

- Time-of-Use (“TOU”) three part tariff - Staff agrees with the Company’s proposal that the three part TOU FCR tariff (TOU-FCR-TP-2) be made a permanent rate option for all customers that are served on the TOU-MB and the TOU-PEV rate.  However, Staff recommends that the Company be required in future FCR proceedings to provide a similar report as it provided in this proceeding regarding the results of the Tariff.

- Sales Sharing Mechanism - Staff believes that the sharing mechanisms associated with capacity and energy sales, including opportunity sales should be reviewed in the next base rate proceeding, and recommends the Commission direct the Company in its order, that this is an issue that should be addressed in the upcoming base rate case.

- Staff’s Revised FCR Rate Recommendation - Staff has revised the Company’s proposed FCR rates to include the adjustment to the fuel balance for the Plant Bowen fossil outage and for nuclear outages that Staff Witness Dr. William Jacobs discusses in his testimony.  With those adjustments, Staff recommends the Commission adopt Staff’s revised rates.

- Senior Citizen Discount - Staff has reviewed the current status of the senior citizen discount and recommends that the Company continue to ensure that those customers who are eligible to receive senior citizen discounts are properly and routinely informed of the existence of the discounts when customer interaction occurs.

# PROJECT SCOPE

Q.	PLEASE DESCRIBE STAFF’S APPROACH TO THIS FCR CASE.

A.	While Staff has retained Kennedy and Associates to assist in the technical aspects of the proceeding, Staff has maintained control over the scope, direction, and procedures of the case.  The procedures followed in this FCR case were the same as followed in prior cases, and this testimony represents Staff’s positions.

Q.	PLEASE DESCRIBE THE OVERALL SCOPE OF DISCOVERY IN THIS CASE.

A.	In total, seven formal sets of data requests were submitted, and additional informal requests were made to the Company.  During this proceeding, Staff had telephone conference calls with Company personnel, reviewed documents on-site at Georgia Power’s office, met with Southern Company personnel during a visit to the Southern Company Control Center in Birmingham, Alabama, and reviewed responses to Staff requests for information.

Q.	PLEASE DESCRIBE THE COMPONENTS OF THE FCR TARIFF.

A.	The proposed FCR is the sum of two components.  The first is the deferred cost component, which addresses recovery of the under or over-recovered balance that is expected will exist just prior to when the new FCR rates go into effect.  In this case, the Company expects that the under-recovered balance will only be $3.5 million as of December 31, 2015, the day before new rates are set to go into effect.  The second is the projected cost component, which is designed to recover fuel costs that are projected to occur during the period when the new FCR rates are expected to be in effect.  In this case, the Company projects that it will incur $4.4 billion of fuel costs during the period new rates are set to be in effect between January 1, 2016 and December 31, 2017.

Q.	WHAT STANDARDS AND REGULATORY PRINCIPLES ARE APPLICABLE TO THE DETERMINATION OF THE FCR RATE IN THIS PROCEEDING?

A.	There are three primary standards or tests that we considered in evaluating the FCR rates the Company has proposed in this proceeding:

1.	Were all of the requested costs legally and prudently incurred?  Illegal or imprudent costs may not be charged to ratepayers through the FCR.

2.	Will the recovery of the requested costs result in just and reasonable rates?  Are the requested costs reasonable and is the proposed recovery of these costs just and reasonable in light of circumstances at the time, and the historical cost recovery afforded the Company by this Commission?

3.	Are all of the requested costs eligible for the requested method of recovery?

Prudence Standard

Q.	PLEASE DISCUSS THE PRUDENCE STANDARD APPLICABLE TO THIS PROCEEDING.

A.	The Commission first adopted its current prudence standard in Docket No. 6739-U involving the Rocky Mountain Pumped Storage project.  The “Rocky Mountain” standard is shown below:

A decision must not be judged as correct or incorrect in the light of perfect hindsight.  Rather, a decision must be judged as to whether it was reasonable given the facts and circumstances which were known or which reasonably should have been known at the time the decision was made.  In applying this standard, it must be recognized that in any decision making process there may exist a range of choices, any or all of which could have been adopted by reasonable management in good faith and under the same set of circumstances.  If the Company has made a decision which falls within that “zone of reasonableness,” that decision must be found to have been prudent, irrespective of whether others may have selected another alternative, and irrespective of whether in hindsight another decision may now appear in hindsight to have been a more correct decision.

This standard is essentially a “reasonable man standard” in that the utility’s actions or decisions are compared to the reasonable actions or decisions of a qualified and experienced utility manager or operator given what was known, or reasonably should have been known, at the time without benefit of hindsight.  Thus, the actions and decisions of Company personnel must be judged on what they knew, or reasonably should have known, at the time the action was taken or the decision was made without benefit of hindsight.  Dr. Jacobs utilized this standard in his review of nuclear outages. I have included Dr. Jacobs’ recommended adjustments in the revised rates I recommend that the Commission adopt in this proceeding.

Q.	DOES THE FCR STATUTE, O.C.G.A. §46-2-26, PROVIDE ANY ADDITIONAL REQUIREMENTS CONCERNING PRUDENCE?

A.	O.C.G.A.§46-2-26(h) requires that “The commission shall disallow and make appropriate adjustment for any reported fuel cost that is the result of illegal or clearly imprudent conduct on the part of the utility.”

Q.	PLEASE DESCRIBE YOUR UNDERSTANDING OF WHAT IS MEANT BY “CLEARLY IMPRUDENT.”

A.	While I am not an attorney, I have been advised by Staff counsel that any determination of whether conduct by the Company was “clearly imprudent” is ultimately made by the Commission. A witness is responsible for supporting his conclusion that conduct was imprudent. After a witness testifies that certain conduct was imprudent, it is up to the Commission to decide whether such imprudent conduct was “clearly imprudent”, using whatever standard the Commission deems appropriate. For example, the Commission could apply such commonly accepted standards as “clear and convincing”, “preponderance of the evidence” or “beyond a reasonable doubt” in determining whether imprudent conduct was also clearly imprudent.

While I understand that the role of a witness is to support a conclusion that conduct was imprudent, allowing the Commission to apply whatever standard it deems appropriate, the Commission may desire that a witness recommend a standard to be applied by the Commission when reviewing acts of imprudence. In my opinion, in determining whether particular imprudent conduct is also clearly imprudent, the Commission should apply a “clear and convincing evidence” level of scrutiny. The “clear and convincing evidence” test is a medium level of scrutiny which is a more rigorous standard to meet than the preponderance of the evidence standard, but a less rigorous standard to meet than proving evidence beyond a reasonable doubt. In order to meet the standard and prove something by clear and convincing evidence, a party must prove that it is substantially more likely than not that it is true.

Reasonableness Standard

Q.	DISCUSS THE REASONABLENESS STANDARD IN THE CONTEXT OF THIS FCR CASE.

A.	Regulators frequently make rate case adjustments to provide for “just and reasonable rates.”  Such adjustments are not necessarily related to imprudence.  In a general rate case setting, typical examples might include disallowance of certain kinds of lobbying expenses, certain advertising costs, or payments to affiliated companies.  In the context of this FCR request, there are also important issues related to establishment of just and reasonable rates, such as the timing of when costs are incurred and charging those costs to the customers that caused those costs to be incurred.

Q.	IS THE “REASONABLENESS STANDARD” RECOGNIZED BY STATUTE IN GEORGIA?

A.	Certainly.  O.C.G.A § 46-2-26 (d) implicitly adopts this standard by requiring that:

“At any hearing conducted pursuant to this Code section, the burden of proof to show that an increased rate, based on fluctuations in fuel costs, is just and reasonable shall be upon the utility.” (italics added)

Cost Eligibility

Q.	EXPLAIN THE CONCEPT OF COST ELIGIBILITY.

A.	Cost eligibility concerns whether the costs requested for recovery are appropriate for the type of case under consideration.  For example, depreciation and return on investment are recognized as legitimate ratemaking costs.  However, they are generally not allowed in a fuel cost recovery case.  In a fuel cost recovery case, only certain costs are included.  In the course of a normal FCR case, the Commission must decide whether the projected costs of the utility reflect proper fuel and purchased power expenses and whether the deferral balance includes only appropriate costs as well.

Q.	DOES THE GEORGIA STATUTE SPECIFY WHAT FUEL COSTS ARE RECOVERABLE AS PART OF THE FCR?

A.	Yes.  O.C.G.A. §  46-2-26 (a)(1) states "Fuel costs" of a utility company means the cost of fuel as defined in the utility company's tariffs in effect on July 1, 1979, as such tariffs may be changed from time to time by order of the commission as provided by law.”  Consequently, fuel costs recoverable in the FCR are those costs listed in the utility’s most recent FCR tariff, which have been explicitly approved by the Commission.

Q.	HOW DID GPC’S FCR-23 TARIFF DEFINE RECOVERABLE FUEL COSTS?

A.	GPC’s FCR-23 Tariff stated as follows:

Fuel Costs shall be the cost of:

(1) fossil, nuclear, bio-mass (including renewable) fuel and emission allowances (including credits, offsets, taxes, tariffs or other mechanisms intended to establish a market price for carbon, carbon dioxide and/or other greenhouse gases) consumed in the Company's own plants, and the Company's share of fossil, nuclear, and bio-mass (including renewable) fuel and emission allowances (including credits, offsets, taxes, tariffs or other mechanisms intended to establish a market price for carbon, carbon dioxide and/or other greenhouse gases) consumed in jointly owned or leased plants; plus

(2) the identifiable fossil, nuclear, bio-mass (including renewable) fuel and emission allowance costs (including credits, offsets, taxes, tariffs or other mechanisms intended to establish a market price for carbon, carbon dioxide and/or other greenhouse gases) associated with energy purchased for reasons other than identified in (3) below; plus

(3) the net energy cost of energy purchases, exclusive of capacity or demand charges (irrespective of the designation assigned to such transaction) when such energy is purchased on an economic dispatch basis. Included therein may be such costs as the charges for energy purchases and the charges as a result of scheduled outages, all such kinds of energy being purchased by the buyer to substitute for its own higher cost of energy; less

(4) the cost of fossil, nuclear, bio-mass (including renewable) fuel and emission allowances (including credits, offsets, taxes, tariffs or other mechanisms intended to establish a market price for carbon, carbon dioxide and/or other greenhouse gases) recovered through intersystem sales when sold on an economic dispatch basis; less

(5) retail portion of gains resulting from the sale of any emissions allowances; less

(6) seventy-five percent of net gains from wholesale market opportunity sales; plus or minus

(7) net gains and losses incurred under the Natural Gas and Oil Procurement and Hedging Program implemented in Docket No. 16134-U; plus or minus

(8) carrying costs on over or under recovered fuel balance calculated at the Company’s short term debt rate and excluding the first $15 million of any under recovered cost; plus or minus

(9) other costs or credits as determined by the Commission for inclusion in, or reduction of, recoverable fuel costs.

This language specifically describes the costs the Company may recover from customers under FCR rates in this proceeding.

Q.	EXPLAIN HOW YOU HAVE DEVELOPED YOUR RECOMMENDED FCR ADJUSTMENTS IN LIGHT OF THESE STANDARDS CONCERNING PRUDENCE, REASONABLENESS AND COST ELIGIBILITY.

A.	Our approach has been to apply these standards, based on the statutory requirements and where applicable, the Commission’s precedents established in prior cases.

Minimum Filing Requirements

Q.	HOW DID THE MINIMUM FILING REQUIREMENTS (“MFR”) CONTRIBUTE TO THE STAFF’S EFFICIENCY IN CONDUCTING ITS INVESTIGATION?

A.	The MFRs continue to play an important role in providing information that is relied on during any fuel cost proceeding.  Georgia law allows just ninety (90) days from the time the Company files its request until an order must be issued.  This affords very little time to conduct discovery and perform investigations, and therefore, the fact that the MFRs are filed at the same time that the Company makes its FCR filing allows Staff to conduct its investigation more efficiently.

Q.	COULD STEPS BE TAKEN TO FURTHER IMPROVE THE QUALITY OF THE MFRS?

A.	Yes, in fact, in the past Staff has recommended that a collaborative effort be undertaken to improve the quality of the MFRs.  Georgia Power is interested in this as well, as Company Witness David Poroch made a similar recommendation concerning a process to improve the MFRs in his testimony in this proceeding.  The Company provided a summary of recommended changes it would like to make, and it believes a formal rulemaking would be needed to comply with proper procedural requirements in order to finalize changes to the MFRs.  Staff agrees with the Company and recommends that the Commission implement a rulemaking designed to be completed no less than 90 days prior to the filing of the next FCR proceeding.  The changes to MFRs decided in that rulemaking would then be implemented in the next FCR proceeding.

Fuel Balance and Proposed Rates

Q.	WHAT IS THE STATUS OF THE CUMULATIVE FUEL BALANCE?

A.	At the start of the historic period for FCR-24 (March 2012), shortly before rates for FCR-23 went into effect, the Company had under-recovered fuel costs by about $19.6 million.  Over the period of March 2012 through the end of the historic period ending July 2015, the Company further under-recovered another $186 million.  Therefore, as of the end of July 2015, the under-recovered fuel balance stood at $206 million.  Figure 1 shows the changes in the cumulative fuel balance since about March 2012.  A significant factor that contributed to the under-recovered balance being higher than expected was the extremely cold weather that impacted most of the eastern United States in early 2014, known as the Polar Vortex.

Figure 1

During January 2014, when the Polar Vortex occurred, fuel costs that were incurred by the Company exceeded fuel revenues by $131 million, which contributed to the cumulative fuel balance turning negative (under-recovered) in that month, and was about two to three times more than the change in the fuel balance in most other months shown in Figure 1.  Nevertheless, the Company’s latest fuel budget forecast in this proceeding anticipates that the under-recovered balance will be fully paid off by about February 2016.

Q.	WHAT IS THE FCR-24 RATE THAT THE COMPANY HAS PROPOSED IN THIS PROCEEDING?

A.	The Company has designed a rate that will recover projected fuel costs expected to occur over the 24 month period of January 1, 2016 through December 31, 2017, and to recover the projected under-recovered costs that it expects will exist at the end of December 31, 2015.  Company Witness Poroch included the following table on page 4 of his testimony, which contains the Company’s proposed seasonal and stratified rates in cents per kWh.

Table 1

|  | Average Rate | Transmission | Primary | Secondary |
| --- | --- | --- | --- | --- |
| Winter (Oct-May) | 3.0058 | 2.9682 | 2.9935 | 3.0200 |
| Summer (June-Sept) | 3.2321 | 3.1916 | 3.2189 | 3.2474 |

Q.	HOW DO THE PROPOSED FCR-24 RATES COMPARE TO THE CURRENT FCR-23 RATES?

A.	Mr. Poroch indicated that the average winter FCR-24 rate is approximately 7% lower than the average winter FCR-23 rate, and the average summer FCR-24 rate is approximately 17% less than the average summer FCR-23 rate.  He also noted that, on average, there would be a decrease of approximately 3% or $4.04 per month on the total bill (including base rates) of the typical 1,000 kWh residential customer.

# HISTORICAL REVIEW PERIOD

Q.	WHAT IS THE HISTORICAL REVIEW PERIOD FOR THIS PROCEEDING?

A.	Though FCR-23 rates went into effect beginning in July 2012, historic data was not available in the last proceeding all the way through that month.  At the time FCR-23 was filed, the MFRs only included data through February 2012.  Pursuant to a Commission requirement that there be no gap in the review process, in this proceeding the Company filed MFRs beginning with March 2012.  Thus, in FCR-24, the historic period covers the 41-month period from March 2012 to July 2015, and the historic period for FCR-25 should begin in August 2015.

Historic Variance Analysis

Q.	HAVE YOU EVALUATED THE VARIANCE BETWEEN BUDGETED AND ACTUAL HISTORIC COSTS?

A.	Yes, we compared budgeted and actual costs that the Company supplied as part of the MFRs (MFRH-2).  Despite the length of the historic period, 41 months (March 2012 through July 2015), and the large number of forecasts including load, revenues, fuel costs, energy production, etc. that were previously made, the comparison the Company provided indicated that the actual results compared favorably against the budget.  For example, over the period of March 2012 to July 2015, overall fuel costs, including all categories of energy supplied to meet load, was about 1% higher than budget.  Since overall fuel costs were so close, we focused on load and the energy production results.    Overall wholesale and retail load was lower than had been forecasted by about 1.1 TWh (.4%), and overall losses were lower than budget by .3 TWh (1.9%).  This was driven by lower retail loads and at times milder than normal weather.  The impact of lower actual loads than budgeted helped contain overall fuel costs.

Q.	WHAT SOURCES WERE USED TO SUPPLY THE OVERALL LOAD?

A.	The following pie chart provides the sources that were used to supply the actual load during the historic period.

Figure 2

The chart indicates that gas-fired generation from both Company owned combined cycle units and combustion turbine units, and similar purchases from Georgia Power’s affiliate Southern Power provided the most generation over the historic period, which was largely due to the fact that combined cycle natural gas-fired generation was competitive with coal-fired generation (steam) and due to the availability of combined cycle generation in the market.  Coal-fired generation was still very important as it provided 29% of the Company’s generation, followed by low cost nuclear energy (18%).   The Company also purchased a significant amount of energy through the Southern Company Power Pool (14%), and purchased a small amount of energy from sources outside the pool, both on an economy and non-economy purchase basis (4%).  The final generation source category was renewable energy, which included biomass, solar, and hydro energy (less than 2%).

Q.	HOW DID THESE ACTUAL GENERATION SOURCES COMPARE TO THE BUDGET OVER THE HISTORIC PERIOD?

A.	The actual generation results are reasonably close to the budget the Company provided.  Georgia Power and Southern Power combined cycle and combustion turbine generation and coal fired steam generation combined were below budget by about 10 TWh, and that energy was replaced by actual nuclear generation and power purchases (9.4 TWh), though not all of the energy had to be replaced since the actual load plus losses were lower than budgeted.  In general, the costs incurred by the Company for these sources followed a similar pattern.  In other words, actual combined cycle, combustion turbine and coal fired steam costs were below budget by about $315 million, and nuclear energy and purchases were above budget by about $319 million.

Green Energy Program

Q.	DOES THE COMPANY’S GREEN ENERGY PROGRAM IMPACT FCR RATES?

A.	Yes.  The costs of purchasing renewable energy are included in FCR costs.  Revenues from participating customers in the Company’s Green Energy riders are used to offset program costs first, and then are used to offset the cost of purchasing renewable energy included in the FCR.  Staff conducted a high level review of the green energy program, including reviewing the latest quarterly report (“2Q 2015 Report”) the Company filed, and information the Company provided in data responses.  From the 2Q 2015 Report, it appears that the cumulative amount of costs that have exceeded revenues for purchasing the Green energy is $6,641,535.  Staff still has questions regarding the program and has submitted additional data requests, and depending on our findings, we may discuss them at the hearing.

Coal Inventory Review

Q.	ARE THERE SPECIFIC INVENTORY TARGETS THAT THE COMPANY IS OBLIGATED TO MEET?

A.	Yes.  Prior to FCR-22, the Company was required to keep target coal inventory levels between 45 to 50 days at its coal-fired power plants.  In FCR-22, the Commission approved the Company’s request to widen the target range to keep between 40 and 50 days of inventory at its plants.

Q.	DID THE COMPANY MEET THESE TARGETS IN THE HISTORIC PERIOD OF FCR-24?

A.	No. The Company encountered challenges in meeting these targets during the FCR-24 historic period at several generating plants, and there were times when uneconomic operation of some of the units occurred.  Uneconomic operation means certain generating units were dispatched even though they were not the most economic unit available at that point in time. These uneconomic operations occurred in order to reduce the amount of coal stored onsite.

Staff first became aware of the Company’s coal stockpile management issues while conducting a review of the Company’s 2013 Annual Retail Surveillance Report (“ASR Report”).  Staff reported that during 2013, “…inventory levels were “extremely high, and were significantly in excess of the target levels established by GPC for managing its coal inventory.”  Furthermore, Staff recommended “that the prudence of the Company's 2013 coal inventory levels and the Company's management of its coal inventory be reviewed in the next fuel cost recovery docket scheduled for 2015.”  Staff has conducted such a review in this proceeding.

Q.	WHAT WERE THE OBJECTIVES OF YOUR REVIEW?

A.	The objectives were to better understand the factors that contributed to the Company encountering difficulty managing its coal inventories, and to determine the magnitude of the impact caused by operating the Company’s units out of economic dispatch.

Q.	WHEN AND WHAT UNITS WERE OPERATED UNECONOMICALLY?

A.	The uneconomic operation primarily occurred in 2012 and early 2013, and affected Plants Bowen, Scherer, and Wansley.  Figure 3 contains a comparison of the average amount of inventory maintained each month averaged over Bowen, Wansley and Scherer during the historic period, and shows that during the historic period the amount of coal kept in inventory greatly exceeded the 50 days of inventory level that the Commission has approved, especially in 2012 and 2013.  Even in 2015 there are periods the inventory levels have '''''''''' ''''''''''''''' the 50 days level for some months.

Figure 3

Q.	WHAT PROBLEMS COULD ARISE AS A RESULT OF INVENTORIES BEING BELOW OR ABOVE TARGETED LEVELS?

A.	If inventories are too low, the Company could encounter a shortage of supply and would have to make alternate arrangements to still be able to meet demand, though not as economically as it otherwise would have.  If inventories are too high, customers may have to pay higher base rates because fuel inventory costs are included in the Company’s rate base.  That is a matter that should be addressed in the Company’s upcoming base rate case.  Another potential impact on customers if coal inventories are too high is the need to dispatch generating units uneconomically, which did in fact occur.  Generally, having excess coal inventory at a plant would not be a problem that would impact the operation of a unit unless the amount of inventory were to exceed the physical inventory level (“PIL”) that sets a limit on how much inventory can be stored at the plant.  That is in fact what happened during the historic period at the Bowen, Wansley, and Scherer units, and the Company had to operate these units uneconomically in order to burn off some of its inventory to stay within its PILs.

Q.	WHAT CONTRIBUTED TO INVENTORIES INCREASING TO SUCH HIGH LEVELS IN 2012 AND 2013?

A.	In the past, it had normally been the case that coal-fired generation was less expensive than gas-fired generation.  Though there had been brief periods when natural gas prices were very low such as in 2009, 2012 surprised many people when natural gas prices were again very low and there was a considerable amount of combined cycle capacity online in the United States that could actually dispatch ahead of coal-fired generation.  The Energy Information Administration actually discussed this in its 2013 Annual Energy Outlook Report, in which it stated, “In 2012, as natural gas prices reached historic lows, there were many months when natural gas displacement of coal-fired generation was widespread nationally.”  Figure 4 indicates the volatile nature of natural gas prices, and shows that natural gas prices were relatively low in 2012 and 2013, rose significantly in 2014, and fell again in 2015.

Figure 4

Q.	HAVE YOU EVALUATED HOW THESE GAS PRICES IMPACTED THE DISPATCH DECISION BETWEEN GAS-FIRED COMBINED CYCLE RESOURCES AND COAL-FIRED RESOURCES?

A.	Yes, Figure 5 provides a reasonable estimate of the dispatch prices of Bowen and a typical combined cycle unit during the historic period.  It shows that in 2012 and 2013, it cost less to dispatch a gas-fired combined cycle resource than Bowen.

Figure 5

Given that commitments to coal purchases are generally made ''''''''''''' ''''''''''''' in advance of the burn year, and sometimes longer, it appears that Georgia Power acquired too much coal given that coal-fired generation began being displaced economically by natural gas-fired generation.  Still, Georgia Power did recognize that it had to take steps to reduce its coal inventories in 2012.  In a discovery response to Staff in the ASR docket, the Company noted the actions it took including excusing deliveries that had not been made in the prior year, deferring coal deliveries to future years, increasing stockpile storage, buying out coal contracts and reselling coal to third parties, and burning coal uneconomically to reduce inventories.  Of these actions, the ones that most likely affected fuel costs in this proceeding were incurring costs associated with buying out and reselling coal contracts and dispatching coal units uneconomically to reduce inventories.  In addition to having paid about $4.2 billion for coal over the historic period, Georgia Power also incurred additional costs in order to buy out and resell its coal contracts, amounting to about $19 million.

Q.	HAVE YOU REVIEWED THE IMPACTS GEORGIA POWER INCURRED IN DISPATCHING ITS COAL UNITS UNECONOMICALLY TO REDUCE INVENTORIES?

A.	Yes. Information Georgia Power provided in response to STF 6-8 in this FCR proceeding described the times that it dispatched Bowen, Scherer and Wansley uneconomically in 2012 and 2013.  Units at Plant Bowen were dispatched uneconomically in three months in 2012 and 2013, units at Plant Wansley were dispatched uneconomically in six months in 2012, and units at Plant Scherer were dispatched uneconomically in 3 months in 2012.  The following chart for Bowen demonstrates how large inventories grew at that plant in comparison to the target inventory level that the Company was expected to maintain.  In addition, the chart indicates the maximum amount of coal that could be stored at the plant, which is the PIL. The chart also includes markers that indicate when Georgia Power operated Bowen uneconomically.

Figure 6

Q.	HAVE YOU DETERMINED HOW MUCH COAL GEORGIA POWER BURNED AS A RESULT OF THE UNECONOMIC DISPATCH THAT OCCURRED AND HOW MANY MWHS RESULTED FROM THAT DISPATCH?

A.	Yes, based on the projections the Company developed around the time decisions were made to burn coal uneconomically, I estimated that approximately 1.4 million tons of coal had to be burned for this purpose.  In response to an informal request provided by Georgia Power on November 2, 2015, the Company provided its estimate, which confirmed that Staff’s estimate was reasonable.  Using the appropriate heat content of the fuel and the heat rate for each unit that was operated uneconomically, I converted our estimate of the amount of coal burned uneconomically to an estimate of the amount of energy that was produced when the coal was burned uneconomically.  I determined that 3,043 GWh of energy was produced uneconomically.

Q.	HAVE YOU DETERMINED THE EXTRA FUEL COST GEORGIA POWER INCURRED IN BURNING THIS MUCH COAL UNECONOMICALLY?

A.	At this stage, I have produced a range of costs  associated with generating 3,043 GWh uneconomically.  Depending on the strategy the Company used to dispatch the units uneconomically, I believe it is reasonable to assume that it incurred additional costs that ranged between $0.50 and $4.00 per MWh for every MWh generated uneconomically.  Based on the assumption of 3,043 GWh of uneconomic generation, I believe a reasonable range for the additional cost of the uneconomic generation would be between $1.5 million and $12.2 million.

Q.	DO YOU THINK THE WAY GEORGIA POWER MANAGED ITS COAL INVENTORIES AT THESE PLANTS IN 2012 AND 2013 WAS REASONABLE?

A.	Although, I recognize that Georgia Power believes it took appropriate steps and worked diligently to manage its coal inventories in 2012 and 2013, I want to be sure it exhausted all possible options to resolve this situation so that a similar situation does not recur in the future.

Q.	DO YOU HAVE ANY REQUESTS FOR THE COMPANY TO RESPOND TO IN ITS REBUTTAL TESTIMONY?

A.	Yes, I would request Georgia Power to address in its rebuttal testimony why it believes it could not have altered its coal procurement plans earlier to avoid allowing its coal stockpiles to grow so large, and what steps it is taking to avoid encountering similar problems in the future.  I believe that I have already identified the single largest contributing factor, which related to the sudden drop in the cost of dispatching natural gas resources compared to the cost of dispatching coal units.  I am also aware that other utilities encountered similar problems and also had to operate their units uneconomically, so Georgia Power was not unique in this regard.  Nevertheless, my goal in requesting Georgia Power to address this issue further is to better understand what additional steps Georgia Power could have or will take in the future to prevent a recurrence of the situation in which coal inventories built up to excessive levels because other resources suddenly become less expensive to operate.

Coal Procurement

Q.	PLEASE DISCUSS YOUR INVESTIGATION OF THE COMPANY’S COAL PROCUREMENT ACTIVITIES IN THIS FCR.

A.	Staff’s investigated the Company’s coal procurement practices following the same approach as in prior FCR proceedings, which included reviewing the Company’s Buy Books at its headquarters, reviewing MFRs, and requesting additional discovery.  Although a comprehensive coal procurement audit cannot be conducted during the 90-day FCR proceeding schedule, our practice during FCR proceedings has been to review the Company’s Buy Books, and follow-up with the Company on any issues of concern.

Q.	HOW DID STAFF ANALYZE COAL PURCHASING ASSOCIATED WITH SPECIFIC CONTRACTS?

A.	In addition to reviewing the Coal Buy Books, Staff also reviewed coal procurement information supplied to us in MFRHs 3, 6, 7, 8 and 9, and submitted discovery questions.  Our review of the coal Buy Books took place on September 22, 2015 at the Company’s headquarters.

Q.	WHAT INFORMATION IS CONTAINED IN THE BUY BOOKS?

A.	The Coal Buy Books contain documentation concerning the procurement of coal.  The solicitations are typically based on the plants served by specific railroads, such as Norfolk Southern (“NS”) or CSX.  Typically, each Buy Book includes the following documents:

- A copy of Georgia Power’s Coal Procurement Strategy;

- A letter explaining why coal purchase contracts were entered into;

- Bid solicitation documentation

- Bids received and analysis of the bids

- Copies of communication with suppliers

- Email confirmation and letter confirmation of purchase agreements

- Contract documentation

- Analysis of restructured contracts (if applicable)

- Purchase orders

Q.	IN ITS REVIEW OF THE BUY BOOKS AND MINIMUM FILING REQUIREMENTS, DID STAFF IDENTIFY ANY CONCERNS?

A.	Yes, though the issues were minor and were resolved through additional discovery requests.

Q.	WHAT TYPE OF CONCERNS DID STAFF IDENTIFY?

A.	Much of our review focused on the cost of acquiring coal and the procurement decisions that Georgia Power made.  For example, in a few coal solicitation evaluations we noticed the Company did not choose the lowest cost option that appeared to be available and we sought further explanation of this decision.  In one case it turned out that the lowest cost resource was only slightly cheaper, but the next highest cost supply offer provided additional flexibility that allowed Georgia Power to be able to adjust the amounts that would have to be delivered.  In another case, it turned out that the lower cost option did not meet the Sulfur specifications for the specific unit required, and the offer had to be rejected in favor of a more expensive option that did meet the specifications.

Q.	DID YOU NOTICE ANY UNUSUAL ACQUISITIONS?

A.	Yes. By early 2014, Georgia Power had eliminated its coal inventory problems and actually encountered difficulty receiving necessary coal shipments from one of its railroad suppliers, '''''''''''.  The Polar Vortex that occurred in January and February 2014 resulted in '''''''''' experiencing an increase in demand for its rail services, which led '''''''''''' to curtail a portion of its services to Georgia Power between March and September 2014.  Georgia Power was able to obtain ''' '''''''''''''' '''''' ''''''' '''''''''''''''''' ''''''''''''''''''''''''' '''''''''''' ''''''''''.  However, as a result of not having an adequate delivery service and because inventory levels at Plants Bowen and Branch were falling below target levels, the Company decided it needed to find alternatives to increase the inventory levels above target requirements.  Georgia Power directed what shipments it could get from '''''''''' directly to Plant Bowen and it conducted an emergency short-term spot solicitation for additional coal supply that '''''''''''''''' ''''''''''''''''''' could deliver to Plant Branch.  We noticed during our investigation of the Coal Buy Books that the cost of the acquired coal was higher than that which Georgia Power had acquired in other solicitations and we asked Georgia Power for an explanation in a data request.  Georgia Power explained that of the four suppliers that responded to the RFP, only one supplier was able to meet the availability and quality required for Plant Branch.  Thus, Georgia Power agreed to purchase from that supplier.  We believe this was a reasonable acquisition.

Q.	WERE THERE ANY FORCE MAJEURE EVENTS ISSUED BY ANY COAL SUPPLIERS, OR ANY LITIGATION ACTIVITIES WITH ANY COAL SUPPLIERS DURING THE HISTORIC PERIOD?

A.	Georgia Power received notice of one Force Majeure event from one supplier, '''''''''''''''''' ''''''''''''' '''''''''' in August 2012 that lasted until November 2012.  However, since Georgia Power’s inventory levels were high at that time, it determined there was no need for the supplier to make up the deliveries.  With regard to litigation activity with suppliers, we found no evidence there was any litigation stemming from the inability of coal suppliers being able to make deliveries to Georgia Power, as we had found in prior FCR proceedings.

Q.	DID GEORGIA POWER ITSELF ISSUE ANY FORCE MAJEURE NOTICES DURING THE HISTORIC PERIOD?

A.	Yes, there was one event that resulted from an outage at Plant Bowen Unit 3.  The outage occurred on June 26, 2012 and lasted until October 9, 2012, which resulted from substantial damage to the boiler.

Q.	WHO DID GEORGIA POWER ISSUE THE FORCE MAJEURE NOTICE TO?

A.	Georgia Power issued the notice of the Force Majeure event on July 10, 2012 to eight coal suppliers and one railroad company.  During the outage, Georgia Power continued to provide updates to these companies, and on October 23, 2012, Georgia notified all of the companies that repairs were complete and the unit returned to normal service on October 16, 2012.  It appears that the Force Majeure notice the Company had issued July 10, 2012 was precautionary, as the notice it issued on October 23, 2012 indicates that Georgia Power would in fact be able to receive all deliveries that it had contracted for and there would be no reduction in the amount Georgia Power would purchase from the suppliers for the year.

Q.	WAS THERE ANY CONTRACT NEGOTIATION OR LITIGATION ACTIVITIES WITH ANY TRANSPORTATION SUPPLIERS DURING THE HISTORIC PERIOD?

A.	Yes. Staff has reviewed the Company’s decision to '''''''''' '''''''' and '''''''''''''''''''' ''''' ''''''''''''''''' ''''''''''''''''' '''''''''''''''''''''''''''''''''' ''''''''''''''''''' '''''''''' '''''''''', and to ''''''''''''''''''' ''' ''''''''' ''''''''''''''''''''''''''''''''' ''''''''''''''''' effective January 1, 2015 continuing through June 30, 2023. The decision to ''''''''''''''''''''' related to the fact that the ''''''''''''''''''' '''''''' '''''''''''''''' ''''''''' at a time when the Company had forecasted a substantially greater need for '''''''''' '''''''''''''''''''''''''''''''' '''''''''''''''''''; however, primarily due to '''''''' '''''''''''''''''''''''' '''' ''''''''''''' ''''''''''''''''', the Company needs '''''' ''''''''''''''''''''''''''''''''' ''''''''''''''''' ''''''''' ''''''''''''''''''.  Based on an analysis the Company performed, and that Staff reviewed, Georgia Power determined that it was ''''''''''''''''''''''' ''''''' '''''''''''''''''''' ''''' ''''''''' ''''''' ''''''' ''''''''''''''''' '''''''''''''''''' ''''''''' ''''''''''', and then '''''''''''' ''''' '' ''''''''' ''''''''''''''''''''' ''''''''''''''''''''' '''''''''' ''''''''''''' ''''''''''''''''''' ''''''''''''''''''''''''''''' and with more '''''''''''''''''' ''''''''''''.

Generation Units

Q.	DID YOU REVIEW THE PRUDENCE OF GEORGIA POWER’S FOSSIL PLANT OUTAGES?

A.	Yes, we reviewed fossil unit outages and Dr. Jacobs reviewed nuclear unit outages.  As part of our review, we examined unit outage information provided with the Company’s filing in MFRH 4.2, which included outage dates and durations, lost energy, NERC cause codes and a brief description of each event.  This information provided details regarding planned, forced, and maintenance outages.  The Company also included a table of unplanned fossil unit outages and derations that resulted in a loss of at least 50,000 MWH of energy, which we focused on.  We also reviewed select Root Cause Analyses (“RCAs”) developed by Company personnel, which provide a more thorough explanation of the outages based on information that the Company gathered from the personnel directly involved in the outage.  The RCA includes a determination of the cause(s) of the outage, and a description of the actions that were taken to bring the plant back online.

Q.	DID YOU PERFORM AN ANALYSIS THAT EVALUATED FORCED OUTAGES AND PARTIAL DERATIONS DUE TO ERRORS ON THE COMPANY'S PART?

A.	Yes, we also reviewed any outages that were caused by operator errors, O&M personnel errors, and contractor errors, which were designated using the NERC cause codes 9900, 9910, 9920, 9930, and 9940.

Q.	PLEASE SUMMARIZE HOW YOU CONDUCTED YOUR REVIEW OF THESE TYPES OF OUTAGES.

A.	Staff requested additional information on some of these outages from Georgia Power, which the Company provided in response to STF-4-42.  Based on our review, we found three outages to be of interest.  The outage that was the most significant in terms of generation loss by far occurred at Plant Bowen, in which all four units were forced offline at the same time due to an accident at the Bowen Unit 2 in April 2013. The four Bowen units were offline for different durations for the remainder of 2013 with one unit remaining off-line for most of the year.  The second outage occurred at Yates 6 in January 2014, and the third outage occurred at Bowen 3 beginning in June 2012.

Q.	WHAT ARE YOUR CONCLUSIONS WITH RESPECT TO THESE OUTAGES?

A.	The Yates 6 outage was caused by operator error due to a valve being left open, which resulted in damage to a pump.  The unit was able to operate but it had to be derated and the maximum lost energy for that outage was '''''''''''''' MWh.  Since the deration was 39%, and the amount of energy was just slightly above 50,000 MWh, we did not focus on this outage.

The Bowen 3 outage occurred between June 25, 2012 and October 9, 2012.  The outage was caused by a structural collapse of the furnace as a result of stresses that were placed on structural supports.  The Company’s own root cause analysis identified that an important cause of the failure related to foundational work that was performed in 2001.  The Company’s Root Cause Analysis concluded that the construction work did not meet design specifications and led to the premature failure.  Though the work occurred 14 years ago, it should have lasted the life of the unit.  According to the Company’s Root Cause Analysis, the estimated cost of repairs was $18 million, and was in addition to the replacement power cost that was incurred while the unit was on outage for repairs.  Staff is not recommending a disallowance given the number of years the unit has operated satisfactorily since the work had been performed, though this is an example of the Company not ensuring the system was properly constructed and inspected, which resulted in ratepayers incurring higher costs.

Q.	WHAT ARE YOUR CONCLUSIONS WITH RESPECT TO THE PLANT BOWEN OUTAGES IN 2013?

A.	The Company itself identified the Plant Bowen outage in 2013 as being caused by operator error, and it identified that there were “''''''''''''''''''' ''''''''''''''''''''''''''''' ''''' ''''''''''''''''''''''''''''''''''”, which led to an internal explosion in the Bowen Unit 2 generator, which forced all four of the Bowen coal units at the plant offline at the same time.  Based on the circumstances, the Company determined it would be unreasonable to charge customers for the higher cost replacement power that it incurred while the units were offline.  The Company identified there was an additional replacement cost of $1.3 million that it removed from the fuel balance in June 2015. I agree that it would be unreasonable to charge customers for the higher cost replacement power, but I disagree with the Company’s estimate, which I discuss further below.

Q.	DID YOU REVIEW GEORGIA POWER’S FCR-24 HISTORIC PERIOD FOSSIL UNIT PLANNED OUTAGES?

A.	Yes, we reviewed planned outages using data provided in MFRH 4.2 in this proceeding and compared that information to similar data that had been identified in prior FCR proceedings (FCR-20 through FCR-23).

Q.	WHAT ARE THE DIFFERENCES BETWEEN PLANNED AND UNPLANNED OUTAGES?

A.	Unplanned outages are random event that often require units to be removed from service immediately.  Sometimes, units can remain online when a problem arises, usually at a derated capacity level, and then fully shut down to address the problem at the next most convenient time such as at the start of the next weekend.  Planned outages are scheduled outages designed to remove units from service in order to perform scheduled maintenance on the units.  The length of outages and number of outages varies for each type of unit.  Often utilities prefer to accomplish as much maintenance as possible during the outage, however, the trade-off is that there is a cost of keeping units off-line.

Q.	DID YOU COMPARE THE NUMBER OF PLANNED OUTAGES THAT WERE SCHEDULED DURING THE HISTORIC PERIOD TO THE NUMBER OF PLANNED OUTAGES THAT HAD BEEN SCHEDULED DURING THE HISTORIC PERIOD OF PRIOR FCR PROCEEDINGS?

A.	Yes, we did.  First, we used an analysis that had been performed in FCR-23 that included lost generation from planned outages from FCR-20 through FCR-23, and we supplemented that information with FCR-24 data.  Our planned outage evaluation focused on the number of major planned outages, greater than 500,000 MWH of lost energy that occurred during the period, and we compared the calculated average to the same calculation from prior FCR proceedings.  Table 2 shows the results of this analysis.

Table 2

| AVERAGE LOST GENERATION COMPARISON |  |  |  |  |
| --- | --- | --- | --- | --- |
| FCR-20 THROUGH FCR-24 |  |  |  |  |
|  |  | No. of Outages |  | Avg. Lost Gen. |
|  |  | > 500,000 (MWH) |  | Per Outage (MWH) |
| FCR-20 |  | ''' |  | ''''''''''''''''''''' |
| FCR-21 |  | '''''' |  | ''''''''''''''''''''' |
| FCR-22 |  | '''' |  | '''''''''''''''''''' |
| FCR-23 |  | '''' |  | ''''''''''''''''''''''''' |
| FCR-24 |  | '''''' |  | '''''''''''''''''' |

Q.	PLEASE DESCRIBE THE RESULTS SHOWN IN TABLE 2.

A.	The first column contains the total number of planned outages that resulted in lost generation greater than 500,000 MWH.  It should be noted that the total number of these outages is not necessarily relevant because there is a different number of months covered by the various FCR proceedings.

The second column presents the average lost generation per outage.  The trend from FCR-20 through FCR-23 shows a significant increase in the average length of these major outages, which was discussed in FCR-23.  The average generation lost per outage rose from '''''''''''''''''' MWH in FCR-20 to '''''''''''''''''''''''' MWH in FCR-23 proceeding.  In this proceeding, the average fell once again below what it was in FCR-22, which is reasonable and thus we have no issues at this time concerning planned maintenance outages.

2013 Plant Bowen Outage

Q.	YOU MENTIONED EARLIER THAT YOU DISAGREED WITH THE COMPANY’S ESTIMATE OF THE REPLACEMENT POWER COST ASSOCIATED WITH THE 2013 BOWEN OUTAGE.  PLEASE DISCUSS THE NATURE OF YOUR DISAGREEMENT.

A.	The assumptions used by the Company to develop its estimate of lost production from Plant Bowen were unrealistic, as they are not consistent with how the Company actually operates Plant Bowen. This resulted in the Company deriving an estimate for replacement power cost that was too low.

Q.	GENERALLY DESCRIBE HOW REPLACEMENT POWER COST ANALYSES ARE PERFORMED FOR OUTAGES SUCH AS THE ONE CAUSED BY THE ACCIDENT AT BOWEN UNIT 2.

A.	There are different ways a replacement power cost estimate can be performed.  Typically, production cost simulations are performed to determine how system operating costs would have been impacted assuming the outage of the units had not occurred.  Two production cost simulations are then performed, one that assumes the units had not suffered the outage, and one that includes the units on outage. The replacement power cost estimate is derived by taking the actual operating costs with the Bowen Units offline minus the operating cost if the Bowen units had not suffered the outage.

Another approach is a system marginal cost evaluation, in which the operating cost of the unit or units that had failed are compared on an hourly basis to the system marginal cost, which is assumed to be the incremental cost that would be incurred if additional generation were needed, in an hour.  The difference in the two costs are summed over all hours, and the result is the replacement power cost estimate.  The data requirements for this model are the unit operating costs and characteristics, and the hourly system marginal costs, which in Georgia Power’s case is the Southern Company Pool Interchange Rate (“PIR”).

Q.	WHAT IS YOUR PREFERRED METHOD FOR DEVELOPING AN ESTIMATE OF REPLACEMENT POWER COST?

A.	The production cost modeling approach would be my preferred method because it properly accounts for many of the commitment and dispatch constraints that the actual system encounters in dispatching the system’s resources to meet the system’s load.  For example, it considers commitment constraints, ramping constraints, and it optimally determines the capacity level each unit should operate at each hour.  One drawback to this method is that it requires more effort to develop all of the appropriate modeling assumptions that are needed to accurately model the time period of interest.  The modeling data needed includes actual fuel costs, actual loads, actual outages, actual hydro conditions, etc.

Q.	WHAT METHOD DID THE COMPANY USE TO DEVELOP AN ESTIMATE OF REPLACEMENT POWER COST FOR THE BOWEN OUTAGE?

A.	The Company chose the system marginal cost analysis as its approach to derive its estimate of the Bowen replacement power costs.   The marginal cost analysis is quicker to setup, however, it is a very simple model that makes many simplifying assumptions that can impact the accuracy of its results.

Q.	PREVIOUSLY, YOU MENTIONED YOU BELIEVE THE COMPANY’S ESTIMATE OF REPLACEMENT POWER COST IS TOO LOW.  PLEASE EXPLAIN WHY YOU BELIEVE THIS.

A.	The Company’s estimate of the replacement power cost was just $1.3 million, and after identifying flaws in the Company’s calculations, we determined that the replacement power cost estimate should be $7.3 million.  In addition to analyzing the flaws, which I discuss below, we also considered the reasonableness of the Company’s estimate based on the size (3,152 MW) and importance of the unit in satisfying the Company’s requirements.  The utilization of Georgia Power’s generation resources is largely driven by the magnitude of system load and the relative difference in the cost between coal and natural gas.  Even at times when the cost of natural gas has been relatively low compared to the cost of coal, Bowen has still been a very important resource that has been needed to serve the Company’s requirements.  For example, in April 2015, a time when Henry Hub natural gas prices were reported to be very low, in the $2.50/MBTU range, Bowen supplied about 75 percent of Georgia Power’s total coal-fired generation.

Q.	PLEASE DISCUSS THE COMPANY’S ANALYSIS AND THE FLAWS THAT YOU ADDRESSED THAT LED TO YOUR $7.3 MILLION ESTIMATE OF THE REPLACEMENT POWER COST.

A.	As I stated, the Company used the system marginal cost analysis (which I will refer to as the Company’s Model or the spreadsheet model) to derive its estimate of replacement power cost.  Separate analyses were performed for each Bowen unit during the hours the specific units were on outage.  For example, the analysis for Bowen 2 was conducted over the period of April 4, 2013 through December 19, 2013.  The Company included one constraint in its analysis, which is a ''''''''' '''''''''' minimum down/uptime constraint.  The logic mandates that if the unit is shutdown it must stay down for at least ''''''''' '''''''''''', and if the unit is online it must stay online at least ''''''''' ''''''''''''''.  The Company’s Model has logic that evaluates whether or not it would be more economic to keep the unit online over the next ''''''''' ''''''''''''' or to shut it down and rely on other units to serve the Company’s requirements.  If it determines that the unit should stay online, it calculates the difference between running the Bowen unit at maximum capacity and the cost for the same amount of capacity priced out at the PIR rate.

The flaws in the Company’s modeling understate the cost of replacing power from the Bowen units from other Company owned generation sources or through power purchases.  The most significant flaw is that the Company’s Model assumes the Bowen units are either offline producing no power or online and operating at maximum capacity.  This assumption is completely inconsistent with how the Company actually operates the Plant Bowen units.  In actual operation, the Company ramps up and down the output from the Bowen units between minimum and maximum capacity in order to serve system load in an economic manner.  The Company’s Model never takes into account how the Bowen units are actually operated which is somewhere in between the minimum and maximum capacity of the unit.  Furthermore, the Company’s Model never accounts for ramping requirements, which limits the speed at which a unit can be brought up to its maximum capacity level.  In addition, the Company’s model does not account for commitment requirements, which forces units on-line at times to serve load.  From the Company’s response to STF-3-7 it is clear that the Bowen units are often included in the set of units started up for must-run or other commitment requirements, though the Company’s model never considers commitment logic in its analysis.  Finally, the Company’s model does not account for the savings the Bowen units could provide by allowing the Company to avoid having to commit other more expensive units than Bowen, at the time when the Bowen units were unavailable.

Q.	WHAT DID YOU DO TO ADDRESS THESE FLAWS?

A.	We revised the Company’s spreadsheet model to include logic that allowed the Bowen units to seek the most economic capacity level to operate at so that the units did not just dispatch at their maximum capacity levels in each on-line hour.  We included ramping logic to limit the speed at which a unit could ramp up or down in the range of minimum and maximum capacity, and we added a commitment requirement to more accurately reflect the commitment requirements and accounting that occur in the actual operation of the units.  Based on an analysis of historic commitment of the Bowen units, in which we assessed the times in the past that Bowen units were started up to satisfy system reliability requirements, we determined that it would be appropriate to treat Bowen 1 and 2 as being must run during summer outage months (June – September), and Bowen 3 and 4 as must run during the April and May outage months.

Staff’s modeling approach is more accurate and produces a more realistic dispatch, which led to a better estimate of the replacement power cost of the Bowen units.  Based on Staff’s improvements, the Bowen replacement power cost estimate increased from $1.3 million that the Company determined to $7.3 million that Staff determined.  Staff, in fact, believes its estimate is conservative, as the value of committing one unit such as one of the Bowen units versus another more expensive unit in the absence of the Bowen units being available, is an additional benefit that should be attributed to the cost of an outage.  However, the Company’s PIR pricing methodology could not capture this impact, and Staff’s commitment logic only partially addressed it in the interest of providing a more conservative estimate.  Nevertheless, Staff’s rough estimate is that fully accounting for commitment benefits could have added $1 million to $3 million dollars more to the replacement power cost estimate for the Bowen units during the outage period.  This is an effect that would normally be accounted for in a production cost analysis, and would have been had the Company relied on PROSYM to perform the replacement power cost modeling.

Q.	DID YOU COMPARE THE BOWEN GENERATION RESULTS THAT EACH MODEL PRODUCED?

A.	Yes, Figure 7 compares the Bowen generation results that each model produced, and compares those results to actual historical results for the Bowen units.

Figure 7

The years 2011, 2012, 2014 and 2015 includes periods when gas prices were low relative to coal prices, and yet the four Bowen units actually produced a combined average capacity factor of '''''' percent during the relevant months.  In comparison, the Company’s spreadsheet model only determined that the Bowen Units would achieve a 22 percent capacity factor, while Staff’s model determined the Bowen Units would achieve a much more reasonable capacity factor of 46 percent.

Q.	WHAT EXPLAINS THE FACT THAT THE COMPANY’S MODEL PRODUCED SUCH LOW CAPACITY FACTOR RESULTS?

A.	The Company’s simulation of the actual 2013 historical period did not have the necessary commitment and optimal dispatch logic built in that was necessary to realistically dispatch the Bowen Units, which Staff’s Model corrected.  During 2013 natural gas prices were indeed low, and in the Company’s model that led to the Bowen units hardly being dispatched.  The Company’s model did not make any commitment decisions that led to starting up units even during summer periods.  As an example, the Company’s model determined that had the outage not occurred, Bowen 2 would still have been kept offline on economic shutdown every hour between June 28, 2013 and December 8, 2013, which includes July and August, the high summer load months. This is completely inconsistent with how the Company has actually operated the Bowen units.

Q.	HAS THERE EVER BEEN A PERIOD IN RECENT HISTORY WHEN THE BOWEN 2 UNIT WAS NOT COMMITTED IN ANY HOUR DURING ANY PART OF JULY AND AUGUST?

A.	No there has not.  Table 3 demonstrates that during July and August in 2011, 2012, 2014, and 2015, Bowen 2 operated with relatively high capacity factors in each of those years.

Table 3

| Bowen 2 July and August Capacity Factor (%) |  |
| --- | --- |
| 2011 | ''''% |
| 2012 | ''''% |
| 2014 | ''''% |
| 2015 | ''''% |
| AVG. | '''% |

The Company’s result that Bowen 2 would not have been committed at all in the July/August 2013 time period had the outage not occurred is completely unrealistic.

Q.	DID YOU CONDUCT ANY OTHER ANALYSES TO CONFIRM THE REASONABLENESS OF STAFF’S MODEL?

A.	Yes, we conducted an analysis for the 2014 calendar year, which was also a part of the historic period in this proceeding.  For this analysis we used the Company’s and Staff’ spreadsheet models to dispatch the Bowen units and determine both the hourly dispatch pattern of the Bowen units, and the annual generation results.  We then compared the Bowen dispatch results to the actual dispatch of Bowen that occurred in 2014 to assess the reasonableness of the two spreadsheet models.  To set up the spreadsheet models, we obtained all of the necessary modeling data from Georgia Power, including the Bowen costs and the PIR data for that time period.  We then compared the Company’s and Staff’s model results to the actual 2014 results to determine which model better reflects actual 2014 results.  For purposes of this analysis the key results we examined were the capacity factor results and hourly generation patterns.

Q.	WHAT WERE THE CAPACITY FACTOR RESULTS FOR YOUR 2014 ANALYSIS?

A.	Figure 8 demonstrates that Staff’s model performed a much more accurate dispatch of the Bowen Units compared to the Company model for this period.

Figure 8

Q.	COULD YOU PROVIDE SOME SPECIFIC EXAMPLES OF THE ALIGNMENT BETWEEN STAFF’S MODEL RESULTS AND ACTUAL BOWEN GENERATION IN 2014?

A.	Figure 9 contains the actual generation pattern results for Bowen 4 during the first week in July in 2014, and it compares those results to the dispatch results that the Company’s Model and Staff’s spreadsheet model produced.  In other words, these results indicate how Bowen 4 actually operated during the period, and how Staff’s and the Company’s models predicted how Bowen 4 would operate during that period.

Figure 9

In actual operation, Bowen 4 ramped up and down daily during this period. Staff’s spreadsheet model results closely matched those of the actual operation of Bowen 4.  The Company’s model on the other hand did not match the actual operation of Bowen 4 at all. The Company’s model shows Bowen 4 being dispatched at maximum capacity at night, while the actual results indicate that Bowen was ramped down to minimum capacity at night.  This is intuitive because units such as Bowen 4 are typically ramped down at night to allow other cheaper units to serve load at night, and to allow the units like Bowen 4 to remain online to be available to serve load the next day.  Because of the flaw in the Company’s model, by design, it always dispatches units to maximum capacity when the units are online.

Staff performed a similar analysis for another week comparing Bowen 4 actual operation to the results from the Staff and Company models and presents the results in Figure 10.

Figure 10

Once again, Staff’s spreadsheet model results closely match the actual operation of Bowen 4 during this period of time, as Staff’s model ''''''''''''' '''''''''''''''' ''' '''''' '''''''' ''''''''''''' similar to the way the unit actually operated.  In contrast, the Company’s Model has Bowen offline for approximately 75 percent of the hours during the week when it was actually online and operating in a range between the minimum and maximum capacity of the unit.  This also shows that during this week, the Company’s model made the uneconomic decision to entirely shut Bowen 4 down for part of the week because its modeling methodology found it to be economic to do that.  In actual operation and in Staff’s model, it was determined to be more economic to keep the unit online, but to ramp Bowen 4 up and down each day.

Q.	DID THE COMPANY CONDUCT ANY ANALYSIS TO VALIDATE ITS MODEL?

A.	Yes.  The Company stated in STF-3-5 that it used its 2013 Energy Budget PROSYM run to benchmark its spreadsheet model.  It would have been better had the Company conducted a PROSYM replacement power cost analysis using actual 2013 data, as Staff requested.  However, in response to STF-3-11, the Company stated it would have taken significant resources to conduct such an analysis.

Q.	WHAT WAS THE PURPOSE OF THE BENCHMARK ANALYSIS THE COMPANY PERFORMED USING ITS SPREADSHEET MODEL?

A.	The purpose of the analysis was to see if replacement power cost results derived using 2013 Energy Budget data in PROSYM would be similar to results produced using the Company’s spreadsheet model.  The PROSYM model estimated that replacement power costs would be $'''''' million, and the Company’s spreadsheet model determined they would be $'''''''''' million cost.  Based on these results being similar, the Company asserted that validated the reasonableness of its spreadsheet model.

Q.	DO YOU FIND THE COMPANY’S BENCHMARKING ANALYSIS CONVINCING?

A.	No.  These results may be similar as the Company suggests, however, that does not mean that the model produces reasonable results, nor does it mean that the model can reasonably be used to analyze any other data such as the 2013 actual data.  On closer inspection, capacity factor and generation results produced by the Company’s spreadsheet model do not match PROSYM results at all.  Figure 11 below shows that the company’s spreadsheet model produces capacity factor results that are greatly different than what is produced by PROSYM.

Figure 11

Q.	PLEASE SUMMARIZE THE FLAWS IN THE COMPANY MODEL.

A.	The Company’s model is overly simplistic because it only assumes that Bowen units are either online at 100% capacity or offline producing no power.  The Company’s model does not take into account that the Bowen units typically ramp up and down daily between their minimum and maximum capacity levels when online.  Furthermore, the Company’s model does not account for decisions that are made to force units online to satisfy commitment requirements, which are necessary to ensure the reliability of the Southern Company System in the event of outages or other system contingencies.  The result of these flaws and other discussed above is that the Company’s model completely understated the Bowen replacement power costs.

Q.	PLEASE SUMMARIZE YOUR RECOMMENDATION CONCERNING THE BOWEN OUTAGE.

A.	Staff agrees with the Company that the Bowen outage costs should be removed from the fuel balance, but disagrees that the estimate of $1.3 million the Company developed is reasonable.  As I noted above, a better approach would have been for the Company to have conducted its replacement power cost analysis using PROSYM.  We identified flaws in the Company’s spreadsheet analysis, and made reasonable corrections to fix the flaws we identified.  Staff’s revised and conservative estimate of the cost of replacement power is $7.3 million.  We also performed several benchmark analyses to prove that the changes we made to the Company’s model are appropriate and led to better results.  Since the Company already adjusted the fuel balance by $1.3 million in June 2015, the additional amount the fuel balance should be reduced by is $6.0 million.

Carrying Costs

Q.	DID THE COMMISSION PREVIOUSLY AUTHORIZE THE COMPANY TO RECOVER CARRYING COSTS ON UNDER-RECOVERED FUEL COST BALANCES?

A.	Yes.  In Docket No. 17066 the Commission approved the accrual of carrying costs, calculated with Georgia Power’s short-term debt rate for unrecovered fuel costs above the first $15.0 million.

Q.	DID YOU REVIEW THE COMPANY’S CARRYING COST CALCULATION?

A.	Yes. MFRH-15 shows the computation of carrying costs based on the short-term debt rates during the historic period. The short term debt rate was relatively high for the early months of 2012, but declined significantly after that, and averaged .34% over the entire period historic period.  Based on our review, the calculations appear reasonable.

# PROJECTED TEST PERIOD REVIEW

Staff's FCR-24 Rate Proposal

Q.	HAS STAFF RE-COMPUTED FCR RATES?

A.	Yes, this was done in order to account for the adjustments Staff recommends.  Table 4 compares the rates Staff developed to the Company's proposed rates.

Table 4

Company's Proposed Rates

|  | Average Rate | Transmission | Primary | Secondary |
| --- | --- | --- | --- | --- |
| Winter (Oct-May) | 3.0058 | 2.9682 | 2.9935 | 3.0200 |
| Summer (June-Sept) | 3.2321 | 3.1916 | 3.2189 | 3.2474 |

Staff's Recommended Rates

|  | Average Rate | Transmission | Primary | Secondary |
| --- | --- | --- | --- | --- |
| Winter (Oct-May) | 2.9906 | 2.9531 | 2.9784 | 3.0048 |
| Summer (June-Sept) | 3.2170 | 3.1767 | 3.2039 | 3.2322 |

This reflects a very small change to the rates that the Company proposed and results in about a 0.5% reduction from FCR-24 rates.

Time-of-Use Rates

Q.	PLEASE PROVIDE BACKGROUND CONCERNING GEORGIA POWER’S PILOT TIME OF USE FUEL RATE.

A.	In FCR-23, the Commission approved a settlement to implement a three part time-of-use (TOU) fuel rate pilot program.  The pilot program was designed to be revenue neutral to the FCR and include the following features:

- Consist of up to one thousand (1,000) voluntary participants who currently receive service under either the TOU-MB or TOU-PEV rate schedules.

- Be a three-part TOU fuel rate, with defined time periods and pricing corresponding to the base rate tariff.

- Begin October 1, 2012 and run through September 30, 2013.

- Be evaluated after one year’s worth of data is collected and prior to the next FCR proceeding.

Company Witness Poroch testified that the Company concluded that the pilot program performed as designed, and that the three part rate TOU rate should become a permanent rate.  According to the proposed Tariff (“TOU-FCR-TP-2”), the rate would now be available to all customers served on the TOU-MB rate and the TOU-PEV rate.  According to the Company’s Pilot Evaluation Report (DPP Exhibit 3), 284 customers were signed up for the rate as of June 2015.

Q.	DOES STAFF HAVE ANY CONCERNS ABOUT THE COMPANY’S PROPOSAL?

A.	Given that the pilot program appears to have performed as designed, Staff supports the Company request to make the pilot permanent.  Staff, however, continues to be concerned that the program should be meeting the goal of being revenue neutral and to that end recommends that the Company be required to continue filing reports in FCR programs similar to the report that was attached to Mr. Poroch’s testimony as DPP Exhibit 3.

Fuel Price Forecast Assumptions

Q.	HAVE YOU EVALUATED GEORGIA POWER’S FCR-24 NATURAL GAS PRICE FORECAST?

A.	Yes.  Figure 12 compares Georgia Power’s Henry Hub natural gas price forecast to a NYMEX projection from October 30, 2015.  The GPC forecast appears to be higher than the current NYMEX settlement prices.

Figure 12

Q.	ARE YOU CONCERNED THAT GEORGIA POWER’S GAS PRICE FORECAST IS HIGHER THAN THE LATEST NYMEX FORWARD PRICES INDICATES?

A.	I have a minor concern, though it is clear that natural gas prices have generally declined over the past year.  It appears that the Henry Hub forecast that Georgia Power developed for this proceeding was based on NYMEX prices from the February 2015 time period.  Figure 13 demonstrates how natural gas spot prices have declined significantly over the past year.

Figure 13

Given the decline in actual natural gas prices, it is not surprising that the Company’s forecast of natural prices would be somewhat higher than the latest NYMEX prices at this time.

Sales Sharing Mechanism

Q.	PLEASE DISCUSS THIS ISSUE.

A.	In accordance with prior Commission Orders, the Company is permitted to retain a portion of the profits associated with wholesale capacity sales that the Southern Company makes on its behalf.  In the 2004 Base Rate Case (Docket No. 18300), the Commission authorized the Company to keep 20% of the profits from Schedule E capacity and energy sales, with the remaining 80% of profits going to the benefit of ratepayers.  These sales are addressed in base rate proceedings and the profits associated with those sales are not included in FCR rates.

Profits from another type of sales, economy energy/opportunity sales, are included in FCR rates, and the Company is entitled to keep 25% of the profits from these sales, with the remaining 75% of such profits going to the benefit of ratepayers (per the Commission's 1989 Order in Docket 3840).

Q.	WHAT CONCERN DOES STAFF HAVE REGARDING THESE SALES?

A.	The question of whether the Company should be entitled to continue sharing in the profits of these opportunity sales has arisen in other dockets.  For example, the capacity and energy sales sharing mechanism was originally set to 60/40, and was revised to 80/20 as a result of the 2004 Base Rate Case.  The 75/25 sharing of economy sales profits has never been revised since 1989 when it was initially approved, and Staff believes it should be re-examined.

Q.	IS STAFF REQUESTING ANY CHANGE TO THE ECONOMY SALES SHARING MECHANISM AT THIS TIME?

A.	No.  Staff recognizes that the Company is entitled to the recovery of economy sales profits that occurred during the historic period based on the authority provided in the prior orders.  To disallow historic period costs at this time would not be appropriate.  Furthermore, Staff does not yet have a recommendation concerning whether changes to these sharing mechanisms would be warranted.  Staff believes that it would be best to examine the economy sales sharing and the capacity sales and energy sharing mechanisms together in the upcoming base rate case.  In any event, Staff recommends that the Commission direct the Company in its order, that this is an issue that should be addressed in the upcoming base rate case.

Senior Citizen Discount

Q.	DOES THE COMPANY OFFER LOW INCOME SENIOR CITIZENS DISCOUNTS ON THEIR FUEL RATES?

A.	Yes, as ordered by the Commission, the Company has been offering the Low Income Senior Citizen Discount for qualifying seniors for some time, including a $6.00 discount on the standard FCR tariff, and up to an $18.00 discount on the standard base rate tariff, for a total discount of $24.00. The FCR-23 tariff states:

SENIOR CITIZEN – LOW INCOME ASSISTANCE:

Qualifying customers, after certification by the Company, will be eligible for a fuel cost recovery credit of up to $6.00 monthly at their primary residence. To qualify, the customer must be certified as eligible for the “SENIOR CITIZEN – LOW INCOME ASSISTANCE” credit provided on the R-18 tariff or its successor. There shall be no net credits nor shall there be any carry-over credits.

Q.	DID YOU LOOK AT THE NUMBER OF SENIORS RECEIVING THE DISCOUNTS AND WHAT DID THAT DATA SHOW?

A.	Yes.  In STF-7-6, Staff requested information regarding the number of qualifying seniors receiving the discounts ordered by the Commission.  In its response, the Company supplied this information:

Table 5

| December 31, 2011 | 64,926 |
| --- | --- |
| June 30, 2012 | 67,313 |
| December 31, 2012 | 71,902 |
| June 30, 2013 | 72,897 |
| December 31, 2013 | 74,227 |
| June 30, 2014 | 76,702 |
| December 31, 2014 | 78,844 |
| June 30, 2015 | 80,608 |

It appears from the data that the number of customers on the senior citizen discount is increasing.

Q.	DID THE COMPANY PROVIDE ANY PROJECTIONS OF THE NUMBER OF CUSTOMERS ON THE SENIOR CITIZEN DISCOUNT?

A.	Yes, it did. In response to STF-7-8, the Company explained that in its projection for FCR-24, the projected number of customers receiving the Senior Citizen Discount is a constant 79,953 customers for the entirety of the test period.

Q.	DO YOU HAVE ANY RECOMMENDATIONS OR CONCERNS REGARDING THE NUMBER OF CUSTOMERS PROJECTED TO RECEIVE THE SENIOR CITIZEN DISCOUNT?

A.	While I acknowledge that it may be somewhat difficult to accurately identify these customers, it is Staff’s desire that the Company continue to ensure that those customers who are eligible to receive these discounts are properly and routinely informed of these discounts whenever they are in contact with them, i.e. when establishing service, paying bills, etc.

Vogtle 3 and 4 Lost Fuel Savings

Q.	HOW WILL THE ISSUE OF LOST FUEL SAVINGS DUE TO DELAYS IN VOGTLE 3 AND 4 BE ADDRESSED?

A.	As the Company stated in the Vogtle 3 and 4 certification case, even an 18-month delay would result in a "substantial" replacement fuel cost.  The Company currently states that Units 3 and 4 are now 39 months delayed.  Under the schedule approved by the Commission, Unit 3 was supposed to be in operation beginning April, 2016, and Unit 4 was scheduled to be in service beginning April 2017.  So, beginning in a few months, ratepayers will begin paying for this replacement fuel.  These costs, however, will be handled in the Vogtle 3 and 4 review, not in the FCR cases. The Stipulation in the Eighth Vogtle Construction Monitoring (“VCM”) proceeding states, in part, as follows:

In order to preserve issues that could be raised by Staff in VCM 8 or in other subsequent VCM periods, the Company agrees that, if the Commission subsequently makes a finding of fraud, concealment, failure to disclose a material fact, imprudence, or criminal misconduct in the Vogtle construction, the Commission has the authority to disallow associated financing costs and replacement fuel costs.  In the event that such financing costs or replacement fuel costs have already been recovered by the Company from customers, the Company shall credit such costs back to the benefit of customers in a manner to be determined by the Commission.

In its Order in the Twelfth VCM proceeding, the Commission ordered that the Company develop and implement a mechanism to track replacement fuel cost that occurs as a result of the delay and report the mechanism to the Commission by April 1, 2016 and in all future VCM Reports.

Q.	DOES THIS CONCLUDE YOUR TESTIMONY?

A.	Yes it does.

BEFORE THE

GEORGIA PUBLIC SERVICE COMMISSION

| IN THE MATTER OF: GEORGIA POWER COMPANY’S FUEL COST RECOVERY APPLICATION (FCR-24) | DOCKET NO. 39638 |
| --- | --- |

|  | EXHIBIT |  |
| --- | --- | --- |
|  | STF-Hayet-1 |  |

EDUCATION/CERTIFICATION

M.S., Electrical Engineering, Georgia Institute of Technology, 1980

B.S., Electrical Engineering, Purdue University, 1979

Cooperative Education Certificate, Purdue University, 1979

PROFESSIONAL AFFILIATIONS

National Society of Professional Engineers

Georgia Society of Professional Engineers

Institute of Electrical and Electronic Engineers

EXPERIENCE

Since completing his Master’s program, Mr. Hayet worked for fifteen years at Energy Management Associates, now Ventyx, providing consulting services and client service support to electric utility companies for the widely used planning models, PROMOD IV and STRATEGIST.  Mr. Hayet had an instrumental role in designing some of the modeling features of those tools including the competitive market modeling logic in STRATEGIST.

In 1995, Mr. Hayet began his own utility consulting firm, Hayet Power Systems Consulting (“HPSC”), and has worked for customers in the United States, and internationally in Australia, Japan, Singapore, Malaysia, the United Kingdom, and Vietnam.  Over his more than 30-year career, Mr. Hayet has provided consulting services to Public Utility Commissions, Regional Power Pools, State Energy Offices, Consumer Advocate Offices, Electric Utilities, Global Power Developers, and Industrial Companies.  Mr. Hayet’s expertise covers a number of areas including utility system planning and operations, RTO analysis, market price forecasting, Integrated Resource Planning, renewable resource evaluation, transmission planning, demand-side analysis, and economic analysis.

Though he continues to work for HPSC, in 2000 Mr. Hayet also joined the consulting firm of J. Kennedy & Associates, Inc. (“Kennedy and Associates”).  Since joining, Mr. Hayet worked on Kennedy and Associates’ projects that required utility resource planning, analysis, and software modeling expertise.  Mr. Hayet became a Vice-President and Principal of Kennedy and Associates in 2015.

Mr. Hayet has conducted numerous consulting studies in the areas of RTO Cost/Benefit Analysis, Renewable Resource Evaluation, Renewable Portfolio Standards Evaluation, Electric Market Price Forecasting, Generating Unit Cost/Benefit Analysis, Integrated Resource Planning, Demand-Side Management, Load Forecasting, Rate Case Analysis and Regulatory Support.

2000 to	J. Kennedy and Associates, Inc.

Present:	Vice President and Principal

- Initially began as Director of Consulting, became Vice President and Principal in 2015

- Managed electric related consulting projects.

- Responsible for business development.

- Clients include Staffs of Public Utility Commissions and other State Agencies, State Energy Offices, Global Power Developers, and Industrial Groups, and large energy users.

1996 to	Hayet Power Systems Consulting

Present:	President and Principal

- Managed electric utility related consulting projects

- Clients include Staffs of Public Utility Commissions and other State Agencies, State Energy Offices, Global Power Developers, and Industrial Groups, and large energy users.

1991 to	EDS Utilities Division, Atlanta, GA (Now Ventyx)

1996:		Lead Consultant, PROSCREEN (Now STRATEGIST) Department

- Managed a client services software team that supported approximately 75 users of the STRATEGIST electric utility strategic planning software.

- Participated in the development of STRATEGIST’s competitive market modeling features and the Network Economy Interchange Module

- Provided client management direction and support, and developed new consulting business opportunities.

- Performed system planning consulting studies including integrated resource planning, DSM analysis, marketing profitability studies, optimal reserve margin analyses, etc.

- Based on experience with PROMOD IV, converted numerous PROMOD IV databases to STRATEGIST, and performed benchmark analyses of the two models.

1988 to 	Energy Management Associates (EMA), Atlanta, GA

1991:		Manager, Production Analysis Department

- Served as Project Manager of a database modeling effort to create an integrated utility operations and generation planning database.  Database items were automatically fed into PROMOD IV.

- Supervised and directed a staff of five software developers working with a 4GL database programming language.

- Interfaced with clients to determine system software specifications, and provide ongoing client training and support

1980 to	Energy Management Associates (EMA), Atlanta, GA

1988:		Senior Consultant, PROMOD IV Department

- Provided client service support to EMA’s base of over 70 electric utility customers using the PROMOD IV probabilistic production cost simulation software.

- Provided consulting services in a number of areas including generation resource planning, regulatory support, and benchmarking.

##### TESTIMONY AND EXPERT WITNESS APPEARANCES

| Date | Case | Jurisdict |  | Party | Utility | Subject |
| --- | --- | --- | --- | --- | --- | --- |
| 09/98 | 97-035-01 | UT |  | Utah Committee for Consumer Services | PacifiCorp | Utah jurisdictional Net Power Costs, PacifiCorp Rate Case Proceeding |
| 07/01 | 01-035-01 | UT |  | Utah Committee for Consumer Services | PacifiCorp | Utah Jurisdictional Net Power costs in General Rate Case |
| 2001 | ER00-2854-000 | FERC |  | Louisiana Public Service Commission | Entergy | Proposed System Agreement Modifications |
| 07/02 | 02-035-002 | UT |  | Utah Committee for Consumer Services | PacifiCorp | Special contract for industrial consumer |
| 2002/2003 | U-25888 | LA |  | Louisiana Public Service Commission | Entergy | Investigation of retail issues related to the System Agreement |
| 2003 | U-27136 Subdocket A | LA |  | Louisiana Public Service Commission Staff | Entergy | Aging gas steam-fired retirement study |
| 07/03 | EL01-88-000 | FERC |  | Louisiana Public Service Commission | Entergy | Rough production cost equalization proceeding |
| 05/04 | 03-035-14 | UT |  | Utah Committee for Consumer Services | PacifiCorp | Development of a large QF avoided cost methodology |
| 06/04 | 17687-U 17688-U | GA |  | Georgia Public Service Commission Staff | Georgia Power and Savannah Electric | 2004 Integrated Resource Planning Studies |
| 08/04 | ER03-583-000 | FERC |  | Louisiana Public Service Commission | Entergy | Affiliate power purchase agreements |
| 11/04 | 03-035-19 | UT | Utah Committee for Consumer Services |  | PacifiCorp | Industrial customer’s request for a special economic development tariff |
| 11/04 | 03-035-38 | UT | Utah Committee for Consumer Services |  | PacifiCorp | Large QF proceeding. |
| 03/05 | 03-035-14 | UT | Utah Committee for Consumer Services |  | PacifiCorp | Concerning PacifiCorp’s Schedule 38 avoided cost tariff and remaining unsubscribed capacity |
| 07/05 | 03-035-14 | UT | Utah Committee for Consumer Services |  | PacifiCorp | Concerning PacifiCorp’s Schedule 38 avoided cost proceeding |
| 12/05 | 04-035-42 | UT | Utah Committee for Consumer Services |  | PacifiCorp | Net power costs in General Rate Case |
| 04/06 | 05-035-54 | UT | Utah Committee for Consumer Services |  | PacifiCorp | Certification request to expand Blundell Geothermal Power Station. Related to Mid-American Energy Holding’s Acquisition of PacifiCorp |
| 05/06 | 22403-U | GA | Georgia Public Service Commission Staff |  | Georgia Power and Savannah Electric | March 2006 fuel cost recovery filing |
| 2006 | 06-35-01 | UT | Utah Committee for Consumer Services |  | PacifiCorp | 2006 rate case, net power costs |
| 08/06 | U-21453 | LA | Louisiana Public Service Commission Staff |  | Entergy Gulf States | Jurisdictional separation. |
| 11/06 | U-25116 | LA | Louisiana Public Service Commission Staff |  | Entergy Louisiana | Fuel adjustment clause filings |
| 01/07 | 23540-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | November 2005 fuel cost recovery filing |
| 04/07 | 07-035-93 | UT | Utah Committee for Consumer Services |  | PacifiCorp | General Rate Case |
| 06/07 | 24505-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | 2007 Integrated Resource Planning |
| 10/07 | U-30334 | LA | Louisiana Public Service Commission Staff |  | Cleco Power | 2008 Short-Term RFP |
| 04/08 | 26794-U (FCR-20) | GA | Georgia Public Service Commission Staff |  | Georgia Power | Fuel cost recovery filing |
| 2008 | 6630-CE-299 | WI | Wisconsin Industrial Energy Group, Inc. |  | WEPCO | Certification Proceeding for environmental upgrades at Oak Creek power plant |
| 07/08 | ER07-956 | FERC | Louisiana Public Service Commission |  | Entergy | 2006 rough production cost equalization compliance filing in the System Agreement case |
| 09/08 | 6680-CE-170 | WI | Wisconsin Industrial Energy Group, Inc. |  | Wisconsin Power and Light | Certification proceeding concerning Nelson-Dewey coal-fired generating unit |
| 11/08 | 08-1511-E-GI | WV | West Virginia Energy Users Group |  | Allegheny Power | Fuel cost recovery filing |
| 12/08 | 27800-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Vogtle 3 and 4 nuclear unit certification proceeding |
| 2008 | 08-035-35 | UT | Utah Committee for Consumer Services |  | PacifiCorp | Chehalis Combine Cycle Power Plant based on a waiver of the RFP solicitation process certification proceeding |
| 07/09 | ER08-1056 | FERC | Louisiana Public Service Commission |  | Entergy | 2007 rough production cost equalization compliance filing in the System Agreement case |
| 07/09 | U-30975 | LA | Louisiana Public Service Commission Staff |  | SWEPCO and Cleco | Application to acquire the Oxbow Mine to supply Dolet Hills Power Station certification proceeding |
| 09/09 | E015/PA-09-526 | MN | Large Power Intervenors |  | Minnesota Power | Request for approval to purchase Square Butte’s 500 kV DC transmission line, restructure a coal based power purchase agreement |
| 09/09 | 09-035-23 Direct | UT | Utah Office of Consumer Services |  | PacifiCorp | 2009 rate case, net power costs |
| 10/09 | 09A-415E | CO | Public Utilities Commission of Colorado |  | Black Hills/Colorado | CPCN application to construct two LMS 100 natural gas combustion turbine units |
| 10/09 | 09-035-23 Surrebuttal | UT | Utah Office of Consumer Services |  | PacifiCorp | 2009 rate case, net power costs |
| 12/09 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | First Semi-Annual Vogtle Construction Monitoring Report |
| 12/09 | ER08-1224 | FERC | Louisiana Public Service Commission |  | Entergy | 2008 production costs used to develop bandwidth payments |
| 2009 | 09-2035-01 | UT | Utah Office of Consumer Services |  | PacifiCorp | 2008 IRP |
| 01/10 | 28945-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Fuel cost recovery filing |
| 2010 | EL09-61 | FERC | Louisiana Public Service Commission |  | Entergy | System Agreement, individual operating company sales |
| 06/10 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Second Semi-Annual Vogtle Construction Monitoring Report |
| 12/10 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Third Semi-Annual Vogtle Construction Monitoring Report |
| 01/11 | ER09-1350 Direct | FERC | Louisiana Public Service Commission |  | Entergy | 2008 production costs used to develop bandwidth payments |
| 02/11 | ER09-1350 Cross-Answering | FERC | Louisiana Public Service Commission |  | Entergy | 2008 production costs used to develop bandwidth payments |
| 04/11 | 33302-U (FCR-22) | GA | Georgia Public Service Commission Staff |  | Georgia Power | Fuel cost recovery filing |
| 06/11 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Fourth Semi-Annual Vogtle Construction Monitoring Report |
| 09/11 | U-31792 | LA | Louisiana Public Service Commission Staff |  | Cleco Power | Settlement agreement, CCPN to upgrade Madison 3 coal unit to accommodate biomass fuel |
| 11/11 | 26550-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Reacquisition of wholesale block capacity |
| 11/11 | 34218-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Decertification of two aging coal units, acquire PPA resources, approve IRP update |
| 12/11 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Fifth Semi-Annual Vogtle Construction Monitoring Report |
| 03/12 | U-32148 | LA | Louisiana Public Service Commission Staff |  | Entergy | Change of Control Proceeding to move to Midwest ISO |
| 2012 | 20000-EA-400-11 | WY | Wyoming Industrial Energy Consumers |  | Rocky Mountain Power | Certification of environmental upgrades at Naughton 3 |
| 05/12 | 35277-U (FCR-23) | GA | Georgia Public Service Commission Staff |  | Georgia Power | Fuel cost recovery filing |
| 05/12 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Sixth Semi-Annual Vogtle Construction Monitoring Report |
| 07/12 | 2012-00063 | KY | Kentucky Industrial Utility Customers, Inc. |  | Big Rivers | Environmental upgrades in compliance with MATS and CSAPR |
| 09/12 | U-32275 | LA | Louisiana Public Service Commission Staff |  | Dixie Electric Member Cooperative | Ten year power supply acquisition certification proceeding |
| 12/12 | EL09-61-002 Direct | FERC | Louisiana Public Service Commission |  | Entergy | Harm calculation, violation of System Agreement |
| 12/12 | U-32557 | LA | Louisiana Public Service Commission Staff |  | Entergy | Certification of 28 MW PPA for renewable energy capacity (RAIN waste heat) in accordance with LPSC’s Renewable Energy Pilot |
| 12/12 | U-29764 | LA | Louisiana Public Service Commission Staff |  | Entergy | Retail proceeding regarding termination of cross-PPAs |
| 12/12 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Seventh Semi-Annual Vogtle Construction Monitoring Report |
| 03/13 | EL09-61-002 Cross-Answering | FERC | Louisiana Public Service Commission |  | Entergy | Harm calculation, violation of System Agreement |
| 04/13 | 2012-00578 | KY | Kentucky Industrial Utility Customers, Inc. |  | Kentucky Power Company | Mitchell Certificate of Public Convenience and Necessity |
| 05/13 | 36498-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | 2013 IRP and request to decertify over 2,000 MW of coal-fired capacity |
| 07/13 | U-32785 | LA | Louisiana Public Service Commission Staff |  | Entergy | 8.5 MW PPA for renewable energy capacity (Agrilectric rice hull)in accordance with LPSC’s Renewable Energy Pilot |
| 08/13 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Eighth Semi-Annual Vogtle Construction Monitoring Report |
| 10/13 | 2013-00199 | KY | Kentucky Industrial Utility Customers, Inc. |  | Big Rivers | Base rate case |
| 05/14 | 13-035-184 | UT | Utah Office of Consumer Services |  | PacifiCorp | 2014 General Rate Case, net power cost |
| 06/14 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Ninth/Tenth Semi-Annual Vogtle Construction Monitoring Report |
| 07/14 | 20000-446-EA-14 | WY | Wyoming Industrial Energy Consumers |  | PacifiCorp | 2014 General Rate Case, net power cost |
| 08/14 | 2000-447-EA-14 | WY | Wyoming Industrial Energy Consumers |  | PacifiCorp | 2014 Energy Cost Adjustment Mechanism application |
| 08/14 | 14-035-31 | UT | Utah Office of Consumer Services |  | PacifiCorp | 2014 Energy Balancing Adjustment application |
| 09/14 | ER13-432 | FERC | Louisiana Public Service Commission |  | Entergy | Allocation of Union Pacific Settlement Agreement benefits |
| 10/14 | 2014-00225 | KY | Kentucky Industrial Utility Customers, Inc. |  | Kentucky Power | Kentucky Power Company’s Fuel Adjustment Clause |
| 12/14 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Eleventh Semi-Annual Vogtle Construction Monitoring Report |
| 05/15 | 14-035-140 | UT | Utah Office of Consumer Services |  | PacifiCorp | Solar and wind capacity contribution avoided cost proceeding. |
| 06/15 | 29849-U | GA | Georgia Public Service Commission Staff |  | Georgia Power | Twelfth Semi-Annual Vogtle Construction Monitoring Report |
| 08/15 | 15-035-03 | UT | Utah Office of Consumer Services |  | PacifiCorp | 2015 Energy Balancing Adjustment application |
| 09/15 | 14-035-114 | UT | Utah Office of Consumer Services |  | PacifiCorp | Cost and Benefits of PacifiCorp’s Net Metering Program |

ADDITIONAL PROJECT INFORMATION

- 1995 – 2000 - Modeled the Singapore Power Electricity System and analyzed the benefits of dispatching a new oil-fired unit within the system, BHP Power

- 1995 – 2000 - Modeled the Australian National Energy Market to develop market based energy price forecasts on behalf of an Independent Power Producer in Australia, BHP Power

- 1995 – 2000 - Analyzed the benefit of purchasing existing gas-fired steam turbine units within the Australian market, BHP Power

- 1995 – 2000 Developed market price forecasts for South Australia as part of the evaluation of a new gas fired combined cycle unit, BHP Power

- 1995 – 2000 - Modeled the Vietnam Electricity System as part of a project to develop Least Cost Expansion plans for Vietnam, EVN State Utility

- 1995 – 2000 - Assisted in the evaluation of Phu My  in Vietnam

- August, 2002 – Expert Report, Civil Action No. 1:00-cv-1262 in the United Stated District Court for the Middle District of North Carolina, United States v. Duke Energy Corporation

- 2002 - Worked on behalf of the Utah Committee of Consumer Services to provide guidance and assist in the analysis of PacifiCorp’s 2002 Integrated Resource Plan.

- July 2003 - Worked on behalf of the Oregon Public Utility Commission to Audit PacifiCorp’s Net Power Costs per a Settlement Agreement accepted by the Public Utility Commission of Oregon in its Order No. 01-787.  Audit report in Docket No. UE-116 filed July 2003.

- 2003 - Regulatory support to the Utah Committee of Consumer Services regarding PacifiCorp’s 2003 Utah General Rate Case Docket # 03-2035-02.

- 2004 – Assistance to the Utah Committee of Consumer Services to analyze a series of power purchase agreements and special contracts between PacifiCorp and several of its industrial customers.

- April, 2011 – Initial Expert Report, Civil Action No. 2:10-cv-13101-BAF-RSW, on behalf of the Department of Justice in US District Court, Detroit Edison

- June, 2011 – Rebuttal Expert Report, Civil Action No. 2:10-cv-13101-BAF-RSW, on behalf of the Department of Justice in US District Court, Detroit Edison

- 2005 - Worked on behalf of the Utah Committee of Consumer Services to help analyze PacifiCorp’s restructuring proposals.

- Assisted in the development of Market Price Forecasts in several regions of the US.  These forecasts were used as the basis for stranded cost estimates, which were filed in testimony in a number of jurisdictions across the country.

- Helped to analyze the rate structure and develop an electricity price forecast for the Metropolitan Atlanta Rapid Transit Authority (MARTA) in Atlanta, Georgia

- Testified regarding the reasonableness of PacifiCorp’s determination of Net Power Cost as part of a rate case proceeding in Utah

- Provided rate case support opposing PacifiCorp’s rate increases in both Oregon and Washington State.  Performed alternative power cost modeling using software simulations

- Critiqued the IRP filings of 5 utilities in South Carolina on behalf of the South Carolina State Energy Office

- Conducted research regarding ISO Tariffs and Operations for the PJM Power Pool, the California ISO, and the Midwest ISO on behalf of a Japanese Research.

- Performed research on numerous electric utility issues for 3 Japanese research organizations.  This was primarily related to deregulation issues in the US in anticipation of deregulation being introduced in Japan.

- Assisted the Utah Committee of Consumer Services by evaluating PacifiCorp’s 2005 IRP and assisted in writing comments that were filed with the Commission.

- Assisted the Utah Committee of Consumer Services by participating in a collaborative process to develop an avoided cost tariff for large QFs.

- Assisted the Utah Committee of Consumer Services to evaluate PacifiCorp’s 2007 IRP.

- Conducted an investigation of the Southern Company interchange accounting and fuel accounting practices on behalf of the Georgia Public Service Commission Staff (Docket 21162-U).

- Assisted the Georgia Public Service Commission Staff to investigate the acquisition of additional coal and combustion turbine capacity currently wholesale capacity (Docket 26550).

- Assisted the Louisiana Public Service Commission Staff with the review and evaluation of Cleco Power’s 2008 Short Term RFP and its 2010 Long-Term RFP.

- Assisted the Louisiana Public Service Commission Staff with a rulemaking for the opportunity to implement a Renewable Portfolio Standard in Louisiana. (Docket No. R-28271 Sub-Docket B)

- Assisted the Louisiana Public Service Commission Staff with a rulemaking to design Integrated Resource Planning (“IRP”) rules. (Docket No. R-30021)

PUBLICATIONS AND PRESENTATIONS

Co-authored “Review of EPA’s Section 111(d) CO2 Emission Rate Goals for the State of Montana, on behalf of the Montana Large Customer Group, October 2014.

Authored “Singapore’s Developing Power Market”, which appeared in the July/August 1999 edition of Power Value Magazine

Co-authored “The New Energy Services Industry – Part 1”, which appeared in the January/February 1999 edition of Power Value Magazine.

Co-authored and Presented “Evaluation of a Large Number of Demand-Side Measures in the IRP Process: Florida Power Corporation’s Experience”, Presented at the 3rd International Energy and DSM Conference, Vancouver British Columbia, November 1994

Co-authored “Impact of DSM Program on Delmarva’s Integrated Resource Plan”, Published in the 4th International Energy and DSM Conference Proceedings, held in Berlin, Germany, 1995

Presentation – Law Seminars International, Electric Utility Rate Cases, Case Study of the Louisiana Public Service Commission’s Quick Start Energy Efficiency Program, March 2015

Order issued January 15, 1998 in Docket No. 6739-U, page 6 of 30.

David Poroch Direct Testimony, beginning at page 4, line 13.

David Poroch Direct Testimony, page 2, line 18.

Commission Order in FCR-20, Docket 26794, May 23, 2008.

Staff Summary Report on Georgia Power Company’s 2013 Annual Retail Surveillance Report, March 9, 2015, Docket No. 31958, pg. 2.

Ibid at pg. 3.

2013 Annual Energy Outlook, http://www.eia.gov/forecasts/aeo/pdf/0383%282013%29.pdf, at page 39.

MFRH-1A

MFRH-2

Ibid.

Charts for Wansley and Scherer would be similar.

Based on our evaluation of the 2013 Bowen discussed further below, we believe this range is reasonable.

STF 1-8.

STF 6-11.

STF 4-33.

STF-4-34.

STF Set 1 responses.

STF-4-43D.

Ibid.

STF-4-42C.

The month of April was selected since in April 2013, when the outage began, all four units were on outage for most of that month.

STF-3-8 notes that generating units online operating at minimum operating limits and/or designated as “Must Run” are not included in the hourly PIR value that is used in the Company’s spreadsheet model.

MFRP-6.4.

Georgia Power Vogtle Certification Proceeding, Docket No. 27800, Transcript, Page 1787, February 9, 2009.