DOCKET NO. 40161

IN RE:	GEORGIA POWER COMPANY’S 2016 INTEGRATED RESOURCE PLAN AND APPLICATION FOR DECERTIFICATION OF PLANT MITCHELL UNITS 3, 4A AND 4B, PLANT KRAFT UNIT 1 CT, AND INTERCESSION CITY CT

ORDER APPROVING JOINT RECOMMENDATION REGARDING THE RENEWABLE COST BENEFIT FRAMEWORK

This matter comes before the Georgia Public Service Commission (“Commission”) pursuant to a Commission Order in this docket dated August 2, 2016 requiring the Commission Staff (“Staff”) and Georgia Power Company (“Georgia Power” or “Company”) to continue discussions regarding the Renewable Cost Benefit Framework (“RCB”) and file a recommendation on the matter within four months.

Both parties have worked collaboratively to develop a Joint Recommendation for the continued implementation of the RCB Framework which was filed on December 2, 2016.  This collaboration consisted of numerous meetings and conference calls and resulted in several modifications being made to the RCB Framework. These modifications included changes to several components of the RCB Framework including: Generation Remix, Support Capacity (Regulation and Forecast Error), and Deferred Transmission Investment.

As required by the Joint Recommendation, within 90 days from the date of the Commission Order approving the agreement, the Company will file the RCB Framework document, which was originally filed in Technical Appendix Volume 1, modified to reflect the changes agreed upon by Staff and the Company.

As contained in the Joint Recommendation, the modified RCB Framework will be utilized in the 2017 Renewable Energy Development Initiative evaluation; however, the RCB Framework will not be used for evaluation of behind the meter technologies. The determination of the applicability of the RCB Framework for the use of valuing behind the meter technologies will be decided when the Company files an application requesting Commission approval to apply the RCB Framework to behind the meter solar technologies, including but not limited to, use in the determination of the Renewable and Nonrenewable Resource Schedule.

The Commission adopted the Joint Recommendation at the December 20th 2016 Administrative Session.

* * * * *

WHEREFORE IT IS ORDERED that the Joint Recommendation regarding the Renewable Cost Benefit Framework filed on December 2, 2016 is hereby approved.

ORDERED FURTHER, that the modified Renewable Cost Benefit Framework will be utilized in both the 2017 and 2018 Renewable Energy Development Initiative evaluations.

ORDERED FURTHER, that the Renewable Cost Benefit Framework will not be used for evaluation of behind the meter technologies. The determination of the applicability of the RCB Framework for the use of valuing behind the meter technologies will be decided when the Company files an application requesting Commission approval to apply the RCB Framework to behind the meter solar technologies, including but not limited to, use in the determination of the Renewable and Nonrenewable Resource Schedule.

ORDERED FURTHER, that a motion for reconsideration, rehearing, or oral argument or any other motion shall not stay the effective date of this Order, unless otherwise ordered by the Commission.

ORDERED FURTHER, that jurisdiction over this matter is expressly retained for the purpose of entering such further Order or Orders as this Commission may deem just and proper.

The above action was taken by the Commission in Administrative Session on the 20th day of December, 2016.

_____________________________		_____________________________

Reece McAlister				Chuck Eaton

Executive Secretary				Chairman

_____________________________		_____________________________

Date					  	Date