GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-1

Question:

Please provide, in the detail, the apparent cause of the December 17, 2017 Hartsfield-Jackson Atlanta Airport outage.

Response:

Georgia Power is in the process of conducting a thorough investigation into the cause of the power outage at the Hartsfield-Jackson Atlanta International Airport (“Airport”) on December 17, 2017 and will provide information from that investigation as soon as it is able to.

Georgia Power’s response below is based on the information it has gathered and reviewed to date.  Its investigation is ongoing, and Georgia Power reserves the right to supplement or amend this response.

A fire occurred in an underground tunnel at the Airport through which cables run that deliver utility power to the Main Terminal and Concourses A-F at the Airport.  Two distribution circuits that serve the People Mover (or Plane Train) also run through the underground tunnel.  The fire damaged the cables, disrupting delivery of utility power by Georgia Power to the Main Terminal, Concourses A-F, and the People Mover.  Delivery of utility power by Georgia Power to the Control Tower and North Airfield Lighting Vault also was affected.

Contact:  Richard Dodd