GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-11

Question:

Have there been other instances of fire damage-small or large-to this circuit in the past ten years?

Response:

Based on the documents and records Georgia Power has gathered and reviewed to date, there have been no other instances of fire damage in the past ten years to the network underground systems that serve the Main Terminal and Concourses A-F at the Airport or to the Plane Train circuit.

Georgia Power’s investigation is ongoing, and Georgia Power reserves the right to supplement or amend this response.

Contact:  Richard Dodd