GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-13

Question:

Provide a preliminary estimate of the costs to repair the system.

Response:

Georgia Power’s response below is based on the information it has gathered and reviewed to date.  Its investigation is ongoing, and Georgia Power reserves the right to supplement or amend this response.

The total estimated costs to repair the network underground system at the Airport related to the December 17, 2017 incident is approximately $230,000. To-date, Georgia Power’s actual costs have been approximately $176,000.

Contact:  Richard Dodd