GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-16

Question:

Will Georgia Power be taking further cybersecurity/critical infrastructure security measures for the airport now that this vulnerability has been exposed?

Response:

Georgia Power is in the process of conducting a thorough investigation into the cause of the December 17, 2017 Airport outage and will determine the appropriate path forward based on the results of the investigation.

Georgia Power’s response below is based on the information it has gathered and reviewed to date.  Its investigation is ongoing, and Georgia Power reserves the right to supplement or amend this response.

At this time, Georgia Power has not identified any cybersecurity or critical infrastructure security vulnerability.

Georgia Power also plans to work closely with the City of Atlanta and AATC to determine whether it can make the electric system at the Airport even more reliable.  That process may include consideration of enhancements to cybersecurity and critical infrastructure security measures.  The City of Atlanta and the AATC, in conjunction with applicable federal agencies, will be involved in determining whether any additional security measures should be put in place.

Contact:  Richard Dodd