GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-18

Question:

If a new redundant circuit is proposed to be installed, please provide the detailed cost estimate and timeline for installing such a system.

Response:

Georgia Power currently has not made such a proposal. Georgia Power is in the process of conducting a thorough investigation into the cause of the December 17, 2017 Airport outage and will determine the appropriate path forward based on the results of the investigation.  Georgia Power also plans to work closely with the City of Atlanta and AATC to determine whether it can make the electric system at the Airport even more reliable.  The AATC and the City of Atlanta will be involved in determining whether any additional steps should be taken to enhance the reliability of the electric system at the Airport.

Contact:  Richard Dodd