GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-19

Question:

Would the effect of this event been minimized if Hartfield-Jackson had a functional microgrid system that included thermal energy sources, renewable energy and energy storage technologies?

Response:

Whether the effect of this event would have been minimized depends on the design of any stand-by power application or any on-site generation and electrical system components.  The reliability issue was related to a loss of utility power to the terminals.  Only an on-site system that could isolate the necessary electrical feeds to the customer’s points of service from the electrical fault could minimize the effect.  It is important to note that this particular event was not related to a shortage of generation.

Contact:  Richard Dodd