GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-4

Question:

Did outage show up on Distribution display board to notify the 24 hours personnel of trouble on circuit?

Response:

Georgia Power’s response below is based on the information it has gathered and reviewed to date.  Its investigation is ongoing, and Georgia Power reserves the right to supplement or amend this response.

Georgia Power received notification at 12:09 p.m. on December 17, 2017 through its Distribution Control and Data Acquisition (“DSCADA”) system and its Energy Management System (“EMS”) that a network breaker had tripped.

Contact:  Richard Dodd