GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-5

Question:

What time were crews dispatched to location?

Response:

Georgia Power’s response below is based on the information it has gathered and reviewed to date.  Its investigation is ongoing, and Georgia Power reserves the right to supplement or amend this response.

At 12:13 p.m. on December 17, 2017, the Distribution Control Center contacted the Network test engineer on call to respond.  The Network Underground test engineer on call immediately reached out to other Network Underground employees to inform them of the breaker trip.  Between approximately 12:15 p.m. and 12:50 p.m., Network Underground employees headed to the Airport and network crews were dispatched.   Additional network supervisors, test engineers, and crews were dispatched between approximately 12:55 p.m. and 1:15 p.m.

Contact:  Richard Dodd