GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2016 Annual Surveillance Report

Staff Data Request No. STF-34

STF-34-6

Question:

How long did it take to get the fire under control?

Response:

Georgia Power’s response below is based on the information it has gathered and reviewed to date.  Its investigation is ongoing, and Georgia Power reserves the right to supplement or amend this response.

The City of Atlanta Fire Department assumed responsibility for getting the fire under control. With the assistance of Georgia Power, the Fire Department determined that the main issue was in the underground tunnel near Concourse E at approximately 2:50 p.m. The Fire Department allowed Georgia Power to enter the tunnel to assess damage at approximately 4:50 p.m.

Contact:  Richard Dodd