BEFORE THE PUBLIC SERVICE COMMISSION

STATE OF GEORGIA

IN RE:

:

Georgia Power Company’s 2019 Integrated			DOCKET NO. 42310

Resource Plan and Application for Certification	:

of Capacity from Plant Scherer Unit 3 and

Plant Goat Rock Units 9-21, Application for		:

Decertification of Plant Hammond Units 1-4,

Plant McIntosh Unit 1, Plant Estatoah Unit 1	,	:

Plant Langdale Units 5-6 and Plant

Riverview Units 1-2					:

and							:

IN RE:							:

Georgia Power Company’s 2019 Application	:	DOCKET NO. 42311

For the Certification, Decertification, and

Amended Demand Side Management Plan		:

TESTIMONY OF

DR. WILLIAM M. COX, Ph. D. and KARL R. RÁBAGO

Presented as a Panel on behalf

of the Georgia Solar Energy Association, Inc.

and the Georgia Solar Energy Industries Association, Inc.

April 25, 2019

Introductions

Q.	Please state your name, business, and address.

A.	(Dr. Cox) My name is William M. “Matt” Cox. I am the Chief Executive Officer at the Greenlink Group Inc., located at 695 Pylant Street NE, Suite 110, Atlanta, GA 30306.

(Mr. Rábago) My name is Karl R. Rábago. I am the principal and sole member of Rábago Energy LLC, a New York limited liability company, with offices at 62 Prospect Street, White Plains, New York.

Q.	Please summarize your formal education.

A.	(Dr. Cox) I hold a bachelor of science degree from the University of Dayton, a Master’s of Science in Public Policy in Energy and Environmental Policy, with a focus on economic development from the Georgia Institute of Technology (“Georgia Tech”) and a Ph. D. in Energy Policy also from Georgia Tech, with a minor in sustainable development.

(Mr. Rábago) I hold a bachelor’s degree in business management from Texas A&M University, a Juris Doctorate, with honors, from the University of Texas School of Law, and Masters of Laws degrees from The U.S. Army Judge Advocate General’s School in military law and from the Pace University School of Law (now the Elisabeth Haub School of Law) in environmental law.

Q.	Please summarize your experience and expertise in the fields of electric utility regulation and renewable energy.

A.	(Dr. Cox) I was a researcher and course instructor at Georgia Tech for several years. In this role, my research products supported the development and improvement of energy systems models for the Department of Energy and their National Laboratories, and the Energy Information Administration.  I was an inaugural National Science Foundation Fellow in Nanostructured Energy Storage and Conversion, as well as a founding member of the Climate and Energy Policy Laboratory at Georgia Tech.  I was the Building Energy Efficiency Project Manager for the City of Atlanta, where I led the development of energy efficiency policies, both internal to City operations and for the City of Atlanta at large.

I co-founded Greenlink and serve as Chief Executive Officer.  I lead our team’s research work.  Our work focuses on energy issues, advising clients on policies and programs to maximize energy savings and economic efficiency. Frequently, we use Greenlink’s own machine-learning modeling tools.  As to solar PV generation, our research has analyzed resource valuation for both utility-scale (“US”) and distributed generation (“DG”) applications.  We have also studied barriers and drivers to the cost-effective deployment of solar generation.  Applying our advanced technology to the energy policy landscape, we identify energy savings opportunities for our clients.  Over my career, I have published over 60 research studies, primarily on energy efficiency and renewable energy policy.  My experience and qualifications are fully set out on attached as Exhibit WMC-1.

(Mr. Rábago) I have nearly thirty years of experience working in electric utility law, regulation, and policy, including service as a Commissioner on the Texas Public Utility Commission, as a Deputy Assistant Secretary with the U.S. Department of Energy, as Vice-President of Austin Energy, one of the largest municipal electric utilities in the nation and in several other roles in the sector. My resume is attached as Exhibit KRR-1.

Over the past ten years, I have been actively engaged in issues relating to customer-owned generation interconnected to utility systems. At Austin Energy, I designed and implemented the nation’s first “Value of Solar” tariff as a successor to a traditional net metering tariff.  Following that work, I have been involved in value of solar studies, rate cases, and other regulatory proceedings relating to customer generation in Alabama, Arkansas, California, Connecticut, Florida, Georgia, Guam, Hawaii, Iowa, Louisiana, Maine, Maryland, Michigan, Minnesota, Mississippi, Missouri, New Hampshire, New Jersey, New York, North Carolina, Pennsylvania, Rhode Island, Texas, Vermont, and Virginia.

My experience in electric utility matters includes writing, amending, interpreting, and applying statutes, regulations, tariffs, and other elements of utility law and regulation. As a regulator and utility executive, I participated in administrative and business decisions that required understanding and applying statutes, regulations, orders, tariffs, and other elements of utility law and regulation. I have testified in a number of jurisdictions and published numerous articles relating to electric utility regulatory matters. A table of my prior testimony is attached as Exhibit KRR-2.

Q.	Have you previously testified before this Commission?

A.	(Dr. Cox) Yes, I testified on behalf of Georgia Interfaith Power and Light (“GIPL”) and Southface Energy Institute, Inc. (“Southface”) in the 2016 Integrated Resource Plan (“IRP”) on behalf of GIPL and the Partnership for Southern Equity (“PSE”) and the 17th Vogtle Construction Monitoring review.  I also made a presentation at the Commission’s workshop regarding the valuation of renewable energy resources.

(Mr. Rábago) Yes. I testified on behalf of GSEIA in the 2013 IRP and Rate Case.

Q.   	On whose behalf are you testifying?

A.  	We are testifying on behalf of Georgia Solar.

Q.  What is the purpose of your testimony?

A.  Our testimony reviews the methodology by which Georgia Power Company (“Georgia Power” or the “Company”) calculates its avoided cost.  Avoided Cost calculations are the basis for setting the price used by the Company to determine whether to acquire electricity generated from renewable energy resources, particularly solar. The Company’s avoided cost calculation consists of two components:  (1) the avoided cost calculated under the Public Utility Regulatory Policies Act of 1978 (“PURPA”), and (2) the avoided cost calculated specifically to recognize the benefit to the Company and its customers resulting from renewable generation in its Renewable Cost Benefit Framework (“RCB”).  PURPA imposes obligations on the Company under federal law, while this Commission adopted the RCB Framework in 2016.  They seek different objectives and utilize different calculations.  But together, PURPA and RCB are used by the Company to set compensation rates for distributed solar generation (“DSG”).   Our testimony is divided by issue: Dr. Cox will testify on the Company’s calculation of avoided cost under PURPA and Mr. Rábago will testify on the Company’s RCB.

Q. 	Dr. Cox, you are also presenting testimony of behalf of other parties in this docket.  How does your testimony on behalf of Georgia Solar relate thereto?

A.  	My testimony for Georgia Solar is limited to my analysis of the Company’s methodology used to calculate its avoided cost as required by PURPA.  My work on all other issues was on behalf of GIPL, PSE, Vote Solar and Southface.  Though my testimony on avoided cost under PURPA is presented as part of a panel with Mr. Rábago on behalf of Georgia Solar, it is also sponsored by and I am testifying on behalf of GIPL, PSE, Vote Solar and Southface as well.

Q.  	Summarize your key findings and conclusions.

A.  	(Dr. Cox).  I conclude that the deployment of solar PV generation that the Commission has approved and that the Company has implemented are providing substantial financial value to the electricity system, producing lower cost power for the Company’s customers. However, the Company’s current calculation of avoided cost and the resulting implementation is not economically efficient because it has historically and chronically undervalued solar generation. The result has been an underinvestment in cost-effective solar resources and higher energy costs across all rates classes and types of customers.

(Mr. Rábago)  Based on my review of its RCB framework, I conclude that the Company has taken important and positive steps in adapting a full-avoided cost value of solar methodology to both set compensation rates for DSG and the “not to exceed” price for competitively bid projects. In my testimony, I detail several areas in which the Company has been unreasonably constrained and improperly focused in failing to recognize and estimate values for costs avoided and avoidable by DSG, specifically (1) the Company’s incorrect assumptions about the character of particular costs and benefits, and (2) the Company’s errors in quantifying, or refusing to quantify costs and benefits in its discriminatory treatment of costs and benefits of renewable resources when compared to the Company’s incumbent investments.

PURPA AVOIDED COSTS

Q.   	Please explain the Company’s requirement to calculate its avoided cost under PURPA?

A.  	(Dr. Cox) Avoided costs are defined as the incremental costs to an electric utility of electric energy or capacity or both which, but for the purchase from the qualifying facility (“QF”), such utility would generate itself or purchase from another source. PURPA requires most utilities that achieve the size of the Company to provide avoided cost data, using a cents per kilowatt-hour basis. These data are filed with the Commission and subject to its review.

Q.	Does PURPA allow the Company (or the Commission) options in the calculation of avoided costs?

A.  	Yes. The Company has an obligation to file avoided cost information. Rates for purchase from third party generators must be just and reasonable and are generally equivalent to avoided cost with various factors taken into account., ,   PURPA allows the Company or the Commission to look at specific and unique characteristics of a particular generation resource.

Q.  	Does the Company make an annual filing of its avoided costs?

A.  	Yes, the Company files a calculation of its avoided costs in December of each year.  The Company prepares a grid which delineates between its calculation under PURPA and its renewable avoided costs.  Initially, the Company’s grid referred to “solar avoided costs.”
Now, the Company’s filing includes data based on the RCB Framework.

Q.  	Has the Commission undertaken a thorough analysis or review of the Company’s annual avoided cost filings?

A.  	To my knowledge, the Commission has not substantively reviewed the Company’s PURPA avoided cost filings in recent memory.

Q.  	Among the options by which it can calculate avoided costs, which has the Company chosen?

A.   	The Company calculates avoided cost using the annual average avoided cost, which calculates the average cost of generation (from all sources) over the course of the year.

Q.  	Does the Commission have authority to do so under PURPA?

A.  	Yes.  The Commission has the authority to review any avoided cost data and to require justification for its production. The Commission also has the authority to require different data be used to derive avoided cost data, so long as the result is consistent with the definition of avoided cost.

Q.  	What is the effect of the Company’s calculation on the deployment of solar (and renewable) resources?

A.  	Solar generation is significantly undervalued. This undervaluation sends a market signal to solar developers, land owners, businesses, and homeowners that reduces the amount of solar that can be cost-effectively deployed, forfeiting the significant energy benefits to the entire system.

Q.  	Explain how the Company’s PURPA avoided cost calculation undervalues solar generation.

A.  	The Company’s current approach is not well-documented.  But, the Company appears to calculate avoided costs on the basis of its annual average avoided cost with minor additional credit provided to solar (both US and DG) based on the RCB Framework. While its not clear exactly how the Company’s avoided cost figure is derived, its use of the annual average operates to diminish the financial benefit provided to the system and all customers from solar generation because it does not take into account that the peak of solar generation occurs generally with the greatest demand for electricity on the Company’s system.

Q.   	Define the Company’s “peak demand” and state when it occurs.

A.   	Peak demand is the top hour of demand in a given year. There is variability year-to-year, but the Company generally experiences its peak in the afternoon in July or August. The Company’s load forecast in this IRP shows that they expect this to remain the case for the next twenty years.

Q.   	Does this correlate to solar’s ability to generate energy?

A.   	Yes. Over the past three years, solar output during the highest load hours during the summer has averaged over 55%, according to the Reserve Margin Study filed by the Company in this docket. This demonstrates strong alignment of the Company’s peak demand with solar generation.

Q.  	Does publicly available data show the Company’s cost to procure additional generation to meet peak demand?

A.  	Publicly-available information from the Federal Energy Regulatory Commission (“FERC”), U.S. Environmental Protection Agency (“EPA”), and U.S. Energy Information Administration (“USEIA”) is available to assess the Company’s costs to meet its peak demand.  The Company currently uses plants with total production costs ranging from around $4 per MWh (solar) and about $20-$25 per MWh (Vogtle and Hatch) on the low end, up to several hundred dollars per MWh for many of the peaking units (such as McIntosh CT). However, the total production expenses include fixed costs which are generally not a part of the avoided cost calculation.

Q.  	What analysis did you conduct using this data?

A.  	The data for the Company’s plants was combined to identify the marginal unit and its operating costs in each hour from 2014 through 2017. This was then compared to the estimated hourly generation from solar and the solar avoided cost offered by the Company in each year to determine the hourly marginal benefit of an additional megawatt-hour of solar generation.  Figure 3 summarizes this information by month in each year for ease of presentation. Notably, the marginal value of solar compensated by solar avoided cost to the system exceeds the solar 99.9 of the time, with the result that solar is providing downward pressure on system operating costs and should have a follow-on benefit to all electric customers.

Figure 3. Generation-Weighted Monthly Average Solar Marginal Benefit vs. Company Offer in Solar Avoided Cost, 2014-2017

As depicted on Figure 3, my research shows that the hourly marginal value of solar always exceeds the annual average solar avoided cost. This gap between the two is the unrealized value of the solar resource and the measure of the benefit it provides to all of the Company’s electric customers.

Q.  	What is the difference between the Company’s cost and the price it would incur to secure more solar generation to meet its peak load demand?

A.  	The generation-weighted average gap between the compensation offered to solar in the current avoided cost methodology and the true marginal value of the energy was estimated at $49/MWh over the four (4) years I analyzed.  During peak demand, the difference between the Company’s marginal cost and the value assigned to solar avoided cost averaged $89/MWh.

Q.  	In light of this data, does the Company’s current avoided cost calculation set compensation based on the true value of solar generation?

A.   	No. Each generation resource must be valued appropriately.  Undervaluing a generation resource creates market inefficiencies, just like overvaluing any particular generation resource.  Both create worse outcomes for all customers who will pay more for electricity as a result.  The Company’s current calculation of avoided energy cost on an annual average basis across its entire system, which does not adequately capture the true system or market dynamics at play when solar is generating.  These system and market dynamics vary on a much more granular level – by the month, week and day, as well as by the hour and minute. A marginal avoided cost approach, described below, better captures the actual costs and benefits of solar generation and results in is power.

Q.  	Does PURPA allow the Company to utilize a marginal avoided cost calculation?

A.	PURPA allows the Company to utilize a marginal cost approach to calculate avoided costs.   PURPA allows the Company to develop and utilize avoided cost calculations that differentiate between energy resources., ,    In fact, PURPA regulations define “avoided costs” as the incremental costs to an electric utility.  This definition supports the use of marginal rather than average system costs for the purpose of calculating the Company’s avoided costs.  The reason is simple:  the marginal unit is that next incremental unit that will be displaced by the addition of energy from a qualifying facility. In a given month, week or day, and again, hour or minute, the marginal or next incremental unit can vary.

Q.  	What is the bottom line here?

A.  	The central question the Commission must answer is:  whether it is more cost-effective to generate the next megawatt-hour from the most expensive unit operating (or the next in sequence) or to buy a megawatt-hour from another form of generation that is the cheapest when the electricity is needed on the grid. Using this marginal price based avoided cost calculation sends the right market signal to all participants and ensures that there is an efficient, cost-effective outcome for producers and consumers alike. It means that the Company should bypass a very expensive traditional generation facility and utilize much cheaper solar generation to meet demand.  The avoided cost-based compensation mechanism should accurately reflect and encourage the correct economic decision.  The current avoided cost-based compensation mechanism does not because it is based on annual average rather than marginal costs.  It does not accomplish this goal because it does not consider the needs of the system from the perspective of time and in light of the generation resources available when the need occurs.  The beauty of an hourly marginal avoided cost compensation mechanism is that with proper oversight, the market pressure it brings to bear would naturally produce a more accurate, cost-effective valuation of megawatt-hours as solar is built out to higher penetration levels.

Q.  	Does the Company’s use of annual average avoided cost deter solar deployment?

A.  	Yes.  Georgia’s market-based approach to solar deployment has resulted in the addition of solar PV generation to the Company’s system that results in lower rates for customers because it displaces more expensive resources.  However, the gap between the cost of solar and the cost incurred by the Company to deploy other marginal units on the system is still large.  As a result, the Company uses resources that cost much more than solar generation to meet demand.  In turn this deters deployment of cheaper priced electricity from solar generation, and it keeps customers’ bills higher than they should be.  The Company’s use of an annual average avoided cost calculation is part of the problem.  As it currently stands, we have an inefficient allocation of resources.

Q.  What does this mean for the financial value of solar to the system?

A.  This compensation gap means that additional solar could be added to the system while providing significant benefits, especially when compared to the marginal generator on the system. So long as the cost from the solar generator is less than the marginal generator, and the data show that the solar cost is significantly less, there are system-level savings available. The Company’s response to Data Request STF-JKA-2-7 confirms that solar is now the least-cost resource on an energy basis, indicating that the case for additional solar as a prudent business decision is strong.

A marginal compensation mechanism requires oversight, but the market pressure it brings to bear would naturally manage a reduction in the value of megawatt-hours if solar were built out to high penetration levels. Pricing would serve a regulatory function that would again serve to benefit all by providing market-based signals to energy development. As it currently stands, we have an inefficient allocation of resources.

Q.  	How does this calculation relate to the Company’s calculation of PURPA avoided costs?

A.  	The solar avoided cost that the Company has made available has ranged from $31-$37/MWh over the course of the four years I analyzed. At the same time, the average value of solar – in terms of the more expensive, alternative generation avoided – to the grid during those years ranged from $74-$97/MWh. The generation-weighted difference between these values produces the $49/MWh compensation gap mentioned earlier.

Q.  	If the Company used your recommendation, would its calculation of avoided costs satisfy PURPA’s requirements?

A.  	Yes. This calculation better represents the incremental cost of the next unit of energy to meet demand, which aligns with the definition of avoided cost. The Commission should review this calculation and determination in the next filing. My analysis of the hourly marginal avoided energy value of solar strongly suggests that the issue of avoided cost for solar generation be revised.  The clear value provided by solar resources affirms that the Commission should allow for greater solar investment now given the benefits to all customers.  At a minimum.

RENEWABLE COST BENEFIT FRAMEWORK

Q.	Having been the first utility executive to use Value of Solar analysis to compensate DSG and having participated in the development of  Value of Solar studies in a number of states, how does the Company’s RCB Framework stack up when assessed against “best practices” in Value of Solar analysis?

A.	(Mr. Rábago) The Company’s RCB Framework follows best practices in overall structure, meaning, that it:

- Breaks out its assessment by utility-scale and distributed solar generation (“DSG”) categories;

- Uses a value stack approach to analyze component costs and benefits associated with solar energy, including DSG;

- Uses a levelization method to return a current value based on life-time benefits and costs;

- Appears to use utility-specific hourly data; and

- Is suitable for revision and updating based on new and improved data.

Q.	Can you identify any other resources that provide guidance on best practices in assessing the value of distributed renewable energy resources, such as DSG?

A.	Yes. In the end, value analysis is a search for information to inform cost-effectiveness. Since the Company’s last IRP and the adoption of its RCB Framework, considerable progress has been made in development of guidance, particularly work by the National Efficiency Screening Project to develop the “National Standard Practice Manual for Assessing Cost-Effectiveness of Energy Efficiency Resources” (“NSPM-EE”). The NSPM provides a comprehensive framework for assessing the cost-effectiveness of energy efficiency resources and can easily be applied in assessing renewable generation resources. It presents an objective and neutral Resource Value Framework that can be used to define a utility’s “Resource Value Test”—a jurisdiction-specific primary cost-effectiveness test. It also provides information, guidance, and templates. In particular, the NSPM-EE articulates a set of “Universal Principles” that should serve as a guide for the Company in developing, improving, and applying its RCB Framework. Adapted for that purpose, these principles state that the RCB Framework should:

- Recognize that DSG is a resource.

- Account for applicable policy goals.

- Account for all relevant costs and benefits, including hard-to-quantify impacts.

- Ensure symmetry across all relevant costs and benefits.

- Apply a forward-looking, long-term analysis that captures incremental impacts of DSG.

- Ensure transparency in presenting the analysis and the results.

Q.	What are the RCB Framework’s major methodological shortcomings?

A.	The Company’s RCB Framework has several major shortcomings. I will address some specific issues in more detail, but the major flaws in the RCB Framework include:

- The RCB Framework is a black box on data, with almost complete technical and statistical opacity. Almost every number in the Company’s analysis is marked trade secret. Formulas are shared, but not the numbers used in them. Even the results shared under trade secret protections do not reveal the inputs and calculations.

- The RCB Framework is self-limiting by design. The Company states there are “certain limitations regarding what can (and cannot) properly be considered in such analyses,” and related to its status as a vertically integrated, state-regulated utility, but it does not characterize those limitations or the sources of the limitations in regulation.

- The RCB Framework is selectively self-limiting in its approach to the future, a problem of special significance in the contexts of an IRP and the evaluation of the future stream of costs and benefits associated with solar resources.

- The RCB Framework relies upon nested assumptions that are not transparently documented as to assumptions or data, most notably, the “Capacity Worth Factor Table” (“CWFT”) and the “Incremental Capacity Equivalent” (“ICE”).

- The RCB Framework does not include evaluation of solar benefits and assumes solar costs in several areas based on what the Company “believes,” but without review or analysis of available data and studies, such as fuel hedging benefits, deferred distribution investment benefits, ancillary services costs, and the potential benefits of islanded operation of DSG.

- Neither the RCB Framework nor the IRP explain how the results of the RCB Framework analysis are translated into values used to determine the amount of solar resources proposed in the IRP or the rates for payment, compensation, or credit for DSG production, and apparently, the Company did not rely on the RCB Framework (or any other quantitative methodology) to determine the size of its solar proposal.

Q.	Based on your review of the Company’s RCB Framework and how it is used in the analysis of DSG, summarize the recommendations you ultimately offer to the Commission and the Company?

A.	I have several recommendations to improve the RCB Framework:

- The Company should make every aspect of the RCB Framework analysis transparent and public, including the methods by which the data and calculations are translated into assumptions and calculations leading to IRP procurement amounts and rates for payment, compensation, and credit for DSG.

- The Company should provide and annually update the data and calculations to support its ICE and CWFT factors.

- The Company should adopt a schedule of annually updating and publishing RCB Framework analyses, including spreadsheets with data cells unlocked for use by market participants and the public.

- The Company should develop estimates for so-called externality values relating to environmental and social impacts. Studying and reporting these values would inform the Commission’s evaluation of whether the IRP and the Company’s rates are just and reasonable, even if the values are not specifically included in the rate calculation.

- The Company should produce and include in the RCB Framework its own reasonable estimates of its costs of carbon emissions reduction developed by the Company and its parent, Southern Company, in its internal planning and communications with shareholders and the public.

- The Company should develop estimate values for fuel hedging benefits, deferred distribution investment benefits, ancillary services costs (especially for DSG with enabled smart inverters), and the potential benefits of islanded operation of DSG.

- The Company should make other changes in its RCB Framework as discussed in the testimony that follows, including: eliminate the generation remix component, assign a value of zero to the Support Capacity component until real data has been gathered from actual operating DSG installations,

- The Company should develop a solar + storage component for inclusion in the RCB Framework.

- The Company should evaluate the benefits of DSG to reduce the need for and magnitude of distribution investments through reduced wear and tear and translate those benefits into a value to be used in the RCB Framework.

- The Company should shelve any consideration of generation remix costs until it has thoroughly and transparently evaluated the entire issue.

- The Company should shelve the proposed Support Capacity charge against DSG in its RCB Framework.

- The Company should not treat thermal plant Bottom Out costs as a cost of renewable energy generation.

- The Company should thoroughly evaluated the grid security benefits of DSG, including benefits that could accrue when that DSG is operating in parallel with or in an islanded mode from the grid.

- The Company should reflect in the RCB Framework the full value it realizes from taking RECs from solar generators.

- Appendix B of the RCB Framework should be eliminated and any costs that the Company bases on the Appendix B graphs should be eliminated and reworked.

Q.	What general propositions should guide the development and use of the Company’s RCB?

A.	In evaluating the acquisition of solar resources, the only way to fairly set a market rate for purchases is to fully and fairly estimate all the costs that solar generation avoids and all the additional benefits that it produces. A full avoided cost calculation should be standard, as I testified in 2013. The ultimate questions for evaluation of DSG in a tool like RCB’s are: Is the cost or benefit reasonably related to the operation of DSG?, Can the cost or benefit be reasonably quantified?, How are these costs and benefits expected to arise over the useful life of the DSG?, and Is an electric utility purchase, compensation, or credit rate the economically efficient method for reflecting those costs and benefits? This assumes that the market and the public can reasonably discern how these revealed costs and benefits are being translated into electric utility purchase, compensation, or credit rates.

Q.	Having reviewed the RCB Framework submitted with the Company’s IRP, can you tell how the tool’s analysis results are translated into the Company’s purchase, compensation, or credit rates for DSG?

A.	No. This is not a matter of my technical or analytical capabilities.  No solar market participant can, either. Indeed, the Company states quite clearly:

[O]ne conclusion that should not be made from these results is that solar can or should be added on the system at rates derived from these particular solar cost benefit results. These results are based on a number of assumptions that were made for the purpose of determining the relative impacts of adding distributed generation solar on the system and not for the purpose of determining costs and benefits for any particular project or program. Any specific solar project or program should be evaluated in a similar manner using the Framework along with the appropriate assumptions associated with that program or project. (Emphasis in original)

Q.	Where does that leave a would-be market participant seeking to enter or grow a DSG business in the Company’s territory?

A.	We cannot tell and do not actually know how the Company translates the results of its RCB analysis into compensation rates. For Georgia Solar members seeking to deploy distributed solar, the only option is to focus on the assumptions and methods in the RCB Framework hoping that the pricing floor (or cap?) set by RCB is sufficient to support market growth. For that reason, the Commission must focus on ensuring that the Company’s methods are fair, nondiscriminatory, market-based, transparent and (ultimately) reasonable.

Q.	What general principles should guide the development of the RCB Framework?

A.	First, the analysis and underlying values should be based on real and measured costs. The Company operates as monopoly provider in its franchised service territory under the cost-plus model of regulation. Therefore, it would be improper for the RCB Framework to assign costs or benefits to DSG that are not based on real and measurable costs. “Measurable” does not mean that every cost or benefit must have a receipt attached, especially since the RCB Framework evaluates solar resources that are likely to operate for several decades once installed. Rather, it means that if the Company is asserting that a cost occurs because of the operation of DSG, the Company should have metered and system cost data that shows the cost. For example, if the RCB Framework asserts a “Support Capacity” cost, the Company must show that it incurs real and measurable incremental costs associated with providing regulation, ramping, or standby generation. As a further example, the Company cannot simply ignore real future costs or benefits simply because the Company does not “believe” these values exist, as it does with the hedging and market price suppression effects of zero-marginal cost resources like solar. Finally, the Company cannot use its attribution of costs as a tool for unjust discrimination, and, at the same time, say that renewable resources cause the costs of incumbent resources that are revealed under high-penetration scenarios. The so-called Bottom Out costs in the RCB Framework are an example of this error.

Q.	What other principles apply?

A.	Because a tool like the RCB Framework attempts to capture long-run costs and benefits, the choice of the discount rate used for levelized cost analysis is critical. Using an extremely high discount rate, like one pegged to the Company’s weighted average cost of capital can significantly discount the value of long-lived investments, and especially the benefits associated with costs that broadly impact customers as citizens and as members of the public in Georgia. High discount rates can also mask long-term volatility in the costs of fuels such as coal and gas.

Q.	What else matters as a general principle?

A.	The useful life of solar generation can easily stretch thirty or more years. This means that cumulative benefits of DSG can easily include aggregate and cumulative effects like the deferral of future capacity investments, the reduction in replacement costs due to down-sizing, and other benefits.  The aggregate and cumulative benefits should be reflected in the valuation analysis.

Q.	Taken together, what are the hallmarks of sound valuation analysis for solar generation and DSG in particular?

A.	As a whole, the RCB Framework should meet this standard:  It should evaluate solar resources, including utility and non-utility DSG as a resource and on a level playing field with other utility resource options.

Q.	In reviewing the Company’s RCB Framework, do you believe it is appropriate to limit the focus to the values that the Company labels as “included” and to which it has assigned values?

A.	No. The Company is also engaged in ongoing evaluations of what it has termed “placeholder” values. Several of these are based on incorrect assumptions and/or methods. I address problems in both “included” and “placeholder” values, especially as they reference DSG.

Q.	How does the Company’s RCB Framework approach uncertainty as to any particular benefit or cost?

A.	One uniform trend emerges from a review of the RCB Framework:  If the Company has any uncertainty about a benefit or cost-avoidance feature of DSG, it omits the value from the RCB calculations. Conversely, when the Company believes there may be a cost imposed by or a reduced value attributable to DSG (even if similarly uncertain or only a theoretical estimate) it subtracts the cost from DSG’s value. This approach, unjustly discriminates against DSG. Examples include the Company’s approach to externalities, to distribution operating costs, to ancillary services and the benefits of smart inverters, and to the calculation of a Support Capacity charge.

Q.	What is your view of the way in which the Company approaches the issues that it refers to as “externalities” in the RCB Framework?

A.	The term “externalities” has a precise and important economic definition. Externalities are real costs or benefits (avoided costs or additional value) that are excluded from prices. Externalities may be known, quantified, and well-understood, like the costs associated with regulatory proposals, but for which there is some uncertainty as the date and scope of implementation. Or they may be unknown, unquantified, and not well-understood. The exclusion of any of these externality values results in a price that does not reflect the true cost or value of the good or service being priced and has very real effects. As a result, in a market environment with any elasticity (sensitivity of demand to price) over the short or long term, externalities induce economic inefficiency—they result in uneconomic levels of production, consumption, supply, and demand.  There is a legitimate discussion to be had about the best mechanism for internalizing such costs, but externality costs should be at least identified and characterized to inform valuation analysis.

Q.	How does the Company address externality values in this IRP and, specifically, in the RCB Framework?

A.	The Company has for decades been offering discounts and preference rates for the externality benefits of economic development. For more than ninety years, the Company has been using rate payer revenues to support and subsidize private business growth in its service territory. These efforts have included a wide range of electric activities, like rate discounts and subsidies, and also non-electric activities, such as assisting private companies in site selection, leadership development programs, community strategic planning support, and job and business recruitment. It continues to propose special programs in this proceeding, including programs related to solar energy supply. These programs have probably benefited both the Company and the State of Georgia.

However, when it comes to estimating and factoring environmental and social externalities relating to solar and DSG in particular, the Company refuses to even consider known and measurable, but unpriced benefits associated with these resources.

There are a number of components that stakeholders in the solar industry have proposed to be included in cost-benefit analyses for renewables related to purported benefits that are unknown, speculative, or not readily quantifiable. Such externalities include presumed benefits such as non-compliance related environmental benefits, anticipated future (as yet undefined) environmental compliance costs, health benefits, economic development benefits, the value of civic engagement and awareness of renewable energy, the long-term societal value of renewables, and the like. These purported benefits do not accrue to Southern Company and thus cannot be passed along to customers. Accordingly, these are not appropriately considered in a cost-benefit determination.

This inconsistent and discriminatory approach by the Company to its own role in society is fundamentally at odds with reality that it is a business affected with the public interest.

Q.	Is the Company’s failure to evaluate the potential avoided costs associated with environmental regulations reasonable?

A.	No. There is no longer any doubt that regulation of carbon emissions will be reality in the U.S., including in Georgia. Utilities across the nation are doing what a prudent utility should do in the face of such reality—they are investing time and effort in estimating the potential impacts of such regulation on the business. Southern Company is doing just that, documented in its report: “Planning for a Low Carbon Future.” Indeed, it must do so to satisfy its obligations to shareholders.  To ignore those risks and fail to attempt to quantify them using the tools and analysis available would be financially irresponsible. Where such risks and costs have been evaluated, there is data to support the value of costs avoided by resources such as DSG that emit no carbon when generating electricity.

Q.	What of the Company’s view that the future environmental compliance benefits of solar have no value to customers?

A.	The Company’s view is incorrect. Over the decades that solar systems installed today will operate, they will generate electricity without carbon emissions. Reasonable estimates of future compliance costs can be made and avoiding those costs is a benefit to the Company through reduced regulatory expenses. The Company already passes its environmental compliance costs on to customers. Compliance costs will increase over time as climate impacts become more pronounced.  By reducing those cost through increased deployment of renewable energy resources, the Company can create measurable customer benefits.  I would further note that these benefits should be levelized with a social discount rate that is significantly lower than the Company’s weighted average cost of capital.

Q.	What about the accuracy of externality costs?

A.	Estimating future costs and avoided costs is just that–an estimate. The Company’s IRP is an exercise in estimating future costs. The Company uses a subjective approach as to when it will estimate a future cost or when it deems such estimate impossible. The Company holds future environmental costs, in particular, to a standard that it does not apply to any other cost it estimates for the future. The Company takes the position that “the avoided costs and benefits of anticipated legislation or regulation cannot be properly known until a law is enacted or a final rule is established.”

Q.	Are you saying that the Commission should require the Company to internalize specific values for environmental costs and rates?

A.	No. All I am saying is that in a planning exercise like a periodic IRP, and in fully and fairly evaluating the benefits and costs of solar generation in its RCB Framework, the Company should make reasonable estimates of the avoided cost value of avoided environmental compliance obligations and costs for which it is already planning.

The Company should also make reasonable estimates of the economic development benefits of solar market growth, relying on its similar policies that it has likely used to justify economic development rates in the past. As an example, the Company can look to other solar valuation studies that have been conducted in other jurisdictions. I would note that the report prepared for the Maryland Public Service Commission does a good job of estimating those values and contains a well-documented explanation the methods and result. The figure below documents ten years of value calculations for utility scale solar for Potomac Edison with macroeconomic benefits included. It paints a very different and more complete picture than the Company’s analysis accompanying the RCB Framework:

Figure: Maryland Solar Valuation Study Results

Q.	Does the Company properly consider fuel hedging benefits created by non-fuel resources like DSG?

A.	No. The Company does not include fuel hedging benefits because it “does not believe renewable resources provide such benefits,” asserting that hedging benefits derive from hedging and supply contracts. This argument is inapposite. The hedging benefits from renewable generation are not contractual benefits; they are price-related benefits that result from the reduced volatility of prices associated with supply portfolios when some resources—renewable supply—has no price volatility. The Company further states that it does not recognize this very real portfolio effect because it has hedging programs that are overseen by regulators. This contention is similarly inapposite. If the portfolio prices become less volatile due to increased renewable supply, that benefit reduces the costs of hedging programs—a cost that the monopoly passes to customers. Finally, the Company asserts that it cannot credit renewable supply with portfolio price hedging value because it does not evaluate and internalize the fuel price volatility costs associated with fuel-dependent resources. This is simply a testament to the fact that the Company passes through costs and could reduce customer exposure to fuel price volatility for all its resources.

Q.	Given this, what do you recommend the Commission should require to appropriately include fuel hedging value as a benefit in RCB?

A.	The Commission should reject the Company’s position regarding the fuel hedging value of renewable generation and direct the Company to calculate this benefit for inclusion in the RCB Framework. One method would be to calculate the equivalent cost of guaranteeing a fixed price of fuel for the generation that the Company would operate but for the operation of DSG over the life of the DSG, levelized on a per-kW and per-kWh basis—that is, the price of a financial instrument to hedge equivalent gas price volatility over the life of the solar generation.

Q.	What is your view of the way the Company assigns generation capacity credit to renewable generation, including DSG?

A.	Though the Company recognizes that renewable supply provides capacity value, it uses discriminatory approaches to reduce the capacity value assigned to renewable generation. First, the Company only assigns capacity value when it has forecast a capacity need. Whether or not a resource has capacity value is not a function of whether the Company has overbuilt or underbuilt its system. If a new renewable resource can provide energy and capacity at lower cost, even if the system has excess energy and capacity, that renewable energy should displace the higher cost resources. Dr. Cox’s testimony makes this point quite well.  That is a basic market principle of “best buys go first” that should be reflected in production cost modeling used in the IRP process.

Second, the Company uses its capacity-related factors, ICE and CWFT, to apply highly theoretical reductions in solar capacity value based information presented in Appendix B of the Framework. The ICE factor, in particular, evaluates solar on the basis of its equivalence to combustion turbine capacity. Of course, combustion turbines are not the only generators that provide capacity value; they are only the last generators to provide that value. Every other resource operating to serve load, dispatchable or not, is providing capacity value when it operates. Derating solar capacity value because it cannot be dispatched at night, for example, is not a reasonable way to value solar capacity when it is operating. In addition, the information in Appendix B hypothesizes unmitigated “duck curve” impacts and effective peak demand changes associated with multiple gigawatts of solar generation. Given that the actual penetration of solar generation, and especially of DSG is much lower today, and that DSG is only proposed to increase by 50 MW in the IRP, it seems inappropriate to decrement solar capacity value based on such hypothetical numbers.

Q.	How should the Company assess generation capacity valuation?

A.	The RCB Framework should be modified. The Company should not assume zero capacity value in years when the Company does not have capacity need. In addition, it should not decrement capacity value through the use of its ICE and CWFT until and unless those factors are fully and transparently reviewed by the Commission and stakeholders and are shown to be based on actual data associated with installed solar generation performance in Georgia. Since capacity costs are driven by peak demand costs, the Company should evaluate the capacity value of renewable resources using a method that evaluates peak load carrying capability.

Q.	The Company recognizes that solar plus storage (“solar + storage”) technology options can end any debate about derating capacity value.  How does the Company evaluate solar + storage resources in the RCB Framework?

A.	The Company has not established a methodology for assessing the value of solar + storage. It indicates that it will address such projects on a case-by-case basis. This approach is problematic for several reasons. First, since the solar + storage and storage markets are now emergent, market participants need price signals to guide their business planning in the Company’s service territories. Second, a case-by-case approach invites subjective and discriminatory treatment of new market projects. Third, there is already a growing base of experience around storage and solar + storage deployment that could avoid the need to reinvent approaches in the Company’s service territory. Finally, modeling solar + storage options will provide better resource inputs for the IRP process.

Q.	What do you recommend?

A.	I recommend that the Commission direct the Company to develop a component value for solar + storage technologies for inclusion in the RCB Framework.

Q.	What is your view of the Company’s exclusion of deferred distribution investment benefits in the RCB Framework when evaluating DSG and renewables in general?

A.	The Company’s rationale for not including deferred distribution benefits is erroneous. The Company asserts that an IEEE standard requires all DSG facilities remain offline for up to five minutes after voltage and frequency are restored after the utility has a fault on its distribution system.  According to the Company, the entire distribution system with DSG offline is needed during these moments, and therefore DSG has no value in avoiding distribution costs. The Company position ignores all the hours during which the DSG is providing benefits and reducing load on the distribution system when the grid is up—the vast majority of the time. The Company’s solution, planning as if the DSG were not on the system at all, does not make sense, and it discriminates against DSG. When the Company has a distribution system failure, DSG can help make the system that must be restored smaller. With storage and smart inverters, the recovery can be accelerated. The Company’s approach also creates a perverse incentive for the utility to overbuild the distribution system and ignore any of the deferral value that DSG produces.

Q.	Do you have any other concerns about the Company’s failure to include deferred distribution investment value estimates in its analysis?

A.	Yes. The utility business is getting much more distributed and granular. Utilities today must work to improve their understanding of the costs and other aspects of investments and operations at much smaller scales. In distribution system planning and investment, this increasingly means understanding locational and temporal differences down to the feeder level or lower. Such understanding can inform and guide the optimal siting of distributed generation and distributed energy resources of all kinds. As a simple summary example, it is worth considering how much more efficient distribution investment would be if the Company understood the marginal distribution capacity costs it faces at the feeder level across short-, mid-, and long-term timeframes. Understanding these values would not only improve the fairness and accuracy of the RCB Framework to DSG, but would improve the efficiency and cost-effectiveness of the Company’s operations, because it would help target distributed energy resources investments, including for DSG, for maximum benefit.

Q.	What should the Company do to properly evaluate the deferred distribution investment value created by DSG?

A.	The Company should evaluate the benefits of DSG in reducing the need for and magnitude of distribution investments through reduced wear and tear, primarily, and translate those values into a value in the RCB Framework.

Q.	Can you assess the Company’s approach to evaluating distribution operations costs that it asserts can be produced by DSG?

A.	The Company considers it a cost of solar generation that conservation voltage reduction programs may not work as well when DSG operates to meet demand during system peaks. Because DSG reduces peak, the Company wrongly asserts that some money spent on conservation voltage is wasted. The flaw in the Company’s logic is in assigning a cost to DSG related to the poor performance of the conservation voltage program implemented by the Company. Second, the Company asserts that it accrues costs due to voltage swings caused by the variability of DSG operation. The Company offers no actual evidence that it has any costs associated with mitigating voltage swings caused by DSG on its system. Given the very small amount of DSG on the Company’s system, it is doubtful that the Company could identify statistically significant costs. Third, the Company also asserts that DSG “may” result in problems relating to fault isolation and restoration. Again, these are problems that have not been actually demonstrated by the Company at current levels of penetration, and they are associated with fault isolation and restoration schemes designed without DSG in mind. The Company is responsible for building and maintaining the grid for a real world in which more DSG is operating.

Q.	What should the Company do with its placeholder category of distribution operations costs?

A.	The Company’s work on these alleged costs should be held until it has actual data.

Q.	What is your view of the Company’s proposal to assign Generation Remix costs to DSG and solar in general in the RCB Framework?

A.	The Company’s approach to Generation Remix costs is another example of a category error and a misplaced assignment of cost-causation. It stands to reason that changing the generation mix operated to serve demand for electric service will result in a difference in generation-related costs. Presumably, the Company’s IRP models are designed to account for this effect, and, in fact, should be designed to exploit these differences in a search for the least-cost resource plan. If the Company’s models fail to account for a real and measurable additional cost due to a remix of generation, then the models are problematic having failed to discern the least cost mix.  Unlike other states, Georgia does not mandate a particular resource mix. To the extent that the Company attempts to account for costs that are specific to non-renewable energy generation as it is being displaced by renewable energy generation, that is not a cost of the renewables. Instead, it is a cost associated with the non-renewables having lower merit in the models. For the Company to assign those costs just to renewables under the RCB Framework is discriminatory and based on flawed financial logic. New investments are not properly or fairly evaluated when they are saddled with the sunk costs of uncompetitive resources. Yet, that is what the Company appears to be doing by proposing a generation remix cost in its RCB Framework.

Q.	What do you recommend that the Company do with the generation remix component of the RCB Framework?

A.	The Company should hold any consideration of generation remix costs until it has thoroughly and transparently evaluated the entire issue. In particular, the Company should not assign costs arising from the inflexibility or higher cost of incumbent utility generation to DSG or other renewables.

Q.	What is your view of the Company’s approach to what it calls “Support Capacity?”

A.	In its RCB, the Company improperly imposes support capacity costs on DSG placed on the system. It takes the position that these costs should be deducted from the calculation of the costs avoided by DSG. The Company attacks the avoided cost value in two ways. First, it derates the capacity value of all DSG based on the assumption that capacity is required to overcome ordinary variability in solar output. The Company created the Support Capacity category to account for additional costs it claims are related to regulating reserves and to errors it makes in forecasting the output of solar generators.  However, the Company fails to provide any actual evidence that the relatively tiny amount of distributed generation in its system, and the 50 MW of incremental DSG it proposes in the IRP actually creates any measurable level of these costs. As a result, the RCB assessment of a cost against DSG for Support Capacity is at best theoretical, and when matched with an actual deduction in avoided costs, unjustly discriminatory to DSG.

Q.	Please explain further.

A.	It is possible that Company’s RCB is “double costing” for DSG variability. It is not ascertainable whether the Company derates DSG capacity and then assesses a Support Capacity charge—which would impose two separate costs or “double costing” for DSG variability. The Company asserts that the costs are additional, but absent actual and statistically significant meter-based data and given the very small amount of DSG in the Company system, the distinction between reduced capacity avoidance credit and any incremental compensatory regulation or forecast correction costs is theoretical at best.

The Company appears to use its Support Capacity Capital Cost calculation to reduce savings or increase costs associated with the increased penetration of renewables in the system by adding new, hypothetical costs associated with Regulating Reserves and Forecasting Errors. The Company’s RCB Framework describes the Regulating Reserve requirement calculation with a statistical formula that assumes the hourly summation of an “expected” hourly Regulating Reserve Requirement in every single hour of the year multiplied by value from the CWFT,  that in turn was produced by a model and theoretically represented as “the relative allocation of the value of capacity across the year and represents the relative reliability risk (i.e., risk of unserved energy) in one hour relative to all other hours.”

The Company’s RCB Framework also adds the theoretical costs associated with errors it will make in forecasting the output of distributed generation to the Regulating Reserves costs—but only when the tool over-forecasts DSG production. It punishes DSG for the Company’s failure to accurately forecast the performance of the resources in its mix, but it does not limit the charge to unexpected variation in DSG output. The Company does not estimate the value of under-forecasting or adjust its Forecast Error charge for over-production. This approach creates a perverse incentive for the Company to under-forecast and derate DSG in its planning. The Company uses a largely hypothetical formula to describe how it would calculate Forecast Error costs that sums the expected forecasting error multiplied by the modeled hourly CWFT.

In all, and in the Company’s own words, the reduction for Support Capacity applied in DSG value is not cost based, rendering it substantively flawed and mostly hypothetical. Given the small level of DSG in its system, it is not surprising that the Company cannot offer actual cost data to support its Support Capacity charge.

Q.	Do you have any additional concerns about the Support Capacity charge calculation?

A.	The Company provides no evidence that the Support Capacity charge it uses to reduce DSG avoided costs is, in fact, limited to the supposed impacts of distributed generation or that it accounts for the small size and grid-embedded nature of distributed generation, i.e., to costs behind the substation. Discussions about the need for Regulating Reserves, Forecast Error-related supply costs, and Ramping or Load Following cost in the context of five-kilowatt systems and 50 MW of DSG installed system-wide are not, in my view, statistically significant, and cannot support a specific charge applied in the RCB Framework.

Q.	What should the Company do with the Support Capacity charge against DSG value?

A.	It is reasonable to assume actual support capacity costs and grid integration costs when the DSG market grows so much that DSG is a significant part of the Georgia Power grid. That is not today. With a plan to add only 50 MW of DSG and absent a fantastical level of deployment concentration over the planning horizon, there is no real likelihood of measurable actual costs associated with Support Capacity.  As a result, the Company should shelve the proposed Support Capacity charge against DSG in its RCB Framework, and wait until it has actual data based on operating DSG systems to support and validate its methods.

Q.	What is your view of the Company’s inclusion of so-called Bottom Out costs as a cost to be associated with system impacts of renewable energy generation?

A.	The Company’s approach regarding Bottom Out costs is what logicians would call a category error. That is, it treats Bottom Out costs as a cost of renewables, when in fact, avoiding Bottom Out costs is a benefit of renewable energy generation. Further, the Company builds on the false premise that its “duck curve” graph in the RCB Framework “demonstrates an example of how solar generation can increase the risk of Bottom Out.”

Bottom Out costs are not costs created by solar or other new generation of any type. Bottom Out costs are the costs associated with the fact that large thermal plants require and have a kind of thermal inertia. They have minimum operating thresholds, below which they must be shut down—they cannot operate everywhere in the range from 1 MW to their rated capacity; they cannot be shut down instantly, and they cannot restart from zero without considerable delay.  The simplest way to understand this is to realize that Bottom Out costs are a cost of significantly reducing the demand on individual generating units whether renewable energy is the reason for the demand reduction or something else is. Thermal plant Bottom Out costs should not be assigned to renewable generation in the RCB Framework at all.  Bottom Out costs are not a cost of renewable resources at all. Characterizing Bottom Out costs as a cost of renewables is logically incorrect and unfairly discriminatory. This cost should be eliminated from the RCB Framework used to evaluate any kind of solar photovoltaic resource.

Q.	Do you agree that the “duck curve” graph illustrates how renewables increase the risk of Bottom Out costs?

A.	Absolutely not. I address the errors in RCB Framework Appendix B later in my testimony.

Q.	What is your view of the way in which the Company addresses the grid security benefits of DSG in the RCB Framework?

A.	The Company takes an unreasonably cramped view of the very real grid security benefits that DSG can bring to the electric system. First, the Company appears to assume that grid security benefits only arise from the operation of DSG in an islanded mode, and because it prohibits island mode operation, there are no benefits. The Company “believes” that considering grid operations that allow for islanding and the grid security benefits that could follow is “not in the best interests of customers.” Second, the Company tautologically asserts that even though it could conduct an analysis of the benefits from DSG operating in islanded mode, such analysis “would not be appropriate at this time given . . . current, prevailing standards and policies.”

Q.	Is grid security solely a feature of operating DSG in islanded mode?

A.	No. The grid security benefits of DSG are not limited to DSG performance in islanded mode. Security is “the ability of the electric system to withstand sudden disturbances, such as electric short circuits or unanticipated loss of system facilities.” Distributed generation provides a wide range of benefits, many of which contribute directly to the security of the system, and others which contribute by reducing costs and freeing resources for additional security investments—reducing the total costs of a more secure system. Some of these benefits include:

Sample Benefits of Distributed Generation Systems

- Shorter construction times

- Reduced financial risk of over- or under-building

- Reduced project cost-of-capital over time due to better alignment of incremental demand and supply

- Lower local impacts of smaller units may qualify for streamlined permitting or exempted permitting processes, reducing fixed costs per kW

- Significantly reduced exposure to technology obsolescence

- Local job creation for manufacturing, technician installers/operators

- Higher local, small-business development and taxes vs. overseas manufacturing

- Lower unit-cost, automated manufacturing processes shared with other mass-production enterprises (i.e., automotive industry)

- Shorter lead times reduce risk of exposure to changes in regulatory climate

- Significant reduction in fuel disruption risk (portfolio of locally produced fuels and “fuel-less” technologies— solar, wind)

- Reduced fuel-forward price risk

- Reduced trapped equity

- Reduced exposure to interest-rate fluctuations

- Potential for more modular, routine analysis for capital expansions

- Multiple off ramps for discontinued projects, without same level of risk

- Ability to redeploy portable resources as demand profiles change

- Portability = Higher capacity utilization

- Reduced site remediation costs after decommissioning

- Higher system efficiency reduces ratio of fixed-to-variable costs (fuel)

- Potential for lower unit costs for replacement parts when mass produced

- Displaces that portion of customer load with highest line losses

- Displaces that portion of customer load with greatest reactive power requirements

- Displaces that portion of customer load with highest marginal energy costs

- Weather-related (solar, wind) interruptions more easily predicted and of shorter duration than equipment failures at central plants

- “Hot swap” capability – when one DG module (panel, tracker, inverter, turbine) is unavailable, all other modules continue operating

- Load siting reduces or eliminates line losses on electric transmission and distribution lines

- Inherently improved system stability due to multiplicity of inputs

- Reduced regional consequences of system failure

- Improved transmission and distribution reliability due to reduced peak loading, conductor and transformer cooling

- Fast ramping within the distribution system, ability to reduce harmonic distortions at customer’s site.

Q.	What should the Company do regarding the evaluation of grid security benefits created by DSG?

A.	The Company should evaluate the grid security benefits of DSG in its RCB Framework, if only to illuminate the issue of whether current policies and rules forbidding islanding should be modified.

Q.	What is your opinion of the Company’s proposal to not include renewable energy credit (REC) value in the RCB Framework?

A.	Because Georgia has no renewable portfolio standard and it is evaluating what it calls “Avoidable Renewable Energy Cost,” the Company asserts that “there is no basis to consider the avoided value” of RECs associated with renewable generation. This approach is disingenuous for several reasons. First, the Company plans to take all the RECs produced by 950 MW of procured solar under its Customer Renewable Supply Procurement (“CSRP”) program. The CSRP appears to work like a corporate green power program in which customers can subscribe to renewable energy supply with or without RECs.  Although the details are not provided by the Company, it is safe to assume that customers that subscribe to the CSRP with RECs will pay more than those that do not. Second, the Company specifically sells RECs to customers at a price premium in a program called Simple Solar. Those RECs have to be procured from somewhere at some cost, and the amount and costs will be reduced by the number and value of RECs obtained from solar procurements such as the CRSP. Third, the Company makes formal public claims about the amount of renewable energy-based generation in its system. These claims have value to the Company as well. All this means that the RECs taken from solar generators have real value, even if they are not avoiding renewable portfolio costs. It is inconceivable that the Company has not estimated and factored that value into its plans for the CRSP, Simple Solar, and resource portfolio claims. While RECs generated by renewables may lack portfolio standard cost-avoidance value, they have very real value that should be reflected in the RCB Framework.

Q.	How should the Company treat REC value in the RCB Framework?

A.	The Company should expressly reflect the commercial value it receives from RECs that it takes from renewable generators under its various procurement programs.

Q.	What is your view of the information provided by the Company in Appendix B of the RCB Framework, styled “Impacts of Renewable Generation on Effective System Demand?”

A.	In Appendix B, the Company asserts that “significant” penetrations of renewable resources can have detrimental impacts on generation ramping requirements and peak shifting. This is used to bolster its theoretical arguments about reduced DSG capacity value and increased Support Capacity costs, among other things. But, there is no data connecting the charts with the actual or reasonably projected conditions in the Georgia Power or Southern Company systems. The information also does not account for the many ways that the so-called “duck curve” effect in Figure B-1, which isolates a single component of an extremely-high solar penetration scenario on a totally misleading non-scale graph, can be cost-effectively mitigated with net benefits to system operations and costs.

The Company’s graphic omits scale and thereby distorts the significance of the original California ISO graphic which “bottomed” at 12,000 MW and hypothesized an unmitigated set of growth scenarios extending out to 2020. As explained in Jim Lazar’s “Teaching the Duck to Fly,” the implementation of an integrated agenda of strategies can turn the “problems” of high DSG penetration into a winning grid strategy:

These graphics, based on hypothetical system sizes, represent the impact of large- and small-scale variable renewable generation penetrations in a high-renewable market. Finally, the Company can offer no credible case that DSG alone would cause these impacts, or that its system is “high-renewables.”

The Company labeled the bottom of its duck curve diagram with the words “Bottom Out.” The suggestion in the Company’s graph that high penetrations of variable renewables would cause “Bottom Out” impacts is disingenuous. The bottom of the duck curve, under any foreseeable conditions will be in a system that is still running thousands of megawatts of generation, as is the case in California. That this would cause individual resources to Bottom Out is assigning a cause and effect relationship that simply does not exist. The system level of demand is not what makes power plants Bottom Out—it is the inflexibility of the individual power plant and the way in which operators dispatch those units.

Q.	What are your concerns about Figure B-2 in the RCB Framework?

A.	Figure B-2 is titled “Impacts of Solar on Effective Summer Peak Demand.” The Company offers the graph to support its contention that very high penetrations of solar generation can effectively shift the summer peak to a time when solar can no longer offer peak reductions. This graphic is also disingenuous. The Company fails to consider, as it should in a fair and balanced IRP, that every summer day the 10,000 MW of solar in the graph are operating, they are suppressing what otherwise would be a late afternoon hot summer peak. The Company fails to predict when its system will have 10,000 MW of solar generation. It fails to address how cost-effective storage could allow more solar generation to effectively attack early evening peaks, or to quantify the cost-savings of the peak reduction induced by solar generation. The Company fails to explain that the much-lower early evening peak will happen at cooler hours when gas generation performs at higher efficiency. It does not address strategies like pre-cooling with excess solar or the many technological demand-side options that will emerge between now and the time that solar penetration is significant enough to cause the Company’s peak to shift into the early evening.

Q.	What should the Company do with the information in Appendix B of the RCB Framework?

A.	To be useful, Appendix B needs actual numbers and measured data. It should be eliminated from the RCB Framework and any costs that the Company bases on the Appendix B graphs should be eliminated. Finally, the extent to which the Appendix B graphs support the data and outputs of the ICE and CWFT factors, those data sets should be completely revised in a transparent manner.

RECOMMENDATIONS

Q.	What are your recommendations regarding the Company’s PURPA avoided cost calculations?

A. 	 (Dr. Cox) To correctly value solar generation, the Company should utilize an avoided cost calculation based on the Company’s marginal costs, rather than its annual average avoided cost.

Q.	What are your recommendations regarding the RCB Framework?

A.	(Mr. Rábago) To improve the RCB Framework, I recommend that:

- The Company should make every aspect of the RCB Framework analysis transparent and public, including the methods under which the data and calculations are translated into assumptions and calculations leading to IRP procurement amounts and rates for payment, compensation, and credit for DSG.

- The Company should provide and annually update the data and calculations to support its ICE and CWFT factors.

- The Company should adopt a schedule of annually updating and publishing RCB Framework analyses, including spreadsheets with data cells unlocked for use by market participants and the public.

- The Company should develop estimates for so-called externality values relating to environmental compliance costs. Studying and reporting these values would inform the Commission’s evaluation of whether the IRP and the Company’s rates are just and reasonable.

- The Company should produce and include in the RCB Framework reasonable estimates of the costs of carbon emissions compliance regulation. These estimates should be exactly equal to the values used by the Company and Southern Company in its internal planning and communications with shareholders, if any.

- The Company should develop estimate values for fuel hedging benefits, deferred distribution investment benefits, ancillary services costs (especially for DSG with enabled smart inverters), and the potential benefits of islanded operation of DSG.

- The Company should make other changes in its RCB Framework as discussed in the testimony above, including: eliminate the generation remix component, assign a value of zero to the Support Capacity component until real data has been gathered from actual operating DSG installations,

- The Company should develop a solar+storage component for inclusion in the RCB Framework.

- The Company should evaluate the benefits of DSG in reducing the need for and magnitude of distribution investments through reduced wear and tear, primarily, and translate those values into a value in the RCB Framework.

- The Company should shelve any consideration of generation remix costs until it has thoroughly and transparently evaluated the entire issue.

- The Company should shelve the proposed Support Capacity charge against DSG in its RCB Framework.

- The Company should not treat thermal plant Bottom Out costs as a cost of renewable energy generation.

- The Company should thoroughly evaluated the grid security benefits of DSG, including benefits that could accrue when that DSG is operating in parallel with or in an islanded mode from the grid.

- The Company should reflect in the RCB Framework the full value it realizes from taking RECs from solar generators.

- Appendix B of the RCB Framework should be eliminated and any costs that the Company bases on the Appendix B graphs should be eliminated and reworked.

Q.	Does this conclude your testimony?

A.	Yes.

“Testimony of William M. Cox, Ph.D. on behalf of Georgia Interfaith Power and Light and Southface Energy Institute, Inc.,” In Re: Georgia Power Company’s 2016 Integrated Resource Plan and Application for Decertification of Plant Mitchell Units 3, 4A and 4B, Plant Kraft Unit 1 CT, and Intercession City CT; Docket No. 40161 (May 3, 2016);  In Re: Georgia Power Company’s Application for the Certification, Decertification, and Amended Demand Side Management Plan; Docket 40162 (May 3, 2016).

“Testimony of William M. Cox, Ph.D. on behalf of Georgia Interfaith Power and Light and Partnership for Southern Equity,” In re: Georgia Power Company’s Seventeenth Semi-Annual Vogtle Construction Monitoring Report; Docket 29849 (December 1, 2017).

Notice of Inquiry and Workshop to Examine Issues Related to the Value of Renewable and Distributed Energy Resources in Preparation for the 2016 Georgia Power Company Integrated Resource Plan; Docket 39732.

“Direct Testimony of Karl R. Rábago,” In re: Georgia Power Company’s Application for Approval of its 2013 Integrated Resources Plan and for Application for Decertification of Plant Branch Units 3 and 4, Plant McManus Units 1 and 2, Plant Kraft Units 1-4, Plant Yates Units 1-5, Plant Boulevard Units 2 and 3 and Plant Bowen Unit 6; Docket 36498 (May 10, 2013).

”Testimony of Karl R. Rábago,” In re:  Georgia Power Company’s 2013 Rate Case; Docket 36989 (October 18, 2013).

16 U.S.C. § 1601, et seq.

“Order Adopting Stipulations,” In Re: Georgia Power Company’s 2016 Integrated Resource Plan an Application for Decertification of Plant Mitchell Units 3, 4A and 4B, Plant Kraft Unit 1 CT, and Intercession City CT; Docket No. 40161 (August 2, 2016) (Stipulation, ¶¶ 7-8).

The Company actually calculates different avoided costs for different purposes. A full and fair Value of Solar methodology is a technology-specific sum of all the costs avoided as a result of the purchase of energy and capacity from the facility. See 18 CFR sec. 292.304(c)(3).

For purposes of this testimony, “discrimination” or “discriminatory treatment” refer to Company policies that result in its disparate treatment of renewable generation, as opposed to traditional fossil fueled plants.

18 C.F.R. § 292.101(b) (6).

18 C.F.R. § 292.302 (b).

18 C.F.R. § 292.302 (e).

18 C.F.R. § 292.304 (a).

18 C.F.R. § 292.304 (b) (2).

18 C.F.R. § 292.304 (e).

18 C.F.R. § 292.302 (e).

18 C.F.R. § 292.302 (d).

2019 IRP Volume 1, IRP Reserve Margin Study.

Solar generation curves derived using NREL’s PVWatts for a utility-scale installation in southwest Georgia and rooftop generation in Atlanta, Georgia.

18 C.F.R. § 292.101(b) (6): Avoided costs means the incremental costs to an electric utility of electric energy or capacity or both which, but for the purchase from the qualifying facility or qualifying facilities, such utility would generate itself or purchase from another source.

18 C.F.R. § 292.304(d):

(d) Purchases “as available” or pursuant to a legally enforceable obligation. Each qualifying facility shall have the option either:

(1) To provide energy as the qualifying facility determines such energy to be available for such purchases, in which case the rates for such purchases shall be based on the purchasing utility's avoided costs calculated at the time of delivery; or

(2) To provide energy or capacity pursuant to a legally enforceable obligation for the delivery of energy or capacity over a specified term, in which case the rates for such purchases shall, at the option of the qualifying facility exercised prior to the beginning of the specified term, be based on either:

(i) The avoided costs calculated at the time of delivery; or

(ii) The avoided costs calculated at the time the obligation is incurred.

18 C.F.R. § 292.304(c) (2)(ii): Standard rates for purchases may differentiate among qualifying facilities using various technologies on the basis of the supply characteristics of the different technologies.

STF JKA Data Request Set Number 2. STF-JKA-2-7, Attachment A; Docket 42310.

Woolf, T., et al., National Standard Practice Manual for Assessing Cost-Effectiveness of Energy Efficiency Resources, National Efficiency Screening Project – E4TheFuture (May 18. 2017). Available at: https://nationalefficiencyscreening.org/national-standard-practice-manual/.

Id., at Executive Summary.

RCB Framework at 4.

Id.

RCB Framework at 11.

RCB Framework at 16.

RCB Framework at 21.

RCB Framework at 26.

“Direct Testimony of Karl R. Rábago,” In re: Georgia Power Company’s Application for Approval of its 2013 Integrated Resources Plan and for Application for Decertification of Plant Branch Units 3 and 4, Plant McManus Units 1 and 2, Plant Kraft Units 1-4, Plant Yates Units 1-5, Plant Boulevard Units 2 and 3 and Plant Bowen Unit 6; Docket 36498 (May 10, 2013) at 12-16.

RCB Framework 2019 Solar DG Analysis at 4.

RCB Framework at 3, Table 1.

Georgia Power Economic Development website page. See https://georgiapower.com/company/economic-development.html

Id.

RCB Framework at 30.

Munn v. Illinois, 94 U.S. 113 at 126 (1876). “Property does become clothed with a public interest when used in a manner to make it of public consequence and affect the community at large. When, therefore, one devotes his property to a use in which the public has an interest, he, in effect, grants to the public an interest in that use, and must submit to be controlled by the public for the common good, to the extent of the interest he has thus created. He may withdraw his grant by discontinuing the use, but, so long as he maintains the use, he must submit to the control.” See also O.C.G.A Code § 46-2-20(c).

Southern Company, Planning for a Low-Carbon Future (April 2018).

See:  Environmental Compliance Cost Recovery tariff.

RCB Framework at 10.

Daymark Energy Advisors, Benefits and Costs of Utility Scale and Behind the Meter Solar Resources in Maryland, prepared for Maryland Public Service Commission (Nov. 2, 2018). Available at: http://bit.ly/2vphR9X.

Id. at 4, Figure 2.

RCB Framework at 11.

RCB Framework at 12-13.

RCB Framework at 45.

The Company describes the ICE method as having the following effect: “This method approximates the reliability of a renewable resource relative to the reliability of a dispatchable CT resource as opposed to just determining the peak load carrying capability.” RCB Framework at 12.

RCB Framework at 19.

RCB Framework at 19.

RCB Framework at 20.

See Kelly-Detwiler, P., Quarterbacks and New Nuclear Power Plants, Forbes.com (22 Jan. 2013). Available at: https://www.forbes.com/sites/peterdetwiler/2013/01/22/quarterbacks-and-new-nuclear-power-plants-sunk-costs/#33b172371298.

Other utilities style this category of costs as “grid integration costs,” though that term can also include technical interconnection expenses related to physical integration that are not included in the Company’s estimates.

RCB at 50.

The latter category of costs is associated with over-forecasting production under the capacity value calculation, but the Company provides no offsetting credit for under-forecasting solar output—setting up a perverse incentive for the Company to excessively derate and under-forecast output from DSG capacity. RCB Framework at 52.

RCB at 39. Having modeled the change in total capital and production costs through its “Generation Remix” estimate (RCB at 36), the Company uses its hypothetical calculation of additional support capacity requirements to create the Support Capacity Capital Cost.

RCB at 7.

This perverse effect remains even where the Company decides to assume a zero cost for Forecasting Error.

The Company assumes this expected Forecast Error against nominal, but not actual DSG capacity. RCB at 53.

RCB at 52-53.

RCB Framework at 46, Fig. B-1.

RCB Framework at 25.

RCB Framework at 26.

Id.

Id.

U.S. Department of Energy, The Potential Benefits of Distributed Generation and Rate-Related Issues That May Impede Their Expansion (Feb. 2007) at xxi. Available at: https://www.ferc.gov/legal/fed-sta/exp-study.pdf.

Id. at 1-12, citing Lovins, A., Datta, K. and T. Feiler, A. Lehmann, K. Rábago, J. Swisher, K. Wicker, Small is Profitable: The Hidden Economic Benefits of Making Electrical Resources the Right Size, Rocky Mountain Institute (2002).

RCB Framework at 26.

IRP at 8-53.

Id.

IRP at 8-55.

The Company also makes claims in its IRP about renewables connected to its system where the generator has retained associated RECs. See IRP at 2-12, Fig. 1 note. Because those generators could sell those RECs outside the Company’s service territory for retirement, the Company’s renewable energy claims may be inadequately substantiated.

RCB at 46.

See Lazar, J., Teaching the Duck to Fly, Regulatory Assistance Project (2d. Ed., Feb. 2, 2016). Available at: https://www.raponline.org/wp-content/uploads/2016/05/rap-lazar-teachingtheduck2-2016-feb-2.pdf.

Id. at 6, Fig. 1.

Id.