ELECTRIC SERVICE TARIFF:

Volume 1, Exhibit 1

M.F.R. Item - F-1

Page 517 of 532

RENEWABLE AND NONRENEWABLE

RESOURCES

SCHEDULE: “RNR-10”

| PAGE | EFFECTIVE DATE | REVISION | PAGE NO. |
| --- | --- | --- | --- |
| 1 of 2 | With Bills Rendered for the Billing Month of January, 2020 | Original | 11.00 |

AVAILABILITY:

Available throughout the Company’s service area on existing lines of adequate capacity.

APPLICABILITY:

Applicable for any customer who desires to sell electrical energy to the Company, available to all renewable and nonrenewable resources as defined below.

Renewable energy resources shall be defined by the standards set forth by the Center for Resource Solutions in the Green-e Energy National Standard for Renewable Electricity Products, and include, but are not limited to, solar, wind, geothermal, limited hydro, and biomass.  Renewable energy resources are residential applications with a peak generating capacity of less than or equal to 10 kW AC and commercial applications with a peak generating capacity of less than or equal to 250 kW AC.  Resources between 100 kW AC and 250 kW AC may not exceed one hundred and twenty-five percent (125%) of the preceding year’s metered peak demand of the premises the technology serves. The system generating capacity is determined by the nameplate capacity of the inverter(s).  Renewable energy resources eligible for this tariff participate pursuant to The Georgia Cogeneration and Distributed Generation Act of 2001.

Nonrenewable energy resources are residential fuel cell applications with a peak generating capacity of less than or equal to 10 kW AC and commercial fuel cell applications with a peak generating capacity of less than or equal to 100 kW AC.  Nonrenewable energy resources are eligible for participation subject to the terms and provisions of The Georgia Cogeneration and Distributed Generation Act of 2001.

#### ADDITIONAL COSTS:

Interconnection Testing:  Georgia Power will test the performance and safety of the energy resource prior to operation. The cost of testing is $5/kW.

Metering:  The Company will install single-directional metering or bi-directional metering depending on the customer’s method of installation.  The customer will enter into a contract with the Company to cover all incremental metering (e.g. poly-phase meters, trans-sockets, dual-gang sockets, etc.) and interconnection costs.  Additionally, customer agrees to pay the applicable monthly metering cost as outlined below.

Single-phase Single-directional metering charge:		  $5.97 per month

Poly-phase Single-directional metering charge:		$12.66 per month

- MUNICIPAL FRANCHISE FEE:

The bill calculated under this tariff will be increased under the provisions of the Company's effective Municipal Franchise Fee Schedule, including any applicable adjustments.

SCHEDULE: “RNR-10”

Volume 1, Exhibit 1

M.F.R. Item - F-1

Page 518 of 532

| PAGE | EFFECTIVE DATE | REVISION | PAGE NO. |
| --- | --- | --- | --- |
| 2 of 2 | With Bills Rendered for the Billing Month of January, 2020 | Original | 11.00 |

PAYMENT FOR ENERGY:

Payments for energy purchased from renewable and nonrenewable resources are a recoverable fuel cost of the Company. The Company will only make payments based on the metered energy delivered to the Company’s system.

The customer must provide a copy of the Internal Revenue Service “Request for Taypayer Identification Number and Certification” (Form W-9) for purposes of billing and payment if requested by the Company.

Renewable Energy Resources: The Company will only be required to purchase renewable energy from eligible customers on a first come, first served basis until the cumulative generating capacity of all renewable sources equals to 0.2 percent of the Company’s annual peak demand in the previous year.

Customers will be paid avoided energy costs as defined by the most recent informational filing made by the Company in compliance with the final order in the PURPA Avoided Cost Docket No. 4822.  For energy from solar resources, the Company will pay the Avoided Solar Cost as filed in Docket No. 16573 modified annually by the Renewable Cost Benefit Framework.

Nonrenewable Energy Resources: The Company will pay avoided energy costs in compliance with the final order in the PURPA Avoided Cost Docket No. 4822.

SAFETY, POWER QUALITY, AND INTERCONNECTION REQUIREMENTS:

Any customer who intends to install a distributed energy resource facility on its premises shall execute an applicable interconnection agreement prior to being allowed to interconnect.  The customer is responsible for ensuring a safe and reliable interconnection with the Company system and all costs incurred therein.  The customer must adhere to the guidelines set forth in the applicable “Southern Company Distribution Interconnection Policy” or “Southern Company Transmission Parallel Operation Requirements”, which establish the criteria for interconnection including system protection, power quality, and other operational requirements.  The applicable documents and their successors are available to the public on the Company’s website and from Company representatives.  The customer must be familiar with the appropriate document, or its successor, and follow all required procedures.

The cost of interconnection shall be paid by the customer according to Company policies and the applicable agreement.  The customer may be required to enter into a separate Excesss Facilities Charge (EFC) Agreement with the Company to cover any incremental interconnection and on-going costs.

GENERAL TERMS AND CONDITIONS:

The charges and payments calculated under this rider are subject to change in such an amount as may be approved and/or amended by the Georgia Public Service Commission.

Service hereunder is subject to the Rules and Regulations for Electric Service on file with the Georgia Public Service Commission.