GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2018 Annual Surveillance Report

Staff Data Request No. STF-ASR-50

STF-ASR-50-4

Question:

Refer to Section 5, Schedule 13. Please provide a detailed description, an itemized breakout of the additions and retirements, and the amounts by month showing how the 13-month average impact on plant balance was calculated for each of the following:

- Solar Self-Build Projects

- McDonough CC LTSA

- McDonough CC Misc Additions

- Distribution Improvements & Reliability

- Protective Relay Modernization Project

- Communication System Upgrade

- Nuclear Software Additions

Response:

Please see Attachment STF-ASR-50-4 for details on how the additions, retirements, and 13-month average was calculated for items a-g.

- Solar Self-Build Projects consist of all renewable solar projects approved by the Commission including:  Albany Marine Corps Logistics Base, Kings Bay, and Community Solar.

- McDonough CC LTSA includes all projects related to long-term service agreements with Mitsubishi to conduct scheduled outage maintenance on the plant.

- McDonough CC Misc Additions include all projects not related to plant outages or major projects, such as pumps, valves, motors, and plant equipment.

- Distribution Improvements & Reliability include all costs related to the automation, strengthening of network system and operational flexibility, replacement of aging/obsolete assets, and system hardening as it pertains to the Distribution system.

- Protective Relay Modernization Project includes the upgrade of substation relay components at the time that major substation equipment is replaced.

- Communication System Upgrade includes capital costs related to the statewide upgrade of communication equipment located on transmission lines and in substations to LINC LTE.

- Nuclear Software Additions include software purchases to assess/monitor/model nuclear plant operational risks.