GEORGIA POWER COMPANY

Docket No. 36989

Georgia Power Company’s 2019 Annual Surveillance Report

Staff Data Request No. STF-ASR-63

STF-ASR-63-2

Question:

Distribution and Vegetation Management and Right of Way Management. Refer to the response to STF-ASR-62-7.

- How many miles of Distribution Vegetation Management backlog were carried from 2018 into 2019?

- How many miles of Distribution Vegetation were cleared in 2019?

- How many miles of Distribution Vegetation Management were cleared in 2019 that relate to the 2018 backlog that was carried from 2018 into 2019?

- What reduction, if any, occurred in the Distribution Vegetation Management backlog in 2019?

Response:

- 5,900 miles

- 10,710 miles

- 1,600 miles

- Backlog was reduced from 5,900 miles to 4,300 miles in 2019.