City of Lumpkin

552 MLK Jr. Drive P.O. Box 275

Lumpkin, Ga. 31815

Phone: (229) 838-4333 Fax: (229) 838-9908

Barbara Cullefer, Mayor Pro tem                                                                                                                    Flossie Brown, Council

Nikita Seay, Council                                                                                                                                       Mitzi House, Council                                                                                                             Billie Ann Mallory, Council                                                                                                                             Canady Matthews, Council

Anne Holloway, City Clerk                                                                                                                                            David Davis, City Manager

Jimmy Babb, Mayor

October 19, 2020

CERTIFIED MAIL – RETURN RECEIPT REQUESTED

Mr. Reece McAlister

Executive Secretary

Georgia Public Service Commission

244 Washington Street

Atlanta, GA  30334

RE:  	Docket No. 37066

Inspection No. JS20-029

Dear Mr. McAlister:

The City of Lumpkin (“Lumpkin”) respectfully files this response to the Report on Inspection No. JS20-029 that was filed on September 23, 2020, in Docket No. 37066, in accordance with the Information for Natural Gas Operators Regarding Enforcement Actions, Enforcement Letters, & Notifications Issued by the GPSC’s Pipeline Safety Director that was attached to the Report.

NOTICE OF PROBABLE VIOLATION

“As a result of this inspection Staff found that the City of Lumpkin Gas Department was in probable violation of the minimum federal safety standards; specifically:

- §40.15 ...

PROBABLE VIOLATION:  The City of Lumpkin failed to ensure their service agents meet with the qualifications and requirements set forth under 49CFR, Parts 40 and 199.”

RESPONSE

In accordance with sections IA1 and IIA2 of the Information for Natural Gas Operators Regarding Enforcement Actions, Enforcement Letters, & Notifications Issued by the GPSC’s Pipeline Safety Director, Lumpkin does not contest the violation alleged or request an informal conference to discuss this NOPV and files the following written plan of action outlining the corrective measures that will be taken to achieve compliance and when compliance is anticipated:

Lumpkin will join a drug and alcohol testing consortium to ensure future compliance with the requirements of this Section.  Documentation of compliance will be in hand by November 30, 2020.

NOTICE OF PROBABLE VIOLATION WITH A PROPOSED CIVIL PENALTY

- §199.101 ...

PROBABLE VIOLATION:  The City of Lumpkin failed to follow the procedures required by their written Anti-Drug & Alcohol plan for verifying contractor drug plans and conducting random testing quarterly.”

RESPONSE

In accordance with sections IA1 and IIB of the Information for Natural Gas Operators Regarding Enforcement Actions, Enforcement Letters, & Notifications Issued by the GPSC’s Pipeline Safety Director, Lumpkin has requested an Informal Conference with the Director to discuss the NOPV and proposed civil penalty.  Lumpkin also provides the following response to the Probable Violation associated with the Proposed Civil Penalty:

OBSERVED DEFICIENCY #1:  Lumpkin has in hand the Drug & Alcohol Plan for the contractor in question.  By October 30, 2020, Lumpkin will review this Plan for compliance and will document this review.  In the future, Lumpkin will ensure compliance of its contractors with drug and alcohol regulations prior to commencement of work by the contractors.

OBSERVED DEFICIENCTY #2:  Lumpkin will join a drug and alcohol testing consortium to ensure future compliance with the requirements of this Section. Documentation of participation in the consortium will be in hand by November 30, 2020.

- “§199.105 ...

PROBABLE VIOLATION:  The City of Lumpkin failed to conduct a sufficient amount of random drug testing as required by the drug testing regulations and their Anti-Drug & Alcohol plan procedures.”

RESPONSE

In accordance with sections IA1 and IIB of the Information for Natural Gas Operators Regarding Enforcement Actions, Enforcement Letters, & Notifications Issued by the GPSC’s Pipeline Safety Director, Lumpkin has requested an Informal Conference with the Director to discuss the NOPV and proposed civil penalty.  Lumpkin also provides the following response to the Probable Violation associated with the Proposed Civil Penalty:

Lumpkin will join a drug and alcohol testing consortium to ensure future compliance with the requirements of this Section.  Documentation of participation in the consortium will be in hand by November 30, 2020.

- “§199.117 ...

PROBABLE VIOLATION:  The City of Lumpkin failed to maintain records that demonstrate the collection process conforms to this part must for at least 3 years as required by Part 199.”

RESPONSE

In accordance with sections IA1 and IIB of the Information for Natural Gas Operators Regarding Enforcement Actions, Enforcement Letters, & Notifications Issued by the GPSC’s Pipeline Safety Director, Lumpkin has requested an Informal Conference with the Director to discuss the NOPV and proposed civil penalty.  Lumpkin also provides the following response to the Probable Violation associated with the Proposed Civil Penalty:

Lumpkin will join a drug and alcohol testing consortium to ensure future compliance with the requirements of this Section.  Documentation of participation in the consortium will be in hand by November 30, 2020.

CONTINUING VIOLATION

In accordance with section IID of the Information for Natural Gas Operators Regarding Enforcement Actions, Enforcement Letters, & Notifications Issued by the GPSC’s Pipeline Safety Director that was included with this Report, Lumpkin provides the current status, updates, expected completion dates, and proposed modifications, if any, of the Continuing and/or existing Violation(s) that were not cleared as a result of the current Inspection.

192.455 as cited in Inspection LB10-047

STATUS

All isolated steel services have been addressed by replacement, insertion, or removal from service.  Documentation is available for Staff’s review.

Please let us know if you have any questions or need additional information.

Sincerely,

City of Lumpkin

Mr. David Davis,

Lumpkin City Manager

cc:	Michelle Thebert, GPSC

Jason Smith, GPSC

Chris Welborn, SRCS