## Sheet1
Current and New Nameplate Capacities by Unit
Please see below for current and new unit ratings. New ratings will not be known until turbine procurements are identified.
Plant | Unit | Nameplate Rating (MW) | IRP Rating | Anticipated New Nameplate | New IRP Rating
|  |  | (MW) 1 | Rating (MW) 2
Terrora | Unit 1 | 8 | 8.3 | 10.4 | Unknown
| Unit 2 | 8 | 8.3 | 10.4
Tugalo | Unit 1 | 11.25 | 13
| Unit 2 | 11.25 | 13
| Unit 3 | 11.25 | 13
| Unit 4 | 11.25 | 13
Bartlett's Ferry | Unit 1 | 15 | 16.4
| Unit 2 | 15 | 16.4
| Unit 3 | 15 | 16.4
| Unit 4 | 20 | 21.4
Nacoochee | Unit 1 | 3 | 3
| Unit 2 | 3 | 3
Oliver | Unit 1 | 18 | 17.7
| Unit 2 | 18 | 17.7
| Unit 3 | 18 | 17.7
| Unit 4 | 6 | 5.9
[1] For resource planning purposes, hydro capability is the average simulated generation during eight (8) consecutive hours occurring on five (5) consecutive weekdays using the average water inflows from historic data.
[2] For units of this vintage, 10-15% uprates are typical based on efficiency gains in modern turbine designs.