STF-PIA-14-4

Question:

Beyond the plant site assessments identified in the Company’s response to STF-JKA-2-1 Attachment, did the Company study or investigate any other solutions to address the hydro fleet performance issues that necessitated the modernization investment? If so, provide the details of these alternatives, including copies of all studies, analyses and the associated costs. Provide the Company’s justification for the retrofit solutions it selected.

Response:

As determined in the 2019 IRP, the Hydro Modernization investment is the appropriate solution to address the hydro fleet performance issues. The equipment at these facilities has reached the end of life, and no additional alternatives are available to maintain operability of this equipment.