BEFORE THE

GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of	)

)

Capacity and Energy Payments to 	)	Docket No. 4822

Cogenerators under PURPA				)

)

Georgia Power Company’s Green	)	Docket No. 16573

Energy Program						)

)

Biomass Gas & Electric, LLC’s	)	Docket No. 19279

Petition to Establish Docket				)

Regarding Forsyth County				)

Renewable Energy Plant				)

REBUTTAL TESTIMONY OF DOUGLAS JESTER AND MATT COX 
ON BEHALF OF GEORGIA INTERFAITH POWER & LIGHT, 
SOUTHFACE ENERGY INSTITUTE, AND VOTE SOLAR

December 4, 2020

TABLE OF CONTENTS

SECTION											PAGE

List of Acronyms	i

I.	INTRODUCTION & SUMMARY	1

II.	GEORGIA POWER SHOULD INCORPORATE LOCATIONAL 
MARGINAL PRICING TO BETTER ENCOURAGE QF DEVELOPMENT	3

III.	CONCERNS REGARDING GEORGIA POWER’S PROPOSAL 
TO APPLY ASPECTS OF THE RCB FRAMEWORK 
TO DETERMINING QF COMPENSATION	12

IV.	GEORGIA POWER’S STANDARD OFFER 
PURPA PROGRAM IS INADEQUATE	18

V.	GEORGIA POWER’S STANDARD PURPA OFFERINGS FAIL TO  COMPENSATE SOLAR QFS FOR CAPACITY THAT THEY PROVIDE	26

VI.	GEORGIA POWER SHOULD PROVIDE A LONG-TERM, FIXED PRICE CONTRACT OPTION FOR ALL QFS, INCLUDING SOLAR QFS	38

VII.	ENERGY EFFICIENCY IS RELEVANT TO THIS PROCEEDING	41

# List of Acronyms

ASI		Advanced Solar Initiative

CRSP		Customer Renewable Supply Procurement

BTM		Behind-the-Meter

DG		Distributed Generation

DSM		Demand Side Management

EIA		Energy Information Administration

ELCC		Effective Load Carrying Capacity

FERC		Federal Energy Regulatory Commission

GLSSA	Georgia Large Scale Solar Association

GPC		Georgia Power Company

GW		Gigawatt

IRP		Integrated Resource Plan

kW		Kilowatt

LMP		Locational Marginal Pricing

LSS		Large Scale Solar Program

MISO 		Midcontinent Independent System Operator

MW		Megawatt

MWh		Megawatt-Hour

PPA		Power Purchase Agreement

PSO 		Procedural and Scheduling Order

PURPA	Public Utility Regulatory Policies Act

QF		Qualifying Facility

RCB		Renewable Cost Benefit

REDI		Renewable Energy Development Initiative

RFP		Request for Proposals

RNR		Renewable and Nonrenewable Resources

RTO		Regional Transmission Organization

SPP		Southwest Power Pool

T&D		Transmission & Distribution

- INTRODUCTION & SUMMARY

Q.	Please state your names, titles and businesses addresses.

A.	My name is Matt Cox. I am the Chief Executive Officer at Greenlink Analytics, Inc., 
a scientific energy research non-profit organization located at 695 Pylant Street NE, Suite 110, Atlanta, GA 30306.

A. 	My name is Douglas B. Jester. I am a Partner of 5 Lakes Energy LLC, a Michigan limited liability corporation, located at Suite 710, 115 W Allegan Street, Lansing, Michigan 48933.

Q.	Dr. Cox & Mr. Jester, did you present direct testimony and exhibits on behalf of Georgia Interfaith Power & Light, Southface Energy Institute, and Vote Solar in this proceeding?

A.	Yes.

Q.	What is the purpose of your rebuttal testimony?

A.	We are responding to the written direct testimony filed by Georgia Power Company (GPC) and other parties to this proceeding, as well as testimony provided at the first set of hearings.  As with our direct testimony, our rebuttal testimony seeks to ensure that GPC’s avoided cost methodology and calculations and standard offer contracts provide sufficient and fair opportunities for renewable energy projects to access Georgia’s electricity market, as well as comply with PURPA, which this Commission is charged with implementing.

Q.	Please summarize your testimony.

A.	Our rebuttal testimony builds on recommendations set out in our direct testimony and responds to Georgia Power’s proposals. Specifically, we urge the Commission to take the following actions:

- System Lambda: Correct impacts associated with uneconomic dispatch to better reflect the utility’s true avoided cost. The true marginal cost of dispatching the Company’s system is considerably more expensive to customers than Georgia Power’s assertion of system lambda would indicate.

- Avoided Energy Cost Adjustments:

  - Incorporate locational marginal pricing (LMP) into the avoided cost calculation to better reflect locational benefits of Qualifying Facilities (QFs). Over time, the incorporation of LMP will curb uneconomic dispatch and provide price signals that encourage QF and Demand Side Management (DSM) development where it is most needed on the system.

  - Ensure the start-up/commitment adder accurately captures avoided unit commitment costs.

- Renewable Cost Benefit (RCB) Framework: Require an open and transparent analysis of the RCB components and their methodologies before taking action on GPC’s proposal to apply two select components of the RCB Framework to QFs participating in standard offer contracts.

- Capacity Payments: Change the standard offer contracts to compensate all QFs, including solar QFs, for capacity starting in the first year of need as projected by Georgia Power at the time the contract is entered.

- Standard Offer Contracts: Make fixed price, long-term standard offer contracts available to all QFs. These terms are critical to the success of the renewable programs created by the Commission in recent Integrated Resource Plans (IRPs).

- Demand Side Management: Ensure that demand side management resources are accurately valued by the final avoided cost methodology and approach developed in this proceeding.

Q.	Does this Commission have the authority to adjust the rules and offerings that guide the development of renewable energy resources in Georgia?

A.	Yes, this is one of the key roles of the Commission.

Q.	Has this Commission exercised that authority to adjust the rules and offerings in light of changing conditions?

A.	Yes. The Commission has made good and strong adjustments in many dockets over many years to improve the quality and robustness of the electricity market to benefit Georgians. In recent years, this Commission has taken active steps to drive more clean energy development. In several instances, the Commission has ordered solar and efficiency resource procurement at levels beyond what the Company was proposing, including in the 2019 Integrated Resource Planning proceeding and 2019 Rate Case. These Commission actions have resulted in more development in segments of Georgia’s clean energy market where growth was unnecessarily stagnant and led to better outcomes in Georgia than would have otherwise been the case.

It is in that spirit that we offer our suggestions. We believe that the Commission has a timely and important opportunity to continue its reasoned, measured approach towards PURPA implementation by recognizing that some parts need reconsideration and adjustment to overcome marketplace shortcomings. The Commission is well situated to make timely modifications to the existing framework and contract options to advance a more vibrant QF marketplace in Georgia.

- GEORGIA POWER SHOULD INCORPORATE LOCATIONAL 
MARGINAL PRICING TO BETTER ENCOURAGE QF DEVELOPMENT.

Q.	What is your view of Georgia Power’s proposed revisions to its avoided cost methodology?

A.	The Company proposes two relatively modest tweaks – the removal of the marginal cost and fuel cost multipliers – and one more substantive change: the application of only the energy aspects of the RCB Framework to the ultimate determination of the rates paid to QFs for their generation. The Company views the removal of the two multipliers as immaterial to the final avoided cost result. The more substantive change reflects a piecemeal application of the Company’s otherwise comprehensive RCB Framework that would fail to apply any of the capacity benefits recognized by the Framework. The end result of these proposed changes, as shown in Exhibit 1 to the Company’s testimony, would be to push down the Company’s avoided cost projections relative to prior filings, at least for the next five years.

In general, we view these proposed changes as both too modest and incomplete. The Company appears to feel that after more than 25 years very little change is needed to ensure that renewable and demand-side resources are being valued appropriately, other than to deny solar QFs compensation for a known value stream (capacity benefits).  In our view, the Company’s proposed revisions fail to meet the challenge of this proceeding, which is to revisit and strengthen the methodology (and the standard contracts through which it is implemented) to ensure that it actually meets PURPA’s goal of encouraging QF generation.

Q.	What modifications to the current methodology do you assert are warranted?

A.	We reiterate that the methodology should be revised in more substantive ways. First, the Company should correct its system lambda to reflect the impacts of pervasive uneconomic dispatch (and thereby better reflect its true avoided cost). Second, the Company should adjust its avoided energy cost to incorporate locational marginal pricing and to ensure that avoided unit commitment costs are adequately captured.

Q.	Taking those in turn, the Company has taken the position that how it dispatches its system falls outside of the issues outlined for determination in the Procedural and Scheduling Order.  Do you agree?

A.	No. How the Company dispatches its system directly impacts system lambda, which is the core component of its determination of avoided costs. To be clear, we are not suggesting that the Company should have dispatched its system differently. Instead, we are arguing that the Company’s system lambda should more accurately reflect the true marginal costs of daily and hourly system operation. Currently, there is a substantial disconnect between the Company’s assertion of system lambda and the actual marginal costs of operating the system, costs which are duly charged to customers but which are not currently reflected in the Company’s calculation of system lambda. Simply put, we are concerned that the true marginal cost of dispatching the system is considerably more expensive to customers than Georgia Power’s assertion of system lambda would indicate.

Q.	How does your recommendation regarding locational marginal pricing fit within this critique?

A. 	We believe the inclusion of LMP will better align retail rate changes and avoided cost changes in a way that reduces total system costs. Incorporating LMP into the avoided cost methodology will add transparency to the system and acknowledge real system constraints, helping to ensure customers get the most return on their dollar. Over time, the incorporation of LMP will curb uneconomic dispatch by providing price signals that encourage QF development in areas where it is most needed. And when LMP is fully implemented into the DSM planning process, it will give more value to demand-side programs that reduce demand in more congested parts of the system.

Q.	The Georgia Power panel asserted that because of GPC’s structure as a vertically integrated utility, it doesn’t have congestion − at least not in the way that unregulated utilities experience it.  Do you agree with the panel?

A.	No. Georgia Power does have congestion on its system. The Peachtree Corners area cited by Vice-Chairman Echols at the first round of hearings is a case in point. All electric utilities deal with congestion issues and the accompanying need to resolve transmission and distribution constraints. The question is whether this will continue to be done through transmission and distribution investments that have proved quite costly to customers in recent years, or whether “non-wires alternatives” such as solar QFs and demand-side measures will be allowed to relieve system constraints at lower cost.

Q.	The Company has suggested that incorporating LMP into its avoided cost methodology would mean charging customers more for QF generation that locates in more constrained areas. How do you respond?

A.	On a project-specific basis, the assertion is correct, but any implication that the use of LMP will cost customers more as a general matter is incorrect. Under LMP, an area of high congestion on the system would have a high price until resources had been deployed to alleviate the congestion, at which point the locational marginal price would adjust downwards. This self-regulating feature helps to ensure that resources are deployed where they are most needed and helps to avoid over- or under-building the system, strengthening and improving the steady and measured approach to power sector resource development that the Commission has historically pursued. In short, while it is true that a QF locating in an area of high congestion would be paid more than is available currently, that doesn’t mean that customers will pay more in total system costs than under the current methodology. If implemented correctly, LMP will have the opposite effect: a lowering of system costs through locationally-optimal deployment of clean energy resources and the avoidance of investments in transmission and distribution.

Q.	The Company has also suggested that LMP is used primarily in deregulated markets and would be difficult and costly to implement here. Do you agree?

A.	No. As we stated in the opening hearing, LMP is used extensively in the Midcontinent Independent System Operator (MISO), where only a relatively small percentage of generation comes from deregulated generation. That said, the extensive use of LMP within organized markets is a testament to its validity in sending effective market-based signals. The two maps in Figure 1 below provide a useful illustration.

These are heat maps of the 2018 locational marginal prices of two Regional Transmission Organizations (RTOs) that also serve load in the south; the warmer the color, the higher the cost of serving load in that particular area. Both grids show a range of cost, with the most difficult areas to serve exhibiting costs 2.5 to 3 times higher than the easiest areas.

With locational marginal pricing information available, an efficient means of addressing a constraint can be deployed. Markets require actionable information in order to allocate resources effectively, and locational marginal pricing would greatly improve the information available to the market.

Figure 1.  2018 Locational Marginal Prices in PJM and SPP ,

We also find it somewhat odd that the Company would criticize LMP based on its use in organized markets when the Company is otherwise quite celebratory of market-based structures, such as its competitively-bid renewable procurement programs. To be clear, we are not advocating for deregulation, but rather for the regulated market to more

closely mimic the cost savings of market forces, an outcome the Commission is always, laudably, trying to achieve within the regulatory construct.

Q.	The Company has also suggested that implementing LMP would require the participation of all the Southern Company retail operating companies, including those not regulated by this Commission. How do you respond?

A.	We do not see that as an obstacle. While we recognize the retail operating companies dispatch as a system, and that system lambda is a Southern Company system value, that doesn’t mean that the retail operating companies must all operate in the same way. After all, the Georgia Power panel acknowledged that the other Southern Company retail operating companies do not use the RCB Framework, even though it was developed by Southern Company. Even if confined to Georgia, LMP will deliver cost savings to Georgia Power customers.

In their opening testimony, the Company panel credited the Commission with protecting customers from “inefficient siting decisions” through its implementation of PURPA’s interconnection requirements. At the opening hearing, Company witness Mallard agreed with the converse premise: that efficient siting decisions would also produce ratepayer benefits. We are simply proposing a mechanism by which ratepayers could realize those benefits, which we believe would be substantial.

Q.	Before we leave this topic, what do you make of the Company’s assertion that the system is too dynamic for LMP to be effective?

A.	We find that assertion belied by the experience of utilities in the many areas of the country that have long used LMP. Those utility systems have the same dynamic elements as the system here, and that has not prevented LMP from serving the very useful market function of alleviating system constraints at the lowest cost.

Q.	Turning now to avoided cost adjustments, Georgia Power has noted that the Docket 4822 formula already accounts for unit commitment costs, and that to the extent you may have been unclear precisely how the Company calculates this adder, its responses to data requests STF-6-9 provide that information. How do you respond?

A.	The Company’s more recent response to STF-10-4 is also relevant here. The information provided in response to those two data requests shows that the Company’s approach to unit commitment costs is neither unit specific nor directionally consistent; it adds and subtracts equal amounts of load into a simulation and then averages the results. It’s not clear from these responses that our concerns about uneconomic dispatch are addressed by this methodology. Hence, despite staff’s efforts to get a clear answer on this topic, the lack of transparency regarding unit dispatch and cost allocation make it impossible for us to assess whether unit commitment costs are fully captured.

Q.	Now moving from commitment costs to other avoided cost adjustments, while the Company proposes to eliminate the fuel cost and marginal cost multipliers, GLSSA witness John Wilson has argued they should be retained and improved. What is your view of Mr. Wilson’s suggestions?

A. 	While our opening testimony did not focus on those multipliers, we support an inquiry into whether they are being calculated and applied correctly. This should be done instead of simply dispensing with the multipliers as Georgia Power has suggested. We suspect that, contrary to GPC’s claims, those multipliers have not outlived their usefulness; it’s more a matter of adjusting them to reflect current and expected conditions. In addition, we agree with Mr. Wilson that as the details of those two multipliers become clearer through this proceeding, it may be important to reevaluate the start-up and commitment cost adder, which our testimony does address. Indeed, Georgia Power has asserted that the marginal cost multiplier is obsolete, in part, because the startup and commitment adder already captures those costs. To the extent that any revisions to the fuel cost and marginal cost multipliers have impacts on the startup and commitment adder, those impacts should be clearly delineated and understood.

Q.	Do you have any other concerns with Georgia Power’s proposed changes to the avoided cost methodology?

A.	Yes. There are several areas of this case where we still face a black box challenge. For example, we are unable to understand exactly how the Company’s proposed modifications to the avoided cost methodology will impact avoided costs. The Company’s filing is unclear. The avoided energy RenVal results in the Company’s Exhibit 2 do not match up with the final values filed in the same exhibit, showing a double-digit percentage discrepancy in four of the next ten years. We are unaware of a rationale for this mismatch. Our attempts to evaluate the Company’s system lambda and dispatch filings faced similar issues, making it impossible to assess the credibility of the Company’s claims.  All of the figures submitted by the Company show that their proposed changes would reduce the avoided cost, but the exact impacts are still difficult to validate.

- CONCERNS REGARDING GEORGIA POWER’S 
PROPOSAL TO APPLY ASPECTS OF THE RCB FRAMEWORK TO DETERMINING QF COMPENSATION

Q.	Georgia Power proposes to apply the “energy aspects” of the RCB Framework to determine the appropriate pricing to be paid to QFs contracting under Docket 4822. Specifically, Georgia Power proposes to apply the following RCB components to the pricing calculation for standard offer QFs: Reduced Transmission Losses, Reduced Distribution Losses, and Support Capacity production costs associated with regulation. What do you think about this proposal?

A.	We have two concerns with this proposal from Georgia Power: (1) dramatic variability in the estimated Support Capacity adjustments, particularly for behind-the-meter distributed solar, and (2) a lack of transparency in the derivation of the Support Capacity adjustment values.

In addition, we have concerns about applying the RCB, approved as a comprehensive framework, in a piecemeal fashion.

Q.	Please explain what you mean by dramatic variability in the proposed Support Capacity adjustments.

A.	Georgia Power’s Exhibit 2 includes an eleven-year forecast of the Support Capacity adjustment values for four technology types. The forecasted values vary significantly. The variability is most pronounced for behind-the-meter distributed generation (BTM DG) solar. The 2021 BTM DG adjustment value is more than 12-fold greater than the 2020 adjustment value. The 2024 BTM DG adjustment value is nearly 19-fold greater than the 2020 adjustment value.

While these adjustments appear small on a per-kilowatt-hour basis, their impact is significant. Georgia Power’s Exhibit 3 provides sample calculations of the hourly compensation for different types of QFs for one month, using the Company’s proposed RCB approach (i.e. including T&D losses and the 2020 Support Capacity adjustment value).

For the purpose of evaluating and isolating the impact of the future variability in Georgia Power’s proposed Support Capacity adjustments, we re-ran Georgia Power’s Exhibit 3 calculation using the eleven-year forecast of Support Capacity adjustments provided in Georgia Power’s Exhibit 2 (attached as Cox & Jester, Exhibit 1). The estimated monthly behind-the-meter solar QF compensation is approximately 7% lower in 2021 than it was in 2020, holding all other variables constant. The 2024 compensation is 12% lower. It is fair to say that anyone involved in this proceeding would object to such annual variation in their salary. This variability is material and merits better explanation and more transparency.

Q.	Please explain what you mean by a lack of transparency in the derivation of the Support Capacity adjustment values in Georgia Power’s Exhibit 2.

A.	Georgia Power’s derivation of Support Capacity production costs in its Exhibit 2 is dependent on modeling outputs included on the “Model Outputs” worksheet. We examined these values and could not reasonably evaluate their accuracy based on the materials filed in this docket. Given the significance of these values to current and future QFs under Georgia Power’s proposed methodology, we believe a deeper evaluation of these values is appropriate.

Q.	What other concerns do you have about Georgia Power’s proposed application of the RCB Framework to pricing to be paid to QFs contracting under Docket 4822?

A.	The variability among recent avoided cost projections raises concerns for us about the consistency in the underlying methodology. While typically Georgia Power files its annual avoided cost projections once per year, the Company has recently published four versions of its avoided cost projections in relative short order. Georgia Power published the following avoided cost projections within a span of nine months, two 2019 and two 2020 vintages:

- 2019 Avoided Cost Projections, filed Dec. 19, 2019

- 2019 Avoided Cost Projects – Errata, filed May 13, 2020

- 2020 Avoided Cost Projections, filed June 16, 2020

- 2020 Avoided Cost Projections, filed as Exhibit 1 in this docket on Sept. 18, 2020.

Figure 2 below compares the solar avoided cost from each of the above-mentioned projections, using the BTM DG solar avoided cost projections from Exhibit 1. We will focus on 2021 to highlight our point. In May 2020, a BTM DG QF could have anticipated earning a profile-weighted average price of $32.38 per megawatt-hour (MWh) in the coming year. One month later, that QF’s prospective 2021 price dropped 16%. Two months after that, the price dropped another 9%, to $24.39/MWh, for a total decrease of 25% in the span of four months. That degree of variability in the value of a megawatt-hour of solar electricity undermines QF confidence in what they can earn and limits a standard-offer QF’s prospects for financing their new solar project.

Figure 2. Georgia Power 2019 and 2020 Solar Avoided Cost Projections

Q.	Do you have concerns about the Company’s proposal to apply the RCB Framework in a piecemeal fashion, rather than applying it in its entirety?

A.	Yes. The Company’s RCB Framework was adopted as a “comprehensive” methodology. At this time, without opening up an opportunity to debate the various components, GPC seeks to pick and choose which components to apply in determining avoided costs. This does not make sense and is inconsistent with how the Company has applied the RCB Framework to determine avoided cost compensation for DG solar under programs approved in the last two IRPs. Additionally, under the Company’s proposal, small QFs participating in the RNR tariff would never, under any circumstances, be eligible to receive credit for capacity. These results run counter to PURPA.

Q.	What is the effect on QF rates of the Company’s decision to exclude the capacity-related elements of the Framework?

A.	The Company’s Exhibit 1 illustrates the impact of its proposed changes to the annual avoided cost projections in Dockets 4822 and 16573. Compared to earlier avoided cost projections, the effect is a meaningful reduction in compensation through 2025, up to an average loss of 9%, based on the Georgia Power forecast issued in the past year.

It’s unclear how this proposal could produce the best outcome for customers, as it would inject deadweight loss into the market by intentionally removing compensation to QFs for capacity and other system costs that will otherwise be incurred at higher cost and charged back to customers. This is a step in the wrong direction as far as market design and customers are concerned. The Company’s filings in the 2019 IRP and in this docket show there are real and quantifiable capacity benefits from many kinds of solar generators; removing them would promote manipulation of the market at a cost to customers. It would also undermine the five years of efforts by the Commission and many stakeholders and experts to develop a robust and comprehensive framework for valuing solar resources. Having devoted the time and effort toward identifying the capacity benefits of solar resources, the Commission should be reluctant to dispense with components identified by stakeholders, including the Company itself, as central to the values that renewables bring to the grid.

Q.	Would you support applying the RCB Framework to the determination of the rates to be paid to QFs if the framework is applied comprehensively?

A.	Similar to concerns we raised about the lack of transparency into how the Company arrives at its support capacity cost estimates, we lack sufficient information to develop an opinion at this time. We would generally favor full, rather than partial, application of the framework; however, even a full application would be suspect if it fails to produce transparent, reliable and verifiable results.

Q.	Finally, the Company argues that while the application of the RCB Framework is relevant to this proceeding, any evaluation of its components is not. Do you agree?

A.	No. The Company’s proposal to begin applying elements of the Framework to QF compensation under the standard offer contracts represents a significant change in how those QFs are treated. It is important to ensure that its individual components fairly and accurately value QF generation. To that end, we support GLSSA witness Arne Olson’s recommended improvements to the Framework. We think it’s especially important that winter reliability concerns not be used to unfairly and unreasonably penalize solar.

- GEORGIA POWER’S STANDARD OFFER 
PURPA PROGRAM IS INADEQUATE

Q.	Is the Georgia Power Standard Offer contract a meaningful source of Georgia’s overall solar capacity?

A.	No. Procurement through the standard offer contracts, which exist outside of the IRP programs, is essentially non-existent. Only eight solar projects have been brought to completion in over 25 years through the contract offering, and these projects cumulatively total only about 6 MW. This result stands in sharp contrast to the large amounts of solar capacity developed or slated for development under programs approved by the Commission in recent IRPs − a trend this Commission started in 2011 with its Large Scale Solar Program (LSS). Those programs have pushed Georgia into the top ten of states for installed solar capacity (Georgia is currently ranked 9th in solar capacity, a drop from its No. 5 ranking in 2019). Georgia Power currently has over 1.6 GW of solar capacity on its system, with plans for two-plus gigawatts of additional capacity in the near future. This sharp contrast in program success is depicted in Figure 3 below.

Clearly the solar industry and the marketplace find the overall fit of the procurement programs far preferable to the terms of the standard offer contract. Developers have preferred the procurement programs over the standard offer contract even though this has generally meant bidding in below avoided cost. That developers would eschew the opportunity to earn the higher compensation of full avoided cost is a sign that the standard offer contracts (which offer neither fixed pricing nor clear long-term contract options) are not working to fulfill PURPA’s purpose of encouraging QF development.

Figure 3.  Georgia Power Solar Capacity, 1995-2020

Q. 	Georgia Power argues that the competitive bidding under IRP-approved programs is better for customers. Why should the Commission improve the standard offer program when that means customers paying more for QF development?

A.	It’s important and appropriate for both types of programs – those approved periodically (but not always) in IRPs and those available at any time under the standard offer – to be successful. Notably, Georgia Power is not proposing to eliminate the standard offerings but instead argues it makes “good commercial sense” to maintain them. Nor is the Company proposing to rely exclusively on competitive bidding under IRP-approved programs as its sole means of complying with PURPA. Instead Georgia Power proposes to maintain the current setup wherein both types of programs have a role. If we’re to continue doing both in Georgia – and we agree with doing both as a matter of wise policy – then both programs should be successful. Improving the terms of the standard offer contract will allow market-based development to occur alongside the Company’s RFP programs and yield benefits to customers.

It’s important to remember that under PURPA and this Commission’s precedent, avoided cost sets a threshold of ratepayer indifference. As long as QF rates do not exceed avoided costs, ratepayers are not harmed. Collectively, then, we are talking about programs that produce substantial ratepayer savings by coming in well below avoided costs (in the case of competitively bid programs), and programs to which ratepayers are indifferent because they do not cost more than alternative means reliant on fossil fuels (standard offerings). In both cases ratepayers and the State of Georgia broadly reap substantial benefits in the form of economic development, reduced carbon risk, reduced pollution, and lessened strain on water supplies. While those added benefits do not figure into avoided cost calculations in the current regulatory environment, they are nevertheless important as policy considerations for this Commission as it considers a just and reasonable outcome to this case.

Q.	Georgia Power argues in its testimony that renewable growth is best managed through competitive solicitations informed by the Commission’s IRP and RFP processes. Do you agree?

A.	Not entirely. Certainly the IRP-approved programs have been enormously successful, and for that the Commission and Georgia Power deserve due credit. But again, such programs should not serve as the exclusive means of encouraging renewable development in Georgia, nor is that what Georgia Power proposes.

In addition, an approach that is overly reliant on future IRP outcomes creates uncertainty about program existence beyond the three years for which any IRP programs are approved. This can produce boom-bust cycles as programs are approved and implemented, and we have seen that happen with these programs (Figure 3).

Finally, it’s important to note that even within the IRP-approved programs, competitive bidding has not always been required. The Commission has recognized, appropriately, the need for smaller, customer-sited allotments to receive the full, administratively set avoided cost rather than be required to go through competitive bidding.

For all these reasons, it’s important to have a robust standard offer program as a supplement to IRP-approved programs, and in particular, standard offerings (including the RNR tariff) that will actually encourage development of smaller QFs.

Q.	Georgia Power argues that its interpretation and application of the Commission’s RFP rule is consistent with criteria outlined by FERC for a competitive, transparent, and nondiscriminatory solicitation process to set avoided cost. Do you agree?

A.	No. While the Commission’s RFP rule is suitable for governing all manner of capacity solicitations, it does not appear to us to meet FERC’s criteria, which may be why Georgia Power does not propose to use it to set avoided cost. FERC addresses these criteria in a revision of 18 C.F.R. § 292.304(b)(8) adopted through Order 872, which reads:

(8) Competitive Solicitation Price.

(i) A state regulatory authority or nonregulated electric utility may use a price determined pursuant to a competitive solicitation process to establish qualifying facility energy and/or capacity rates for sales to electric utilities, provided that such competitive solicitation process is conducted pursuant to procedures ensuring the solicitation is conducted in a transparent and non-discriminatory manner including, but not limited to, the following:

(A) The solicitation process is an open and transparent process that includes, but is not limited to, providing equally to all potential bidders substantial and meaningful information regarding transmission constraints, levels of congestion, and interconnections, subject to appropriate confidentiality safeguards;

(B) Solicitations are open to all sources, to satisfy that electric utility's capacity needs, taking into account the required operating characteristics of the needed capacity;

(C) Solicitations are conducted at regular intervals;

(D) Solicitations are subject to oversight by an independent administrator; and

(E) Solicitations are certified as fulfilling the above criteria by the relevant state regulatory authority or nonregulated electric utility through a post-solicitation report.

Q.	Have Georgia Power’s solicitations satisfied condition (8)(i)(A)?

A.	No. Georgia Power’s recent solicitations have not provided potential bidders substantial and meaningful information regarding transmission constraints or levels of congestion. In fact, Georgia Power acknowledged it provides no general information related to congestion or transmission constraints. In addition, witness Mallard testified that Georgia Power does not in its IRP filings provide public information regarding preferred sites on the transmission system for the interconnection of new generation, even though that is an express requirement of the Commission’s RFP rule.

As we noted in our direct testimony and again here, it would be beneficial to Georgia Power’s customers if such information was made available to QFs and offered as a price signal through locational marginal pricing, but that information is also not available from Georgia Power.

Georgia Power does provide potential bidders some information regarding interconnections when individual potential bidders request interconnection information from Georgia Power for a specific location, but Georgia Power does not make available any synoptic information about interconnection costs or the capacity of the existing distribution system to support interconnections that would enable potential QFs to select locations that would avoid interconnection costs or optimize the combined effects of interconnection costs and avoided transmission congestion costs.

Q.	Have Georgia Power’s solicitations satisfied condition (8)(i)(B)?

A.	No. Georgia Power’s recent solicitations have not been open to all sources that could address identified energy and capacity needs. For instance, in the recent capacity RFP, solar paired with storage could compete, but solar QFs not paired with storage were not eligible. That RFP includes requirements that explicitly shut out solar QFs from providing the capacity that could offset the retirement of existing units, which is the intended purpose for any winning proposals. Further, while there have been a number of requests for proposals (RFPs) none have been explicitly open to all QFs, leaving the distinct possibility that some potential QFs have been unable to meet the specific terms of the RFPs. As a result, some cost-saving opportunities may have been missed by these processes.

Q.	Have Georgia Power’s solicitations satisfied condition (8)(i)(C)?

A.	While Georgia Power has in recent years solicited new renewable generation resources at fairly regular intervals, it has provided no assurances that it will continue to do so. If Georgia Power were to bring online a large amount of capacity or to decide in its next IRP that the appropriate generation technology to acquire as its next increment of generation is a large gas-fired combined cycle plant, past practice suggests that it would then not conduct regular solicitations that would satisfy condition (8)(i)(C).

Q.	Have Georgia Power’s solicitations satisfied condition (8)(i)(D)?

A.	That is unclear. Condition (8)(i)(D) provides that the solicitation “be subject to oversight by an independent administrator”. In Order 872, the Commission further explains that Section (8) provision provides for application of its Allegheny standards which include that the requirement for oversight is “a requirement that an independent third party design the solicitation, administer bidding, and evaluate bids prior to selection.” It’s not clear whether the Independent Evaluator in Georgia Power’s solicitations meets the definition of independent administrator contemplated by FERC.

Q.	Have Georgia Power’s solicitations satisfied condition (8)(i)(E)?

A.	No, though that practice was not expected of the Commission under the PURPA rules prior to Order 872.

Q.	In summary, have Georgia Power’s solicitations satisfied the FERC’s standards to be used to determine avoided costs?

A.	No, they have not.

Q.	Given that Georgia Power has not proposed to determine avoided costs based on its competitive solicitations, its competitive solicitations have not met the FERC conditions to establish a presumption that Georgia Power has no capacity need, and that Georgia Power’s competitive solicitations do not meet the FERC’s standards to determine avoided costs, what is the relevance of Georgia Power’s competitive solicitations in this case?

A.	While we fully support the IRP programs touted by Georgia Power, we do not see that those solicitations have any bearing on Georgia Power’s compliance with PURPA in this case. The main purpose of this proceeding is to consider improvements to the Company’s avoided cost methodologies as they are used to determine the amount of compensation paid to QFs outside of those solicitations. While those methodologies establish a benchmark against which competitive bids are judged, the results of competitive bidding have no bearing on the soundness of those methodologies in determining appropriate rates for participants in the standard offerings – both the standard offer contracts and the RNR tariff. And again, Georgia Power does not propose that competitive solicitations serve as the exclusive vehicle for PURPA compliance, nor does the Company make any commitment to continue competitive solicitations for renewable resources on a going forward basis.

Q.	Have the IRP-approved competitive programs encouraged the development of QFs of all sizes?

A.	No. The IRP-initiated competitive solicitations have provided limited opportunities for smaller QFs (1 MW or less). For the large-scale programs, much larger projects tend to succeed by benefiting from economies of scale. As a result, smaller QFs are often left with just two options: the energy-only standard offer contract or the RNR tariff.

Smaller QFs have fared poorly even in competitive solicitations designed especially for them, such as the REDI program for projects sized from 1 kW to 3 MW. Such DG programs have been filled with projects between 1 MW and 3 MW in size, leaving few, if any, opportunities for smaller QFs, including those exceeding the size limitations of the RNR tariff (10 kW residential and 250 kW commercial). This means that many valuable projects suitable for rooftops and other customer-sited installations – projects that could do much to avoid expensive transmission and distribution investments – have no viable path outside of the standard offer contract. And of course, there’s no certainty that DG programs will continue to result from IRPs. Georgia Power did not propose a DG allotment going into the 2019 IRP – one was instead ordered by the Commission.

- GEORGIA POWER’S STANDARD PURPA OFFERINGS FAIL TO 
COMPENSATE SOLAR QFS FOR CAPACITY THAT THEY PROVIDE

Q.	Are Georgia Power’s standard offer contracts non-discriminatory with respect to all qualifying facilities?

A.	 No. QFs desiring to establish a legally enforceable obligation to sell power to Georgia Power outside of the RNR tariff have available to them three standard offer contract forms: (1) the Standard QF Energy-Only Contract; (2) the Standard QF Capacity and Energy Contract; and (3) the QF Proxy Contract. Although Georgia Power proposes to modify the terms of these contracts, it does not propose any new contract offerings. None of the three standard offer contracts provide an ability for solar QFs to receive capacity credit. The terms of the existing and proposed Standard QF Capacity and Energy Contract and the QF Proxy Contract effectively exclude solar generation from eligibility and thus, preclude solar QFs from receiving credit for capacity through those means. The Standard QF Energy-Only Contract is, as the name suggests, explicitly only for the purchase of energy and not capacity. Because there is no pathway for solar QFs to receive credit for capacity they provide, the standard offer contract offerings are discriminatory and contrary to PURPA.

Q.	In what way does the Standard QF Capacity and Energy contract exclude solar generation from receiving credit for capacity?

A.	Although the GPC Panel testimony refers to this contract form as the “Standard QF Capacity and Energy” contract, the contract form is titled “Standard Contract for the Purchase of Firm Capacity and Energy From a Qualifying Facility”. This contract provides compensation for “committed capacity”, which is the capacity “as defined in Section 8.1, which QF has agreed to make available on a firm basis at the Point of Delivery”. Given that Georgia Power describes this contract and defines capacity as “firm”, this contract form does not appear to be available to a solar QF. To our knowledge, no solar QF has been able to obtain a “Firm Capacity and Energy” contract from Georgia Power. Moreover, even for non-solar QFs, the “Firm Capacity and Energy” contract appears to be more of a relic than a viable option. It has been over a decade since the Company paid for capacity from any standard offer participant outside of the proxy contract.

Q.	In what way does the QF Proxy contract exclude solar generation from receiving credit for capacity?

A.	Although the GPC Panel testimony refers to this contract form as the “QF Proxy” contract, the contract form is titled “Standard Contract for the Purchase of Firm Capacity and Energy From a Renewable Energy Qualifying Facility Utilizing the Proxy Unit Methodology”. This contract provides compensation for “committed capacity”, which is the capacity “as defined in Section 8.1, which QF has agreed to make available on a firm basis at the Point of Delivery”. Given that Georgia Power describes this contract and defines capacity as “firm”, this contract form also does not appear to be available for a solar QF. Indeed, Georgia Power has described the QF Proxy contract as being available to resources that are more akin to baseload resources, with 96% capacity commitment. To our knowledge, no solar QF has been able to obtain a “QF Proxy” contract from Georgia Power, and Georgia Power’s testimony supports our understanding that a solar QF would never be eligible to enter into the proxy contract.

Q.	So, a solar QF does not currently have available and is not proposed by Georgia Power in this case to be offered a standard offer contract that includes credit for capacity?

A.	That is correct.

Q.	Does the RNR tariff provide a pathway for small QFs to receive capacity credit?

A.	No. Under the current process, it appears as though RNR customers could theoretically be compensated for capacity in years of capacity need. The Company’s annually filed projections in Docket 16573 have previously included capacity price projections, suggesting that the RNR customer could qualify for capacity payments in the year of need. However, Georgia Power testified that an RNR customer has never been paid any credit for capacity, and the Company now proposes to make that a permanent feature by eliminating capacity benefits from consideration for those QFs altogether. To that end, the Company’s revised projections filed as its Exhibit 1 no longer include a capacity price projection column.

Q.	Does the absence of pathways for a solar QF to receive capacity credit mean that they are not providing valuable capacity to Georgia Power and its customers?

A.	No. The Company’s RCB Framework expressly acknowledges that solar generators provide capacity benefits, which is one reason why its proposed piecemeal application of the Framework to standard offer generators makes no sense. The amount of capacity value solar generators provide and how it should be ascertained is subject to many determinations and some components where reasonable disagreements can occur, but the existence of this value is not seriously debated. Nevertheless, the current standard offer contracts do not provide a way to compensate solar generators for a value they cannot help but contribute to the system, nor would the RNR tariff under the changes now proposed by the Company. This is an obvious shortcoming with these standard offerings.

Q.	Has the Commission established avoided cost, or a method by which avoided cost can be determined, for a solar QF that establishes a legally enforceable obligation to provide capacity to Georgia Power?

A.	No. The peaker method adopted by the Commission for the Firm Capacity and Energy Contract is an appropriate foundation for determining the value of capacity, but the Commission has not adopted a method to determine the capacity credit applicable to solar.

Q.	The GPC Panel claimed that solar QFs should not be given credit for avoided capacity because the Standard QF Energy-Only Contract provides the QF the option to terminate the contract with 365 days’ notice and therefore cannot be incorporated into long-term capacity plans. Do you agree?

A.	No, for several reasons. First, Georgia Power only proposes to add this provision now –this is a problem entirely of Georgia Power’s own making. Why add a provision that creates problems for the utility and its resource planning activities? The most likely outcome is simply to deter standard offer solar QF development, exactly the opposite goal of PURPA. If Georgia Power believes the provision could be desirable for certain QFs, then the Company could make it optional. QFs that wish to have this provision included would forego an opportunity to receive capacity credit. But QFs that do not wish to have this provision included would be eligible for capacity credit when appropriate.

Second, Georgia Power’s argument has no evidentiary basis. The QFs participating in these contracts do not have a history of disappearing from Georgia Power’s system. Developers undertake significant effort to finance and build projects with a thirty year-plus lifespan, clear interconnection and overcome other hurdles to bring a project to completion. Once a solar project is constructed, the costs of operating and maintaining that project are minimal; it would not make business sense for a QF to discontinue energy production until the major project components need to be replaced. Plus, developers often incur high up-front investments that are paid off over the life of a system, giving them a strong incentive to stay in the agreement to recoup − and hopefully profit from − their initial investment.  It is unreasonable to assume that QFs would leave the contract just because there’s a provision that provides a pathway to do so.  Georgia Power could easily solve this problem by striking this provision or making it optional for QFs who want it.

Instead it seems as though Georgia Power is attempting to harm the financial viability of QF developers by imposing a contract condition and using that condition to deny capacity payments to a QF.

Q.	Is Georgia Power obligated under PURPA to purchase capacity from solar QFs?

A.	Yes. Section (d) of the PURPA rules as adopted by the FERC in Order 872 (in a provision that is unchanged from the previous rules) provides that “[e]ach qualifying facility shall have the option: … (ii) To provide energy or capacity pursuant to a legally enforceable obligation for the delivery of energy or capacity over a specified term.” We emphasize that under PURPA, this choice is given to the QF, not to the utility.

Q.	Must capacity be “firm” in order to warrant payment of avoided capacity costs under PURPA?

A.	 No. Section (e) of the PURPA rules as adopted by the FERC in Order 872 describes “[f]actors affecting rates for purchases.” In relevant part, Subsection (e)(1) provides that “a state regulatory authority or nonregulated electric utility may establish rates for purchases of energy and/or capacity from a qualifying facility based on a Competitive Solicitation Price. To the extent that capacity rates are not set pursuant to this section, capacity rates shall be set pursuant to subsection (2).” Subsection (e)(2) provides that:

(2) To the extent that a state regulatory authority or nonregulated electric utility does not set energy and/or capacity rates pursuant to paragraph (e)(1) of this section, the following factors shall, to the extent practicable, be taken into account in determining rates for purchases from a qualifying facility:

(i) The data provided pursuant to § 292.302(b), (c), or (d), including State review of any such data;

(ii) The availability of capacity or energy from a qualifying facility during the system daily and seasonal peak periods, including:

(A) The ability of the electric utility to dispatch the qualifying facility;

(B) The expected or demonstrated reliability of the qualifying facility;

(C) The terms of any contract or other legally enforceable obligation, including the duration of the obligation, termination notice requirement and sanctions for non-compliance;

(D) The extent to which scheduled outages of the qualifying facility can be usefully coordinated with scheduled outages of the electric utility's facilities;

(E) The usefulness of energy and capacity supplied from a qualifying facility during system emergencies, including its ability to separate its load from its generation;

(F) The individual and aggregate value of energy and capacity from qualifying facilities on the electric utility's system; and

(G) The smaller capacity increments and the shorter lead times available with additions of capacity from qualifying facilities.

Neither of these subsections makes reference to “firm” capacity. Paragraph (e)(2)(ii)(F) was specifically included in the PURPA rules by the FERC for the purpose of providing that facilities with variable generation be recognized as providing capacity:

This paragraph provides that rates for purchase shall take into account “the individual and aggregate value of energy and capacity from qualifying facilities on the electric utility's system …”. Several commenters presented persuasive evidence showing that an effective amount of capacity may be provided by dispersed small systems, even in the case where delivery of energy from any particular facility is stochastic. … To the extent that this aggregate capacity value can be reasonably estimated, it must be reflected in standard rates for purchases.

A requirement that capacity be “firm” in order to receive credit for avoided costs is therefore expressly contrary to the FERC’s PURPA rules. On the other hand, FERC is clear that capacity value must be included in QF rates to the extent it can reasonably be estimated.

Q.	Can the effective aggregate capacity value provided by numerous dispersed systems be reasonably estimated?

A.	Yes. This is commonly done across the United States, in the context of IRPs, RTO resource adequacy standards or capacity markets, and in setting PURPA avoided costs. In our direct testimony and cross examination thereon, we cited examples from Nevada and California, MISO, and the PJM Interconnect. We also note that this has been done in Georgia Power’s IRPs.

Q.        Are there common methods by which this aggregate capacity value can be estimated?

A.	Yes. In most instances, the capacity value of solar and other intermittent generation is attributed either based on their average contribution at the time of system peak or by analysis of their Effective Load Carrying Capacity (ELCC). In the context of significant intermittent generation in which reliability risks may not occur at the system peak, we think that ELCC is the more appropriate method.

Q.	How is ELCC determined?

A.	Capacity requirements are generally calculated by modeling the resources needed to achieve some level of reliability in the bulk power supply. ELCC is determined by determining the amount of firm capacity that can be avoided to meet that same level of reliability given that the intermittent generation is available. This is done by calculating the firm capacity that would be needed to meet the reliability standard absent the intermittent generation and comparing that to the amount of firm capacity that would be needed to meet the reliability standard given the availability of the intermittent generation. That difference is the ELCC of the intermittent generation.

Q.	In practice, how does intermittent generation contribute to reliability?

A.	By providing power during times when there would be loss of load probability in the absence of that power.

Q.	Can ELCC be measured based on the generation from intermittent resources at times when load is high?

A.	Not necessarily. If traditional generation resources are available when load is high but not when load is lower, generation from intermittent resources at the time when load is lower may be more important. For example, nuclear plants are commonly scheduled for refueling and other maintenance in shoulder seasons. During those maintenance outages, loss of load probability may be higher than at the time of peak load. In these circumstances the ELCC of intermittent resources may be determined largely by their contributions during the maintenance outages of the nuclear resources.

Q.	Can ELCC be measured based on the generation from intermittent resources at times when loss of load probability is high in the current generation portfolio?

A.	Only when intermittent resources are a small part of generation. When intermittent resources are a large part of generation, they may provide a great deal of power and thereby eliminate loss of load probability at times when loss of load probability would otherwise be high. For example, in a system with strong summer afternoon peak and a large amount of solar generation, the loss of load probability on summer afternoons may be very small (effectively zero) when it would be very high absent the solar generation.

Q.	If generation is firm, what is its ELCC?

A.	Even generation that is commonly considered as firm is not always available, due to both maintenance and forced outages. If maintenance of firm generation is reliably scheduled at times when there is no material loss of load probability, then the ELCC will just be 100% less the forced outage rate in the time period when loss of load probability is material. If maintenance of firm generation is sometimes scheduled when there is material loss of load probability, then ELCC will be reduced as a result of that lost contribution to reliability and must be assessed by the same methods by which ELCC is calculated for intermittent resources.

Q.	Must generation be dispatchable in order to provide capacity?

A.	No. If generation is producing energy at the time of material loss of load probability, it will provide capacity value even if it is not dispatchable. In fact, much of the nuclear and fossil generation that is commonly attributed capacity value is not dispatchable in a meaningful sense during times of material loss of load probability, generally because it is already generating at such times. In general, those resources that have low variable costs of generation and are therefore “dispatched” to meet projected load will be producing at or near their current capacity during these times. Resources that are contractually inflexible (e.g., combined heat and power) or physically inflexible (large steam plants) may also be producing at or near their current capacity during those times, even if they are not low-cost. They are not therefore assigned zero capacity value, but rather are assigned capacity value based on their expected level of generation at the times of material loss of load probability. That is true of intermittent resources as well. Capacity value should not be confused with dispatchability and therefore associated with peaking resources.

Q.	Georgia Power has represented that it has loss of load probability in winter as well as summer. Does that mean that solar generation that is seasonally productive does not have significant ELCC?

A.	No. To the extent that solar generation reduces loss of load probability in summer, it improves overall system reliability. If enough solar is added that loss of load probability shifts away from summer and into winter, that does not mean that the solar generation has ceased to provide improved reliability, only that incremental solar is less valuable because of the effectiveness of the solar that preceded it.

Q.	How do you recommend that Georgia Power account for the capacity value these generators will inevitably provide if they remain with the system?

A.	A contracting pathway needs to be established to credit these generators for predictable capacity they will provide at the time that it begins to demonstrate value to the system. We recommend that the standard offer contract be amended to provide terms that require capacity payments in the first year of need as projected by the Company when the contract is entered. This approach would have two benefits:

- It would incentivize standard offer solar generators entering the contract to 
enter long-term agreements, thereby eliminating the concern that the generator could leave the Georgia Power system in the following year and create planning concerns, and

- It would provide additional incentive for accurate year-of-need forecasts. 
These adjustments would help create incentives for all parties to receive appropriate compensation for the value they provide to the system and ratepayers.

Q.	What about QFs participating in the RNR tariff?

A.	The RNR tariff could similarly be modified to indicate that capacity payments are available in the first year of the Company’s projected capacity need. While the RNR tariff is not one of the three standard contract options, it is a standard offering that requires, among other things, for the QF to enter into a written RNR Service Agreement with the Company prior to interconnection and prior to any receipt of compensation.  In addition, the RNR customer must enter a written interconnection agreement with the Company prior to being allowed to interconnect. In short, the RNR tariff is itself a form of contract that establishes the terms and conditions of participation, which include the execution of other agreements. Hence, it too could be amended to provide a vehicle for capacity value compensation, as PURPA requires.

It’s also worth noting that given the size limitations built into the RNR tariff, the impact of any individual RNR customer suddenly leaving the system (which is unlikely given the trouble and expense required to install a customer-sited system) is not significant.

- GEORGIA POWER SHOULD PROVIDE A LONG-TERM, FIXED PRICE CONTRACT OPTION FOR ALL QFS, INCLUDING SOLAR QFS.

Q.	Do the contract revisions proposed by the Company represent minor changes to provide for consistency across programs?

A.	No, they represent major and significant changes to the financial returns for all solar qualifying facilities that rely on avoided cost compensation. Critically, the Company appears to incorporate provisions from other programs that will further undermine QF development while omitting program drivers that are likely to benefit the QF market. For example, IRP renewable program contracts include fixed pricing for participants. The Company acknowledged that fixed pricing is likely important to the success of those programs.  Yet, even as GPC claims to be seeking to make the standard offer contracts consistent with other programs and reflective of “contemporary best practices,” fixed pricing has been left off the table.

Q.	You recommend that Georgia Power include fixed price, long-term contract options in its PURPA standard offer contracts, including those contracts available to solar QFs. Are fixed price, long-term contracts available to developers in other Georgia Power programs?

A.	The Company offers fixed price, long-term contracts to solar projects that go through the IRP-initiated renewable procurement programs. The same critical provisions aren’t available in the Standard QF Energy-Only Contract. The lack of such an opportunity for developers interested in a standard offer contract is one key deficiency we suggest is easily fixed and would reduce the appearance of discriminatory intent against QFs.

Q.	Are the fixed price, long-term contracts likely critical to the success of the IRP programs?

A.	Yes. Georgia Power appears to agree. In the recent hearing, the Georgia Power panel testified that fixed price or the price certainty in IRP program PPAs was “an important factor in the success of those programs.”

Q.	You’re recommending long-term contract options, but Georgia Power testified that long-term contracts are already available to QFs. Why include this?

A.	The standard contract itself fails to detail term length options or the ability for a QF to choose their preferred term length. This leaves room for confusion.

Even if QFs have complete discretion to choose the term length, Georgia Power is proposing a 365-day notice provision to allow QFs to leave the contract. Georgia Power is relying heavily on that proposed provision to assert that the QF energy-only contracts are not long-term. Because of the 365-day notice provision, at least in large part, Georgia Power considers energy from energy-only QF contract participants to be “unplanned” and thus, not eligible for consideration in IRP planning. This discrepancy between the term length and the 365-day notice provision creates significant confusion as to whether the contracts are actually long-term or not.

Q.	Do your recommendations for fixed price, long-term contracts affect QFs of all sizes in the same way?

A.	No, probably not. Smaller QFs likely have a more difficult time accessing financing. As a result, adding provisions to clarify that the contract term is at the discretion of the QF and ensuring the price is fixed at a rate (or rates) set at the time the contract is entered could significantly improve the ability of smaller solar QFs to access financing.

Q.	If the Commission adopts your recommendation and makes fixed price, long-term contracts available to solar QFs, is there a way to protect against unchecked solar growth and a runaway market?

A. 	Our proposal that QFs be paid avoided capacity costs beginning in the year that Georgia Power last projected a capacity need as of the time the QF establishes a legally enforceable obligation serves this purpose well. If it will be many years before capacity is needed, the QF will only receive energy payments until capacity is needed and the economics of the contract will be adverse to significant development. If the capacity need is near, the economics will be much more favorable. If enough QFs acceded to legally enforceable obligations, this will delay the timing of Georgia Power’s next capacity need. This process is therefore self-adjusting to match Georgia Power’s projected capacity needs.

Further, the Commission has significant discretion to create guardrails to protect against unchecked development. Similar to the IRP, the Commission and Georgia Power can treat QFs of different sizes differently.

We recommend that the Commission first focus on a well-regulated standard offer option for QFs of 3 MW and smaller − a segment of the market where much untapped potential remains. We recommend offering those projects fixed avoided cost rates and contracts at least 20 years in length. The Commission could revisit the offering when the aggregate capacity of participants hits 1 GW to ensure it has an opportunity to evaluate the program’s impacts before significant growth occurs. We also recommend that the Commission evaluate the standard offer program participation concurrent with the IRP to ensure that QF capacity is appropriately considered in the Company’s long-term planning process.

- ENERGY EFFICIENCY IS RELEVANT TO THIS PROCEEDING.

Q.	Why is energy efficiency and demand-side programming relevant to this proceeding?

A.	Specifically, the Procedural and Scheduling Order in this case calls attention to it twice (including expressly putting it within the scope of this docket), as does the Commission’s Final Order in the 2019 IRP. More generally, these resources are relevant because avoided energy and capacity cost are used to determine the results of the various cost tests that these resources are evaluated against. If the avoided energy and capacity cost methodologies are changed, so too will the optimal amount of energy efficiency and demand-side programming that should be developed and deployed by the Company in order to operate a least-cost system that provides for strong customer benefits. The impacts of this proceeding will extend beyond only QFs or even just renewable energy procurement.

Q.	Georgia Power has noted, however, that PURPA does not govern demand-side resources. How do you respond?

A.	The Procedural and Scheduling Order identifies multiple applicable statutes and rules, only one of which is PURPA and its implementing regulations. This proceeding is equally governed by the Commission’s general regulatory authority over electrical utilities pursuant to O.C.G.A. §§ 46-2-20, 46-2-21 and 46-2-23, as well its more specific authority under the Integrated Resource Planning Act, O.C.G.A. §§ 46-3A-1 through 11. Hence, we don’t find this assertion by Georgia Power persuasive, nor would it serve administrative efficiency for demand-side resources to be excluded from consideration here.

Q.	The Georgia Power Panel also testified that demand-side resources lie outside the scope of this proceeding because such resources are based on projected avoided cost, rather than actual avoided cost. How do you respond?

A.	This contention strikes us as disingenuous considering that Georgia Power annually files ten-year avoided cost projections in these dockets.

Q.	Does this conclude your testimony?

A.	Yes.

Monitoring Analytics, 2018 State of the Market Report for PJM (Mar. 14, 2019), https://www.monitoringanalytics.com/reports/PJM_State_of_the_Market/2018.shtml.

Southwest Power Pool, State of the Market 2018 (May 15, 2019), https://www.spp.org/documents/59861/2018%20annual%20state%20of%20the%20market%20report.pdf.

Hr’g Tr. vol. 1, 180:21 (Nov. 9, 2020).

Behind-the-meter distributed solar, ground-mounted solar fixed, ground-mounted solar tracking and wind.

The data is designated as trade secret, so we will only discuss it generally, without providing detailed information that could allow someone to derive confidential figures.

Georgia Power proposes static transmission and distribution loss factors that do not change year to year; the Support Capacity adjustments, though, do vary year to year.

GPC. 2019 Avoided Cost Projections, Docket No. 4822 (Dec. 19, 2019), 
https://psc.ga.gov/search/facts-document/?documentId=179259.

GPC. 2019 Avoided Cost Projections - Errata, Docket No. 4822 (May 13, 2020), 
https://psc.ga.gov/search/facts-document/?documentId=181182.

GPC. 2020 Avoided Cost Projections, Docket No. 4822 (June 16, 2020), 
https://psc.ga.gov/search/facts-document/?documentId=181567.

Prior annual avoided cost filings included one solar avoided cost, while the version filed in this docket proposes to include five technology-specific renewable avoided cost projections.

Georgia Power Company (GPC) Resp. to Staff Data Request, STF-6-5, Doc. No. 182767 (Oct. 13, 2020); U.S. Energy Information Administration (EIA), Form EIA-860 Schedule 2.

Solar Energy Indus. Ass’n, State Solar Spotlight: Georgia (Sept. 10, 2020), https://www.seia.org/sites/default/files/2020-09/Georgia.pdf.

Grubb, Mallard & Weathers Test. 31:26, Sept. 18, 2020, Doc. No. 182529.

Implementation Issues Under the Public Utility Regulatory Policies Act of 1978, 172 FERC ¶ 61,041 (“Order No. 872”), at 430-431 (Sept. 2, 2020).

Hr’g Tr. vol. 1, 182:24-183:3.

See Commission Rule 515-3-4-.04(2)(c)6.

Hr’g Tr. vol. 1, 346:7-9.

Notably, in our view an “all source” procurement would also mean allowing demand side management resources to bid in as well. These valuable resources could save customers money and provide non-wires alternatives to expensive transmission and distribution system upgrades.

See Order No. 872 at 430 and Allegheny Energy Supply, 108 FERC ¶ 61,082, P 22 (July 29, 2004).

Grubb, Mallard & Weathers Test. at 32:14-15.

GPC. Standard Contract for the Purchase of Firm Capacity and Energy from a Qualifying Facility, 
Pro Forma PPA (Sept. 18, 2020), at 2.

GPC. Resp. to Staff Data Request, STF-4-16, Doc. No. 182180 (Aug. 12, 2020).

GPC. Standard Contract for the Purchase of Firm Capacity and Energy from a Renewable Qualifying Facility Utilizing the Proxy Unit Methodology (Sept. 18, 2020).

Id. at 4.

Hr’g Tr. vol. 1, 121:5.

Id. at 170:2.

Id. at 170:10-12.

Grubb, Mallard & Weathers Test. at 46:18-47:4.

45 Fed. Reg. 12214, 12224 (Feb. 25, 1980) (emphasis added).

See, e.g., GPC. IRP Technical App’x Vol. 2, Ch. 7, Pt. 2 and 3 (GPC assigns distributed generation and utility scale solar a price per kilowatt per year, an incremental capacity equivalence value, and details the capacity factor at system peak).

We note that in a system with extensive solar resources, the optimum time for nuclear refueling and maintenance might be in summer. ELCC is best determined by modeling reliability with and without the resource being evaluated and not based on historical practice that is poorly informed by current or future circumstances.

This distinction is necessary because forced outage rates of firm generation are weather dependent and therefore not time-independent.

Hr’g Tr. vol. 1, 138:21-22.

Grubb, Mallard & Weathers Test. at 39:25.

Despite testifying that energy-only contract participants can choose long-term contracts, Georgia Power proposes to include the 365-day notice provision and argues that the energy-only contract participants cannot be relied on long-term because of that proposed addition. Thus, there is uncertainty to whether the contract is truly long-term.

Hr’g Tr. vol. 1, 138:21-22.

Ga. Pub. Serv. Comm’n. Procedural and Scheduling Order, Docket Nos. 4822, 16573, and 19279 (Aug. 20, 2020) at 3.