# Georgia Power Company

Docket No. 29849

Staff Data Request No. STF-198

STF-198-12

Question:

Please refer to STF 108-11 and STF 113-20.

- Please provide an updated Load and Capability table / Needs Assessment as current in the 24th VCM in spreadsheet format with all formula intact.  The spreadsheet should contain all details about how load and capacity values were built up each year and should show how the reserve margin is calculated.

- Please confirm that the updated table provided in part (a) is consistent with the loads and capacity data modeled in the Company’s Aurora analyses.  If not, please identify the differences that are reflected in Aurora compared to the data used in the development of the table responding to question (a) above.

- Please describe any capability adjustments.  Previously in Strategist these were defined in the variable - Input. GAF. Company. Capability Adjustment. Also, provide any load adjustments.  Previously in Strategist these were defined in the variable - Input. GAF. Company. Peak Adjustment.  Provide the supporting workpapers, electronically, deriving such adjustments.

Response:

  - The Load and Capability table / Needs Assessment relied on in the 24th VCM is provided as electronic Trade Secret (“TS”) Attachment STF-198-12.

  - The information provided in part (a) is consistent with the loads and capacity modeled in Aurora.

  - The capability and load adjustments previously applied in Strategist are no longer required since the Company transitioned to Aurora.

Contact: Jeremiah Haswell