# Georgia Power Company

Docket No. 29849

Staff Data Request No. STF-198

STF-198-6

Question:

If any modeling approaches associated with the Company’s cost-to-complete analysis have changed since the 23rd VCM, please provide a detailed description of the changes and explain why the changes were made.  This should include any capital revenue requirement analyses, Strategist analyses, Aurora analyses, etc.

Response:

For the first time, the Company’s cost-to-complete analysis utilized the Aurora model rather than the Strategist model for development of the production costs for Vogtle Units 3 & 4, as well as the alternate Combined Cycle (“CC”) option. The Company moved to the Aurora model due to, among other factors, increased vendor support, enhanced modeling capabilities such as the ability to model generic renewables in the expansion plan, and gaining efficiencies of a single modeling software and database for both expansion planning and production cost modeling.

In addition, the expected in-service date of the alternate CC option was changed from 5/1/2026 in the 23rd VCM to 1/1/2029 in the 24th VCM, aligning with the Company’s capacity need date on the cancellation side of the analysis. Since there is now adequate time for the alternate CC to be commercially operable by the Company’s need date, there is no longer the need for a capacity procurement charge in the analysis model prior to the alternate CC coming online.

Contact: Jeremiah Haswell