BEFORE THE PUBLIC SERVICE COMMISSION

STATE OF GEORGIA

SAWNEE ELECTRIC MEMBERSHIP 	)

CORPORATION,	)

)

Petitioner,	)

)

v.	)		Docket No. 43899

)

GEORGIA POWER COMPANY	)

)

Respondent.	)

# PRE-FILED DIRECT TESTIMONY OF

DR. JOHN H. MATTHEWS

September 9, 2021

# PRE-FILED DIRECT TESTIMONY OF

# dr. john h. matthews

# ON BEHALF OF GEORGIA POWER COMPANY

# GPSC DOCKET  No. 43899

Q.	PLEASE STATE YOUR NAME, TITLE AND BUSINESS ADDRESS.

A.	My name is Dr. John H. Matthews. I am employed as the President and Principal Investigator for John Matthews and Associates, Inc., an Electrical Engineering Consulting Firm. My business address is P.O. Box 3229, Cookeville, Tennessee 38502.

Q. 	PLEASE STATE YOUR RESPONSIBILITIES AS PRESIDENT AND PRINCIPAL INVESTIGATOR.

A.	I am responsible for the overall management of the firm’s professional activities. I am also the principal investigator for investigations involving utility affairs, accidents involving utility systems, industrial and commercial building fires, shock, electrocution and arc flash injuries. These activities often require preparation of expert reports as well as depositions, hearing, and trial testimony. On behalf of John Matthews and Associates, Inc., I am a member of the Electrical Engineering Advisory Committee for Tennessee Technological University and the Military College of South Carolina, The Citadel.

Q.	PLEASE SUMMARIZE YOUR EDUCATION AND PROFESSIONAL EXPERIENCE.

A.	My full Curriculum Vitae is attached hereto as Exhibit A. I’ve summarized my relevant experience for this proceeding below. I attended Tennessee Technological University where I earned a Bachelor of Science in Electrical Engineering and a Master of Science in Electrical Engineering. I later completed my PhD in Electrical Engineering at Tennessee Technological University. I am a registered professional electrical engineer in twelve (12) states and hold a certificate from the National Council of Examiners for Engineers and Surveyors (NCEES). This organization prepares the national examinations required for engineers seeking registration. I participated in the NCEES development of a recent examination for those seeking registration as professional electrical engineers.

I founded my Electrical Engineering consulting firm in 1970. We have acted as Electrical Engineer of record for over three thousand (3,000) industrial and commercial building projects in 30 states. Part of each design involved careful coordination with the electrical utility serving the project. This also required providing detailed information on the buildings’ various connected loads. After completing my PhD in Electrical Engineering, I taught a series of Senior and Graduate courses in building system design at the Georgia Institute of Technology as a Part Time Professor. I have taught similar courses at Tennessee Technological University. I also teach seminars and workshops in building electrical system design for professional groups such as the Institute of Electrical and Electronic Engineers (IEEE).

Over the years, I have been retained by various electric suppliers in Georgia to determine the connected load of new premises for the purpose of determining whether the premises at initial full operation would qualify as having connected load in excess of 900 kilowatts (“kW”) qualifying it as a customer choice premises. Frequently, such connected load counts have resolved the question without the need for further proceedings. In addition, I have sponsored expert opinion testimony concerning the determination of connected load, among other things, before the Georgia Public Service Commission (“GPSC”) in the following contested proceedings: Docket Nos. 3972, 4863, 4076, 5512, 7821, 10517, and 15144.

Q.	WHAT IS THE PURPOSE OF YOUR TESTIMONY?

A.	The purpose of my testimony is to render an independent expert opinion as to the connected electrical load of the newly constructed and operating electric vehicle charging station located at 3630 Peachtree Parkway in Suwanee, Georgia.

Q. 	IS CONNECTED LOAD A TERM OF ART?

A.	Yes. As the term is applied by the GPSC, connected load is indeed a term of art. In fact, the connected load of a facility is viewed somewhat differently by the GPSC from the manner I, and other engineers, would typically use to calculate connected load for the design of a power system for a building. For example, the method used to calculate connected load for a building is related to the design of a safe and adequate power system, including circuit breaker and wire sizes in accordance with the National Electrical Code (NFPA 70). The connected load from an engineering design perspective includes an additional 25% continuous load factor in recognition that some electrical loads are continuous in nature. This continuous load factor would not apply when computing the connected load under the established method for computing connected load under the Georgia Territorial Electric Service Act’s (“Territorial Act”) large load exception. Moreover, the goal of a building design engineer is not only to provide an adequate and safe electrical system with the appropriate safety factors but also to provide for anticipated future load additions. In contrast, I would not consider future additions in my load count for purposes of the Territorial Act large load exception because the standard is the connected load at initial full operation. The determination of connected load in this case is specific to the GPSC and the established method for computing connected load under the Territorial Act.

Q.	WHAT IS THE DIFFERENCE BETWEEN CONNECTED LOAD AND METERED DEMAND?

A.	As I explained earlier, connected load is viewed differently depending on whether the calculation is used for the design of a building electrical system or for the determination of whether a premises’ connected load qualifies under the Territorial Act’s large load exception. In addition, the actual load seen by the utility meter (metered load) is also unlikely to be the same as either the GPSC term of art or the connected load computed by the design engineer. The metered load is determined by how much of the facilities’ electrical system is in use at a given point in time and is likely less than the total connected load as determined by the building design engineer. The goal of the design engineer is to provide an electrical system with the capacity to safely handle the maximum load. In contrast, the load computed for determination of whether a customer qualifies under the large load exception differs in several ways and is not necessarily the same as the building design connected load, and neither are the same as the metered or actual demand.

Q.	IS THERE A PROFESSIONALLY ACCEPTED MEANS OF DETERMINING CONNECTED LOAD?

A.	Yes. In order for electric service providers to decide whether they can compete for a given customer it is necessary to determine the connected load. As a result, the actual metered demand cannot be used to determine connected load simply because the building has not yet been constructed. Therefore, the connected load must be determined based upon the building design documents including the electrical, mechanical, and plumbing plans prepared by the building design engineers. The use of these design documents has been the cornerstone of such connected load studies. Since the actual load carried by a given item of equipment, for example an electrical motor, is unknown, the manufacturer’s nameplate data, which lists the rated horsepower or input current and voltage, is used to determine the connected load for this piece of equipment. Therefore, it is appropriate to use the nameplate capacity in determining the connected load for purposes of the Territorial Act large load exception. This approach has been well accepted by the GPSC for the determination of connected load.

Q.	WHAT STEPS HAVE YOU TAKEN TO DETERMINE THE CONNECTED LOAD OF THIS ELECTRIC VEHICLE CHARGING PREMISES?

A.	First, I requested information on the actual design of the facility, in this case the electrical plans. Second, I reviewed the plans and also learned that the facility has been completed and is already in actual operation. I concluded that I should visit the facility and personally inspect the various items of equipment to determine whether the actual installation complied with the electrical drawings. I made this visit on September 6, 2021. During this visit, I inspected and documented the electrical system, the Georgia Power transformer, as well as the nameplate data for the vehicle charging equipment. I found that the actual facility was constructed in substantial accordance with the electrical design drawings.

Q.	IS YOUR ASSESSMENT CONSISTENT WITH ACCEPTED ELECTRICAL ENGINEERING STANDARDS AND PRACTICES?

A.	Yes, it is.

Q.	HAVE YOU REACHED AN OPINION TO A REASONABLE DEGREE OF ENGINEERING CERTAINTY REGARDING THE CONNECTED LOAD OF THE PREMISES AND WHETHER IT IS IN EXCESS OF 900 KW?

A.	Yes. Based upon my inspection at the site on September 6, 2021, as well as my review of the electrical design drawings and the nameplate data, it is my professional opinion that the connected load for this facility exceeds 900 kW.

Q. 	DOES THIS CONCLUDE YOUR TESTIMONY?

A.         Yes.