## Summary - Winter
2022 IRP Winter Summary - MG0 Scenario
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Winter Capacity Need (MW)
Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System
2022 | 20120.9422 | REDACTED | 2022 | 15490.44 | REDACTED | 2022 | 29.89% | REDACTED | 2022 | 24.69% | 25.5% | 2022 | -806.2645 | REDACTED
2023 | 19687.0386 | REDACTED | 2023 | 15550.42 | REDACTED | 2023 | 26.6% | REDACTED | 2023 | 24.69% | 25.5% | 2023 | -297.5731 | REDACTED
2024 | 20401.4112 | REDACTED | 2024 | 15581.04 | REDACTED | 2024 | 30.94% | REDACTED | 2024 | 24.69% | 25.5% | 2024 | -973.7664 | REDACTED
2025 | 21181.4411 | REDACTED | 2025 | 15635.8 | REDACTED | 2025 | 35.47% | REDACTED | 2025 | 25.18% | 26% | 2025 | -1607.8443 | REDACTED
2026 | 21251.8349 | REDACTED | 2026 | 15657.45 | REDACTED | 2026 | 35.73% | REDACTED | 2026 | 25.18% | 26% | 2026 | -1651.1356 | REDACTED
2027 | 21361.7054 | REDACTED | 2027 | 15674.15 | REDACTED | 2027 | 36.29% | REDACTED | 2027 | 25.18% | 26% | 2027 | -1740.1003 | REDACTED
2028 | 20172.7597 | REDACTED | 2028 | 15659.11 | REDACTED | 2028 | 28.82% | REDACTED | 2028 | 25.18% | 26% | 2028 | -569.9824 | REDACTED
2029 | 18695.046 | REDACTED | 2029 | 15759.88 | REDACTED | 2029 | 18.62% | REDACTED | 2029 | 25.18% | 26% | 2029 | 1033.8798 | REDACTED
2030 | 18310.6936 | REDACTED | 2030 | 15799.16 | REDACTED | 2030 | 15.9% | REDACTED | 2030 | 25.18% | 26% | 2030 | 1467.4046 | REDACTED
2031 | 16256.9536 | REDACTED | 2031 | 15960.21 | REDACTED | 2031 | 1.859% | REDACTED | 2031 | 25.18% | 26% | 2031 | 3722.7542 | REDACTED
2032 | 16256.9536 | REDACTED | 2032 | 16059.77 | REDACTED | 2032 | 1.228% | REDACTED | 2032 | 25.18% | 26% | 2032 | 3847.3879 | REDACTED
2033 | 16201.8496 | REDACTED | 2033 | 16249.84 | REDACTED | 2033 | -0.2953% | REDACTED | 2033 | 25.18% | 26% | 2033 | 4140.4301 | REDACTED
2034 | 16198.7147 | REDACTED | 2034 | 16400.72 | REDACTED | 2034 | -1.232% | REDACTED | 2034 | 25.18% | 26% | 2034 | 4332.4433 | REDACTED
2035 | 13795.3802 | REDACTED | 2035 | 16565 | REDACTED | 2035 | -16.72% | REDACTED | 2035 | 25.18% | 26% | 2035 | 6941.4309 | REDACTED
2036 | 11467.9528 | REDACTED | 2036 | 16719.52 | REDACTED | 2036 | -31.41% | REDACTED | 2036 | 25.18% | 26% | 2036 | 9462.2934 | REDACTED
2037 | 11437.5042 | REDACTED | 2037 | 16965.4 | REDACTED | 2037 | -32.58% | REDACTED | 2037 | 25.18% | 26% | 2037 | 9800.5456 | REDACTED
2038 | 11070.5265 | REDACTED | 2038 | 17158.34 | REDACTED | 2038 | -35.48% | REDACTED | 2038 | 25.18% | 26% | 2038 | 10409.0543 | REDACTED
2039 | 10628.1427 | REDACTED | 2039 | 17354.69 | REDACTED | 2039 | -38.76% | REDACTED | 2039 | 25.18% | 26% | 2039 | 11097.2378 | REDACTED
2040 | 9890.0401 | REDACTED | 2040 | 17515.41 | REDACTED | 2040 | -43.54% | REDACTED | 2040 | 25.18% | 26% | 2040 | 12036.5369 | REDACTED
2041 | 9691.5696 | REDACTED | 2041 | 17737.73 | REDACTED | 2041 | -45.36% | REDACTED | 2041 | 25.18% | 26% | 2041 | 12513.3176 | REDACTED

## Summary - Summer
2022 IRP Summer Summary - MG0 Scenario | [5 empty] | `
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Summer Capacity Need (MW)
Year | GPC | System | Year | GPC | System |  | Year | GPC | System | Year | GPC | System | Year | GPC | System
2022 | 20230.6813 | REDACTED | 2022 | 16091.99 | REDACTED |  | 2022 | 25.72% | REDACTED | 2022 | 14.78% | 15.75% | 2022 | -1759.5362 | REDACTED
2023 | 19865.6377 | REDACTED | 2023 | 16141.41 | REDACTED |  | 2023 | 23.07% | REDACTED | 2023 | 14.78% | 15.75% | 2023 | -1337.766 | REDACTED
2024 | 19195.0744 | REDACTED | 2024 | 16136.51 | REDACTED |  | 2024 | 18.95% | REDACTED | 2024 | 14.78% | 15.75% | 2024 | -672.8272 | REDACTED
2025 | 21029.0645 | REDACTED | 2025 | 16176.73 | REDACTED |  | 2025 | 30% | REDACTED | 2025 | 15.28% | 16.25% | 2025 | -2380.4418 | REDACTED
2026 | 21079.0484 | REDACTED | 2026 | 16184.25 | REDACTED |  | 2026 | 30.24% | REDACTED | 2026 | 15.28% | 16.25% | 2026 | -2421.7566 | REDACTED
2027 | 21136.8901 | REDACTED | 2027 | 16182.6 | REDACTED |  | 2027 | 30.61% | REDACTED | 2027 | 15.28% | 16.25% | 2027 | -2481.5004 | REDACTED
2028 | 19632.7498 | REDACTED | 2028 | 16192.15 | REDACTED |  | 2028 | 21.25% | REDACTED | 2028 | 15.28% | 16.25% | 2028 | -966.3508 | REDACTED
2029 | 18453.948 | REDACTED | 2029 | 16259.14 | REDACTED |  | 2029 | 13.5% | REDACTED | 2029 | 15.28% | 16.25% | 2029 | 289.6775 | REDACTED
2030 | 16120.0104 | REDACTED | 2030 | 16220.96 | REDACTED |  | 2030 | -0.6223% | REDACTED | 2030 | 15.28% | 16.25% | 2030 | 2579.601 | REDACTED
2031 | 16120.0104 | REDACTED | 2031 | 16390.75 | REDACTED |  | 2031 | -1.652% | REDACTED | 2031 | 15.28% | 16.25% | 2031 | 2775.3358 | REDACTED
2032 | 16120.0104 | REDACTED | 2032 | 16504.85 | REDACTED |  | 2032 | -2.332% | REDACTED | 2032 | 15.28% | 16.25% | 2032 | 2906.8709 | REDACTED
2033 | 16064.5545 | REDACTED | 2033 | 16725.08 | REDACTED |  | 2033 | -3.949% | REDACTED | 2033 | 15.28% | 16.25% | 2033 | 3216.2091 | REDACTED
2034 | 16056.7791 | REDACTED | 2034 | 16894.36 | REDACTED |  | 2034 | -4.958% | REDACTED | 2034 | 15.28% | 16.25% | 2034 | 3419.1315 | REDACTED
2035 | 13279.1139 | REDACTED | 2035 | 17055.63 | REDACTED |  | 2035 | -22.14% | REDACTED | 2035 | 15.28% | 16.25% | 2035 | 6382.7096 | REDACTED
2036 | 11410.9617 | REDACTED | 2036 | 17239.01 | REDACTED |  | 2036 | -33.81% | REDACTED | 2036 | 15.28% | 16.25% | 2036 | 8462.2632 | REDACTED
2037 | 11272.9497 | REDACTED | 2037 | 17491.28 | REDACTED |  | 2037 | -35.55% | REDACTED | 2037 | 15.28% | 16.25% | 2037 | 8891.0935 | REDACTED
2038 | 10602.4328 | REDACTED | 2038 | 17702.83 | REDACTED |  | 2038 | -40.11% | REDACTED | 2038 | 15.28% | 16.25% | 2038 | 9805.4863 | REDACTED
2039 | 10601.5254 | REDACTED | 2039 | 17947.64 | REDACTED |  | 2039 | -40.93% | REDACTED | 2039 | 15.28% | 16.25% | 2039 | 10088.6121 | REDACTED
2040 | 9963.7254 | REDACTED | 2040 | 18115.3 | REDACTED |  | 2040 | -45% | REDACTED | 2040 | 15.28% | 16.25% | 2040 | 10919.6915 | REDACTED
2041 | 9778.6392 | REDACTED | 2041 | 18369.26 | REDACTED |  | 2041 | -46.77% | REDACTED | 2041 | 15.28% | 16.25% | 2041 | 11397.5441 | REDACTED

## Energies
2022 IRP Summer Summary - MG0 Scenario |  |  | `
Energies (GWh)
Year | GPC | SYSTEM
2022 | 87949810.9 | REDACTED
2023 | 88146426.71 | REDACTED
2024 | 88476828.38 | REDACTED
2025 | 88458560.29 | REDACTED
2026 | 88600350.78 | REDACTED
2027 | 88760560.83 | REDACTED
2028 | 89062121.7 | REDACTED
2029 | 89512318.52 | REDACTED
2030 | 90088672.02 | REDACTED
2031 | 91085520.84 | REDACTED
2032 | 91988004.99 | REDACTED
2033 | 92883610.89 | REDACTED
2034 | 93798167.02 | REDACTED
2035 | 94813904.18 | REDACTED
2036 | 96025908.38 | REDACTED
2037 | 97212765.4 | REDACTED
2038 | 98383004.45 | REDACTED
2039 | 99631465.02 | REDACTED
2040 | 100909333.2 | REDACTED
2041 | 102032046.89 | REDACTED