**STATE OF GEORGIA**

* 1. **BEFORE THE**
	2. **GEORGIA PUBLIC SERVICE COMMISSION**

**In Re:**

**Georgia Power Company’s 2022 )**

**Integrated Resource Plan and Application)**

**for Decertification of Plant Wansley Units )**

**1 -2 & 5A, Plant Boulevard Unit 1, Plant )**

**Bowen Units 1-2, Plant Gaston Units 1-4 )**

**& A, and Plant Scherer Unit 3; and )**

**Application for Certification of the Power )**

**Purchase Agreements from Plant Harris ) Docket No. 44160 &**

**Unit 2, Plant Wansley Unit 7, Plant ) Docket No. 44161**

**Dahlberg Units 1, 3, & 5, Plant Dahlberg )**

**Units 2 & 6, Plant Dahlberg Units 8-10, )**

**and Plant Monroe Units 1 & 2; and )**

**Application for Certification of Capacity )**

**from Blocks 2-4 and Blocks 5 & 6; and )**

**Application for the Certification, )**

**Decertification, and Amended Demand- )**

**Side Management Plan )**

**MOTION TO REJECT THE GEORGIA POWER COMPANY 2022 INTEGRATED RESOURCE PLAN, AS FILED, AND to Reject in Part the Application for Certification of the Power Purchase Agreements from Plant Harris 2, Plant Wansley Unit 7, Plant Dahlberg Units 1, 3, & 5, Plant Dahlberg Units 2 & 6, Plant Dahlberg Units 8-10, and Plant Monroe Units 1 & 2**

**PETER HUBBARD**

**GEORGIA CENTER FOR ENERGY SOLUTIONS**

**April 1, 2022**

**MOTION TO REJECT THE GEORGIA POWER COMPANY 2022 INTEGRATED RESOURCE PLAN, AS FILED, AND to Reject in Part the Application for Certification of the Power Purchase Agreements from Plant Harris 2, Plant Wansley Unit 7, Plant Dahlberg Units 1, 3, & 5, Plant Dahlberg Units 2 & 6, Plant Dahlberg Units 8-10, and Plant Monroe Units 1 & 2**

1. **INTRODUCTION**

Pursuant to Georgia Public Service Commission (the “Commission”) Rule 515-3-4-.01, the Georgia Center for Energy Solutions (“GCES”) respectfully submits this Motion to Reject the Georgia Power Company 2022 Integrated Resource Plan, as filed, and to Reject in Part the Application for Certification of the Power Purchase Agreements from Plant Harris 2, Plant Wansley Unit 7, Plant Dahlberg Units 1, 3, & 5, Plant Dahlberg Units 2 & 6, Plant Dahlberg Units 8-10, and Plant Monroe Units 1 & 2 (the “Motion”), as filed in Docket No. 44160, and to require that the Company provide an Alternate Plan (“Alternate Plan”) that is in the public interest. GCES acknowledges that the Motion, if granted, will impact the Application for Decertification of Plant Wansley Units 1-2 & 5A, Plant Boulevard Unit 1, Plant Bowen Units 1-2, Plant Gaston Units 1-4 & A, and Plant Scherer Unit 3; the Application for Certification of Capacity from Blocks 2-4 and Blocks 5 & 6; and the Application for the Certification, Decertification, and Amended Demand-Side Management Plan (Docket No. 44161), which is expected in an integrated planning process. A specific recommendation for each existing unit and for replacement capacity will need to be confirmed by detailed analysis in the Alternate Plan, including the Power Purchase Agreements from Plant Harris Unit 2, Plant Wansley Unit 7, Plant Dahlberg Units 1, 3, & 5, Plant Dahlberg Units 2 & 6, Plant Dahlberg Units 8-10, and Plant Monroe Units 1 & 2 (the “PPAs”).

1. **JUSTIFICATION FOR MOTION**

The Georgia Power Company (the “Company”) 2022 Integrated Resource Plan (“2022 IRP”) fails to adequately demonstrate the economic, environmental, and other benefits to Georgia and to customers of the Company, as required by statute in O.C.G.A. § 46-3A-2(3). The Company currently relies heavily on gas-fired generation to serve its customers (47% of retail load in 2021 was from gas-fired generation, per the 2022 IRP). The increased reliance on long-term contracted gas-fired generation via the PPAs for providing capacity as well as energy and ancillary services (e.g., Operating Reserves) subjects the Company and its customers to significant, volatile costs and to significant, growing risks that are unnecessary, avoidable, and not in the public interest. The continued and increased use of gas-fired generation together with other thermal generation results in the Company incurring significant annual fuel costs that regularly approach and surpass $2 billion per year.[[1]](#footnote-1) These fuel costs are wholly passed through to customers of the Company, with little or no incentive for the Company to reduce this significant annual cost or to mitigate the risks that they do not directly bear. As a result of the Additional Sum on the PPAs alone, the Company would receive a guaranteed income of $177.2 million dollars over the first 10 years and another $10.3 million over the next five years, plus 20% of any benefits over this amount, which is a benefit that flows virtually exclusively to the Company (not the customers of the Company), without the Company taking on any of the costs or most of the risks from these PPAs. By contrast, renewable resources—both standalone renewable resources and those paired with Battery Energy Storage System (“BESS”) resources—and standalone BESS resources can supply capacity, energy, and ancillary services that are equivalent to the services supplied by gas-fired generation.

The continued use of gas-fired generation and other fossil fuel generation results in the Company incurring significant and growing regulatory risk, climate risk, price volatility risk, and correlated fuel scarcity risk, all of which are risks that in turn create significant risk of financial impairment of gas-fired generation asset, including the PPAs. See, for example, the U.S. Security and Exchange Commission’s (“SEC”) March 21, 2022 press release, “SEC Proposes Rules to Enhance and Standardize Climate-Related Disclosures for Investors”[[2]](#footnote-2), which if promulgated would negatively impact the financial viability of the PPAs and that of the Company. These same risks are not born by renewable resources. Importantly, the avoidable fuel costs and the significant, growing risks associated with gas-fired generation are incurred without the Company delivering the level of Reliability and Resource Adequacy benefits claimed in the IRP. A comparison of Reliability by Investor-Owned Utilities (“IOUs”) using U.S. Energy Information Administration Form 861 data (as submitted by the Company) shows that the Company ranked in the bottom quartile of Reliability on average from 2016-2020 among on average 138 IOUs, regardless of whether the metric is System Average Interruption Duration Index with Major Event Days, System Average Interruption Frequency Index with Major Event Days, or Customer Average Interruption Duration Index with Major Event Days. The required level of Reliability and Resource Adequacy can be provided with existing renewable technologies and existing BESS technologies, which cost less based on all-in-lifetime-cost (with equivalent services) as compared to the PPAs for which the Company is seeking one or more Certificates of Public Convenience and Necessity before the Commission.

The Action Plan that is recommended by the Company in Chapter 19 of the 2022 IRP is fundamentally based upon certification of the PPAs, which are in turn based on the 2022-2028 Capacity Request for Proposals (the “2022-2028 Capacity RFP” or “RFP”). The RFP exhibited serious flaws that arbitrarily excluded or constrained market-based solutions that could meet the purported capacity needs of the Company, as determined in the 2019 IRP. If the PPAs are approved for certification, this action will raise costs and increase risks for customers of the Company. These costs and risks could be avoided with existing technologies that provide equivalent energy, capacity, and ancillary services at lower cost without putting downward pressure on Reliability or Resource Adequacy. Accordingly, the PPAs are imprudent and should not be approved by the Commission without significant revision. Due to the integrated nature of this process and the inclusion of the PPAs in this planning process, the 2022 IRP itself is flawed, as it is fundamentally based on a flawed RFP, and should be rejected and revised under an Alternate Plan.

The identified RFP flaws include, but are not limited to, the following:

Technical:

1. the RFP excluded most resources less than 100 MW from participating in any manner in the RFP, including a notable gap between 30-100 MW. This arbitrary cut-off excluded many medium-sized projects that could provide additional value that small- and large-sized projects cannot deliver;
2. the RFP created barriers that disadvantaged or excluded certain technology offerings that can provide capacity, notably including compressed air energy storage and all demand-side resources. This is contrary to the Company’s statement on page 4-22 of the 2022 IRP: “This [IRP] process [of which, the RFP is a fundamental part] provides for an orderly and reasoned framework through which both demand- and supply-side resources are compared on an equitable basis to develop a plan that provides for reliable and economical electric energy to serve customers’ needs over the planning horizon.” Excluding resources is not an equitable basis for soliciting capacity in order to meet Reliability and Resource Adequacy requirements;
3. the RFP required that any resource offering capacity must provide one full cycle in a 24-hour period in order to qualify for participation, without providing justification for this requirement, which disadvantaged Battery Energy Storage System plus Charging Solar (“BESS+CS”) resources;
4. the Company states that renewable resources are weather-limited, drawing a contrast to gas resources. However, we have direct, contemporaneous evidence from Winter Storm Uri in ERCOT in February 2021 that gas resources are not only weather-limited but face correlated fuel scarcity risk, which the RFP minimizes or ignores as a risk for gas resources. The Company acknowledges such weather-related limitations for gas resources on page 11-74 of the 2022 IRP, "These units operate primarily on natural gas while maintaining limited coal backup per the requirement of the Mercury and Air Toxics Standards rule to ensure reliable operation during periods when natural gas pipelines are constrained, such as during cold winter days." Most of the gas resources in the PPAs do not have coal backup, nor do they have Firm Transportation for most—if not all—of the year. As a result, gas resources were advantaged in the RFP;
5. the Company did not accurately or fairly address the value of real-time operational flexibility provided by renewable resources (with or without Automatic Generation Control), the reduction in congestion costs from small- and medium-sized resources that are distributed rather than resources that are centralized in blocks of capacity 100 MW or larger, or the transmission and distribution capital expenditure deferrals from small- and medium-sized resources in the RFP, all of which disadvantaged renewable resources;
6. the gas resources were advantaged in the RFP by ignoring permit condition limitations. For example, Plant Monroe (Doyle Energy Facility) Units 1 & 2 are limited to 1,550 hours each per consecutive 12-month period in order to limit carbon monoxide emissions;[[3]](#footnote-3)
7. the RFP ignored the symbiotic relationship of BESS+CS, which can make a significant contribution to reliability of the Georgia Integrated Transmission System (“System”). Using a loss of load probability model to estimate the capacity credit of solar resources and BESS resources under increasing penetrations of both technologies, in isolation and in tandem, North Carolina State University researchers have demonstrated that as much as 40% more of the combined capacity can be counted on during peak demand hours compared to scenarios where the two technologies are deployed separately;[[4]](#footnote-4)

Financial:

1. while BESS+CS and gas Combined Cycle (“CC”) resources were treated exactly equally in terms of Buy Down Payment penalties for capacity reduction, despite nominally different products (Designated Storage Capacity vs. Designated Capacity, respectively) that are functionally equivalent, BESS+CS resources were treated unequally in the RFP and were disadvantaged in at least two ways by not being allowed to designate Nominal Supplemental Capability (“NSC”) on top of a designation of Nominal Base Capability (“NBC”) like CC resources were allowed to do with duct-firing and with an option for multiple tiers of NSC;
2. the calculation of Contracted Capacity Cap in the RFP requires 102.5% of the NBC, where 100% of capacity and energy generated by the unit must be sold to the Company, with restrictions on NBC, but any shortfall of capacity below92% triggers a rapid 10-day Cure Period after which significant liquidated damages are triggered, which disadvantaged BESS+CS resources;
3. the BESS+CS resources were disadvantaged by the calculation of replacement costs using Seasonal Availability Percentage compared to gas resources that calculate replacement costs based on a Monthly Availability Percentage, which can lead to higher performance hurdles and higher replacement costs on Undelivered Scheduled Energy vs. Undelivered Energy;
4. the BESS+CS resources were disadvantaged by the application of the reductive Seasonal Availability Adjustment to the Monthly Capacity Payment, which did not apply to gas resources;
5. Certification of the PPAs arbitrarily and unfairly shifts fuel costs to non-participating customers of the Company, including customers who fully subscribe to the Company’s solar programs such that they offset all their energy consumption and capacity needs via solar resources. This is a cross-subsidization of gas resources via the PPAs by non-participating customers of the Company;

Risk:

1. the gas resources were advantaged in the RFP by ignoring the risks, which are currently present and growing into the future, from federal regulation in multiple matters presently before the Supreme Court of the United States (e.g., West Virginia v. EPA), which are risks not faced by BESS+CS resources;
2. the gas resources were advantaged in the RFP by ignoring the substantial risks born presently by gas resources from fuel price volatility and correlated fuel scarcity due to heavy dependence on interruptible transportation during winter months on the Southern Natural Gas pipeline system, which experienced 41 days of Critical Notice Operational Flow Orders (“OFO”) from November 11, 2021 to March 15, 2022, including two days of the highest OFO Type 6 in which daily shipper imbalances threaten system integrity. This risk is inherent to gas-fired generation and follows from a dependence on vulnerable pipeline infrastructure, and which are risks that BESS+CS resources do not face at all;
3. the gas resources were advantaged in the RFP by ignoring the risks of financial impairment for gas-fired generation. These financial impairment risks are derivative of the regulatory risk, climate risk, fuel price volatility risk, and correlated fuel scarcity risk that gas resources face presently, which are risks that BESS+CS resources do not face at all or in equal measure;

Procedural:

1. the process was concluded without obtaining Post Evaluation Standard of Conduct Agreements for five members of the RFP Evaluation Team, including notably the Financial Analysis and Planning Manager and the Bulk Power Operations Compliance Assurance Manager[[5]](#footnote-5);
2. the relationship between Southern Company’s unregulated subsidiary, Southern Power Company, and Southern Company’s regulated subsidiary, the Company, is unmonitored and unregulated, which can lead to conflicts of interest between the Affiliates with substantial business before each other via the PPAs;
3. the justification for the capacity required for Reliability and Resource Adequacy that is solicited in the RFP is called into question by the 2021 Long-Term Reliability Assessment issued in December by the North American Electric Reliability Corporation (“NERC”), which demonstrates that the region in which the Company, its affiliates, and merchant capacity operate (SERC-SE) is anticipated to have a summer Reserve Margin as high as 46.8% in 2028 vs. the Company’s Target Reserve Margin of between 14.78% and 16.25% for summer periods.[[6]](#footnote-6)

The above-enumerated risks are born primarily—and in some cases wholly—by the customers of the Company, not by the Company. It is imprudent to put this risk on the customers of the Company, when readily available technologies that were excluded from or disadvantaged in the RFP could significantly mitigate many of these risks without downward pressure on Reliability, Resource Adequacy, Resiliency, or Affordability. GCES recommends that a final certification decision on each of the PPAs and a final decertification decision on existing units be temporarily delayed and subject to the analysis of the Alternate Plan. At this time, to provide for a well-managed transition, GCES does support renegotiating the PPAs to have a shorter tenor, which for each PPA would not exceed a target date of December 1, 2029. However, because the 2022 IRP is fundamentally based upon the results of the RFP, which are demonstrated to have serious flaws, the 2022 IRP itself is fundamentally flawed and should be rejected, as filed, and the Company should be required to develop an Alternate Plan that is in the public interest.

GCES has also identified scores of additional inconsistencies and fundamental flaws in the 2022 IRP itself and accompanying documents[[7]](#footnote-7), some of which are discussed briefly in this Motion and will be enumerated and discussed more fully in direct testimony filed on behalf of GCES. For example, when developing the North Georgia Reliability & Resilience Action Plan, the Company made no mention of low-cost, commercially available transmission technology options for addressing future Reliability concerns on this part of the System. These options include Dynamic Line Rating (“DLR”) devices, advanced reconductoring, double circuiting, and numerous types of Flexible Alternating Current Transmission System (“FACTS”) devices. DLR devices were used on an existing, congested transmission line in Pennsylvania to increase the static capacity rating from between 7% and 29%, depending on season and whether the transmissions lines and the bulk electric system are operating under normal or emergency conditions, avoiding a projected annual congestion cost of $14.5 million for a one-time expenditure of <$1 million.[[8]](#footnote-8) FACTS devices have been demonstrated to unlock up to 12% of a generator’s nameplate capacity.[[9]](#footnote-9) The Company has not demonstrated that it has considered many of these low-cost options, which is a requirement to adequately demonstrate the economic, environmental, and other benefits to Georgia and to customers of the Company, as required by statute in O.C.G.A. § 46-3A-2(3).

1. **MOTION**

For these reasons, GCES respectfully submits this Motion to Reject the Georgia Power Company 2022 Integrated Resource Plan, as filed, and to Reject in Part the Application for Certification of the Power Purchase Agreements from Plant Harris 2, Plant Wansley Unit 7, Plant Dahlberg Units 1, 3, & 5, Plant Dahlberg Units 2 & 6, Plant Dahlberg Units 8-10, and Plant Monroe Units 1 & 2, and to require that the Company provide an Alternate Plan that is in the public interest.

CERTIFICATE OF SERVICE

I hereby certify that the foregoing Motion to Reject the Georgia Power Company 2022 Integrated Resource Plan, as filed, and to Reject in Part the Application for Certification of the Power Purchase Agreements from Plant Harris 2, Plant Wansley Unit 7, Plant Dahlberg Units 1, 3, & 5, Plant Dahlberg Units 2 & 6, Plant Dahlberg Units 8-10, and Plant Monroe Units 1 & 2, which was respectfully submitted by the Georgia Center for Energy Solutions, Inc., was filed in Docket Nos. 44160 and 44161 with the Georgia Public Service Commission’s Executive Secretary by hand delivery. An electronic copy of same was served upon all parties listed below by electronic mail, unless otherwise indicated, and addressed as follows:

**DOCKET NO. 44160: GEORGIA POWER COMPANY’S 2022 INTEGRATED RESOURCE PLAN AND DOCKET NO. 44161: GEORGIA POWER COMPANY’S APPLICATION FOR THE CERTIFICATION, DECERTIFICATION AND AMENDED DEMAND-SIDE MANAGEMENT PLAN**

Parties of Record

Sallie Tanner

Executive Secretary

Georgia Public Service Commission

244 Washington Street, S.W.

Atlanta, GA 30334

TEL: 404-463-7747

FAX: 404-656-2341

stanner@psc.ga.gov

**On Behalf of Georgia Public Service Commission:**

Preston Thomas

Staff Attorney

Georgia Public Service Commission

244 Washington Street, S.W.

Atlanta, GA  30334

TEL:     656-4554

FAX:    404-656-0980

E-M:    pthomas@psc.state.ga.us

**On Behalf of Georgia Power Company:**

Keven C. Greene

Brandon Marzo

Troutman Pepper

Bank of America Plaza, Suite 5200

600 Peachtree Street, N.E.

Atlanta, GA 30308-2216

TEL: 404-885-3146

kevin.greene@troutman.com

brandon.marzo@troutman.com

**On Behalf of The Georgia Association of Manufacturers:**

G. L. Bowen, III

Charles B. Jones, III

Georgia Association of Manufacturers

The Hurt Building

50 Hurt Plaza, Suite 985

Atlanta, GA 30303

TEL: 404-688-0555

FAX: 404-584-0720

rbowen@gamfg.org

cjones@gamfg.org

Jeffry C. Pollock

J. Pollock Incorporated

12647 Olive Boulevard, Suite 585

St. Louis, MO 63141

TEL: 314-878-5814

FAX: 314-878-7339

jcp@pollockinc.com

**On Behalf of Southern Alliance for Clean Energy, Inc. and the Southface Energy Institute:**

Bryan Jacob

Southern Alliance for Clean Energy

1455 Hampton Hill Drive

Alpharetta, GA 30022

bryan@cleanenergy.org

Robert B. Baker

Robert B. Baker, PC

2480 Briarcliff Road, NE, Suite 6

Atlanta, GA 30329

bobby@robertbbaker.com

Katie Southworth

Southface Energy Institute

241 Pine Street, NE

Atlanta, GA 30308

ksouthworth@southface.org

**On Behalf of Resource Supply Management:**

Jim Clarkson

Resource Supply Management

135 Emerald Lake Rd

Columbia, SC 29209

jclarkson@rsmenergy.com

[www.rsmenergy.com](http://www.rsmenergy.com)

**On Behalf of The Commercial Group:**

Alan R. Jenkins

Jenkins at Law, LLC

2950 Yellowtail Ave.

Marathon, FL 33050

TEL: 404-729-2037

aj@jenkinsatlaw.com

**On Behalf of Georgia Interfaith Power & Light and Partnership for Southern Equity:**

Jillian Kysor

Nicha Rakpanichmanee

Southern Environmental Law Center

Ten 10th St. NW, Suite 1050

Atlanta, GA 30309

TEL: 404-521-9900

FAX: 404-521-9909

jkysor@selcga.org

micha@selcga.org

**On Behalf of Sierra Club:**

Robert Jackson, Esq.

ROBERT B JACKSON IV, LLC

260 Peachtree Street – Suite 2200

Atlanta, Georgia 30303

TEL: 404-313-2039

rbj4law@gmail.com

Zachary M. Fabish, Esq.

SIERRA CLUB

50 F Street NW, 8th Floor

Washington, D.C. 20001

TEL: 650-388-8446

zachary.fabish@sierraclub.org

Isabella Ariza, Esq.

SIERRA CLUB

50 F Street NW, 8th Floor

Washington, D.C. 20001

isabella.ariza@sierraclub.org

**On Behalf of Southern Renewable Energy Association:**

Simon Mahan

Southern Renewable Energy Assoc.

11610 Pleasant Ridge Rd., Suite 103 #176

Little Rock, AR 72223

TEL: 337-303-3723

simon@southernwind.org

**On Behalf of: Georgia Solar Energy Industries Association, Solar Energy Industries Association, And Vote Solar:**

Scott Thomasson

Thomasson Law, LLC

1025 Bond Street

Macon, GA 31201

scott@thomassonlaw.net

Katie Chiles Ottenweller

Vote Solar

838 Barton Woods Road NE

Atlanta, GA 30316

katie@votesolar.org

**On Behalf of Georgia Coalition of Local Governments:**

John R. Seydel

City of Atlanta Office of Resilience

55 Trinity Avenue

Atlanta, GA 30303

TEL: 470-421-6160

Jrseydel@atlantaga.gov

Alicia Brown

City of Savannah, Office of Sustainability

801 E. Gwinnett Street

Savannah, GA 31401

TEL: 912-651-6838

alicia.brown@savannahga.gov

David Nifong

City of Decatur, Department of Public Works

2635 Talley Street

Decatur, GA 30030

TEL: 404-295-2764

david.nifong@decaturga.com

Dan Baskerville

Dentons

303 Peachtree Street, Suite 5300

Atlanta, GA 30308

TEL: 404-527-8539

dan.baskerville@dentons.com

Mike Wharton

Athens-Clarke County Unified Government,

Sustainability Office

110 Bray Street

Athens, GA 30601

TEL: 706-613-3838

Mike.Wharton@accgov.com

Alex Trachtenberg

Fulton County Government, Department of Real Estate and Asset Management

141 Pryor Street SW

Atlanta, GA 30303

TEL: 404-612-8762

alex.trachtenberg@fultoncountyga.gov

Ted Terry

DeKalb County Government

1300 Commerce Drive

Decatur, GA 30030

TEL: 404-371-4909

ecterry@dekalbcountyga.gov

H. Gordon Kenna

DeKalb County Government, Department of

Public Works

1300 Commerce Drive

Decatur, GA 30030

TEL: 404-371-2000

hgkenna@dekalbcountyga.gov

**On Behalf of Georgia Solar Energy Association (“GA SOLAR”):**

Donald Moreland

Georgia Solar Energy Association

1199 Euclid Avenue

Atlanta, GA 30307

TEL: 770-548-2714

FAX: 404-521-9909

don@solarcrowdsource.com

**On Behalf of Americans for Affordable Clean Energy:**

Newton M. Galloway

Terri M. Lyndall

Galloway & Lyndall, LLP

406 North Hill Street

Griffin, GA 30223

TEL: 770-233-6230

ngalloway@gallyn-law.com

tlyndall@gallyn-law.com

**On Behalf of Joint Petition of The Members of The Restore Chattooga Gorge Coalition:**

Steven L. Jones

Taylor English Duma LLP

1600 Parkwood Circle

Suite 200

Atlanta, GA 30339

sjones@taylorenglish.com

**On Behalf of the Concerned Ratepayers of Georgia:**

Ben J. Stockton

Concerned Ratepayers of Georgia

2230 Allen Road

Macon, GA 31216

encomanager13@gmail.com

Steven Prenovitz

Concerned Ratepayers of Georgia

4295 Amberglade Court

Norcross, GA 30092

scprenovitz@gmail.com

**On Behalf of Georgia Watch:**

Liz Coyle

Georgia Watch

55 Marietta Street

Atlanta, GA 30303

lcoyle@georgiawatch.org

**On Behalf of Interstate Gas Supply, Inc**

J. Brett Newsom

Adam Wise

Interstate Gas Supply, Inc

3344 Peachtree Road, Suite 2150

Atlanta, GA 30326

brett.newsom@scanaenergy.com

adam.wise@scanaenergy.com

**On Behalf of Hall Booth Smith, P.C.**

William Bradley Carver, Sr.

Joel L. McKie

Hall Booth Smith, P.C.

191 Peachtree Street, NE, Suite 2900

Atlanta, GA 30303

bcarver@hallboothsmith.com

jmckie@hallboothsmith.com

This 1st day of April 2022.

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Peter Hubbard

 Georgia Center for Energy Solutions

Georgia Center for Energy Solutions

55 Leslie St SE

Atlanta, GA 30317

404.226.4448

peter@georgia-ces.org

1. In the words of former Wyoming Secretary of State Kathy Karpan, “…because we export energy to the rest of the country, we have other people paying our taxes.” <https://www.npr.org/2022/02/02/1077522599/a-white-house-push-to-help-wyoming-town-go-nuclear-is-being-cautiously-embraced> [↑](#footnote-ref-1)
2. <https://www.sec.gov/news/press-release/2022-46> [↑](#footnote-ref-2)
3. <https://epd.georgia.gov/air/sites/epd.georgia.gov.air/files/related_files/document/29700041nar.pdf> [↑](#footnote-ref-3)
4. <https://nccleantech.ncsu.edu/2021/07/26/studying-the-symbiotic-relationship-between-solar-energy-storage/> [↑](#footnote-ref-4)
5. Docket No. 42641; Document Filing #188456; Georgia Power Company’s Conclusion of the 2022-2028 Capacity Request for Proposals, the Post Evaluation Standard of Conduct Acknowledgements and Final Evaluation Team List [↑](#footnote-ref-5)
6. Page 95, <https://www.nerc.com/pa/RAPA/ra/Reliability%20Assessments%20DL/NERC_LTRA_2021.pdf> N.B. that the Company erroneously identifies NERC on page 1-10 of the 2022 IRP as the North American Electric Reliability Council [↑](#footnote-ref-6)
7. These include the Resource Mix Study, the Study of Renewable Capacity Values using the ELCC Methodology, the Renewable Integration Study, and most of the other accompany documents. [↑](#footnote-ref-7)
8. <https://www.pjm.com/-/media/committees-groups/committees/oc/2021/20210330-special/20210330-item-09-installation-considerations-education-post-meeting.ashx> [↑](#footnote-ref-8)
9. See slide 20 at the 20-minute mark of this Sargent & Lundy webinar: <https://sargentlundy.com/in-the-news/webinar-feb-23-flexible-ac-transmission-systems-facts/> [↑](#footnote-ref-9)