BEFORE THE

GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of:

GEORGIA POWER COMPANY’S		)	DOCKET NO. 44160

2022 INTEGRATED RESOURCE PLAN		)

Georgia Power Company’s		)	Docket No. 44161

Application for the Certification, 	)

Decertification, and Amended 		)

Demand-Side Management Plan		)

DIRECT TESTIMONY AND EXHIBITS OF JAMIE BARBER, NICK COOPER, AND RICHARD F. SPELLMAN

ON BEHALF OF THE

GEORGIA PUBLIC SERVICE COMMISSION

PUBLIC INTEREST ADVOCACY STAFF

May 6, 2022

TABLE OF CONTENTS

I.	QUALIFICATIONS	1

II.	Summary	5

III.	CURRENT COMMISSION DSM POLICY	9

IV.	DSMWG AND THE DSM PROGRAM PLANNING APPROACH	13

V.	GEORGIA POWER’S CURRENT CERTIFIED ENERGY EFFICIENCY PROGRAMS	16

VI.	COMPANY’S PROPOSED CHANGES TO THE CURRENT AND PROPOSED DSM PROGRAMS	18

VII.	STAFF’S recommended CHANGES TO THE COMPANY’S proposed PROGRAM PLANS AND BUDGETS	34

VIII.	GEORGIA POWER proposed OTHER DSM RELATED ACTIVITIES	38

IX.	ADDITIONAL SUM	41

X.	MARKET EFFECTS - FREE RIDERSHIP AND SPILLOVER	52

XI.	APPROVAL/NOTIFICATION PROCESS	56

XII.	DSM TARIFF and TRUE UP process	56

XIII.	PROGRAM EVALUATIONS	57

XIV.	COMPLIANCE FILINGS	63

Staff Exhibit #	Description

BCS-1	Resume of Jamie Barber

BCS-2	Resume of Nick Cooper

BCS-3	Resume of Richard F. Spellman

BCS-4	Staff Recommended DSM Program Planning Process

BCS-5	2020 GPC Certified Program kWh Savings by Program

BCS-6	2021 GPC Certified Program kWh Savings by Program

BCS-7	Historical Energy Targets and Actual Savings in MWh for 2014-2025

BCS-8	Comparison of Actual Spending to Proposed Spending

BCS-9	Staff Recommended Savings Targets for Certified Programs 2023-2025

BCS-10		Staff Recommended Budgets for Certified Programs 2023-2025

BCS-11		Residential HEIP Budget Analysis

BCS-12	Residential Behavioral Program Budget Analysis

BCS-13		Commercial Behavioral Program Budget Analysis

BCS-14		Performance Based Incentive Research Summary

BCS-15		Additional Sum Comparisons

BCS-16		2021 Net-to-Gross Ratios

BCS-17		Company’s Response to STF-GDS-6-5

# QUALIFICATIONS

Q.	Ms. BARBER, please state your name, TITLE, and business 	address.

A.	My name is Jamie Barber, and I am the Director of the Energy Efficiency and Renewable Energy Unit for the Georgia Public Service Commission (“Commission”). My business address is 244 Washington Street SW. Atlanta, GA 30334.

Q.	Please state your educational background and work experience.

A.	My educational background and work experience are provided in my resume, which is attached as Staff Exhibit_BCS-1.

- HAVE YOU EVER TESTIFIED BEFORE THIS COMMISSION?

A.	Yes. I testified in each of the 1998 through 2009 United Cities Gas Company (now known as Atmos Energy Corporation) Gas Supply Plan Proceedings. I have also testified in Docket No. 10270, GPSC Determination of Lack of Market Constraints on Atlanta Gas Light Company’s Commodity Sales; Docket No. 11114, Rule Nisi Against United Gas Management of Georgia, Inc.; Docket No. 14311, Earnings Review to Establish Just and Reasonable Rates for Atlanta Gas Light Company; Docket No. 15296 Service Quality Standards for Certified Marketers and Regulated Provider; Docket No. 18638-Atlanta Gas Light Company’s 2004/2005 Rate Case; Docket No. 20298 Atmos Energy Corporation’s 2005 Rate Case; Docket No. 27163 Atmos Energy Corporation’s 2008 Rate Case; Docket No. 30442 Atmos Energy’s 2010 Rate Case; Docket No. 36498 Georgia Power Company’s 2013 IRP Filing; Docket No. 36499 Georgia Power Company’s 2013 Demand Side Program Certification; Docket No. 37854, Georgia Power Company’s Application for the Certification of the Power Purchase Agreements for Wind Resources from the Blue Canyon II and Blue Canyon VI Wind Farms; Docket No. 38877, Georgia Power Company’s Application for the Certification of the 2015 and 2016 Advanced Solar Initiative Prime Power Purchase Agreements and Request for Approval of the 2015 Advanced Solar Initiative Power Purchase Agreements, Docket No. 36989 Georgia Power Company’s 2013 Rate Case, Docket No. 40161 Georgia Power Company’s 2016 IRP Filing, 40162 Georgia Power Company’s 2016 Demand Side Program Certification, Docket No. 41596, Georgia Power Company’s Application for the Certification of the 2018/2019 Renewable Energy Development Initiative Utility Scale Power Purchase Agreements, Docket No. 41734, Georgia Power Company’s Application for the Certification of the 2018/2019 Renewable Energy Development Initiative Utility Scale Power Purchase Agreements for the Commercial and Industrial Program, Docket No. 43210 Georgia Power’s 2019 IRP Filing, and Docket No. 43211 Georgia Power Company’s 2019 Application for the Certification, Decertification, and Amended Demand-Side Management Plan, and Docket No. 42516 Georgia Power’s 2019 Rate Case.

Q.	 MR. COOPER, please state your name, TITLE, and BUSINESS ADDRESS.

A.	My name is Nick Cooper, and I am a Utilities Engineer for the Commission. My business address is 244 Washington Street SW. Atlanta, GA 30334.

Q.	Please state your educational background and work experience.

A.	My educational background and work experience are provided in my resume, which is

attached as Staff Exhibit_BCS-2.

Q. 	HAVE YOU EVER TESTIFIED BEFORE THIS COMMISSION?

A.	Yes. I have testified in Docket No. 40162 Georgia Power Company’s 2016 Demand Side Program Certification and Docket No. 43211 Georgia Power Company’s 2019 Application for the Certification, Decertification, and Amended Demand-Side Management Plan.

Q.	Mr. Spellman, please state your name, TITLE and business address.

A.	My name is Richard F. Spellman, and I am an Executive Consultant at GDS Associates, Inc. (“GDS”), an engineering and management consulting firm which specializes in energy supply, energy efficiency and demand response planning and analysis issues with clients in the US and Canada. In addition to providing energy efficiency and demand response program planning and evaluation services, GDS is implementing energy efficiency and demand response programs for clients in several states. My business address is Suite 800, 1850 Parkway Place, Marietta, Georgia 30067.

Q.	DOES GDS PROVIDE SERVICES TO BOTH government AND utility clients?

A.	Yes. GDS provides engineering and energy consulting services to electric and natural gas utilities, government agencies, non-profit organizations, commercial organizations, other consulting firms, and homeowners.

Q.	Please state your educational background and work experience.

A.	My educational background and work experience are provided in my resume, which is attached as Staff Exhibit_BCS-3.

Q.	HAVE YOU EVER TESTIFIED BEFORE THIS COMMISSION?

A.	Yes. I have testified before the Commission in twenty prior dockets including Docket No. 5601, Georgia Power’s 1995 Integrated Resource Plan; Docket No. 5602, Savannah Electric & Power Company’s 1995 Integrated Resource Plan; Docket No. 6315, Georgia Power Application for Certification of the Residential Load Management Program; Docket No. 6325, Georgia Power Application to Establish a Customer Controlled Load Management Rate; Docket No. 8708, Savannah Electric & Power Company’s 1998 Integrated Resource Plan; Docket No. 8709, Georgia Power 1998 Integrated Resource Plan; Docket No. 13305, Georgia Power Company’s Application for Approval of the 2001 Integrated Resource Plan; Docket No. 13306, Savannah Electric and Power Company’s Application for Approval of the 2001 Integrated Resource Plan; Docket No. 17687, Georgia Power Company’s 2004 Integrated Resource Plan; Docket No. 17688, Savannah Electric and Power Company Company’s 2004 Integrated Resource Plan; Docket No. 4822, Capacity and Energy Payments to cogenerators under PURPA; Docket No. 19279, Biomass Gas & Electric, LLC’s Petition to Establish Docket Regarding Forsyth County Renewable Energy Plant; Docket No. 31081, Georgia Power Company 2010 IRP Filing; Docket No. 31082, Georgia Power’s 2010 Demand Side Program Certification; Docket No. 36498 Georgia Power Company 2013 IRP Filing; Docket No. 36499 Georgia Power Company’s 2013 Demand Side Program Certification; Docket No. 40161 Georgia Power Company 2016 IRP Filing; Docket No. 40162 Georgia Power Company’s 2016 Demand Side Program Certification, Docket No. 43210 Georgia Power Company’s 2019 IRP Filing; and Docket No. 43211 Georgia Power Company’s 2019 Application for the Certification, Decertification, and Amended Demand-Side Management Plan.

Q.	ON WHOSE BEHALF ARE YOU TESTIFYING?

A.	We are presenting testimony on behalf of the Commission Public Interest Advocacy Staff (“Staff”).

# Summary

Q. 	PLEASE PROVIDE THE RECOMMENDATIONS THAT STAFF IS MAKING FOR THE COMMISSION TO CONSIDER.

A.	Based on our review of the Georgia Power Company’s (“Georgia Power” or “Company”) filing, testimony, data request responses, and other pertinent information for this case, we have the following recommendations for the Commission’s consideration:

  - Staff recommends approval of the Company’s Demand Side Plan as modified by Staff’s recommendations contained in this testimony.

  - Staff recommends requiring the Company to include an additional scenario in its 2025 IRP development and resource optimization process where Demand Side Management (“DSM”) is allowed to compete head-to-head with supply-side options in the Company’s Integrated Resource Plan (“IRP”) model. This modification should also be included in the DSM Program Planning Approach as shown in Staff Exhibit_BCS-4.

  - Staff recommends that the Company’s DSM Program Planning Approach be approved for use going forward with the modification as proposed by Staff.

  - Staff recommends that the Demand Side Management Working Group (“DSMWG”) continue in its current form and be involved in the development of future DSM programs.

  - Staff recommends approval of the Company’s request for decertification of the Residential Power Credit and Commercial Midstream Programs.

  - Staff recommends approval of the certification of the HopeWorks Program.

  - Staff recommends approval of the Company’s request for waiver of Commission Rule 515-3-4-.04(4)(a)3 for the Thermostat Demand Response Program.

  - Staff recommends approval of the amended certificates for the Residential Behavioral, Residential Home Energy Improvement, Residential Refrigerator Recycling, Residential Specialty Lighting, Residential Home Energy Efficiency Assistance, Commercial Custom, Commercial Prescriptive, Commercial Small Commercial Direct Install, and Commercial Behavioral Programs.

  - Staff recommends that the Company pause the Commercial Behavioral Program pending decertification, if the upcoming 2024 Evaluation, Measurement, and Verification (“EM&V”) does not show the program to be cost effective.

  - Staff recommends the continuation of the Residential Investment to Save Energy (“RISE”) pilot.

  - Staff recommends that the Automated Benchmarking Tool (“ABT”) continue for the 2023-2025 program cycle as approved in the 2019 IRP.

  - Staff recommends that the Home Energy Improvement Program (“HEIP”) be expanded to include the proposed Manufactured Homes Program, with the exception of “whole home replacement” measures, as outlined in the DSMWG Advocacy Case.

  - Staff recommends approval of Staff’s recommended DSM energy savings targets as provided in Staff Exhibit_BCS-9.

  - Staff recommends approval of Staff’s recommended DSM program budgets as provided in Staff Exhibit_BCS-10. This recommendation includes a reduction of non-incentive costs for certified programs by a total of $6 million over the three-year program cycle.

  - Staff recommends the inclusion of a per building cap for the Commercial Custom Program of $75,000 in the Final Program Plans.

  - Staff recommends a continuation of the Education Initiative-Learning Power budget at $4 million for 2023-2025.

  - Staff recommends a continuation of the Residential and Commercial Energy Efficiency Consumer Awareness budgets at $4.5 million and $1.1 million, respectively for the 2023- 2025 program cycle.

  - Staff recommends a continuation of the pilot budgets of $3 million per year, to be split evenly between Residential and Commercial pilots and that Staff has input regarding any proposed pilots before they are implemented by the Company and throughout the course of the pilot.

  - Staff recommends that the current, Commission-approved, DSM Additional Sum mechanism remain in place.

  - Staff recommends that the Company’s Additional Sum continue to be based on net energy savings, as opposed to the Company’s request to use gross energy savings.

  - Staff recommends that once a program implementer is selected and program plans are drafted that these plans be provided to Staff for review and approval prior to the implementation of the programs. The Company should provide Staff at least 15 days for review of the Final Program Plans.

  - Staff recommends continuation of the current DSM True-Up process, including not allowing the rollover of unspent annual budget dollars or unrealized savings targets.

  - Staff recommends that the Commission approve the continuation of a three-year program EM&V cycle.

  - Staff recommends that the Company continue to utilize the Commercial lighting HOU reflected in Staff Exhibit_BCS-17, and used in the Company’s program planner, for reporting gross savings during the 2023-2025 program cycle.

  - Staff recommends that the Company plan to evaluate income-qualified savings in a manner consistent with the remainder of the Residential sector to confirm whether this NTG assumption is appropriate.

  - Staff recommends using the valid 2021 EM&V results and using the 2018 EM&V results in all other instances as outlined in the EM&V and requested by the Company.

  - Staff recommends the continuation of current policy to implement the EM&V results in the first year of the next IRP cycle in 2026.

  - Staff recommends continuation of current Commission policy that requires the Company to provide detailed evaluation plans for each of the approved DSM programs within 90 days of the selection of Program Implementers for each of the certified programs.

  - Staff recommends the upcoming EM&V include a new in-situ metering study for the Refrigerator Recycling Program.

# CURRENT COMMISSION DSM POLICY

Q.	PLEASE DESCRIBE THE COMMISSION’S CURRENT DSM POLICY.

A.	The Commission’s Order issued in Docket No. 31082 on July 13, 2010 updated and clarified the Commission’s DSM policy. The Commission’s current DSM policies are set forth in that Order, including:

- The adoption of Standard 16 of the 2007 Federal Energy Independence and Security Act (“EISA”) that recognizes cost effective energy efficiency as a priority resource.

- The continued use of “the Nine-Step DSM Planning Process”.

- The Commission Staff’s role as the administrator of the Demand-Side Management Working Group and its obligation to seek input from Working Group participants in setting the agenda for each meeting of the Working Group.

- The Company’s duty to prepare and file with the Commission a new energy efficiency potential study one year in advance of every IRP filing.

- The use of the Total Resource Cost (“TRC”) test to evaluate DSM programs included in the Company’s proposed DSM Plan. While the Rate Impact Measure (“RIM”) test should be considered in conjunction with other tests, such as the TRC test, the Societal test, the Program Administrator test and the Participant test, a ratio of above 1.0 for the RIM test should not be deemed mandatory. The RIM test is not a test of economic efficiency. Rather, the RIM test is a test of equity or fairness. Because the RIM test only indicates whether electric rates may increase if an energy efficiency program is implemented, and not whether the impact may lower a participant’s overall electric bill, this test will screen out energy efficiency measures that can save significant amounts of electricity and can lower customer electric bills.

Q.	HAS GEORGIA POWER COMPLIED WITH EISA STANDARD 16?

A.	No. EISA Standard 16 requires electric utilities to “(A) integrate energy efficiency resources into utility, State and regional plans and (B) adopt policies establishing cost-effective energy efficiency as a priority resource” (Energy Independence and Security Act, 121 Stat., Public Law 110-140-DEC. 19, 2007, SEC. 532(a) (16). UTILITY ENERGY EFFICIENCY PROGRAMS). The Company did not allow demand side resources to compete directly with supply-side resources in the Aurora modeling used to develop the Company’s resource expansion plan proposal in this IRP. Company Witness Andy Phillips testified that while integrated modeling is technically possible, as shown in the DSM White Paper, the Company chose not to complete fully integrated modeling and decided to continue with previous methods (Transcript (Tr.) at 655).

The Company prepared a static forecast of the impact of its base case energy efficiency plan, and then subtracted those impacts from the Company’s load forecast. While the Company has included a defined amount of energy efficiency programs in its IRP, it has not used an integrated approach to determine the optimal level of cost-effective energy efficiency that should be included in its proposed expansion plan. Without using an integrated approach, it is unclear whether there are more cost-effective DSM resources available than what is currently included by the Company in its resource expansion plan. Therefore, the proposed expansion plan will not represent the most cost-effective plan for customers leading to higher electric bills.

Q.	Did the Company file a White Paper to investigate methodologies to model DSM resources alongside traditional supply-side options as required BY the 2019 IRP/DSM Stipulation?

A.	Yes. The Company’s DSM White Paper was filed under Docket No. 42311 in April 2021.

Q.	What are the first two conclusions STATED IN THE COMPANY’S DSM white paper?

A.	The first conclusion of the DSM White Paper stated that “Evaluating EE (energy efficiency) as a resource alongside supply resources in the Company’s existing resource planning processes is possible”. The second conclusion states “Aurora, the Company’s planning software system, is capable of evaluating EE alongside supply resources”.

Q. 	Does staff believe that the white paper demonstrated that ENERGY EFFICIENCY resources can be aCcurately modeled by aurora?

A.	Yes. Staff agrees with those conclusions of the DSM White Paper and found the modeling to be reasonable.

Q.	Does staff believe THAT DSM AND DEMAND RESPONSE RESOURCES should be aLLOWED to compete in FUTURE all SOURCE PROCUREMENTS?

A.	Yes. DSM and Demand Response resources could be the most cost-effective way to address future system energy and demand needs. The DSM White Paper showed that DSM resources can be effectively modeled as selectable resources and that there is significant remaining potential for cost-effective DSM. Future Requests for Proposals (“RFPs”) should include DSM and Demand Response as potential resource options to fill energy and demand needs.

Q.	IS STAFF PROPOSING ANY MODIFICATIONS TO THE COMMISSION’S CURRENT DSM POLICY?

A.	Yes. Staff recommends requiring the Company to include an additional scenario in its 2025 IRP development and resource optimization process where DSM is allowed to compete head-to-head with supply-side options in the Company’s IRP model. This modification should also be included in the DSM Program Planning Approach as shown in Staff Exhibit_BCS-4. This change would provide the Commission with valuable information on the level of DSM resources that would be selected using an integrated modeling approach ensuring the system is developed and managed at the optimal economic efficiency and least cost for customers.

# DSMWG AND THE DSM PROGRAM PLANNING APPROACH

Q.	PLEASE DESCRIBE STAFF’S ROLE WITH THE DSMWG.

A.	Staff continued to serve as the facilitator of the DSMWG for the 2022 DSM planning meetings. This was accomplished by working collaboratively with both the Company and the other DSMWG members. As the facilitator of the group, Staff was responsible for coordinating meetings, ensuring that members received pertinent materials prior to meetings, and preparing the minutes of each meeting. Staff also served as a liaison to get questions answered and issues resolved for the other DSMWG members. Staff was also responsible for ensuring that the Company was in compliance with the DSM Program Planning Approach.

Q.	PLEASE DESCRIBE THE DSM PROGRAM PLANNING PROCESS.

A.	The DSM Program Planning Approach is used by the Company when developing its program plans for future IRP and DSM Certification filings. The purpose of using this approach for DSM program development is to ensure that the process is robust and transparent allowing for Staff and other stakeholders the opportunity to assist the Company in its DSM program planning process.

Q.	IN THIS DOCKET, IS THE COMPANY PROPOSING ANY CHANGES TO THE DSM PROGRAM PLANNING APPROACH?

A.	No. In this IRP Filing, the Company has not requested any changes to the current DSM Program Planning Approach. However, Staff is recommending a modification to the DSM Program Planning Approach as discussed earlier in our testimony. The DSM Program Planning Process with Staff’s recommended modification is provided in Staff Exhibit_BCS-4.

Q.	Does staff BELIEVE THAT THE COMPANY COMPLETED ALL OF THE STEPS INCLUDED IN THE DSM PROGRAM PLANNING APPROACH?

A.	Yes. Staff agrees that the Company completed all the steps of the current DSM Program Planning Approach.

Q.	DOES STAFF HAVE A RECOMMENDATION REGARDING CONTINUATION OF THE DSMWG?

A.	Yes. Staff recommends that the DSMWG continue in its current form and be involved in the development of future DSM programs. The DSMWG serves an important role in assisting the Company in the development of its energy efficiency programs and ensures that current and pertinent information is being considered by the Company.

Q.	please describe THE PROGRAM IDEAS SUBMITTED by the DSMWG members.

A.	At the DSM Program Ideation meeting held on February 22, 2021, various members of the DSMWG submitted new programs and additions to the current DSM programs. These ideas included a program focused on manufactured homes, agricultural measures, industrial offerings, new homes, and funding expansion for tariff-based financing programs.

Q.	Did any of the program IDEAS SUBMITTED BY THE DSMWG MEMBERS pass the required economic screening?

A.	Yes. The Manufactured Home Retrofit and Replacement Program passed the TRC test in all years that were modeled. The other stand-alone program ideas were submitted as pilots and did not pass the TRC test as modeled.

Q. 	Did the company include any of theSE PROGRAM IDEAS in ITS proposed DSM Plan?

A.	Yes. However, the Company did not include any as stand-alone programs. The Company did incorporate several of the program suggestions into the current portfolio of programs. During the Direct Hearing, Company Witness Jeff Smith stated that the Company included six of the eleven proposals into current programs (Tr. at 640-641).

# GEORGIA POWER’S CURRENT CERTIFIED ENERGY EFFICIENCY PROGRAMS

Q.	Please describe the company’s current certified DSM and demand response programs.

A. 	Currently, the Company has eleven certified DSM Programs and one Residential Demand Response (“Power Credit”) Program. The DSM Programs were certified either in Docket Nos. 31082, 36499, 40162, or 43211 and include six Residential energy efficiency programs, one Residential Demand Response program and five Commercial DSM programs. The Power Credit program was originally certified in Docket No. 6315 and has been reauthorized in several IRP/DSM proceedings.

Q.	Did the company meet ITS energy savings goals for years 2020 and 2021 WHICH were approved in the 2019 IRP and dsm certification dockets?

A. 	No. For 2020 and 2021, the Company did not meet its approved energy savings goals due to the impacts of the Pandemic, which created significant barriers to the implementation of several of the Company’s DSM programs. In 2021, all DSM programs were affected, with several of the programs being halted completely due to Covid-19 restrictions. In addition, Georgia Power decided to limit marketing in 2020 in order to present a clear health and safety message. Staff was aware and supported the Company’s efforts to limit the spread of Covid-19 in 2020.

For the 2020 Residential portfolio, Georgia Power achieved 90.5% of their overall savings target while spending 65.5% of the overall budget. For the 2020 Commercial portfolio, Georgia Power achieved 45.9% of the overall savings target while spending 59.2% of the overall budget. For 2021, Georgia Power did exceed the overall Residential savings goal by achieving 107.3% of the target while spending 72.2% of the overall Residential budget. For the 2021 Commercial portfolio, Georgia Power achieved 59.9% of the overall savings target while spending 67.9% of the overall budget.

Q. 	Can you provide a summary of How the company’s energy savings for 2020 and 2021 were achieved?

A.  	Yes. As shown in Staff Exhibit_BCS-5, the Company’s energy savings for 2020 were achieved mostly through the Commercial Prescriptive program (47%), Commercial Custom program (15%), and the Residential programs which contributed a combined 36% of total savings. As shown in Staff Exhibit_BCS-6, the Company’s energy savings for 2021 were achieved mostly through the Commercial Prescriptive program (41%), Commercial Custom program (19%), and the Residential programs which contributed a combined 34% of total energy savings.

q. 	Does staff expect georgia power to meet ITS energy savings targets in 2022?

A.	Yes. All of the Company’s DSM programs are fully operational and both the Residential and Commercial portfolios are on track to achieve their savings targets for 2022. Staff meets with the Company on a monthly basis to discuss the status of the current programs and other pertinent DSM issues.

# COMPANY’S PROPOSED CHANGES TO THE CURRENT AND PROPOSED DSM PROGRAMS

Q.	PLEASE DESCRIBE THE COMPANY’S PROPOSED DSM PLAN.

A.	In its Proposed DSM Plan, the Company requests a Certificate of Public Convenience and Necessity (“certificate”) for one new DSM program, decertification of two of its currently certified DSM programs, amendments to the certificates of eight currently certified DSM programs, and amendments to the certificate and waiver of Commission Rule 515-3-4-.04(4)(a)3 for one currently certified DSM program presented in the Company’s 2022 DSM Application.

Q. 	Has staff identified any CHANGES in FOCUS REGARDING the COMPANY’S proposed DSM PLAN?

A.	Yes. Several of the Company’s proposed certified Residential programs include an increased focus on the income-qualified sector. Staff supports programs that address this historically underserved customer segment. However, Staff does have concerns about how these programs will be evaluated in the determination of the Additional Sum. That issue will be addressed later in our testimony.

Q. 	UNDER WHAT GEORGIA STATUTE AND COMMISsiON RULE IS THE COMPANY MAKING THESE REQUESTS?

A. 	The Company is making its request to amend the current DSM programs pursuant to O.C.G.A § 46-3A-3 through 46-3A-5 and Commission Rule 515-3-4-.09(01) and 515-3-4-.10.

Q. 	For which programs is the company requesting decertification?

A. 	The Company is requesting to decertify the Residential Power Credit and Commercial Midstream Programs. The current equipment for the Power Credit will remain active with the ability to be called upon in case of a demand reduction need. The Company requested $15,000 per year, for a total of $45,000 for the 2023-2025 time period, in order to maintain these existing capabilities.

Q. 	Why is the Company asking for decertification of the Power Credit program?

A.  	On page 8-47 of the IRP Main Document, the Company stated that the reason for its decertification request for this program is due to having the Residential Thermostat Demand Response Program which can focus on the winter and summer seasons where the Power Credit Program can only serve summer peak events.

Q. 	Why is the Company REQUESTING decertification of the Commercial Midstream program?

A. 	In the IRP Main Document Page 8-48, the Company stated that market transformation has occurred with Midstream distributors over the previous IRP cycle. This conclusion was confirmed in the 2021 EM&V Report. The measures previously offered by the Midstream Program were moved to the Commercial Prescriptive Program.

Q.	DOES STAFF RECOMMEND APPROVAL OF THE COMPANY’S DECERTIFICATION REQUESTS?

A.	Yes. Staff recommends approval of the Company’s request for decertification of the Power Credit and Commercial Midstream Programs.

Q. 	For which program is the company requesting a new certificate?

A. 	The Company is seeking to certify one new Residential program, HopeWorks.

Q. 	Please describe the PROPOSED Hopeworks Program.

A. 	The HopeWorks Program will promote energy efficiency improvements in existing single-family homes that are primarily owned by income-qualified senior citizens. HopeWorks is a 501(c)(3) nonprofit that provides weatherization and energy efficiency services at no cost for income-qualified seniors.

Q.	AS PROPOSED BY THE COMPANY, WILL THE HOPEWORKS PROGRAM REPLACE THE CURRENT FUNDING THAT IS MADE AVAILBLE TO HOPEWORKS?

A.	Yes. The proposed HopeWorks Program will replace the current funding made available to HopeWorks for weatherization efforts. The funding to HopeWorks will be increased from $400,000 per year to $700,000 per year.

Q.	Did STAFF HAVE ANY CONCERNS REGARDING THE PROPOSED Hopeworks PROGRAM?

A.	Yes. Staff was originally concerned that by changing the funding made available to HopeWorks as a certified program, it would cause HopeWorks to have to complete more rigorous reporting requirements. During the Direct Hearing, Company Witness Jeff Smith stated that the Company has had several discussions with HopeWorks regarding the certification and that HopeWorks is supportive of the program certification and has not raised any significant concerns (Tr. at 643). This alleviates any concerns that Staff had regarding the certification of this program.

Q.	IS THE COMPANY REQUESTING TO RECEIVE AN ADDITIONAL SUM FOR THE SAVINGS REALIZED FROM THE HOPEWORKS PROGRAM?

A.	Yes. Since the Company is requesting that this program be certified, it has requested an Additional Sum based on the realized savings from the program.

Q. 	DOES STAFF RECOMMED APPROVAL OF THE CERTIFICATION OF THE HOPEWORKS PROGRAM?

A.	Yes. Staff recommends certification of the HopeWorks Program.

q. 	please describe the company’s REQUESTED waiver of the Total resource cost requirements for the thermostat demand response program.

A.	On pages 3-4 of the Company’s DSM Application Filing, the Company is requesting a waiver of the TRC cost effectiveness requirement within Commission Rule 515-3-4-.04(4)(a)3 in order to continue the Thermostat Demand Response Program. This program does not show positive TRC test results until the year 2031.

Q.	Did the company explain why IT seeks to continue the thermostat demand response program despite failing the economic test?

A.	Yes. The Company explains in the DSM Application on pages 3-4 that the program has previously passed the TRC test and wants to avoid market interruption, which will allow the technology to remain active in the event of an unplanned system need.

Q.	Does staff RECOMMEND approvAL of the COMPANY’s COMMISSION RULE WAIVER request?

A.	Yes. Staff agrees that maintaining the Thermostat Demand Response Program for unplanned summer and winter peak system needs is a benefit to Georgia Power’s system. While the economic screening of the program may not show energy benefits to customers in the near term, the demand benefits are significant enough to warrant the program and if avoided costs rise, the economics could pass screening sooner than modeled by GPC in this IRP.  Staff recommends approval of the Company’s request for waiver of Commission Rule 515-3-4-.04(4)(a)3 for the Thermostat Demand Response Program.

Q.	For which programs is the Company requesting amended certificates?

A. 	The Company is requesting to amend the certificates for the Residential Behavioral, Residential Home Energy Improvement, Residential Refrigerator Recycling, Residential Specialty Lighting, Residential Home Energy Efficiency Assistance, Commercial Custom, Commercial Prescriptive, Commercial Small Commercial Direct Install, and Commercial Behavioral programs.

Q. 	Please describe the company’s proposed amendment to the Residential behavioral PROGRAM.

A. 	The Company is proposing to amend the certificate of the Residential Behavioral Program to update the delivery methods to have an increased focus on electronic home energy reports. This program provides customer specific information through digital or paper Home Energy Reports to help the customer understand their energy usage, how they could save energy and reduce their bills, and promote participation in other Company DSM programs.

Q.	Please describe the company’s proposed amendment to the HEIP.

A. 	The Company is proposing to amend the certificate of the HEIP by updating available measures and shifting the projected quantity of installed measures. The updated measure mix is expected to achieve 70% of savings from smart thermostats and 30% of savings from whole-home and individual measures. The program also includes a carve-out for Multi-Family housing.

Q. 	Please describe the company’s proposed amendment to the RESIDENTIAL refrigerator recycling PROGRAM.

A.	The Company is proposing to amend the certificate of the Refrigerator Recycling Program to adjust the participation levels downward because there are fewer older inefficient secondary refrigerators and freezers available to recycle. One of the reasons for this decline in the stock of older refrigerators and freezers is because the Company has offered this program for many years.

Q.	Please describe the company’s proposed amendment to the RESIDENTIAL LIGHTING PROGRAM.

A. 	The Company is proposing to amend the certificate of the Residential Lighting Program to only include specialty lighting. Regular lighting has been excluded due to EISA Code changes. This program is being renamed as the Specialty Lighting Program. The residential lighting market is undergoing a rapid transformation that will likely decrease the cost effectiveness of this program over the next few years. Staff will closely monitor the economics of this program during the program cycle to ensure it continues to deliver benefits for customers.

Q. 	Please describe the company’s proposed amendment to the RESIDENTIAL home energy efficiency assistance PROGRAM.

A.	The Company is proposing to amend the certificate of the Residential Home Energy Efficiency Assistance Program (“HEEAP”) to change the energy savings targets and update the available measures to now include energy efficiency kits. The program will continue to allow for members of the community to join in charitable contributions to assist other income-qualified customers that could not otherwise afford energy efficiency upgrades.

Q.	Please describe the company’s proposed amendment to the COMMERCIAL Custom PROGRAM.

A.	The Company is proposing to amend the certificate of the Commercial Custom Program to update the available measures and change the energy savings targets. The savings targets for the program are about 10% less than the savings target approved in the 2019 IRP and will provide a pathway for a variety of measures that are not specifically included in the Commercial Prescriptive Program.

Q.	Please describe the company’s proposed amendment to the COMMERCIAL prescriptive PROGRAM.

A. 	The Company is proposing to amend the certificate of the Commercial Prescriptive Program to update the available measures and change the energy savings targets. The savings targets for the program are slightly higher when compared to those savings targets approved in the 2019 IRP. Lighting measures comprise the vast majority of the projected savings for this program.

Q.	Please describe the company’s proposed amendment to the Small commercial direct install PROGRAM.

A.	The Company is proposing to amend the certificate of the Small Commercial Direct Install Program to update the available measures, slightly decrease the energy savings targets, and reduce the budget.

q.	Please describe the company’s proposed amendment to the COMMERCIAL behavioral PROGRAM.

A.	The Company is proposing to amend the certificate of the Commercial Behavioral Program to update per participant energy savings expectations, program budgets, and an increased focus on digital reports.

Q.	Does staff have ANY concerns REGRDING the commercial behavioral program?

A.	Yes. The current Commercial Behavioral Program has not achieved its expected savings, reaching 15.5% of goal in 2020 and 25.7% of goal in 2021. Staff recognizes that some of this shortfall is likely due to the expected ramp-up time for behavioral programs and the delayed launch of the program due to the Pandemic. The 2021 Commercial EM&V report found that there was no statistically significant treatment effect detected from the program after the first twelve months of implementation. The evaluation compared the treatment group that received reports to a control group that did not receive reports thereby mitigating energy savings effects of the Pandemic. The Company’s modeling shows expected savings per participant to be 152 kWh annually. Even using the Company’s modeled savings level, the TRC is barely positive for all three years. In addition, the Company’s Commercial Behavior pilot did not produce significant savings impacts.

Q. 	due to the these concerns, what is staff’S recommendation REGARDING the commercial behavioral program?

A.	Staff recommends the continuation of the Commercial Behavioral Program to allow the program and energy savings to mature. Staff expects an EM&V study to be completed no later than 2024. At that time, Staff recommends that the Company pause the Commercial Behavioral Program pending decertification, if the upcoming 2024 EM&V does not show the program to be cost effective.

q.	DOES STAFF RECOMMEND APPROVAL OF THE AMENDED CERTIFICATES AS REQUESTED BY THE COMPANY?

A.	Yes. Staff recommends approval of amended certificates for the Residential Behavioral, Residential Home Energy Improvement, Residential Refrigerator Recycling, Residential Specialty Lighting, Residential HEEAP, Commercial Custom, Commercial Prescriptive, Commercial Small Commercial Direct Install, and Commercial Behavioral programs.

Q.	IS THE COMPANY REQUESTING to continue the RISE pilot?

A.	Yes. The Company is requesting approval to continue the RISE pilot, formerly called the Income-Qualified Tariff Based Financing Pilot. This pilot promotes energy efficiency improvements in existing, income-qualified single-family homes as well as Multi-Family properties. This pilot will serve up to five hundred (500) income-qualified residential customers, with an income level less than or equal to 200% of the federal annual poverty level, in select targeted areas of the state with the goal of saving 25% of their baseline household electric energy with an investment of an average of $7,500 per household. The Company will cover the upfront cost of eligible energy efficiency measures installed. The customer at the premises, regardless of a change in tenancy, will repay the cost of the energy efficiency upgrades installed through the IQTBEE-1 tariff charge which is included on the customer’s bill. The customer will repay these costs over the lesser of 10 years or the average measure life of the measure installed.

Q.	PLEASE DEscribe the performance of the RISE pilot to date.

A.	The RISE pilot has been slow in finding eligible participants and participants that are interested in moving forward with the pilot. Several factors have limited participation including the Pandemic and difficulties identifying homes that are able to provide the required bill savings. As of March 2022, only seventeen participants have completed tariffed installations. Over two hundred customers have been contacted through the pilot with over one-hundred fifty receiving direct install measures.

Q. 	Has the company made any significant changes to the RISE pilot SINCE ITS approval in 2020?

A.	Yes. The Company, along with Staff’s support, has made several significant changes to the design of the RISE pilot. The savings and spending per home were adjusted to save 25% of baseline household electric energy usage, up from 20%, and the per-home spending was changed to be an average of $7,500 per home rather than a cap of $7,500 per home. The pilot was expanded to include gas savings in addition to electric savings to encourage participation of customers with a natural gas furnace as well as customers with an electric heat pump.

Q.	WHAT CONCERNS DOES STAFF HAVE REGARDING the rise PILOT?

A.	Staff is concerned that the pilot may not be able to find enough eligible participants to reach the goal of 500 customers despite the changes that have already been made to increase participation. Staff’s research indicates that tariff-based financing programs are not typically limited to only income-qualified customers.

Q.	Does staff RECOMMEND APPROVAL OF THE COMPANY’S REQUEST TO continuE the RISE pilot?

A.	Yes. Staff recommends approval of the Company’s request to continue the RISE pilot.  With the changes that have been made, Staff expects to see an increase in participation leading to a successful pilot.

Q. 	In ITS FILING, DID The company reQUEST THE continuation of the ABT?

A.	No. The Company did not request to continue the ABT.

Q.	In the IRP filing, did the company provide a reason they dID NOT REQUEST to continue the ABT?

A.	No. The Company’s IRP and DSM Certification filings did not discuss the ABT. During the Direct Hearing, Company Witness Jeff Smith stated that the evaluation of the ABT did not show that use of the tool led to any energy efficiency installations or participation in any Company offered programs. Therefore, the Company does not believe that continued spending on the ABT is warranted (Tr. at 674-675).

Q. 	Does staff believe THAT the abt should be CONTINUED FOR THE 2023-2025 CYCLE?

A.	Yes. Staff has reviewed the evaluation of the ABT and agrees with the Company that there are few direct savings attributable to the Tool. However, Staff believes that ABT provides benefits for building owners to be able to access their aggregated whole building electricity usage data without significant barriers or costs. The ABT provides building owners and property managers with aggregated energy consumption data for buildings with more than five tenants or where property managers secure participation from buildings with fewer than five tenants. For buildings for which no single account comprises over 50 percent of the building energy usage, energy usage data will be automatically aggregated. For buildings where one account comprises over 50 percent of the building energy usage, building owners or property managers will need to get and submit consent and authorization from each of the tenants.

Q.	What is the ESTIMATED ANNUAL COST TO CONTINUE The abt?

A.	The costs for the ABT costs were approximately $500,000 for the 2020-2022 three-year cycle with an annual cost between $150,000 and $200,000 per year according to Company Witness Jeff Smith (Tr. 675). Staff expects the annual cost to be similar to maintain the ABT for the next 3 years.

Q.	DOES staff recommend THE CONTINUATION OF THE ABT?

A.	Staff recommends the continuation of the ABT for the 2023-2025 program cycle.

Q.	WHAT ENERGY AND DEMAND SAVINGS ARE PROJECTED TO RESULT FROM THE COMPANY’S PROPOSED DSM PLAN?

A.	In the Company’s IRP/DSM Certification filing, the proposed energy efficiency programs will result, on average, in approximately 113 megawatts (“MW”) of peak demand reductions and 431 gigawatt hours (“GWh”) of incremental annual energy reductions for the period of 2023 to 2025 for a 3-year cumulative energy savings of 1.29 GWh and 340 MW of demand savings (DSM Application, Appendix D-1). These savings targets are nearly identical to the kilowatt hours (“kWh”) and kilowatt (“kW”) savings targets that were approved in the 2019 IRP/DSM Order.

Q.	IN ITS 2022 IRP FILING, DID THE COMPANY ALSO PROVIDE INFORMATION FOR ANY DSM SENSITIVITY CASES?

A.	Yes. In this filing, the Company provided information for two alternative DSM sensitivity cases, “DSMWG Advocacy Case” and “Aggressive Case Sensitivity”.

Q.	PLEASE DESCRIBE THE TWO DSM SENSITIVITY CASES.

A.	The DSMWG Advocacy Case includes a set of DSM programs designed around the recommendations from some DSMWG members to build upon the Company’s Proposed Case, with a ramp up of the energy savings target with the addition of new programs. This case is designed to achieve 3-year cumulative energy savings of 2.33 GWh and 550 MW of demand savings (IRP Filing, Technical Appendix Vol 2, 3 2022 IRP DSM Case Summary Data MGO, DSMWG Advocacy Case Tab).

The Aggressive Sensitivity Case achieves 3-year cumulative energy savings of 2.48 GWh and 568 MW of demand savings and includes programs from the Company’s Proposed Case, but with customer participation at higher penetration levels and higher budgets as well as additional programs, measures, and the associated budgets (IRP Filing, Technical Appendix Vol 2, 3 2022 IRP DSM Case Summary Data MGO, Aggressive Case Tab). These two sensitivity cases were discussed with DSMWG members at a DSMWG meeting held on December 9, 2021.

Q.	PLEASE DESCRIBE HOW THE COMPANY’S PROJECTED kwh savings foR THE 2023 TO 2025 TIME PERIOD COMPAREs TO previously approved kwh savings targets and ACTUAL LEVELS OF kwh savings DURING THE 2019 TO 2021 TIME PERIOD.

A.	Staff Exhibit_BCS-7 shows a comparison of the projected incremental annual kWh savings for the Company’s DSM programs for the 2023 to 2025 time-period to the actual incremental annual kWh savings achieved by the Company’s programs for the 2014 to 2021 time-period. Staff obtained the historical kWh savings data for 2014 to 2021 from the Company’s annual DSM reports filed under Docket Nos. 36499, 40162 and 42311. The 2023-2025 proposed kWh savings in the Company’s Proposed Case were obtained from Docket No. 44161, DSM Application. As shown in this exhibit, the Company exceeded the projected kWh savings targets every year from 2014-2019. However, the DSM programs for 2020 and 2021 were severely hindered by the Pandemic limiting the kWh and kW savings achieved.

Q.	PLEASE PROVIDE THE PERCENT OF THE ACHIEVABLE COST-EFFECTIVE ENERGY EFFICIENCY POTENTIAL found IN THE COMPANY’S POTENTIAL STUDY THAT IS INCLUDED IN THE COMPANY’S Proposed DSM Plan FOR THE YEAR 2032.

A.	The Company’s Proposed DSM Case includes energy efficiency program cumulative annual megawatt hours (“MWh”) savings of 4,284 GWh by the end of 2032 as shown in the DSM Application Appendix D-1. The Company’s 2021 Technical, Economic, Achievable Potential (“TEAPOT”) study filed in Docket No. 43040 on February 1, 2021, found that the energy efficiency cumulative annual achievable potential MWh savings by 2032 is 7,728 GWh, assuming incentives to program participants are set at 100% of the incremental measure cost. Thus, the percent of the total achievable potential identified in the Company’s potential study that is included in the DSM Proposed Case by 2032 is only 55.4% of the 2032 cost effective energy efficiency achievable potential included in the Company’s 2021 energy efficiency potential study.

Q.	PLEASE DESCRIBE HOW THE COMPANY’S PROJECTED dsm spending FOR THE 2023 TO 2025 TIME PERIOD COMPAREs TO ACTUAL and projected LEVELS OF DSM SPENDING over the prIOR years.

A.	As shown in Staff Exhibit_BCS-8, the Company’s proposed DSM spending for the 2023 to 2025 time period is an increase of $3.1 million dollars per year compared to the approved 2020-2022 budgets. The Company has consistently spent significantly less than approved on the overall DSM portfolio. For the 2017-2019 time period, the Company only spent an average of 76% of its approved budget. For the 2020-2021 period, the Company spent only 61% of its approved budget, though these two years were significantly impacted by the Pandemic.

Q.	Does staff have concerns with the company’s proposed DSM BUDGET?

A.	Yes. Over the past several years, the Company’s approved DSM budgets have consistently been millions of dollars higher than its actual spending. After conducting a detailed analysis of budgets and spending, Staff developed budget reduction recommendations that will be discussed in the next section.

# STAFF’S recommended CHANGES TO THE COMPANY’S proposed PROGRAM PLANS AND BUDGETS

Q.	IS STAFF RECOMMENDING MODIFICATIONS TO THE COMPANY’S PROPOSED DSM PLAN AND budget?

A.	Yes. Staff has recommendations to modify Company’s Proposed DSM Plan and associated DSM budget.

Q.	What are staff’s recommendations to MODIFY the company’s PROPOSED DSM PLAN AND ASSOCIATED energy savings target?

A.	Staff recommends that the HEIP be expanded to include the proposed Manufactured Homes Program, with the exception of “whole home replacement” measures, as outlined in the DSMWG Advocacy Case. This recommendation would increase the energy savings targets for HEIP by 3 GWh per year to an average savings level of 21.5 GWh per year. With this modification, the demand savings would increase by an average of 0.55 MW per year to an average level of 5.14 MW per year. With Staff’s recommended modification to the Company’s Proposed DSM Plan, the total portfolio savings for all program increases to 433 GWh per year for a total of 1,300 GWh for the 2023-2025 program cycle on a cumulative annual basis. Staff’s recommended DSM savings targets are outlined in Staff Exhibit_BCS-9

Q. 	what are STAFF’S RECOMMENDATIONs REGARDING THE Budgets for certain COMPANY proposed DSM PROGRAMs?

A.	Staff recommends that the non-incentive budget for the Residential Behavioral Program be reduced by a total of $1,494,303 for the 2023-2025 program cycle. Staff also recommends that the HEIP budget be increased to incorporate the addition of Manufactured Homes Program, with the exception of “whole home replacement” measures. Staff further recommends that the non-incentive budget for the Commercial Prescriptive Program be reduced by $2,000,000 per year for 2023-2025 for a total reduction of $6,000,000 over the three-year program cycle. Staff Exhibit_BCS-10 provides Staff’s recommendations for revised budgets for 2023 to 2025 for the certified DSM programs.

Q. 	Please explain STAFF’S recommended Budget IMPACT DUE TO STAFF’S recommended MODIFICATION to INCLUDE A PORTION OF THE MANUFACTURED HOMES PROGRAM IN the residential HEIP.

A.	Staff recommends the inclusion of the measures that were included in the proposed Manufactured Homes Program as outlined in the DSMWG Advocacy Case, excluding the whole home measures. For this budget modification, Staff has included the costs for the Manufactured Home Program incentives, marketing, and evaluation. Staff did not include an increase in Contracting Costs or Program Admin Costs as the inclusion of a few additional measures that are substantially the same as the Company’s DSM Proposed Case HEIP should not result in an increase in these areas. As shown in Staff Exhibit_BCS-11, the overall increase to the HEIP budget averages $498,101 per year for a total of $1.49 million for the 2023-2025 program cycle.

Q.	Please DESCRIBE STAFF’S recommended budget MODIFICATIONS to the Residential behavioral program.

A.	Staff recommends the reduction of the non-incentive costs for the Residential Behavioral Program budget by $1.49 million. As shown in Staff Exhibit_BCS-12, the Company’s proposed Residential Behavioral Program budget increased from $3.72 million for 2020-2022 as approved in the 2019 IRP to $5.61 million for 2023-2025, an increase of over $630,000 annually. Historical spending for this program has averaged less than one million dollars per year which was only 70% of the approved budget. Staff finds the projected budget of nearly double the actual prior spending for this program to be excessive and recommends a reduction to an average of $0.498 million annually for a total of $1.49 million for the 2023-2025 program cycle.

Q. 	Please explain why staff is recommending the BUDGET reduction for the Commercial Prescriptive program.

A.	The Commercial Prescriptive Program non-incentive costs have been consistently overestimated by an average of approximately $4 million each year for the previous several years, as shown in Staff Exhibit_BCS-13. Staff recommends a reduction of $2 million per year. Staff’s recommended budget of $7.2 million annually is still well above the Company’s prior year spending and also allows for inflation adjustments.

Q.	How doES STAFF’S RECOMMENDED DSM Case compare to the DSM Case PROPOSed by THE COMPANY?

A.	For Staff’s recommended DSM Plan, the MWh savings are increased for the Residential programs by 3 GWh per year when compared to the Company’s Proposed DSM Case. Staff’s Recommended DSM Plan will cost a yearly average of $2 million less than the Company’s Proposed DSM Plan and will have a higher TRC ratio.

Q.	What is the cost-effectiveness of STAFF’S RECOMMENDED DSM portfolio?

A. 	The TRC and RIM benefit/cost ratios for Staff’s revised DSM portfolio for the 2023 to 2025 period are provided below.

|  | Staff’s Recommended Plan | Company Proposed Plan |
| --- | --- | --- |
| TRC | 1.54 | 1.52 |
| RIM | 0.43 | 0.43 |

Q.	did staff prepare revised energy savings targets and budgets based on ITS recommendations?

A.	Yes. Staff recommends that the Commission approve the revised DSM energy savings targets provided in Staff Exhibit_BSC-9. Staff recommends that the Commission approve the revised DSM program budgets as provided in Staff Exhibit_BCS-10.

Q.	DOES STAFF HAVE ANY OTHER CONCERNS REGARDING THE COMPANY’S proposed DSM PLANS?

A.	Yes. The Company has not included incentive caps for financial incentives paid to program participants as part of the program design of its Commercial Custom program plans. Staff is concerned that a small group of customers will use the entire incentive budget. Staff recommends that an incentive cap of $75,000 per building be included as part of the Final Program Plans.

# GEORGIA POWER proposed OTHER DSM RELATED ACTIVITIES

Q.	HAS THE COMPANY PROPOSED CHANGES TO ITS CURRENTLY APPROVED DSM AND RELATED ACTIVITIES?

A.	No. The Company is proposing the same budgets as approved in the 2019 IRP Order for several DSM related activities including the pilot budgets, the Education Initiative-Learning Power, and the Energy Efficiency Consumer Awareness. The spreadsheet model includes an escalation rate for all Pilot and Learning Power line items as shown in the DSM Application Appendix C-2.

Q.	PLEASE DISCUSS THE EDUCATION INITIATIVE LEARNING POWER PROGRAM and Energy Efficiency Consumer Awareness THAT IS INCLUDED IN THE COMPANY’S BUDGET.

A.	The Learning Power program began in July 2011 and is an energy efficiency education program for students in grades K-12. In the 2016 IRP and DSM Certification Final Order, an annual budget of $3 million was approved. In the 2019 IRP and DSM Certification Final Order, the annual budget for the Learning Power program was increased to $4 million. In the 2019 IRP and DSM Certification Final Order, the annual budgets for the Residential and Commercial Energy Efficiency Consumer Awareness budgets were approved at $4.5 million and $1.1 million, respectively.

Q.	WHAT IS STAFF’s RECOMMENDATION REGARDING THE PROPOSED EDUCATION INITIATIVE LEARNING POWER PROGRAM and THE RESIDENTIAL AND COMMERCIAL Energy Efficiency Consumer Awareness BUDGETS?

A.	Staff recommends a continuation of the Education Initiative-Learning Power Program at $4 million for each year for 2023-2025. Staff recommends a continuation of the Residential and Commercial Energy Efficiency Consumer Awareness at $4.5 million and $1.1 million, respectively, for the 2023-2025 program cycle.

Q.	PLEASE DESCRIBE THE COMPANY’S REQUEST FOR A PILOT BUDGET.

A.  	The Company has proposed a budget of $1.5 million for Residential pilots and $1.5 million for Commercial pilots for 2023 resulting in a total pilot budget request of $3 million. Both of these annual budgets increase slightly for 2024 and 2025. The proposed budgets are the same as approved in the 2019 IRP.

Q.  	DID THE COMPANY SPEND THE ENTIRE PILOT BUDGET FOR THE YEARS 2020 AND 2021?

A. 	No. The Company spent $371,640 for the Residential pilots and $377,582 for the Commercial pilots in 2020. The Company spent $1,458,753 for the Residential pilots and $575,655 for the Commercial pilots in 2021. The total spent for the Residential and Commercial pilots for these years was $749,222 and $2,034,408, respectively.

Q. 	HAS THE COMPANY IDENTIFIED SPECIFIC PROJECTS FOR WHICH THE PILOT BUDGET WILL BE USED?

A.  	No. In Docket No. 44161, DSM Application, the Company provided limited details on potential pilots and is currently not required to allow Staff to have input regarding proposed pilots before implementation. Each pilot does include, as part of the proposed budget, significant spending for evaluations.

Q. 	WHAT IS STAFF’s RECOMMENDATION REGARDING THE PROPOSED PILOT BUDGET?

A.	Staff recommends that the Commission approve a total annual pilot budget of $3 million to be divided evenly between the Commercial and Residential pilots for each year for 2023-2025. Staff further recommends that it has input regarding any proposed pilots before they are implemented by the Company and throughout the course of the pilot.

# ADDITIONAL SUM

Q.	IS THERE A GEORGIA STATUTE THAT ADDRESSES ADDITIONAL SUM?

A.	Yes. While we are not attorneys, we understand that Official Code of Georgia (“OCGA”) § 46-3A-9 states that “The approved or actual cost, whichever is less, of any certificated demand-side capacity option shall be recovered by the utility in rates, along with an additional sum as determined by the commission to encourage the development of such resources. The commission shall consider lost revenues, if any, changed risks, and an equitable sharing of benefits between the utility and its retail customers.”

Q.	DOES THE COMMISSION’S IRP RULE ALLOW GEORGIA POWER TO REQUEST AN “ADDITIONAL SUM” RELATING TO THE ENERGY EFFICIENCY AND DEMAND RESPONSE PROGRAMS FOR WHICH IT IS SEEKING CERTIFICATION BY THE COMMISSION?

A.	Yes. Commission IRP Rule 515-3-4-.11(3)(b) states that “The certified or actual cost, whichever is less, of any certificated demand-side capacity option shall be recovered by the utility in rates, along with an Additional Sum as determined by the Commission to encourage the development of such resources. The Commission shall consider lost revenues, if any, changed risks, and an equitable sharing of benefits between the utility and its retail customers.”

Q.	DOES STAFF AGREE THAT THE COMPANY SHOULD RECEIVE AN ADDITIONAL SUM FOR IMPLEMENTING THE ENERGY EFFICIENCY PROGRAMS PROPOSED IN THE COMPANY’S 2022 IRP?

A.	Yes. Staff believes that an Additional Sum or performance incentive continues to be an essential component of the regulatory framework. It is essential for providing the Company a clear financial interest in the success of energy efficiency and demand response programs in the Company’s service area. Staff believes that the Additional Sum incentive plays a key role in the Company’s decision making and planning processes relating to the IRP.

Q.	PLEASE DESCRIBE THE CURRENT DSM ADDITIONAL SUM METHODOLOGY.

A.	Under the Additional Sum methodology approved by the Commission in the 2016 and 2019 IRP Orders, Georgia Power Company receives an Additional Sum equal to 8.5% of actual net benefits based on net energy savings from the Program Administrator Cost Test (“PACT”) per program. Once the Additional Sum amount as calculated exceeds the annual program costs, the portion of the Additional Sum that exceeds the program cost shall be calculated based on 4% of the actual net benefits based on net energy savings from the PACT.

Q.	PLEASE EXPLAIN THE PRINCIPLES LISTED BY THE NATIONAL ACTION PLAN FOR ENERGY EFFICIENCY FOR DSM INCENTIVE MECHANISMS.

A.	Chapter 3 of the November 2007 National Action Plan for Energy Efficiency report titled “Aligning Utility Investments with Investment in Energy Efficiency” lists several principles for DSM incentive mechanisms:

- Strike an appropriate balance of risks and rewards between utilities and customers

- Promote stabilization of customer bills and rates

- Stabilize utility revenues

- Administrative simplicity and managing regulatory costs

Q.	DOES THE CURRENT DSM ADDITIONAL SUM MECHANISM MEET THESE PRINCIPLES?

A.	Yes. The current Additional Sum mechanism shares the net present value (“NPV”) of the dollar savings of the Company’s DSM programs between the Company and its customers and helps the Company recoup lost revenues. The current mechanism considers program costs and benefits and provides a signal to the Company to be vigilant about how much money it spends to implement DSM programs that incentivize energy efficiency actions and technologies in which customers would not otherwise invest. The current mechanism helps the Company recoup lost revenues due to the implementation of DSM programs and to receive a financial incentive for developing and implementing programs. A major feature of the current Additional Sum mechanism is that it pays a higher Additional Sum amount for energy efficiency measures with longer useful lives and a smaller Additional Sum amount for measures with short useful lives.

Q.	PLEASE DESCRIBE THE ADDITIONAL SUM MECHANISM THAT GEORGIA POWER COMPANY HAS REQUESTED TO RECEIVE FOR ITS ENERGY EFFICIENCY PROGRAMS.

A.	In its 2022 IRP Filing as described in the DSM Application on page 5, the Company requested an Additional Sum equal to $.04 per first-year kWh saved based on gross verified savings of the certified energy efficiency programs. If the Company’s reported energy savings grow higher than 120% of certified energy goals by class, or as portfolio during any year within the IRP cycle, the Additional Sum on the reported savings beyond 120% would increase to five cents per first-year kWh saved. The Company proposal to use gross savings is a significant change from current policy of using net savings which include market effects, such as free ridership and spillover.

Q.	Please compare how much the company earned in additional sum Over the previous five years to the proposed method.

A.	As shown in Staff Exhibit_BSC-14, the Company has earned an average of $10.13 million overall in Additional Sum over the previous five years (2017-2021). For the Residential portfolio, the average was $2.28 million per year and for the Commercial portfolio, the average was $7.86 million per year. As shown in the DSM Filing Appendix F, the Company proposes to earn on average $17.29 million per year, with $3.85 million from the Residential portfolio and $13.41 million from the Commercial portfolio.

Q.	HOW DOES THE ADDITIONAL SUM REQUESTED BY GEORGIA POWER COMPARE TO THE TOTAL AMOUNT THAT THE COMPANY PLANS TO SPEND ON IMPLEMENTING THE PROPOSED ENERGY EFFICIENCY PROGRAMS FOR THE PERIOD 2023 TO 2025?

A.	The Company’s Proposed DSM Plan has a nominal value of DSM program expenditures of $211.3 million and a requested Additional Sum of $51.7 million for the three-year period from 2023 through 2025 as shown in DSM Filing Appendix G. The Company’s proposed Additional Sum represents additional costs to customers that will increase the DSM expenditures by twenty-five percent each year for the 2023 to 2025 time-period.

Q.	DOES STAFF BELIEVE THAT THE COMPANY’S PROPOSED ADDITIONAL SUM REQUEST IS REASONABLE?

A.	No. The Commission’s IRP rule already provides the Company with 100% cost recovery for prudently incurred expenditures on energy efficiency programs. Staff finds that providing an Additional Sum that will increase DSM program budgets by an additional 25% is excessive. This is equivalent to granting the Company a 25% rate of return on DSM program expenditures.

Q.	Does staff have other concerns with the proposed additional sum METHODOLOGY?

A.	Yes. As described in the DSM Application on page 5, the Company has proposed changing from using net savings to gross savings for the Additional Sum calculation. According to research conducted by eSource and listed in Staff Exhibit_BCS-14, for the states that allow utilities to earn receive a performance incentive for shareholders, twenty-seven out of thirty-one states use a percent of net savings approach to calculate an Additional Sum of shareholder incentive. The use of gross savings as proposed by the Company is flawed due to allowing a return on investment for measures that customers would have installed without a program. Staff recommends maintaining the current practice of using net savings for the calculation of the Additional Sum and gross savings for setting and tracking savings targets.

Q.	HAS STAFF PREPARED AN ESTIMATE OF WHAT THE ADDITIONAL SUM WOULD BE FOR 2023 TO 2025 WITH USING THE CURRENT COMMISSION APPROVED METHODOLOGY FOR CALCULATING THE ADDITIONAL SUM?

A.	Yes. Staff Exhibit_BCS-15 provides Staff’s estimate of the Additional Sum for the Company’s Proposed DSM Plan for the years 2023 to 2025 using the current Additional Sum methodology. Using the current Additional Sum methodology, the DSM Additional Sum for 2023 to 2025 would be $29.6 million in total over this three-year period.

Q.	WILL THE COMPANY’S PROPOSED ADDITIONAL SUM METHODOLOGY RESULT IN A higher ADDITIONAL SUM THAN THE CURRENTLY APPROVED METHODOLOGY WILL PRODUCE?

A.	Yes. The Additional Sum amount using the Company’s proposed methodology results in an increase on average of $7.37 million per year for the years 2023 to 2025 compared to the current Additional Sum methodology, as shown on Staff Exhibit_BCS-15. The Company’s proposal is to collect an Additional Sum of approximately $17.2 million per year for the years 2023 through 2025, or $51.7 million in total over the three years 2023 to 2025. This is 74% percent higher than with the Additional Sum methodology that is currently approved by the Commission.

Q.	DOES STAFF HAVE OTHER CONCERNS WITH THE COMPANY’S PROPOSED DSM ADDITIONAL SUM MECHANISM?

A.	Yes. The Company’s proposed Additional Sum mechanism would not share the NPV savings of program net benefits fairly with the Company’s customers. For example, if electric avoided costs decrease by 25% and program net benefits decrease significantly, the Company’s Additional Sum would remain the same as it would be with higher avoided costs, significantly reducing the net benefits shared with customers. The Company’s Additional Sum amount would be unrelated to decreases in electric avoided costs. Likewise, if the Company’s spending on its DSM programs doubles, all other things held constant, and program net benefits shrink, the Company’s Additional Sum will be the same as it would be with lower program spending, causing the net benefits shared with customers to decline significantly. The Company’s proposed methodology eliminates any incentive for the Company to control or reduce program delivery costs.

Q.	DOES THE COMPANY’S PROPOSED ADDITIONAL SUM METHODOLOGY ALSO INCENTIVIZE THE COMPANY TO IMPLEMENT ENERGY EFFICIENCY MEASURES THAT HAVE A SHORT USEFUL LIFE?

A.	Yes. The Company’s proposed Additional Sum methodology, for example, would pay the same Additional Sum amount for a measure that saves 10,000 kWh for one year and a different measure that saves 10,000 kWh each year for 30 years. As such, the Company may be incentivized to focus its efforts on implementing measures with a short useful life, such as behavioral programs and lighting measures. The Company would receive a significant Additional Sum incentive based only on first-year kWh savings, and then have significantly reduced electricity savings and lost revenues, over the long-term, due to the focus on measures with short useful lives. If that happened, most of the achievable energy efficiency potential in the Company’s service area would never be realized.

Q.	HAS STAFF RESEARCHED ADDITIONAL SUM MECHANISMS FOR ENERGY EFFICIENCY PROGRAMS USED IN OTHER JURISDICTIONS?

A.	Yes. Staff Exhibit_BCS-14 provides up-to-date information recently collected by Staff for DSM Shareholder Incentive Mechanisms that exist in the United States. The information provided in this exhibit describes the general methodology currently in place for calculating the level of DSM shareholder rewards or penalties in each state. There are many states that do not have a policy for offering an Additional Sum for energy efficiency programs.

Q. 	DOES STAFF AGREE WITH THE COMPANY’S TESTIMONY THAT some utilities in THE STATE OF MINNESOTA USE THE COMPANY’S PROPOSED METHOD FOR CALCULATING DSM PERFORMANCE INCENTIVES?

A. 	No. During the Direct Hearing, Company Witness Jeff Smith stated that the proposed method is similar to one used by a utility in Minnesota (Tr. at 648). Minnesota is not a good example of a state where some utilities utilize a DSM incentive mechanism that is similar to the Company’s proposal. Minnesota allows for a maximum of $0.08 per kWh saved. The actual methodology used by Xcel Energy in Minnesota, for example, is based on receiving 0.75% of net benefits per 0.1% of savings achieved as a total of Company sales with a maximum of 1.7% annual savings with a cap of 40% of total expenditures. The Company’s proposed methodology does not include achieving specific targets for electricity savings in order to earn the DSM shareholder incentive. Using the Additional Sum methodology in effect for Xcel Energy, Georgia Power would only receive 3% of the net benefits of DSM programs. The Additional Sum methodology proposed by Georgia Power is not the same as the one used by Xcel Energy in Minnesota.

Q.	BASED ON STAFF’S REVIEW OF ENERGY EFFICIENCY INCENTIVE MECHANISMS USED IN OTHER STATES, WHAT HAS STAFF FOUND REGARDING PERFORMANCE INCENTIVES?

A.	According to the studies that we have reviewed and our collective experience in the energy efficiency industry, the three major types of performance mechanisms that have been most prevalent are the following:

1.	Performance target incentives

2.	Shared savings incentives

3.	Rate of return incentives

The key finding from our analysis of incentive mechanisms is that numerous other states with less costly incentive mechanisms have been able to achieve actual kWh and kW savings far higher, as a percent of annual retail kWh sales, than the percentage reduction in kWh sales projected by the Company in this case for the 2023 to 2025 time period. Our research also indicates that the kWh and kW savings levels, as a percent of annual electric sales, being achieved by numerous other program administrators are being achieved with incentive mechanisms that are much less costly than the performance incentive proposed by the Company for the 2023 to 2025 time period.

Q.	PLEASE PROVIDE EXAMPLES OF STATES THAT HAVE ACHIEVED HIGH KWH AND KW SAVINGS FROM ENERGY EFFICIENCY PROGRAMS WITH INCENTIVE MECHANISMS IN PLACE THAT ARE LESS COSTLY THAN THE ADDITIONAL SUM PROPOSED BY THE COMPANY.

A.	 Staff has the following examples which illustrate less costly incentive mechanisms than the approach proposed by the Company in addition to the Arizona example provided above:

- For electric utilities in Connecticut, the shareholder incentive, referred to as a “management fee,” can be from 2.5-6.5% of the program costs before taxes. The threshold for Connecticut utilities for earning the minimum incentive (2.5%) is achieving 75% of the electricity savings goal. At 100% achievement of the electricity savings goal, the incentive would be 5%. At 115% achievement of the electricity savings goal, it would be 6.5%. Using Connecticut’s calculation methodology and applying it to the Company’s DSM Proposed Case, the Company’s Additional Sum for the 2023 to 2025 period would be 5% of $211 million (total Georgia Power program costs for 2023 to 2025), or $10.6 million, not $51.7 million as the Company has proposed.

- In Michigan, no Additional Sum is paid unless a utility reaches 115% of the target annual kWh savings goal and the Utility Cost Test (“UCT”) benefit/cost ratio is equal to or greater than 1.25. If Georgia Power Company used the calculation method used in Michigan and achieved 100% of the proposed electricity savings each year from 2023 to 2025, the Company would not earn any DSM shareholder incentive.

- In Ohio, electric utilities receive only 7.5% of the net benefits if 100% to 110% of the target savings goal is met. This is one percentage point lower than the 8.5% used in the Commission’s current Additional Sum methodology.

- There are serval states where no shareholder incentive is allowed.

Q.	DOES STAFF RECOMMEND THAT THE COMMISSION RETAIN THE CURRENT ADDITIONAL SUM METHODOLOGY?

A.	Yes. Staff recommends that the current, Commission approved, Additional Sum methodology remain in place. The current methodology provides for an equitable sharing of the net benefits of the Company’s DSM portfolio and properly considers the costs, benefits, and useful lives of the Company’s programs. All data needed to calculate the Additional Sum using the current Commission-approved methodology is readily available from the existing data tracking and reporting done for the Company’s DSM programs. The current Additional Sum methodology properly pays no Additional Sum if the net benefits of the Company’s DSM programs are zero.

Q.	WILL THE ADDITIONAL SUM RECOMMENDED BY STAFF BE AN ADEQUATE INCENTIVE TO THE COMPANY?

A.	Yes. The Additional Sum amount as a percentage (8.5%) of net benefits as recommended by Staff for the 2023 to 2025 time period is identical to what the Company has received in the past two IRP cycles. In addition, the Company can earn a larger DSM Additional Sum by implementing programs at a cost lower than the Company budgeted for its Proposed Plan.

# MARKET EFFECTS - FREE RIDERSHIP AND SPILLOVER

Q.	IS THE COMPANY PROPOSING TO CHANGE ITS PROGRAM EVALUATION AND ADDITIONAL SUM CALCULATION PROCEDURES REGARDING THE MEASUREMENT OF FREE RIDERSHIP AND SPILLOVER?

A.	Yes. For its 2023 to 2025 energy efficiency programs, the Company proposes to base the calculation of its proposed Additional Sum on verified gross energy savings instead of net savings. This proposed change is a significant departure from current Commission policy.

Q.	PLEASE EXPLAIN HOW THE NET SAVINGS OF THE COMPANY’S PROGRAMS ARE CURRENTLY CALCULATED BASED ON THE MOST RECENT EM&V REPORT.

A.	The gross energy savings from the Company’s programs operated in 2021 have been adjusted to net savings to allow for such factors as free ridership and spillover. Gross savings are defined as the estimated savings from energy efficiency measures adopted by program participants, before adjustments for free ridership, spillover, and other factors. The free ridership adjustment accounts for program participants who would have implemented a measure in the absence of a program. The spillover adjustment accounts for households or businesses who learn about the Company’s energy efficiency programs through information provided by the Company, program participants or program allies, but who then install a measure without applying for a rebate or financial incentive from the Company. These savings calculation procedures were adopted by this Commission in the stipulation approved during the 2013, 2016, and 2019 IRP proceedings.

Q.	DOES STAFF AGREE THAT THE ADDITIONAL SUM CALCULATION SHOULD BE BASED ON VERIFIED GROSS ENERGY SAVINGS OF THE COMPANY’S PROGRAMS?

A.	No. First, the Company’s 2021 EM&V Report found that several of the energy efficiency programs administered during 2020 and 2021 had high free ridership. Staff Exhibit_BCS-16 provides a summary of the free ridership rates for the Company’s energy efficiency programs for 2020 and 2021. Because several of the Company’s programs continue to exhibit high free ridership, it is imperative that the Additional Sum mechanism provide a signal to the Company that it is important for the Company to minimize free ridership. Changing the basis of the Additional Sum calculation to verified gross savings will remove any financial incentive or signal for the Company to focus on minimizing free ridership and maximizing participant spillover.

Second, there are many program design features that the Company controls that can be implemented to limit the number of free riders. Third, Staff does not believe that the Company should receive an Additional Sum payment for kWh and kW savings that would have occurred in the absence of the Company’s programs. Changing the basis of the Additional Sum calculation to verified gross savings from net savings is a step in the wrong direction and will minimize the Commission’s policy signal to the Company to focus on and minimize free ridership.

Q.	DOES THE COMPANY HAVE THE CAPABILITY TO CONTROL AND REDUCE FREE RIDERSHIP OCCURRING IN ITS PROGRAMS?

A.        Yes. It is Staff’s position that the Company can implement program design modifications to minimize free ridership. However, in the Company’s DSM-DER Forecasting Direct Testimony in Docket Nos. 44160 and 44161, page 22 lines 13-14, Company Witness Jeff Smith stated that the Company does not have control over free riders and does not have the ability to structure programs in such a way to limit free riders. In previous IRP proceeding Staff has identified several ways the Company has already acted to reduce overall free ridership such as in requesting to decertify the EarthCents New Home Program, as high free ridership had a negative impact on program economics. The 2018 EM&V Report from the Company’s consultant, Nexant, also indicated that ongoing programs, such as the Commercial Custom Program, have reduced free ridership as they have matured. Company Witness Jeff Smith agreed that the Company has made changes to programs to limit free ridership and has control over several aspects of the programs that could impact free ridership including incentive levels, program eligibility, and the measure mix (Tr. at 651-652).

Q.        DOES STAFF HAVE ANY suggestions ON HOW THE COMPANY CAN MINIMIZE FREE RIDERSHIP IN THE COMPANY’S ENERGY EFFICIENCY PROGRAMS?

A.       Yes. Staff suggests proactive oversight of the ongoing DSM implementation to ensure that incentives go towards motivating customers who would otherwise not implement energy efficiency measures. The Company should continue to use its online Marketplace and market intelligence to track pricing to provide the optimal discounts for economic nudges to customers. The marketing of programs towards low and moderate income Residential customers and small and medium sized Commercial customers in need of financial opportunities may serve to help DSM program incentives to best influence participation. The Company can also direct resources towards regions of the state or economic sectors that have seen lower interest and participation levels in prior program years to open the programs to customers who might have otherwise missed out on DSM options. Advanced analytics and strategic planning using energy consumption and other market data can help the Company find the customers most receptive to meaningful program participation.

Q.	What is staff’s recommendation for the use of market effects?

A.	Staff recommends that the Company’s Additional Sum be based on net, not verified gross, energy savings. The use of net savings would include the effects of spillover and free ridership.

# APPROVAL/NOTIFICATION PROCESS

Q.	ARE THE PROGRAM PLANS PROVIDED IN THE COMPANY’S CERTIFICATION FILING FINAL?

A.	No. The plans filed are not final and in fact each program plan description, found in the DSM Filing Appendix A, has a footnote which states “Final program delivery mechanisms will be developed jointly by Georgia Power and its selected program implementer, which may include modifications to the program delivery steps and processes”.

Q.	ONCE A PROGRAM IMPLEMENTER IS SELECTED AND THE PROGRAM PLANS ARE FINALIZED, DOES STAFF RECOMMEND THAT THE COMPANY PROVIDE THE PLANS TO STAFF FOR REVIEW AND APPROVAL?

A.	Yes. Staff recommends that once a program implementer is selected and plans are drafted that these plans should be provided to Staff for review and approval prior to the implementation of the programs. The Company should provide Staff at least 15 days for review of the Final Program Plans.

# DSM TARIFF and TRUE UP process

Q.	CURRENTLY, IS THERE AN APPROVED TRUE UP MECHANSISM FOR THE DSM TARIFF?

A.	Yes. As part of the 2013 IRP/DSM Stipulation, the Company agreed that the Company’s DSM revenues and expenses will be trued-up on an annual basis to ensure that revenues collected from the Company’s customers for DSM related activities are spent on DSM related activities. Staff and the Company worked on finalizing a True-Up process which was filed in Docket No. 36499 on October 18, 2013.

Q.	HAS A TRUE-UP TAKEN PLACE OVER THE LAST PROGRAM CYCLE?

A.	Yes, a true-up occurs annually. Staff is currently reviewing the 2021 DSM True-Up which was filed on March 15, 2021, under Docket No. 42311.

Q.	DoES staff recommend that THE COMPANY BE ALLOWED TO ROLLOVER unspent budget DOLLARS and Unacheived savings targets to the following year?

A.	No. Historically, the Company has achieved its approved energy savings targets every year prior to 2020 and 2021, which were severely affected by the Pandemic. Staff expects the Company to be able to achieve their savings targets within the approved budget. Due to Company’s prior performance of meeting its approved savings targets and because the currently approved True-Up process addresses what happens to remaining budget dollars, Staff recommends continuation of the current DSM True-Up process, including not allowing the rollover of unspent annual budget dollars or unrealized savings targets.

# PROGRAM EVALUATIONS

Q.	HAS THE COMPANY completed PROGRAM EVALUATIONS for the energy efficiency programs approved by the Commission in the 2019 IRP docket?

A.	Yes. The Company filed the Residential and Commercial EM&V Reports with the Commission on October 29, 2021. The Residential evaluation was performed by Illume Advising, LLC. The Commercial evaluation was performed by Brightline Group. These reports covered the eleven Residential and Commercial DSM programs that were certified by the Commission in the 2019 IRP proceeding. This evaluation report covered activities for the 2020 and 2021 program years.

Q. 	HAS THE STAFF COMPLETED ITS REVIEW OF THE EM&V REPORT?

A.	Yes. Staff completed its initial review and provided its recommendations to the Company in December 2021. However, due to the limited amount of time that Staff had to review the EM&V report and responses to questions that Staff had sent to the Company prior to the 2022 IRP and DSM Certification Filings, there are a few remaining concerns that Staff planned to review during these dockets and are addressed in detail below.

Q.	Please describe the impacts of the pandemic on THE EM&v process AND REPORT.

A.	The programs approved in the 2019 IRP were set to launch in early 2020 just as the Pandemic began. In response, the Company temporarily delayed the launch or disrupted the activities of several DSM programs. Other programs continued but saw tempered participation levels compared to pre-Pandemic levels. The delay and lack of participation had a direct impact on the EM&V process. For some DSM programs, there were not enough completed projects to be able to provide an adequate sample size for the program’s evaluation. Staff agreed to delay the filing of the EM&V reports to October of 2021 to allow for more program activity and help evaluation efforts. However, not all programs were able to return statistically viable results.

Q.	WHAT IS THE CURRENT COMMISSION POLICY REGARDING HOW EVALUATION RESULTS SHOULD BE Applied?

A.	Per the stipulation approved in the 2019 IRP Order, evaluation results are used prospectively for program planning, future year reported energy savings and the Additional Sum Calculations, starting in the first year of the next program cycle.

Q.	Does the company propose to deviate from this policy for any of the programs?

A.	Yes. In the EM&V reports, Illume Advising and Brightline Group/Cadmus, the evaluators for the Residential and Commercial programs, respectively, recommended to use the prior 2018 EM&V results for certain programs, or parts of programs, for the Company’s DSM Proposed Case. The recommendations from Illume Advising and Brightline Group/Cadmus are summarized as:

- The Residential portfolio, the Behavioral, Specialty Lighting, HEIP – marketplace portion, and Refrigerator Recycling Programs all completed successful evaluation and will be used to inform the 2022 IRP proposed programs.

- The Residential HEEAP and HEIP – Whole Home and Individual improvements pathways were determined to not be statistically valid, and the evaluators recommended using the energy and demand savings as filed in the 2019 IRP.

- The Commercial Behavioral program evaluation, filed on March 20, 2022, under Docket No. 43040, was not statistically valid and the evaluators recommended maintaining the same energy and demand savings as filed in the 2019 IRP.

- The EM&V process for the Commercial Prescriptive, Custom, and Small Business Direct Install Programs was successful and will be used to inform the 2022 IRP proposed programs.

Q.	Does staff agree with the COMPANY’S REQUEST TO use of the 2018 EM&V RESULTS for the programs recommended by the evaluators?

A.	Yes. Staff recognizes that the disruptions to program activity created unique challenges for the Company and their evaluators, and that the atypical participation levels limited the ability to produce statistically valid EM&V results for select programs. The statistically valid 2021 EM&V results will be used for the programs approved in this IRP and DSM Certification proceeding. The 2018 EM&V results will continue to be used for all areas not properly addressed by the 2021 EM&V reports.

Q.	HAVE ALL OF STAFF’S RECOMMENDATIONS REGARDING THE COMPANY’S EM&V REPORT BEEN ADDRESSED AND FINALIZED?

A.	No. Staff has a few remaining concerns regarding the findings and recommendations of the 2021 EM&V Report.

Q.	PLEASE SUMMARIZE STAFF’S REMAINING CONCERNS AND RECOMMENDATIONS FOR RESOLVING EM&V ISSUES THAT ARE STILL PENDING FROM THE COMPANY’S 2021 PROGRAM EVALUATION REPORT.

A.	Staff maintains the following concerns regarding the 2021 EM&V:

  - The 2021 EM&V results regarding Commercial lighting hours of use (“HOU”) were more highly variable across building types when compared to prior evaluation cycles. In many high impact building types, the hours of use derived from the 2021 evaluation cycle were significantly higher than the values used in the initial reported savings. However, in response to a Staff data request STF-GDS-6-5, as shown in Staff Exhibit_BCS-17, the Company has used an alternative set of assumptions for commercial lighting HOU for program planning purposes. Staff recommends that the Company continue to utilize the Commercial lighting HOU reflected in Staff Exhibit_BCS-17, and used in the Company’s program planner, for reporting gross savings during the 2023-2025 program cycle.

  - The underlying assumptions used in the algorithm to calculate measure savings from the Refrigerator Recycling Program are based on primary market research conducted in 2011. Staff recommends that the Company conduct an updated in-site study that properly accounts for the current stock of secondary refrigerators/freezers in the Company service area.

  - As noted earlier in our testimony, Staff also recommends that the Company continue to monitor the Commercial Behavior program, given its underperformance and statistically uncertain savings reflected in the 2021 EM&V report, and be prepared to make mid-cycle changes to the program if the next evaluation does not demonstrate an improved and cost-effective program.

Q.	DOES STAFF HAVE ANY RELATED EM&V CONCERNS AND RECOMMENDATIONS REGARDING THE EM&V OF PROSPECTIVE PROGRAMS?

A.	Yes. Several of the Company’s proposed certified Residential programs include significant focus on the income-qualified sector. Historically, the Company has assumed a default net-to-gross assumption (“NTG”) of 1.0 for income-qualified sector savings. Staff recommends that the Company plan to evaluate income-qualified savings in a manner consistent with the remainder of the Residential sector to confirm whether this NTG assumption is appropriate. This recommendation applies to the HEEAP and HopeWorks programs and the Food Bank focused portion of the Specialty Lighting Program.

Q.	WHAT IS THE CURRENT COMMISSION POLICY REGARDING THE FREQUENCY OF DSM PROGRAM EVALUATIONS?

A.	The current Commission policy is that impact, process, and other evaluations of the Company’s certified DSM programs are to be conducted every three years.

Q.	what are STAFF’S RECOMMENDATIONS REGARDING THE EVALUATION OF The DSM PROGRAMS?

A.	Staff recommends using the valid 2021 EM&V results and using the 2018 EM&V results in all other instances as outlined in the EM&V and requested by the Company. Staff recommends the continuation of current policy to implement the EM&V results in the first year of the next IRP cycle in 2026.  Staff recommends continuation of current Commission policy that requires the Company to provide detailed evaluation plans for each of the approved DSM programs within 90 days of the selection of Program Implementers for each of the certified programs. Staff recommends the upcoming EM&V include a new in-situ study for the Refrigerator Recycling Program.

# COMPLIANCE FILINGS

Q.  	PleasE DESCRIBE THE COMPANY’S CURRENT REPORTING REQUIREMENTS AND WHETHER THE COMPANY IS IN COMPLIANCE WITH THESE REQUIRMENTS.

A.	The Company is required to file quarterly progress reports on its Certified Demand Side Programs. These reports include the major activities and accomplishments of each DSM program including participation levels, energy savings, demand savings, and program costs for the current quarter, year to date, and program to date. The Company is in compliance with this reporting requirement.

Q.	does staff meet with the company to discuss the quarterly reportS?

A.	Yes. Staff meets with the Company on a monthly basis to discuss energy goals, program costs, and any other DSM issues that may have arisen since the last meeting between Staff and the Company has been held.

Q.	DOES THIS CONCLUDE Staff’s TESTIMONY?

A.	Yes.

The Company now refers to this as the DSM Program Planning Approach.

National Action Plan for Energy Efficiency, “Aligning Utility Investments with Investment in Energy Efficiency”, November 2007 (available at https://www.epa.gov/sites/default/files/2015-08/documents/incentives.pdf).