Page Number 1.70

GEORGIA POWER COMPANY

Rules and Regulations for Electric Service

- CUSTOMER GENERATION:

  - All customers who intend to install a customer generation facility at their premises shall be required to execute an applicable Interconnection Agreement prior to being allowed to interconnect.  The customer is responsible for ensuring a safe and reliable interconnection with the Company system and all costs incurred therein.  The Company reserves the right to disconnect from its lines or refuse to connect to its lines any customer with customer generation that does not comply with the requirements and safety standards set forth in Section F4.  Customer must adhere to the guidelines set forth in the “Southern Company Distribution Interconnection Policy” or its successor, which establishes criteria for interconnection including system protection, power quality, and other operational requirements.

  - All customers on a Company distribution circuit who desire to install customer generation behind their meter must adhere to the Company’s interconnection process and operation requirements which are detailed in the “Behind-the-Meter Distribution Interconnection Summary” or its successor, available to the public on the Company’s website and from Company representatives.

  - All customer generation sized 250 kilowatts and above, whether installed behind-the-meter or stand alone, must undergo the witness testing process as required by the  Company.

  - All customers proposing to interconnect a customer generation facility shall pay the cost of interconnection according to the Company policies and the applicable agreement, including but not limited to costs for (a) interconnection studies; (b) applicable metering; (c) impacts to Company lines or equipment; and (d) initial testing prior to permission to operate.