## Summary - Winter
2023 IRP Update Winter Summary - MG0 Scenario
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Winter Capacity Need (MW)
Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System
2024 | 19980.4797 | REDACTED | 2024 | 15282.9975 | REDACTED | 2024 | 30.74% | REDACTED | 2024 | 24.43% | 25.5% | 2024 | -963.6301 | REDACTED
2025 | 21195.7885 | REDACTED | 2025 | 15947.4276 | REDACTED | 2025 | 32.91% | REDACTED | 2025 | 24.43% | 25.5% | 2025 | -1352.1792 | REDACTED
2026 | 21296.0608 | REDACTED | 2026 | 17255.6551 | REDACTED | 2026 | 23.41% | REDACTED | 2026 | 24.43% | 25.5% | 2026 | 175.3944 | REDACTED
2027 | 21785.3232 | REDACTED | 2027 | 18928.0028 | REDACTED | 2027 | 15.1% | REDACTED | 2027 | 25% | 26% | 2027 | 1875.394 | REDACTED
2028 | 22087.6639 | REDACTED | 2028 | 19750.5583 | REDACTED | 2028 | 11.83% | REDACTED | 2028 | 25% | 26% | 2028 | 2601.2787 | REDACTED
2029 | 21357.2336 | REDACTED | 2029 | 20550.7695 | REDACTED | 2029 | 3.924% | REDACTED | 2029 | 25% | 26% | 2029 | 4332.0031 | REDACTED
2030 | 21359.956 | REDACTED | 2030 | 21326.1917 | REDACTED | 2030 | 0.1583% | REDACTED | 2030 | 25% | 26% | 2030 | 5298.5876 | REDACTED
2031 | 19339.423 | REDACTED | 2031 | 21880.4218 | REDACTED | 2031 | -11.61% | REDACTED | 2031 | 25% | 26% | 2031 | 8011.9292 | REDACTED
2032 | 19375.9093 | REDACTED | 2032 | 22140.5759 | REDACTED | 2032 | -12.49% | REDACTED | 2032 | 25% | 26% | 2032 | 8300.6454 | REDACTED
2033 | 19358.2893 | REDACTED | 2033 | 22352.8941 | REDACTED | 2033 | -13.4% | REDACTED | 2033 | 25% | 26% | 2033 | 8583.671 | REDACTED
2034 | 19392.1735 | REDACTED | 2034 | 22515.3849 | REDACTED | 2034 | -13.87% | REDACTED | 2034 | 25% | 26% | 2034 | 8752.9065 | REDACTED
2035 | 17423.4745 | REDACTED | 2035 | 22630.3768 | REDACTED | 2035 | -23.01% | REDACTED | 2035 | 25% | 26% | 2035 | 10865.3497 | REDACTED
2036 | 13264.8893 | REDACTED | 2036 | 22745.8678 | REDACTED | 2036 | -41.68% | REDACTED | 2036 | 25% | 26% | 2036 | 15168.3031 | REDACTED
2037 | 13224.8333 | REDACTED | 2037 | 22938.3788 | REDACTED | 2037 | -42.35% | REDACTED | 2037 | 25% | 26% | 2037 | 15449.005 | REDACTED
2038 | 12923.5963 | REDACTED | 2038 | 23257.0804 | REDACTED | 2038 | -44.43% | REDACTED | 2038 | 25% | 26% | 2038 | 16148.631 | REDACTED
2039 | 12923.5954 | REDACTED | 2039 | 23624.4034 | REDACTED | 2039 | -45.3% | REDACTED | 2039 | 25% | 26% | 2039 | 16607.7996 | REDACTED
2040 | 12563.5474 | REDACTED | 2040 | 23925.9169 | REDACTED | 2040 | -47.49% | REDACTED | 2040 | 25% | 26% | 2040 | 17344.7508 | REDACTED
2041 | 12543.5674 | REDACTED | 2041 | 24282.0158 | REDACTED | 2041 | -48.34% | REDACTED | 2041 | 25% | 26% | 2041 | 17809.8679 | REDACTED
2042 | 12540.8874 | REDACTED | 2042 | 24643.3209 | REDACTED | 2042 | -49.11% | REDACTED | 2042 | 25% | 26% | 2042 | 18264.1929 | REDACTED
2043 | 12538.24 | REDACTED | 2043 | 25033.365 | REDACTED | 2043 | -49.91% | REDACTED | 2043 | 25% | 26% | 2043 | 18754.4102 | REDACTED

## Summary - Summer
2023 IRP Update Summer Summary - MG0 Scenario
Excludes Generic Expansion Resources
Net Capacity (MW) |  |  | Net Load (MW) |  |  | Reserve Margin (%) |  |  | Target Reserve Margin (%) |  |  | Summer Capacity Need (MW)
Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System | Year | GPC | System
2024 | 19870.9699 | REDACTED | 2024 | 16757.3509 | REDACTED | 2024 | 18.58% | REDACTED | 2024 | 14.86% | 15.75% | 2024 | -623.322 | REDACTED
2025 | 21941.0951 | REDACTED | 2025 | 17382.5538 | REDACTED | 2025 | 26.22% | REDACTED | 2025 | 14.86% | 15.75% | 2025 | -1975.3333 | REDACTED
2026 | 22079.6986 | REDACTED | 2026 | 18803.7392 | REDACTED | 2026 | 17.42% | REDACTED | 2026 | 14.86% | 15.75% | 2026 | -481.5501 | REDACTED
2027 | 23210.6681 | REDACTED | 2027 | 20633.4906 | REDACTED | 2027 | 12.49% | REDACTED | 2027 | 15.4% | 16.25% | 2027 | 599.6464 | REDACTED
2028 | 23233.9297 | REDACTED | 2028 | 21561.3308 | REDACTED | 2028 | 7.757% | REDACTED | 2028 | 15.4% | 16.25% | 2028 | 1647.0795 | REDACTED
2029 | 23399.9716 | REDACTED | 2029 | 22445.2815 | REDACTED | 2029 | 4.253% | REDACTED | 2029 | 15.4% | 16.25% | 2029 | 2501.0852 | REDACTED
2030 | 21452.9923 | REDACTED | 2030 | 23304.6024 | REDACTED | 2030 | -7.945% | REDACTED | 2030 | 15.4% | 16.25% | 2030 | 5439.6903 | REDACTED
2031 | 21767.1923 | REDACTED | 2031 | 23921.2433 | REDACTED | 2031 | -9.005% | REDACTED | 2031 | 15.4% | 16.25% | 2031 | 5837.072 | REDACTED
2032 | 22101.226 | REDACTED | 2032 | 24236.049 | REDACTED | 2032 | -8.808% | REDACTED | 2032 | 15.4% | 16.25% | 2032 | 5866.3128 | REDACTED
2033 | 22382.8741 | REDACTED | 2033 | 24497.4881 | REDACTED | 2033 | -8.632% | REDACTED | 2033 | 15.4% | 16.25% | 2033 | 5886.3562 | REDACTED
2034 | 22705.8431 | REDACTED | 2034 | 24716.8422 | REDACTED | 2034 | -8.136% | REDACTED | 2034 | 15.4% | 16.25% | 2034 | 5816.5141 | REDACTED
2035 | 20646.7501 | REDACTED | 2035 | 24878.5689 | REDACTED | 2035 | -17.01% | REDACTED | 2035 | 15.4% | 16.25% | 2035 | 8062.2338 | REDACTED
2036 | 17174.111 | REDACTED | 2036 | 25052.1438 | REDACTED | 2036 | -31.45% | REDACTED | 2036 | 15.4% | 16.25% | 2036 | 11735.1723 | REDACTED
2037 | 17044.29 | REDACTED | 2037 | 25298.609 | REDACTED | 2037 | -32.63% | REDACTED | 2037 | 15.4% | 16.25% | 2037 | 12149.4053 | REDACTED
2038 | 16816.04 | REDACTED | 2038 | 25531.8876 | REDACTED | 2038 | -34.14% | REDACTED | 2038 | 15.4% | 16.25% | 2038 | 12646.8506 | REDACTED
2039 | 16815.728 | REDACTED | 2039 | 25762.6883 | REDACTED | 2039 | -34.73% | REDACTED | 2039 | 15.4% | 16.25% | 2039 | 12913.4984 | REDACTED
2040 | 16506.728 | REDACTED | 2040 | 25984.0194 | REDACTED | 2040 | -36.47% | REDACTED | 2040 | 15.4% | 16.25% | 2040 | 13477.9066 | REDACTED
2041 | 16454.67 | REDACTED | 2041 | 26377.6601 | REDACTED | 2041 | -37.62% | REDACTED | 2041 | 15.4% | 16.25% | 2041 | 13984.212 | REDACTED
2042 | 16445.1951 | REDACTED | 2042 | 26743.444 | REDACTED | 2042 | -38.51% | REDACTED | 2042 | 15.4% | 16.25% | 2042 | 14415.7884 | REDACTED
2043 | 16439.9316 | REDACTED | 2043 | 27122.4338 | REDACTED | 2043 | -39.39% | REDACTED | 2043 | 15.4% | 16.25% | 2043 | 14858.3927 | REDACTED

## Energies
2023 IRP Update Summer Summary - MG0 Scenario
Energies (GWh)
Year | GPC | SYSTEM
2024 | 90619745.6493 | REDACTED
2025 | 95566626.5159 | REDACTED
2026 | 107124532.8599 | REDACTED
2027 | 121829470.4979 | REDACTED
2028 | 129717638.6821 | REDACTED
2029 | 136645398.6527 | REDACTED
2030 | 143745325.1405 | REDACTED
2031 | 148703701.3595 | REDACTED
2032 | 151635262.8491 | REDACTED
2033 | 153214828.7834 | REDACTED
2034 | 154993989.1222 | REDACTED
2035 | 156670377.6004 | REDACTED
2036 | 158837379.6527 | REDACTED
2037 | 160514559.1738 | REDACTED
2038 | 162429955.2603 | REDACTED
2039 | 164323357.8634 | REDACTED
2040 | 166369343.9065 | REDACTED
2041 | 168047513.6554 | REDACTED
2042 | 169901567.9973 | REDACTED
2043 | 171758953.7982 | REDACTED