## Dispatchable DSO - Winter
2023 IRP Update Winter Dispatchable Demand-Side Options
Program and Planning Capacities (MW)
Retail Operating Companies Summary - Program Capacity | [6 empty] | GPC - Program Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2024 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2024 | 177.64 | 46.335 | 68.9193 | 310.1678 | 155.0839 | 18.5 | 0 | 776.646
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 177.64 | 45.8828 | 68.8293 | 310.1678 | 155.0839 | 18.5 | 21 | 797.1038
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 177.64 | 43.5686 | 65.5657 | 310.1678 | 155.0839 | 18.5 | 47 | 817.5261
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 177.64 | 43.5165 | 65.5903 | 310.1678 | 155.0839 | 18.5 | 89 | 859.4985
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 177.64 | 38.5738 | 58.2037 | 310.1678 | 155.0839 | 18.5 | 148 | 906.1692
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 177.64 | 17.8079 | 24.5203 | 310.1678 | 155.0839 | 18.5 | 148 | 851.7199
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 177.64 | 18.246 | 25.6246 | 310.1678 | 155.0839 | 18.5 | 148 | 853.2623
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 177.64 | 16.9215 | 25.1561 | 310.1678 | 155.0839 | 18.5 | 148 | 851.4693
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 177.64 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 18.5 | 148 | 850.4556
[7 empty] | ELCC | 45% | 100% | 100% | 100% | 100% | 80% | 100%
[7 empty] | Availability-PAF | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | Loss Expansion Factor | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | Total | 45% | 100% | 100% | 100% | 100% | 80% | 100%
Retail Operating Companies Summary - Planning Capacity | [6 empty] | GPC - Planning Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2024 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2024 | 79.938 | 46.335 | 68.9193 | 310.1678 | 155.0839 | 14.8 | 0 | 675.244
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 79.938 | 45.8828 | 68.8293 | 310.1678 | 155.0839 | 14.8 | 21 | 695.7018
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 79.938 | 43.5686 | 65.5657 | 310.1678 | 155.0839 | 14.8 | 47 | 716.1241
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 79.938 | 43.5165 | 65.5903 | 310.1678 | 155.0839 | 14.8 | 89 | 758.0965
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 79.938 | 38.5738 | 58.2037 | 310.1678 | 155.0839 | 14.8 | 148 | 804.7672
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 79.938 | 17.8079 | 24.5203 | 310.1678 | 155.0839 | 14.8 | 148 | 750.3179
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 79.938 | 18.246 | 25.6246 | 310.1678 | 155.0839 | 14.8 | 148 | 751.8603
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 79.938 | 16.9215 | 25.1561 | 310.1678 | 155.0839 | 14.8 | 148 | 750.0673
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 79.938 | 16.1008 | 24.9631 | 310.1678 | 155.0839 | 14.8 | 148 | 749.0536

## Dispatchable DSO - Summer
2023 IRP Update Summer Dispatchable Demand-Side Options
Program and Planning Capacities (MW)
Retail Operating Companies Summary - Program Capacity | [6 empty] | GPC - Program Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2024 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2024 | 177.64 | 30.9521 | 185.577 | 313.0835 | 156.5417 | 18.5 | 0 | 882.2942
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 177.64 | 31.4915 | 188.4048 | 313.0835 | 156.5417 | 18.5 | 35 | 920.6614
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 177.64 | 31.1796 | 186.5036 | 313.0835 | 156.5417 | 18.5 | 68 | 951.4483
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 177.64 | 31.2064 | 186.7476 | 313.0835 | 156.5417 | 18.5 | 118 | 1001.7192
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 177.64 | 30.7498 | 183.9429 | 313.0835 | 156.5417 | 18.5 | 148 | 1028.458
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 177.64 | 13.5645 | 77.7019 | 313.0835 | 156.5417 | 18.5 | 148 | 905.0315
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 177.64 | 14.0076 | 80.5167 | 313.0835 | 156.5417 | 18.5 | 148 | 908.2894
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 177.64 | 13.8717 | 79.8457 | 313.0835 | 156.5417 | 18.5 | 148 | 907.4826
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 177.64 | 13.5406 | 76.694 | 313.0835 | 156.5417 | 18.5 | 148 | 903.9998
[7 empty] | ELCC | 50% | 95% | 100% | 100% | 100% | 70% | 95%
[7 empty] | Availability-PAF | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | Loss Expansion Factor | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[7 empty] | Total | 50% | 95% | 100% | 100% | 100% | 70% | 95%
Retail Operating Companies Summary - Planning Capacity | [6 empty] | GPC - Planning Capacity
Year | Interruptible Service (IS) | Real-Time Pricing (RTP) | Standby Generators (SBG) | CVR, DEEP, DROP | Other | Total | Year | IS | RTP |  | CVR, DEEP, DROP |  | Other |  | Total
[8 empty] | DPEC | RTPeDA | RTPeHA | CVR Level 1 | CVR Level 2 | Temp Check | DER Customer Program
2024 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2024 | 88.82 | 29.4045 | 185.577 | 313.0835 | 156.5417 | 12.95 | 0 | 786.3766
2025 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2025 | 88.82 | 29.9169 | 188.4048 | 313.0835 | 156.5417 | 12.95 | 33.25 | 822.9669
2026 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2026 | 88.82 | 29.6206 | 186.5036 | 313.0835 | 156.5417 | 12.95 | 64.6 | 852.1193
2027 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2027 | 88.82 | 29.6461 | 186.7476 | 313.0835 | 156.5417 | 12.95 | 112.1 | 899.8889
2028 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2028 | 88.82 | 29.2124 | 183.9429 | 313.0835 | 156.5417 | 12.95 | 140.6 | 925.1505
2029 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2029 | 88.82 | 12.8863 | 77.7019 | 313.0835 | 156.5417 | 12.95 | 140.6 | 802.5833
2030 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2030 | 88.82 | 13.3072 | 80.5167 | 313.0835 | 156.5417 | 12.95 | 140.6 | 805.8191
2031 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2031 | 88.82 | 13.1781 | 79.8457 | 313.0835 | 156.5417 | 12.95 | 140.6 | 805.019
2032 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2032 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2033 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2033 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2034 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2034 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2035 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2035 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2036 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2036 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2037 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2037 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2038 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2038 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2039 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2039 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2040 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2040 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2041 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2041 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2042 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2042 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528
2043 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | 2043 | 88.82 | 12.8636 | 76.694 | 313.0835 | 156.5417 | 12.95 | 140.6 | 801.5528

## Non-Dispatchable DSO - Winter
2023 IRP Update Winter Non-Dispatchable Demand-Side Options
Capacities (MW)
Year | GPC | System
2024 | 223.2432 | REDACTED
2025 | 326.7905 | REDACTED
2026 | 429.3327 | REDACTED
2027 | 516.6467 | REDACTED
2028 | 603.3928 | REDACTED
2029 | 689.2255 | REDACTED
2030 | 772.8506 | REDACTED
2031 | 856.5751 | REDACTED
2032 | 940.2998 | REDACTED
2033 | 1020.0789 | REDACTED
2034 | 1091.1328 | REDACTED
2035 | 1155.9425 | REDACTED
2036 | 1219.1056 | REDACTED
2037 | 1282.7263 | REDACTED
2038 | 1301.5368 | REDACTED
2039 | 1318.1178 | REDACTED
2040 | 1334.8051 | REDACTED
2041 | 1351.3585 | REDACTED
2042 | 1367.8909 | REDACTED
2043 | 1376.4821 | REDACTED

## Non-Dispatchable DSO - Summer
2023 IRP Update Summer Non-Dispatchable Demand-Side Options
Capacities (MW)
Year | GPC | System
2024 | 234.7948 | REDACTED
2025 | 342.7014 | REDACTED
2026 | 449.7441 | REDACTED
2027 | 540.7305 | REDACTED
2028 | 630.9698 | REDACTED
2029 | 720.2726 | REDACTED
2030 | 807.6543 | REDACTED
2031 | 895.124 | REDACTED
2032 | 982.5942 | REDACTED
2033 | 1066.3916 | REDACTED
2034 | 1144.0889 | REDACTED
2035 | 1216.1683 | REDACTED
2036 | 1286.4697 | REDACTED
2037 | 1357.047 | REDACTED
2038 | 1380.5449 | REDACTED
2039 | 1402.6126 | REDACTED
2040 | 1424.7629 | REDACTED
2041 | 1446.6801 | REDACTED
2042 | 1468.87 | REDACTED
2043 | 1481.0171 | REDACTED