## Glynn1
West Point P | [5 empty] | Proposed Load | Proposed Main Section 1 |  |  |  |  | Proposed Main Section 2 |  |  |  |  | Proposed Main Section 3 |  |  |  |  | Proposed Service |  |  |  | Cost Estimate |  | Approvals
Project Name | Address | Location Code | Project Summary | Requested By | Date Requested | Load (MCFH) | Category | Size (inches) | Type | Wall Thickness | Length (ft) | Category | Size (inches) | Type | Wall Thickness | Length (ft) | Category | Size (inches) | Type | Wall Thickness | Length (ft) | Size | Type | Wall Thickness | Length (ft) | Grand Total | Accuracy | Mgr | Director | VP | SVP
West Point Plantation |  | 4910 | Install 6,000' x 4" MHP PLS, Replace 4,100' x 4" MHP STL with 6" MHP STL, Replace 350' x 2" MHP PLS with 4" MHP PLS and connect to existing system with an NOP of 45 PSIG |  |  | 28 |  | 4 | PLS |  | 6350 |  | 6 | STL | 0.188 | 4100
TOTAL
Note: Steel MAOP 300 psi, plastic MAOP 60 psi unless otherwise noted
Disclaimer
The attached estimate is for planning purposes only and cannot be used as a firm quotation from Atlanta Gas Light or our contractors. We will not be able to provide a firm quote until the project undergoes additional engineering and cost information is solicited from our vendors thru our formal bid process. The costs provided are based on rule of thumb estimates, local knowledge, and/or past history as well as mapping technologies. Keep in mind the estimated installation period can be delayed due to permitting delays and undetected terrain features (boring through rock formations, water crossings, etc.).

## Glynn2
Project Information | [5 empty] | Proposed Load | Proposed Main Section 1 |  |  |  |  | Proposed Main Section 2 |  |  |  |  | Proposed Main Section 3 |  |  |  |  | Proposed Service |  |  |  | Cost Estimate |  | Approvals
Project Name | Address | Location Code | Project Summary | Requested By | Date Requested | Load (MCFH) | Category | Size (inches) | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Size | Type | Wall Thickness | Length (ft) | Grand Total | Accuracy | Mgr | Director | VP | SVP
Hampton Point |  | 4910 | Install 8,400' x 4" MHP PLS and connect to existing system with an NOP of 45 PSIG |  |  | 8 |  | 4 | PLS |  | 8400
TOTAL
Note: Steel MAOP 300 psi, plastic MAOP 60 psi
Disclaimer
The attached estimate is for planning purposes only and cannot be used as a firm quotation from Atlanta Gas Light or our contractors. We will not be able to provide a firm quote until the project undergoes additional engineering and cost information is solicited from our vendors thru our formal bid process. The costs provided are based on rule of thumb estimates, local knowledge, and/or past history as well as mapping technologies. Keep in mind the estimated installation period can be delayed due to permitting delays and undetected terrain features (boring through rock formations, water crossings, etc.).

## McIntosh
Project Information | [5 empty] | Proposed Load | Proposed Main Section 1 |  |  |  |  | Proposed Main Section 2 |  |  |  |  | Proposed Main Section 3 |  |  |  |  | Proposed Service |  |  |  | Cost Estimate |  | Approvals
Project Name | Address | Location Code | Project Summary | Requested By | Date Requested | Load (MCFH) | Category | Size | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Size | Type | Wall Thickness | Length (ft) | Grand Total | Accuracy | Mgr | Director | VP | SVP
Tidewaters Industrial Park |  |  | Install 37,000' HP STL Pipe |  |  |  |  | 6 | STL | 0.188
TOTAL
Note: Steel MAOP 300 psi, plastic MAOP 60 psi unless otherwise noted
Disclaimer
The attached estimate is for planning purposes only and cannot be used as a firm quotation from Atlanta Gas Light or our contractors. We will not be able to provide a firm quote until the project undergoes additional engineering and cost information is solicited from our vendors thru our formal bid process. The costs provided are based on rule of thumb estimates, local knowledge, and/or past history as well as mapping technologies. The estimated installation period can be delayed due to permitting delays and undetected terrain features (boring through rock formations, water crossings, etc.) which affects costs.

## Cherokee
Project Information | [5 empty] | Proposed Load | Proposed Main Section 1 |  |  |  |  | Proposed Main Section 2 |  |  |  |  | Proposed Main Section 3 |  |  |  |  | Proposed Service |  |  |  | Cost Estimate |  | Approvals
Project Name | Address | Location Code | Project Summary | Requested By | Date Requested | Load (MCFH) | Category | Size (inches) | Type | Wall Thickness | Length (ft) | Category | Size (inches) | Type | Wall Thickness | Length (ft) | Category | Size (inches) | Type | Wall Thickness | Length (ft) | Size | Type | Wall Thickness | Length (ft) | Grand Total | Accuracy | Mgr | Director | VP | SVP
Gin Ln at Holly St |  | 3740 | Install 1,600' x 4" MHP PLS and 1,000' x 2" MHP PLS |  |  | 1.2 |  | 4 | PLS |  | 1600 |  | 2 | PLS | 0.188 | 1000
TOTAL
Note: Steel MAOP 300 psi, plastic MAOP 60 psi
Disclaimer
The attached estimate is for planning purposes only and cannot be used as a firm quotation from Atlanta Gas Light or our contractors. We will not be able to provide a firm quote until the project undergoes additional engineering and cost information is solicited from our vendors thru our formal bid process. The costs provided are based on rule of thumb estimates, local knowledge, and/or past history as well as mapping technologies. Keep in mind the estimated installation period can be delayed due to permitting delays and undetected terrain features (boring through rock formations, water crossings, etc.).

## Athens_Clarke
Project Information | [5 empty] | Proposed Load | Proposed Main Section 1 |  |  |  |  | Proposed Main Section 2 |  |  |  |  | Proposed Main Section 3 |  |  |  |  | Proposed Service |  |  |  | Cost Estimate |  | Approvals
Project Name | Address | Location Code | Project Summary | Requested By | Date Requested | Load (MCFH) | Category | Size | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Size | Type | Wall Thickness | Length (ft) | Grand Total | Accuracy | Mgr | Director | VP | EVP
23INDUSTRIAL-3300-1310 SPRING VALLEY RD WINTERVILLE GA 30683 (MEISSNER) | 1310 SPRING VALLEY RD WINTERVILLE GA 30683 | 3300 | 5635' x 4" MHP PLS 525' x 4" MHP STL |  |  | 2.361 |  | 4" | PLS |  | 5635 |  | 4" | STL | 0.188" | 525
Note: Steel MAOP 300 psi, plastic MAOP 60 psi unless otherwise noted
Disclaimer
The attached estimate is for planning purposes only and cannot be used as a firm quotation from Atlanta Gas Light or our contractors. We will not be able to provide a firm quote until the project undergoes additional engineering and cost information is solicited from our vendors thru our formal bid process. The costs provided are based on rule of thumb estimates, local knowledge, and/or past history as well as mapping technologies. Keep in mind the estimated installation period can be delayed due to permitting delays and undetected terrain features (boring through rock formations, water crossings, etc.).

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only