Per Commission Rule 515-7-5-.07, the EDC shall include the following minimum filing requirements in its Annual USF Facilities Expansion Plan filing:

|  | (g) Provide a Project Technical Analysis (“PTA”) electronic Excel spreadsheet with live cells and formulas intact. The PTA spreadsheet will include multiple worksheets with the following: Separate worksheets for each project to include the engineering details of each project that will include, but not be limited to, the name of the project, type, size, maximum allowable operating pressure (“MAOP”), and length of approach main and service main in feet. For a CNG station, the details will include the name of the project, location, and a list of equipment to include, but not be limited to, the following: - Dispensers - Compressors - Storage - Dryer - Valve Panel - Regulators - CNG Equipment - Approach Main - Service Main - Engineering Design - Construction - Overheads |
| --- | --- |

Please see Attachment MFR-7: Project Technical Analysis.