## Lowndes
Project Information | [5 empty] | Proposed Load | Proposed Main Section 1 |  |  |  |  | Proposed Main Section 2 |  |  |  |  | Proposed Main Section 3 |  |  |  |  | Proposed Service |  |  |  | Cost Estimate |  | Approvals
Project Name | Address | Location Code | Project Summary | Requested By | Date Requested | Load (MCFH) | Category | Size | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Category | Size | Type | Wall Thickness | Length (ft) | Size | Type | Wall Thickness | Length (ft) | Grand Total | Accuracy | Mgr | Director | VP | SVP
Project Forage USF |  | 4930 | Install 20,370 L.F. Steel Pipe |  |  | 126.35 | Dist. | 6 12 | Steel | 0.280 0.375 | 170 8,600 | Dist. | 8 12 | Steel | 0.322 0.375 | 2,600 9,000
TOTAL
Note: Steel MAOP 300 psi, plastic MAOP 60 psi unless otherwise noted
Disclaimer
The attached estimate is for planning purposes only and cannot be used as a firm quotation from Atlanta Gas Light or our contractors. We will not be able to provide a firm quote until the project undergoes additional engineering and cost information is solicited from our vendors thru our formal bid process. The costs provided are based on rule of thumb estimates, local knowledge, and/or past history as well as mapping technologies. The estimated installation period can be delayed due to permitting delays and undetected terrain features (boring through rock formations, water crossings, etc.) which affects costs.

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only