I. Executive Summary

The Transmission Supplemental Filing supports the Company’s request for approval of the transmission improvements necessary to accommodate the resources proposed in the 2023 Integrated Resource Plan (“IRP”) Update, filed on October 27, 2023. This filing validates the generation portfolio proposed in the 2023 IRP Update, as shown in Table 1 below, along with assessing the generation portfolio with higher load levels to match the 2023 IRP Update Load Forecast.

Table 1: Generation Portfolio

| Resource | Description |
| --- | --- |
| Mississippi Power PPA | 750 MW through 2028 |
| Santa Rosa PPA | 215 MW through 2028 |
| Yates Combustion Turbines (“CTs”) | 1,350 MW - Two Units 12/1/2026 (900 MW) - One Unit 4/1/2027 (450 MW) |
| REDACTED BESS & Solar | 415 MW |

The results of the supplemental filing analysis confirm the plan proposed in the 2023 IRP Update filed on October 27, 2023. The Power Purchase Agreements (“PPAs”) with Mississippi Power and the Santa Rosa Energy Center can be accommodated without any transmission projects. The Yates CTs will be designated at 1,350 MW and will remain limited to 600 MW of firm output until the required transmission improvements, totaling $59,870,000, are in service by the summer of 2028. Additionally, the REDACTED BESS & Solar facility will remain limited to 200 MW of firm output until summer 2029, when all prior planned transmission projects are in service.

II. Overall Analysis

As noted in the Executive Summary, the Transmission Supplemental Filing evaluated the portfolio of generation resources shown in Table 1 and confirmed the recommendations filed in the 2023 IRP Update filing made on October 27, 2023. The PPAs with Mississippi Power and the Santa Rosa Energy Center can be accommodated without any transmission projects. The REDACTED BESS & Solar facility will remain limited to 200 MW of firm output until the summer of 2029 when all prior planned transmission projects are in service.

The Transmission Supplemental Analysis noted a $19,334,000 reduction in the transmission improvement costs that would be attributable to the Yates CTs, resulting in a decrease from $79,204,000 to $59,870,000. Table 2 below provides the list of transmission projects attributable to the Yates CTs.

Table 2: Yates Attributable Transmission Projects

| Project | Planning Grade Estimate | Lead – Time (months) | Need Date | 2023 TYP Need Date |
| --- | --- | --- | --- | --- |
| REDACTED REDACTED – REDACTED REDACTED REDACTED REDACTED REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| REDACTED REDACTED REDACTED REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| REDACTED – REDACTED REDACTED REDACTED | REDACTED | REDACTED | REDACTED 2 | REDACTED |
| REDACTED – REDACTED REDACTED REDACTED REDACTED | REDACTED | REDACTED | REDACTED 2 | REDACTED |
| REDACTED: REDACTED REDACTED – REDACTED REDACTED REDACTED REDACTED REDACTED (REDACTED REDACTED) | REDACTED | REDACTED | REDACTED 2 | REDACTED |
| REDACTED REDACTED – REDACTED REDACTED REDACTED REDACTED | REDACTED | REDACTED | REDACTED 2 | REDACTED |
| REDACTED REDACTED – REDACTED REDACTED REDACTED REDACTED REDACTED (REDACTED REDACTED) | REDACTED | REDACTED | REDACTED | REDACTED |
| REDACTED REDACTED – REDACTED REDACTED REDACTED REDACTED REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |
| Total = | $59,870,000 |  |  |  |

The Yates CTs will be designated at 1,350MW and will remain limited to 600 MW of firm output until the required transmission improvements shown in Table 2 are in service by the summer of 2028.

III. Study Assumptions

- Load Flow Cases: Series 2023, Version 2 base cases

- Study years: 2024 – 2033

- Case Seasons: Summer Peak (S), Off-Peak (O), Daylight Shoulder (D)

- Load Levels:

  - Base Load Level – includes version 2 committed customer choice loads (REDACTED REDACTED)

  - 2023 IRP Update Load Forecast – includes committed and potential customer choice loads (REDACTED REDACTED)

- Unit Extensions (through planning horizon):

  - Bowen Units 1 – 4

  - Scherer Unit 3

  - Gaston Units 1 – 4

- Unit Off/Area Max Scenarios:

| GPC Key Unit Out Scenarios: |  | GPC Area Max Scenarios: |
| --- | --- | --- |
| - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED | - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED | - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED - REDACTED |

IV. Trade Secret Files

The table below identifies and describes the Trade Secret files developed in support of the Transmission Supplemental Filing. These files are redacted in their entirety for the Public Disclosure version of the Transmission Supplemental Filing.

| Main Folder | Subfolder | Description |
| --- | --- | --- |
| Transmission Load Flow Cases | Base Load Level | 2023 version 2 load flow base cases with generation portfolio, prior queued items, and base committed loads. |
|  | 2023 IRP Update Load Forecast Level | 2023 version 2 load flow base cases with generation portfolio, prior queued items, and additional load modifications. |
| Case Modification Files | Prior Queued Table | Contains all prior queued items as of 10/10/2023 added to version 2 load flow base cases. |
|  | Load and Project Idevs | Contains all scripts used to modify 2023 version 2 load flow base cases. |
|  | Sub, Mon, Con files | Contains all files used in Unit Off and no unit off scenarios. |
| Load Flow Results Table | Overall Results Table | Contains worst loading results comparison to 2023 Ten Year Plan v2 cases, base load level cases, and 2023 IRP Update Load Forecast level cases. |
|  | Yates at 600MW Results Table | Contains reduced loading results in area with Yates at 600MW until 2028. |
| 2023 Ten Year Plan Comparison | --- | Final 2023 GA ITS Ten Year Plan spreadsheet that notes any new and/or advanced projects due to higher loads. |

REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED.

REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED.

REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED. REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED. REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED.

REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED. REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED REDACTED.