BEFORE THE PUBLIC SERVICE COMMISSION

STATE OF GEORGIA

In Re:						   :

:

CAPACITY AND ENERGY PAYMENTS			DOCKET NO.: 4822

TO COGENERATORS UNDER PURPA	   :

:

EMERGENCY PETITION OF PINE GATE RENEWABLES, LLC

FOR EXTENSION OF TIME

AND

PETITION FOR DECLARATORY RULING ON INTERCONNECTION COSTS FOR QUALIFYING FACILITIES

Comes now, PINE GATE RENEWABLES, LLC (“Pine Gate”), Petitioner, and pursuant to O.C.G.A. § 50-13-11, Commission Utility Rules 515-2-1-.04(3), 515-2-1-.12 and the Georgia Public Service Commission’s (“Commission”) Order (the “Order”) in the above styled docket files its “Emergency Petition for Extension of Time and Petition for Declaratory Ruling on Interconnection Costs for Qualifying Facilities” (“Emergency Petition”), seeking the following relief:

a.  an emergency extension of time of at least ninety (90) days or until the issues raised in this Petition are resolved, whichever is later, to execute State-jurisdictional Transmission Qualifying Facility (“QF”) Interconnection Agreements (“QFIAs”) with -----REDACTED------- (----------------REDACTED-----------------) for the interconnection of five (5) Pine Gate solar photovoltaic generation (“Solar PV”) facilities (the “Pine Gate QF Generators”) in ------ Redacted ------ service territory, the execution of which –Redacted-- is currently requiring on or before January 31, 2024;

b.  a declaratory ruling that –-Redacted----- requirement that Pine Gate ---Redacted ----------Redacted--                                                                 ---Redacted ----------Redacted------Redacted ----------Redacted------Redacted-----Redacted------Redacted        -----Redacted--- violates the Commission’s Order, the Qualifying Facilities Transmission Generator Interconnection Procedures (“QF-TGIP”) and pertinent provisions of the QFIA, and is unjust and unreasonable; and

c.  a declaratory ruling that ---Redacted ------- requirement that Pine Gate pay unreasonably high ---Redacted ----------Redacted ----------Redacted ----------Redacted ------  - at its Solar PV facilities pursuant to an ---Redacted ----------Redacted ----------Redacted ----------Redacted               -----     -- imposed by other utilities for similar facilities and require prepaid expenses that likely        exceed ---Redacted ------- actual costs violates the Commission’s Order, the QF-TGIP and QFIA.

INTRODUCTION

At a time when Georgia Power acknowledges its urgent need for new generation capacity, Pine Gate urges the Commission to remove unlawful barriers blocking the development of 420 megawatts (MW) of new, clean, affordable power generation that Pine Gate stands ready to build and operate to meet the growing energy demands of Georgia Power customers.  Specifically, Pine Gate seeks to construct six Solar PV facilities that as QFs will sell power to Georgia Power at avoided cost rates, meaning they will put downward pressure on rates even as they provide renewable energy needed for economic development in Georgia.  Pine Gate seeks to put these projects online by 2027, and to that end is willing to pay reasonable fees to accelerate an already-planned transmission system improvement ---Redacted ------- so that it comes online years faster than currently scheduled, boosting grid resiliency and hastening new generation resources onto Georgia Power’s system.

However, ---Redacted ------ has introduced a multi-million-dollar roadblock to Pine Gate’s plans by ---Redacted ----------Redacted ----------Redacted ----------Redacted -------.  Importantly and before ---Redacted ------- announced that requirement, ---Redacted ------- already been identified as needed – and slated for construction – in the draft 2023 Ten Year Transmission Plan developed by the Southeast Regional Transmission Planning (“SERTP”) collaborative, which includes Southern Company and -ted -------.  Like that draft plan, the Final 2023 SERTP Ten Year Plan reached the same conclusion: that the ---Redacted ------- is needed and will be built by 2030 regardless of Pine Gate’s projects.  Nevertheless, rather than allowing Pine Gate to pay acceleration costs for the ---Redacted ----- as originally indicated ---Redacted ----------Redacted --------Redacted --------- has ---Redacted ----------Redacted ------- for the entire ---Redacted -------on the theory that ---Redacted ----------Redacted ------- for Pine Gate’s generators.

That theory, as explained below, is meritless.  --        cted -       -- is 100 miles from most of Pine Gate’s projects and is on a differently owned transmission system than the one to which Pine Gate’s projects will actually interconnect.  Attempting to require Pine Gate to pay for an             ---   R      c                                                                                                             t                           e -------Redacted ------- for Pine Gate’s facilities is unfair and discriminatory towards Pine Gate’s QF Generators that will sell electricity to the Company at avoided cost.  It also conflicts with the Commission’s approved QF-TGIP and runs headlong into clear Federal Energy Regulatory Commission (“FERC”) precedent that prohibits treating already-needed, already-planned network upgrades that benefit the entire transmission system as the sole responsibility of interconnecting generators.

Rather than saddle Pine Gate’s projects with unjustified and unlawful costs, the Commission should allow Pine Gate to ---Redacted ----------Redacted ----------Redacted -----  -- which would bring that needed transmission project into service by 2027 – three years earlier than it otherwise would.  That solution would do two important things.  First, it would use private investment to speed the buildout and development of Georgia’s vital transmission system to enhance grid reliability and efficiency for ratepayers.  Second, it would enable the timely deployment of new, low-cost clean energy in Georgia to meet the state’s quickly growing power demands.

Beyond ---Red-------, the Commission should also review the costs ---Redacted ------- seeks to impose on the Pine Gate QF Generators ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------.  Pine Gate is certainly not opposed to paying for the actual reasonable costs needed to ---Redacted ----------Redacted --- necessary to allow Pine Gate’s projects to interconnect to the grid.  However, the costs that ---Redacted ------- seeks to impose on Pine Gate appear unreasonably high and, to make matters worse, are being imposed ---Redacted --------Redacted --------- that has never been reviewed by the Commission, the public, or by interconnecting generators such as Pine Gate. The costs are high enough to materially impact the economic viability of Pine Gate’s projects.  Yet without Commission intervention, Pine Gate has no means to understand those costs much less verify that they have any reasonable basis.  The Commission should require ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ------ -.

The Commission should therefore grant the relief requested above.

JURISDICTION OF THE COMMISSION

This Commission has jurisdiction to oversee the valuation of renewable energy generation resources.  It has general regulatory authority over electric utilities in Georgia pursuant to O.C.G.A. §§ 46-2-20, 46-2-21 and 46-2-23, and it is responsible for administration of the Integrated Resources Planning Act, O.C.G.A. § 46-3A-1, et seq.  This Commission has jurisdiction to implement the provisions of the Public Utilities Regulatory Policy Act of 1978 (“PURPA”), and pursuant thereto, this Commission reserved “the right to determine the reasonableness of any State-jurisdictional interconnection costs assigned to a QF through a QFIA or a negotiated QF Standard Offer Contract” in the Commission’s Order.  Pursuant to O.C.G.A. § 50-13-11 and Commission Utility Rule 515-2-1-.12, this Commission may issue a declaratory ruling in any matter in which the petitioner is uncertain or insecure with respect to its rights.

STATEMENT OF FACTS

Pine Gate is a limited liability company authorized to do business in Georgia on February 2, 2022, Control No.:  22032793.   Pine Gate maintains its principal place of business at 130 Roberts Street, Asheville, North Carolina 28801.  Pine Gate has participated in a number of dockets pending before this Commission, both in its own name and as a member of trade associations in which it actively participates.

Through its subsidiaries, the Pine Gate QF Generators, Pine Gate is developing six solar PV projects.  The ---Redacted- tendered QFIAs for five of them initially requiring execution on or before January 5, 2024, as follows:

1.  GPCQF – 1048 between Berrien Solar, LLC (“Berrien Solar”)(January 1, 2024);

2.   GPCQF – 1063 between Broxton Solar, LLC (“Broxton Solar”)(January 1, 2024);

3.  GPCQF – 1046 between Claxton Solar Project, LLC (“Claxton Solar”)(January 1, 2024);

4.   GPCQF - 1056 between Rebecca Solar, LLC (“Rebecca Solar”)(January 2, 2024); and

5.  GPCQF – 1069 between Sandersville Solar, LLC (“Sandersville Solar”)(January 1, 2024).

---Redacted ---- extended the deadline for execution of the QFIAs to January 31, 2024.  Pine Gate’s sixth project, Drawhorn Solar, LLC (“Drawhorn Solar”), GPCQF - 1120 has not received a QFIA for execution, though it is expected soon.  Pine Gate expects its requests in this Petition to similarly apply to Drawhorn Solar, as well.

The history and timelines of the QF Generators are shown in Table Pine Gate I.

table pine gate – i

list of projects

Interconnection for Pine Gate’s QF Generators proceeded according to the QF-TGIP approved by this Commission.  Pine Gate’s QF Generators are in the Company’s interconnection queue, though failure to execute the five pending QFIAs prior to January 31, 2024 will result in removal of Pine Gate’s QF Generators from the queue and require Pine Gate to start the interconnection process over for each.

Pine Gate’s QF Generators (including Drawhorn Solar) which are all similarly impacted by the ---Redacted --- have the capacity to produce approximately 420MWac of power in Georgia.  Along with Pine Gate’s existing Solar PV generation facilities in Georgia, these projects evidence Pine Gate’s significant economic investments in the state.  Because Claxton Solar was the first Pine Gate project to receive a QFIA with a required date for execution, developments related to its QFIA are used herein to explain the necessity of this Emergency Petition. 	Claxton Solar will develop an 80 MW Solar PV generation facility in Evans County, Georgia.   Claxton Solar expects to enter into a “Standard Contract for the Purchase of Non-Firm Energy from a Qualifying Facility” (the “Standard QF PPA[s]”) with Georgia Power (the “Claxton Solar PPA”).

Development of the Claxton Solar QFIA progressed pursuant to the QF-TGIP approved by this Commission for QFs, as follows:

- Claxton Solar entered into a QF Interconnection Study Agreement for GPCQF-1046 (the “Study Agreement”) on November 7, 2022;

- Pursuant to the Study Agreement, Section 1.1, Southern Company Services (“SCS”) performed the QF Interconnection Study (“Interconnection Study”) on behalf of the      ---Redacted ---;

- The Phase I QF Interconnection Study provided to Claxton Solar on February 5, 2023, ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Red;

- The Phase II QF Interconnection Study (the “Phase II Study”) provided to Claxton Solar on July 10, 2023, however, ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacte     -      - noted that if the ---Redact  e were removed from the SERTP 2023 Final Ten-Year Plan, it “could become the responsibility” of Claxton Solar;

- The SERTP Final 2023 Ten-Year Plan issued on November 27, 2023, did indeed include the ---Redacted -- as a planned transmission system project, explaining that        ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------

- From the date of the Phase II Study, Pine Gate and ---Redacted ------- have been in amicable discussions related to the procedures and responsibilities governing the required network upgrades, which issues remain unresolved;

- ---Redacted ------- tendered Claxton Solar a draft QFIA on September 29, 2023, which improperly identified the ---Redacted ----                                                                   ----Redacted ------                       - and required Claxton Solar’s payment ---Redacted ------   -          ---Redacted ------- for the full ---Redacted ----------Redacted ----------Redacted ----------               Redacted ----------Redacted ----------Redacted ----------Redacted ;

- On January 1, 2024, ---Redacted ------- tendered Claxton Solar a revised QFIA with additional language regarding the mechanics for ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Re d.  The QFIA continued to improperly identify the ---Redacted ------- as ---Redacted ----------Redacted ----------Redacted ----------Re t- years and required Claxton Solar to provide ---Redacte- with a ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Reda           cted ----      --- cost identified in the Phase II Study and despite the inclusion of the ---Redacted ---- in the SERTP Final 2023 Ten-Year Plan;

i.   On January 1 and 2, 2024, the ---Redacte- also tendered revised QFIAs to Pine Gate for Berrien, Broxton, Rebecca, and Sandersville with execution required on January 5, 2024 which similarly improperly identified ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----      -   -- in each QFIA and required ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted   ; and

j.   The QFIAs tendered by ---Redacted ------- required payment ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------;

k.  Execution of the QFIAs on or before January 5, 2024 in turn triggered Pine Gate’s obligation to provide --       -Redacted ------- and provide ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -----  --.

l.	On January 5, 2024, ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------c------. While ---Redacted ----------Redacted ----------Redacted ----- did not reissue QFIAs with updated dates for signature.  Pine Gate is appreciative of that extension and has diligently used the intervening time to pursue collaborative resolution of these issues with the ---Redact-. Unfortunately, those efforts have come to an impasse, requiring the intervention of this Commission.

If timing relief is not granted, Pine Gate’s QF Generators will face a painful Catch-22 choice not of their own making.  First, Pine Gate could choose to execute the QFIAs on January 31 and ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacte     d ----------Redacted ------- and would be undertaken by an entirely separate entity ---Redacted without protection or privity for Pine Gate, potentially waiving its rights to contest the imposition of the ---Redacted --- and --edacted ----.  Second, Pine Gate could choose not to execute the QFIAs by January 31, which could forfeit its projects’ positions in the interconnection queue and require the projects to restart the interconnection study process entirely anew, significantly delaying and irreparably harming the 420 MWac of Solar PV projects into which Pine Gate has already invested millions of dollars.

I.

REQUEST FOR EMERGENCY RELIEF

Pine Gate seeks emergency relief to maintain the status quo for execution of the Pine Gate QF Generators’ QFIAs and their positions in the Company’s interconnection queue pending resolution of the issues raised herein.  Pine Gate’s request for emergency relief to extend the time to execute the five (5) QF Generators’ QFIAs for at least ninety (90) days or until this dispute is resolved, whichever is later, is reasonable and should be granted.  The position of the Pine Gate QF Generators in the Company’s interconnection queue should be maintained during such time.

Commission Utility Rule 515-2-1-.04(3) allows the Commission to approve emergency relief in its discretion.  Requests for emergency or expedited relief to this Commission are (and should be) rare, but emergency relief is appropriate when the facts so require, as they do here.  Here, ---Redacted ------- conveyed the Pine Gate’s QF Generators’ QFIAs on January 1, 2024 for Berrien Solar, Broxton Solar, Claxton Solar and Sandersville Solar and January 2, 2024 for Rebecca Solar.  The ---Redacte - agreed to extend the execution deadline to January 31, 2024. Pine Gate appreciates ---Redacted ------- willingness to provide that additional timeline, and it has used the intervening days to explore resolution options with---Redacted ----.  With those discussions at an impasse, the Parties will be unable to resolve responsibilities between the Parties and  ---Redacte     concerning payment and construction of the ---Redac      ted  and the -    --Redacted ------- by January 31.

Pine Gate’s Emergency Petition presents the Commission with issues of first impression related to QF interconnection.  On information and belief, this Commission has never reviewed the requirement and procedure by which a QF (upon execution of the QFIA) is made responsible ---Redacted ----------Redacted ----------Redacted ----------Redacted  that is included in SERTP’s Final 2023 Ten-Year Transmission Plan as a proposed network improvement and (upon information and belief) for which ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Reda  --- – the remaining question being when.  This makes ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redact     ----------Redacted --- (the entity that would actually build and own that upgrade) is not requesting any funds or security at this time.  Similarly, the Commission has not reviewed a situation where a QF has been ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------.

Because the interconnection issues raised in this petition appear to be ones of first impression for the Commission and require Commission resolution, it is proper and appropriate for the Commission to maintain the status quo and hold the QFIA execution deadlines in abeyance for 90 days or until the Commission is able to resolve these disputes, whichever is later. Pine Gate’s requested relief is necessary to preserve the Commission’s jurisdiction to resolve these matters, and it is consistent with past Commission action on QF interconnection issues. The Commission will recall that the Company in late 2021 sought immediate review of interconnection agreements for several QF projects, contesting its responsibility to reimburse QFs for network upgrades.  The Commission promptly placed the Company’s request on the Energy Committee agenda for November 16, 2021 as a discussion item.  Thereafter, informal procedures resulted in resolution of the issues Georgia Power presented.  Pine Gate’s Petition falls within this precedent, and the Commission should maintain the status quo regarding execution of the Pine Gate QF Generators’ QFIAs and their positions in the interconnection queue to allow the Parties (and if needed, the Commission) time to resolve issues pertinent to the ---Redacted ----------Redacted--- and ---Redacted ------- identified in the QFIAs.   To allow resolution of the issues of first impression before this Commission, Pine Gate’s request for timing relief is appropriate.

II.

REQUEST FOR DECLARATORY RELIEF

Pursuant to O.C.G.A. § 50-13-11 and Commission Utility Rule 515-2-1-.12, Pine Gate requests that the Commission issue a declaratory ruling as to its rights and obligations under the Pine Gate QF Generators’ QFIAs.  In compliance therewith, Pine Gate’s Petition includes the following information:

a.  Petitioner’s name and address:

Pine Gate Renewables, LLC

130 Roberts Street

Asheville, North Carolina   28801

(for itself and on behalf of its subsidiaries, the Pine Gate QF Generators)

b.  The full text of the statute, rule or order upon which a ruling is requested:

- “Order;” In re: Capacity and Energy Payments to Cogenerators Under PURPA; Docket 4822 (March 11, 2021) https://psc.ga.gov/search/facts-document/?documentId=184684;

- “Order Approving Qualifying Facility Interconnection Procedures and Interconnection Agreement Documents;” Docket 4822 (May 24, 2022) https://psc.ga.gov/search/facts-document/?documentId=190208; and

3.  Georgia Power Company’s QFGuidelines (as applicable), Docket 4822 (April 8. 2022) https://psc.ga.gov/search/facts-document/?documentId=189524.

c.  Paragraph statement of pertinent and existing facts necessary to determine the applicability of the quoted statute or rule:

Refer to Statement of Facts, supra and Argument and Citation of Authorities, infra.

d.   Statement of Petitioner’s interest in the matter and why Petitioner is uncertain with respect to its rights:

Refer to Statement of Facts, supra.

(e).  Petitioner’s contention with citation of legal authorities to support a decision in accordance therewith:

Refer to Argument and Citation of Authorities, infra.

A.  The Commission should declare that Pine Gate’s QF Generators are not required to provide Georgia Power a $30,050,000 Letter of Credit for the distant MEAG Project, which is already slated for construction in the 10-Year Transmission Plan to benefit transmission system efficiency and reliability regardless of Pine Gate’s projects.

1.  The ---Redacted -------, which is distant from Pine Gate’s projects and slated for construction with or without them, is not an ---Redacted ------                 -  under the QF-TGIP.

While ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ------- As explained below, that position is untenable.  Consistent with ---Redacted ------- earlier position, the Commission should allow Pine Gate ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------.

The ---Redacted ---, which is 100 miles or more beyond the interconnection points for four of the Pine Gate Projects and twenty miles from the remaining two, cannot be an ---Redacted ----------Reda for any of them as a factual or legal matter. That conclusion is underscored by the reality that the ---Redacted ------ would be built on the ---Redacte- transmission system, while Pine Gate’s projects would physically interconnect to a different transmission system – owned by ---Redacted -------.  Interconnection facilities, as the name suggests, are those required to connect a generator to the grid. Because they benefit the generator only, the generator typically pays for them.  Network upgrades, by contrast, are improvements beyond the point of interconnection, and their benefits and their costs can be widely spread.

FERC uses a “simple test for distinguishing Interconnection Facilities from Network Upgrades,” with Network Upgrades being all facilities “at or beyond the point where the Interconnection Customer’s Generating Facility interconnects to the Transmission Provider’s Transmission System.”  This common sense distinction has been recognized by other state tribunals seeking to “distinguish interconnection costs from network upgrade costs, rather than jumbling their meanings, because they express two distinct concepts.” CED Wheatland Wind LLC V. Montana Department Of Public Service Regulation, 509 P.3d 19 (MT 2022).

Since the ---Redacted ----- would be built on a different transmission owner’s system over 100 miles away from the actual points of interconnection for most of Pine Gate’s projects, it is not an Interconnection Facility for those projects. Furthermore, the ---Redacted ------- cannot be an Interconnection Facility for Pine Gate’s QF Generators because the ---Redacted ------- would be needed with or without Pine Gate’s QFs.  The Final 2023 SERTP Ten-Year Plan contains the ---Redacted ------- with a scheduled in-service date of 2030.  Accordingly, even if the QF-TGIP’s definition of “Interconnection Facilities” could somehow apply to a transmission project far beyond the point of interconnection, that definition excludes “physical facilities that would otherwise have been installed or modified absent  Generator’s QF Interconnection Request (i.e., are not included in the Ten-Year Plan).”  In this respect, the QF-TGIP accords with FERC Order 1000, which allocates the costs of planned transmission upgrades to the general universe of transmission customers and with precedent that rejects making individual QF Generators pay for planned upgrades as unnecessary and inappropriate.

Notably, ---Redacted ----------Re       dacted ------- results for Pine Gate’s projects recognized as much.  While ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted --                    ----- – i.e., one that was already in the works for reasons unrelated to Pine Gate’s QF Generators.  Further, ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ------.  Further, the Phase II Study observed that ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Reacte-----.”  In other words, ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ------- project would be built with or without Pine Gate’s generators, and is not Pine Gate’s responsibility. ---Redacted ----------Redact    ed -------, like the QF-TGIP and FERC precedent, is flatly inconsistent with requiring Pine Gate to pay for the ---Redacted ------- as an “Interconnection Facility.”

Pine Gate is willing to pay reasonable costs to accelerate both the ---Redacted                          ----                  --- as well as new low-cost clean energy generation to the benefit of Georgia ratepayers. What ---Redacted ------- cannot require Pine Gate to do is ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ---------Redacted ---.

2.  Allocating the cost of the MEAG Project to Pine Gate’s QF Generators

through the QFIA is unreasonable, discriminatory, and contrary to FERC precedent and the foundational ratemaking principles underlying them.

It is important to note that the QF-TGIP definition of Interconnection Facility is limited to “the physical facilities necessary to permit interconnected operations” as “consistent with PURPA and 18 C.F.R. § 292.101(b)(7).”  That federal regulation, in turn, limits costs to the “reasonable costs” of interconnection “directly related” to physical facilities “necessary to permit interconnected operations with a qualifying facility,” and only to the extent such costs exceed the costs which the utility “would have incurred if it had not engaged in interconnected operations.”  As noted above, because the ---Redacted ------- costs “would have [been] incurred” without Pine Gate’s QF Generators, those costs cannot be included as the costs of Interconnection Facilities.

This is confirmed by FERC precedent concerning both the allocation of costs for transmission system upgrades in SERTP’s Ten-Year Plan and the assignment of upgrade costs to interconnection customers and long-standing ratemaking principles which preclude allocating the full costs of the ---Redacted ------ to the Pine Gate projects.  Allocating the costs of upgrades in the SERTP Ten-Year Plan to interconnection customers would be inconsistent with FERC Order 1000 and would conflict with FERC’s regulation of the SERTP Ten-Year Plan because the impact of the Pine Gate QF Generators on the Ray Place – Warrenton Primary 115 kV line is trivial.

FERC precedent requires that the cost of the ---Redacted ------- be allocated to beneficiaries “in a way that is roughly commensurate with the benefits received,” which “precludes an allocation where the benefits received are trivial in relation to the costs to be borne.”  As noted, ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------. Thus, the benefits of the ---Redacted ------- will overwhelmingly go to customers other than Pine Gate.  Accordingly, allocating the costs of the ---Redacted ------- to the QF Generators through the QFIAs would be entirely inconsistent with fundamental principles of cost causation.  As with other transmission customers in the region, to the extent the QF Generators benefit from the ---Redacted ----, they will pay their share of the costs of each project through transmission rates.

Second, regardless of whether the ---Redacted ------- is in the SERTP Ten-Year Plan, allocating the cost of the ---Redacted ------- to Pine Gate’s QF Generators through the QFIAs is inconsistent with FERC precedent specifically concerning the allocation of system upgrade costs to interconnection customers.  Consistent with the ratemaking principles described above, FERC prohibits the assignment of transmission upgrade costs to the QF Generators where such upgrades would be undertaken to improve transmission system performance regardless of the QF Generator’s interconnection.  Indeed, the fact of inclusion of a project in a comprehensive transmission system plan shows that the project is needed for improved system operation and should not be assigned to the interconnecting generator.

As noted above, ---Redacted ------- Phase II Study Report shows that each of Pine Gate’s QF Generators’ power generation ---Redacted -------  ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----      --- is designed to replace. In other words, Pine Gate’s Solar PV projects will contribute a de minimis amount of power to a line that is already ---Redacted ----------Redacted ----------Redacted --        -----.  Thus (and for the reasons stated above), allocating the costs of the ---Redacted ------- to the Pine Gate QF Generators through the QFIAs violates FERC precedent and foundational ratemaking principles three times over: the ---Redacted ---- is not an “Interconnection Facility,” Pine Gate’s QF Generators are not the but-for cause of the upgrade, and they cumulatively have only a de minimis impact on the transmission line at issue.

3.  The ---Redacted ----------Redacted ----------Redacted ----------Redacte--- is unclear and has not been reviewed by the Commission.

The ---Redacted ------- role in ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -- is unclear in the QFIA, and no procedures therefor have been approved by this Commission.  In Section 1.2(C), the QFIA imposes the obligation on the QF, not Georgia Power, to “coordinate with each Affected System-Interconnection Utility to conduct any appropriate study and to accomplish the necessary modification.”  However, Georgia Power (in the QFIA) imposes on itself the obligation to design and construct the network upgrades on MEAG’s system.  (QFIA, Section 1.5(F)). Contrary thereto, the QF-TGIP requires that questions regarding the scope and cost of the ---Redacted ----- must be resolved between Pine Gate and ---Redacted -.  (QF-TGIP, Section 15).  Therefore, Pine Gate’s QF Generators must coordinate with ---Redct on the ---Redacted ---, but provide ---Redacted ----------Redacted -------.  There is no document between ---Redacted ---, Pine Gate and ---acted - which addresses the procedures by which the ---Redacted ------- may hold or release ---Redac ----Redacted ----------Redacted -------, and (on information and belief) no such document has been approved for use by ---Rcted ------- in the QF-TGIP.

B.  The Pine Gate QF Projects should be allowed to proceed upon paying reasonable acceleration costs to advance the MEAG Project.

The Commission should declare that the Pine Gate QF Generators payment of ---Redacted ----------Redac--- to advance the ---Redacted ---- satisfies their interconnection obligation.  Relying on the ---Redacted ----------Redacted -------, Pine Gate was and is willing to pay reasonable acceleration costs spread across all of Pine Gate’s QF Generators to advance ---Redacted ----- -- to the year 2027, which would enable Pine Gate’s QF Generators to timely energize and provide low-cost energy to Georgia Power’s customers.  At this time, however, ---Redacted ------- has not adequately explained how it arrived at its ---Redacted ------- which appear to simply equal ---Redacted ----------Redact-- per each year of advancement.  Under ---Redd------ current assessment, Pine Gate would end up paying for nearly a third of the estimated capital costs of the ---Redacted ----- -- even though the ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted ----               ---.  The Commission should require ---Redacted ------- to identify the actual and reasonable costs attributable to ---Redacted    ------- and clarify ---Redacted ----------Redacted ----------Redacted ----------Redacted -------.

C.  The Commission should declare that the O&M costs

assigned to Pine Gate’s QF Generators are unreasonable.

The Commission should declare that the ---Redacted -----    -- imposed on the Pine Gate QF Generators by ---Redacted ------- are unreasonable.  The QFIAs tendered to Pine Gate’s QF Generators require them to pay what appear to be ---Redacted ----------Reed --- for interconnection facilities. For Claxton Solar, ---Redacted ------- are ---Redacted  per month, or --ted ------- per year – amounting to ---Redacted - over a 20-year PPA term for an interconnection facility whose capital costs are ---Redacted -------.

Based on Pine Gate’s experience in other jurisdictions and utility territories, this figure is unreasonably high and significantly exceeds ---Redacted ------- in analogous scenarios.  Pine Gate understands that ---Redacted ----  --- uses -  --Redacted      ------- to derive costs but has not provided ---Redacted -------. Upon information and belief, the ---Redact- has never been presented to the Commission, interconnecting generators, or to the public for review.  Use of a non-public formula to collect ---Redacted ------- erodes trust in the interconnection process and, to the extent it collects fees incommensurate with actual costs, is not just and reasonable.

Among other problems, interconnecting generators do not know ---Redacted ----- based on valid factors, or on factors that may have been valid when first developed but are no longer so.  For example, ---Redacted ----------Redacted ----------Redacted ----------Redacted- costs, those fees may have risen due to equipment costs that escalated far higher than the costs of operating and maintaining that equipment.  To illustrate, the cost of a new substation may have increased by a factor of five in the last ten years, but the costs of operating and maintaining that station have not.  A fixed formula driven by the former will over-collect fees for the latter.  Similarly, because the capital costs of interconnection facilities can vary greatly for reasons (e.g., cost of building in challenging terrain) that do not actually translate into higher ---Redacted ---, a fixed formula driven by capital costs will result in overcollection. To the extent the formula assumes equipment replacements, generators do not know whether the replacement cycle assumptions are valid, or whether, for example, the ---Redacted ------- assume the replacement of ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted -------.

Other jurisdictions take a different approach.  Some charge generators for actual O&M costs after costs are incurred, which provides obvious transparency for generators while protecting the utility and ratepayers. Other jurisdictions use formulas for estimating O&M costs, but provide more transparency into the manner in which those formulas are set (and revised) and require that the utility true-up the amounts paid against O&M costs actually incurred.

While Pine Gate will pay fair and reasonable ---Redacted , the imposition of ---Redacted ----------Redacted ----------Redacted ----------Redacted ----------Redacted                 ------- new energy generation plants in Georgia.  The Commission should direct ---Redacted-- to revise its use of the ---Redacted ------- and instead ---Redacted ------- costs using the actual costs incurred.  Alternatively, if the Commission finds that a formula should be used, it should adopt a transparent formula based on known and verifiable factors that capture likely ---Redacted ----, backstopped by a true-up process to ensure that neither generators, ---Redacte-----, nor ratepayers are overcharged.

CONCLUSION

For the above and foregoing reasons, the Emergency Petition of Pine Gate Renewables, LLC for an Extension of Time and Petition for Declaratory Ruling on Interconnection Costs for Qualifying Facilities must be granted.

This 30th  day of January, 2024.

GALLOWAY & LYNDALL, LLP

Counsel for PINE GATE RENEWABLES, LLC

/s/ Newton M. Galloway______________________

Newton M. Galloway

Georgia Bar No.:  283069

Terri M. Lyndall

Georgia Bar No.: 462235

The Lewis-Mills House

406 North Hill Street

Griffin, GA  30223

(770) 233-6230 telephone

(770) 233-6231 facsimile

ngalloway@gallyn-law.com

tlyndall@gallyn-law.com

PINE GATE RENEWABLES, LLC

/s/J. Blanding Holman IV__________________

J. Blanding Holman IV 
Vice President, Regulatory Affairs

130 Roberts Street

Asheville, North Carolina 28801

(828) 237-1210
bholman@pgrenewables.com

CERTIFICATE OF SERVICE

I hereby certify that I have this day served a copy of the within and foregoing EMERGENCY PETITION OF PINE GATE RENEWABLES, LLC FOR EXTENSION OF TIME AND PETITION FOR DECLARATORY RULING ON INTERCONNECTION COSTS FOR QUALIFYING FACILITIES upon the following persons by causing electronic copies of the same to be transmitted to each interested party that has supplied a valid email address and by first class mail with adequate postage affixed thereon and deposited in the United States Mail addressed to interested parties that have not supplied a valid email address as follows:

Ms. Sallie Tanner

Executive Secretary

Georgia Public Service Commission

244 Washington Street, First Floor

Atlanta, Georgia 30334

Mr. Preston Thomas

Georgia Public Service Commission

244 Washington Street, First Floor

Atlanta, Georgia 30334

pthomas@psc.ga.gov

Ms. Jamie Barber

Georgia Public Service Commission

244 Washington Street, First Floor

Atlanta, Georgia 30334

jamieb@psc.ga.gov

Mr. Steven J. Hewitson

Troutman Pepper Hamilton Sanders, LLP

Bank of America Plaza

600 Peachtree Street, N.E.

Suite 3000

Atlanta, Georgia  30308-2216

steven.hewitson@troutman.com

This 30th day of January 2024.

GALLOWAY & LYNDALL, LLP

Counsel for PINE GATE RENEWABLES, LLC

/s/Newton M. Galloway______________________

Newton M. Galloway

“Order;” In re: Capacity and Energy Payments to Cogenerators Under PURPA; Docket 4822 (March 11, 2021).

A sixth Pine Gate Solar PV project has not yet received a QFIA, though it is expected soon.  It is identified below.

Id., at Ordering Paragraph L, p. 27.  Based upon the Order and at the Company’s request, the Commission reviewed interconnection network upgrade costs for two solar projects:  CPV Five Bridges and Heelstone Alligator Creek.  (See: “Letter from Mr. Sean Finnerty to Chair Pridemore;” Docket 4822 (December 2, 2021)(CPV Five Bridges); “Letter from Newton M. Galloway to Chair Pridemore;” Docket 4822 (December 16, 2021)(Heelstone Alligator Creek)).

“Order Approving Qualifying Facility Interconnection Procedures and Interconnection Agreement Documents;” Docket 4822 (May 24, 2022).

Claxton Solar is a foreign limited liability corporation authorized to do business in Georgia on November 18, 2020, Control No.:   20227047, maintaining its principal place of business at 130 Roberts Street, Asheville, North Carolina 28801.  Pine Gate similarly created the other QF Generators.  The Claxton Solar project is located at Latitude 32.085296/Longitude 81.90675, Evans County, tax parcel identification no.:  027-024.

“Letter from Steven J. Hewitson to Mr. Reece McAlister;” Docket 4822 (March 2, 2021), conveying Georgia Power’s QF Standard Offer Contracts which were approved by the Commission.

“Order Approving Qualifying Facility Interconnection Procedures and Interconnection Agreement Documents;” Docket 4822 (May 24, 2022).

Georgia Power executed the Study Agreement last on this date.

2023 SERTP Regional Transmission Plan, at 97, available at, 2023_SERTP_Regional_Transmission_Plan_and_Input_Assumptions.pdf (southeasternrtp.com).

This request will include Drawhorn Solar when its QFIA is provided by the Company.

See, e.g.:  Emergency Joint Petition of Marketer Group for Expedited Establishment of COVID-19 Natural Gas Assurance Program; Docket 43115 (April 7, 2020); In re: Global NAPS Georgia, Inc Emergency Petition for Declaratory Ruling Concerning Threatened Denial of Service by BellSouth Telecommunications, Inc.; Docket 16200 (November 6, 2002);

Foregoing standard filing and pleading procedures, the Company submitted a simple letter request asking for prompt review of interconnection costs for reimbursable network upgrades.

See: “Order Approving Negotiated Contract between Competitive Power Ventures and Georgia Power Company;” Docket 4822 (January 13, 2022); “Order Approving Negotiated Contract between Alligator Creek Solar and Georgia Power Company;” Docket 4822 (April 14, 2022).

Order No. 2003, 104 FERC ¶ 61,103 at P 21; see also id. at PP 65-66 (explaining that determining whether a facility is a Network Upgrade “does not require a case-specific determination that all users benefit from [the] Network Upgrade” because FERC instead looks only at “whether the upgrade is at or beyond the Point of Interconnection”); Nat’l Ass’n of Regulatory Util. Comm’rs v. FERC, 475 F.3d 1277, 1284 (D.C. Cir. 2007) (reaffirming FERC’s at-or-beyond rule); Entergy Servs. v. FERC, 391 F.3d 1240, 1247-51 (D.C. Cir. 2004) (affirming FERC’s at-or-beyond rule for identifying network upgrades and rejecting utility’s attempt to circumvent it based on the fact that an interconnection customer benefited from the upgrades at issue); Ill. Power Co., 103 FERC ¶ 61,032, at P 5 (2003) (rejecting proposed allocation of system upgrade cost to interconnection customer because the upgrade was at or beyond the point of interconnection).

“Interconnection Facilities – The physical facilities installed or modified to allow interconnected operations of the QF with the Electric System that are additional to the physical facilities that would otherwise have been installed or modified absent Generator’s QF Interconnection Request (i.e., are not included in the Ten-Year Plan). For the avoidance of doubt, the physical facilities necessary to permit interconnected operations include facilities for the connection, switching, metering, transmission, distribution, and safe operation of the Electric System, consistent with PURPA and 18 C.F.R. § 292.101 (b) (7). Interconnection Facilities will be owned by GPC or, if so indicated in the Study Report and the QFIA, by an Affected System.”

See Transmission Planning & Cost Allocation, Order No. 1000, 136 FERC ¶ 61,051, at P 558 (2011) (requiring transmission providers to adopt rules “for allocating the costs of new transmission facilities selected in the regional transmission plan for purposes of cost allocation”), on reh’g, Order No. 1000-A, 139 FERC ¶ 61,132 (2012), on reh’g, Order No. 1000-B, 141 FERC ¶ 61,044 (2012), aff’d sub nom. S.C. Pub. Serv. Auth. v. FERC, 762 F.3d 41 (D.C. Cir. 2014).

See W. Mass. Elec. Co. v. FERC, 165 F.3d 922, 928 (D.C. Cir. 1999) (affirming FERC order holding that it is appropriate to allocate the cost of transmission system upgrades to customers using that system, rather than to the PURPA QF whose interconnection request necessitated the upgrades); see also Standardization of Generator Interconnection Agreements and Procedures, Order No. 2003, 104 FERC ¶ 61,103, at P 694 (2003) (explaining FERC’s “long-held policy of prohibiting ‘and’ pricing for transmission service” to ensure “that the Interconnection Customer will not be charged twice for the use of the Transmission System”).

Claxton Phase II Interconnection Study at 17 n.8 (July 10, 2023) (emphases added).

Order 1000, 136 FERC ¶ 61,051 at p. 639.

See K N Energy, Inc. v. FERC, 968 F.2d 1295, 1300 (D.C. Cir. 1992) (“[I]t has been traditionally required that all approved rates reflect to some degree the costs actually caused by the customer who must pay them.”); Alabama Elec. Coop., Inc. v. FERC, 684 F.2d 20, 27 (D.C. Cir. 1982) (“Properly designed rates should produce revenues from each class of customers which match, as closely as practicable, the costs to serve each class or individual customer.”); see also Tenaska Clear Creek Wind, LLC v. Sw. Power Pool, Inc., 180 FERC ¶ 61,160, at P 99 (2022) (accepting the establishment of a minimum impact threshold “so that interconnection customers do not bear cost responsibility for de minimis impacts on transmission facilities”).

See S.C. Pub. Serv. Auth. v. FERC, 762 F.3d at 85 (affirming FERC Order 1000 and reiterating the court’s endorsement of “assigning the costs of system-wide benefits to all customers on an integrated transmission grid”) (quoting W. Mass. Elec. Co. v. FERC, 165 F.3d at 927).

Kan. Elec. Power Coop., Inc. v. Sw. Power Pool, Inc., 178 FERC ¶ 61,095, P 37, n.84 (2022) (explaining that FERC applies a “but for” principle to determine “whether an upgrade would be needed in the absence of a new service request in order to assign initial responsibility for costs of incremental network upgrades for transmission service, including generator interconnection service, under its transmission pricing policies”); cf. Pub. Serv. Co. of Colorado, 62 FERC ¶ 61,013, 61,061 (1993) (“[FERC] has rejected the direct cost assignment of grid facilities even if the grid facilities would not be installed but for a particular customer’s service. [FERC] has reasoned that, even if a customer can be said to have caused the addition of a grid facility, the addition represents a system expansion used by and benefitting all users due to the integrated nature of the grid.”) (emphases in original).

See, e.g., Jeffers South, LLC v. Midwest Indep. Transmission Sys. Op., 153 FERC ¶ 61,190, at P 44 (2015) (finding system upgrade costs should not be assigned to interconnection customer where the upgrade “was part of their own comprehensive transmission system plan” and “deemed necessary to improve overall system performance and to ensure that load could be served”); Midwest Indep. Transmission Sys. Op., 131 FERC ¶ 61,165 (2010) (rejecting proposed allocation of transmission system upgrade cost to interconnection customer where the upgrade “was developed as part of the CapX2020 Initiative to serve multiple needs beyond the interconnection of particular generators”).