#### STATE OF GEORGIA

BEFORE THE

GEORGIA PUBLIC SERVICE COMMISSION

In Re:

Georgia Power Company’s			) 		Docket No. 55378

2023 Integrated Resource Plan Update	)

REBUTTAL TESTIMONY OF

JEFFREY R. GRUBB, FRANCISCO VALLE, LEE EVANS,

MICHAEL B. ROBINSON, AND MICHAEL a. BUSH

MARCH 18, 2024

REBUTTAL TESTIMONY OF

JEFFREY R. GRUBB, FRANCISCO VALLE, LEE EVANS,

MICHAEL B. ROBINSON, AND MICHAEL a. BUSH

IN SUPPORT OF GEORGIA POWER COMPANY’S

2023 INTEGRATED RESOURCE PLAN UPDATE

DOCKET NO. 55378

# I.	INTRODUCTION

Q.	PLEASE STATE YOUR NAMES, TITLES, AND BUSINESS ADDRESSES.

A.	My name is Jeffrey R. Grubb. I am the Director of Resource Policy and Planning for Georgia Power Company (“Georgia Power” or the “Company”). My business address is 241 Ralph McGill Boulevard, N.E., Atlanta, Georgia 30308.

A.	My name is Francisco Valle. I am the Director of Forecasting and Analytics for Southern Company Services (“SCS”). My business address is 241 Ralph McGill Boulevard, N.E., Atlanta, Georgia 30308.

A.	My name is Lee Evans. I am the Director of Economics and Load Flexibility for SCS. My business address is 241 Ralph McGill Boulevard, N.E., Atlanta, Georgia 30308.

A.	My name is Michael B. Robinson. I am the Vice President of Grid Transformation, Power Delivery for Georgia Power. My business address is 241 Ralph McGill Boulevard N.E., Atlanta, Georgia 30308.

A.	My name is Michael A. Bush. I am the Generation Development Director for SCS. My business address is 600 North 18th Street, Birmingham, Alabama 35203.

Q.	DID YOU PREVIOUSLY PRESENT DIRECT TESTIMONY ON BEHALF OF GEORGIA POWER IN THESE PROCEEDINGS?

A.	Yes, other than Mr. Robinson, we all filed Direct Testimony in this docket on December 4, 2023.

## Q. 	Mr. Robinson, please summarize your education and professional experience.

### A.	I graduated from Auburn University in 1993 with a Bachelor of Electrical Engineering. I began my career as a cooperative education student with Georgia Power working in distribution and marketing. After leaving the Company to serve in the United States Navy, I worked for an electric municipality in Texas, the Kerrville Public Utility Board, for five years where I was responsible for all distribution and substation facilities. In 1999, I returned to Southern Company as an engineer on the Enhanced Power Quality team with Alabama Power. Throughout my career at Southern Company, I have served in a variety of positions, including as principal engineer in Transmission Planning; supervisor of the transmission maintenance center in Albany, Georgia; supervisor of the transmission control center in Valdosta, Georgia; transmission planning manager; South Georgia area transmission manager; Metro South distribution manager; and general manager of Transmission Planning and Operations.

From 2017 through 2020, I served as the Power Delivery Operations General Manager for Georgia Power. I served as Planning, Operations, and Policy Vice President until January 2024, when I transitioned into my current role as Vice President of Grid Transformation, Power Delivery. In my current role, I lead an organization responsible for distribution and transmission planning, administration of the Georgia Integrated Transmission System (“ITS”), data analytics and fiber strategy, and Power Delivery compliance. I work with multiple organizations to identify the Company’s long-term transmission and distribution strategies to address our future needs. I also actively engage with System and industry partners to appropriately identify industry-wide solutions, alternatives, and emerging technologies.

Q.	Have you previously testified before the Commission?

### A.	Yes, I testified before this Commission in Georgia Power’s 2022 and 2019 base rate cases in Docket Nos. 44280 and 42516, respectively, as well as in Georgia Power’s 2022 Integrated Resource Plan (“IRP”) in Docket No. 44160.

Q.	WHAT IS THE PURPOSE OF YOUR REBUTTAL TESTIMONY?

A.	The purpose of our testimony is to respond to the testimony of the Georgia Public Service Commission (“Commission”) Public Interest Advocacy Staff (“PIA Staff”) and various Intervenors filed in Docket No. 55378. Due to the number of Parties filing testimony in this case and the limited time available to file rebuttal, our testimony focuses on several key issues without attempting to address every issue raised in PIA Staff or intervenor testimony. The fact that the Company may not respond to a particular position of PIA Staff or an intervenor should not be construed as acceptance of such position.

Q.	ARE YOU SPONSORING ANY EXHIBITS WITH YOUR REBUTTAL TESTIMONY?

A.	Yes. In response to PIA Staff’s request that the Company file a Cost-of-Service Study (Tr. 241, lines 12–15) or something similar that shows the cost impact across rate groups (Tr. 672, lines 16–20), we have attached Exhibit 1, which shows Net Income and Return on Investment as presented in the 2022 Rate Case Test Year, distributed across each of the eight customer rate groups. Additionally, a sensitivity is included with the addition of the 2028 costs and revenues associated with investments and new loads presented in this 2023 IRP Update. Finally, a difference between the two is calculated to represent the impact of such additional costs and revenues on each of the eight customer rate groups.

In addition, Exhibit 2 is a revised Attachment D to the Yates Certification Application updating the comparison of the proposed Yates Units 8-10 to other similar projects. Finally, Exhibit 3 is an excerpt from Lazard’s 2023 Levelized Cost of Energy Analysis identifying publicly available capital cost information for various generation technologies, including gas peaking technologies. Exhibits 2 and 3 provide evidence of the reasonableness of the costs for the Yates CTs as proposed.

Q.	PLEASE SUMMARIZE THE REBUTTAL TESTIMONY OF THE PANEL.

A.	As demonstrated by the load forecast in the 2023 IRP Update, Georgia is experiencing extraordinary economic growth that has significantly impacted the magnitude and timing of Georgia Power’s capacity needs. A substantial portion of this rapid economic growth is expected to occur over the next five years. The Company must act expeditiously to address the significant energy needs associated with this economic growth and to ensure it continues to maintain an electric System that can reliably meet the needs of customers and our thriving state.

Between the conclusion of the 2022 IRP and the filing of the 2023 IRP Update, Georgia Power was selected to serve more than 3,350 megawatts (“MW”) of new, large load customers, representing approximately 34 years of traditional customer choice growth in just over one year. While substantial, this growth represents only a fraction of the potential load growth from Georgia’s economic development pipeline. In fact, since the 2023 IRP Update was filed in October of 2023, the economic development pipeline has continued to grow and has now expanded to more than 21,000 MW. In addition, the Company has now been selected to serve an additional 2,602 MW since its initial filing in this proceeding. What’s more, several customers representing 2,173 MW of the new large load included in the 2023 IRP Update Forecast have now accelerated their load ramps, which would incorporate their entire load by 2031. These changes since October 2023 evidence the continued economic growth we are seeing in Georgia, continued customer interest in being served by Georgia Power, and the need to act now to reliably meet our customers’ demand for energy as it continues to grow and accelerate. Moreover, it underscores the need to plan for a P95 load forecast, a load level supported by PIA Staff, to ensure the Company has sufficient resources to serve Georgia’s substantial energy needs that are being driven by economic growth.

No party has reasonably challenged that the overall increase in demand is real and coming to the state. The only point of disagreement is the magnitude of the increase and the timing in which the projected large loads will materialize. PIA Staff and Intervenors alike agree with the Company’s proposed methodology to account for the increase in unexpected large load customer additions and only take issue with a few assumptions, the impact of which lessens the magnitude of the growth and assumes a slower pace for load realization.

With the 2023 IRP Update, Georgia Power is seeking approval of approximately 3,300 MW of generation capacity resources to serve its immediate growing customer demand. Specifically, the Company has requested certification of (i) 750 MW from the Mississippi Power Company (“MPC”) Power Purchase Agreement (“PPA”), (ii) 230 MW from the Santa Rosa PPA, and (iii) 1,300 MW from three proposed combustion turbines (“CTs”) at Plant Yates Units 8-10. The Company has also requested approval to build 1,000 MW of battery energy storage systems (“BESS”), including the Robins, Moody, and 200 MW BESS plus 200 MW solar projects. In addition, the Company has proposed two new distributed energy resource (“DER”) customer programs, a demand response program, and an expansion of its existing residential thermostat demand program. Each of these essential capacity resources will provide an economical and reliable supply of electric power or valuable demand response for the Company’s customers. Significantly, these resources are in addition to and complement the resources the Company is authorized to procure through competitive RFPs, which includes the CARES Utility Scale (“US”) RFPs, All-Source Capacity RFP, and 500 MW Energy Storage System (“ESS”) RFP.

Our rebuttal testimony addresses PIA Staff and Intervenor challenges to the Company’s load forecast assumptions, the procurement of resources outside of a competitive RFP process, and the Company’s proposed mix of capacity solutions. Although PIA Staff and Intervenors made several recommendations regarding Georgia Power’s long-term generation and transmission planning processes, none of those recommendations need to be decided in this case. The focus of this proceeding should remain on how Georgia Power can best address the significant near-term customer demand for electric power and the corresponding capacity need between 2026 and 2028. Accordingly, much of our rebuttal testimony appropriately focuses on those pressing issues. Other matters, including the balance of PIA Staff and Intervenor recommendations, can be addressed more fully in Georgia Power’s 2025 IRP or a subsequent proceeding.

Georgia Power’s 2023 IRP Update establishes a plan that ensures the Company can preserve and protect the reliability and quality of service our customers expect and continue to reliably serve Georgia’s growing capacity needs corresponding to robust economic growth while also lowering rates for all retail customers by spreading the cost of electric service across a larger customer base. The Company’s plan provides substantial economic and reliability benefits to the state and our customers. As such, we respectfully request the Commission approve the Company’s request without modification.

Q.	HOW IS YOUR TESTIMONY ORGANIZED?

A.	The remainder of our testimony is structured as follows:

- Section II discusses the timing of the 2023 IRP Update and the need to act now, before the 2025 IRP, to request Commission approval of the new capacity resources.

- Section III addresses critiques of the Company’s 2023 IRP Load Forecast and assumptions incorporated into the Load Realization Model, which was used to adjust the forecast for the projected addition of large load customers to Georgia Power’s System.

- Section IV discusses the Staff and Intervenor feedback and recommendations regarding the Company’s ability to expedite or modify the RFPs approved in the 2022 IRP.

- Section V discusses Staff and Intervenor challenges to the Company’s Target Reserve Margin.

- Section VI responds to Staff and Intervenor recommendations and critiques of the resources requested in this case.

- Section VII addresses the Company’s transmission requests in the case and responds to calls from Staff and Intervenors to alter its long-term transmission planning process.

In addition to our testimony, the testimony of Aaron Abramovitz (i) explains why Georgia Power expects the 2023 IRP Update to place downward pressure on rates for customers, and (ii) addresses specific accounting aspects of the Company’s request.

# II.	THE COMPANY’S REQUEST

Q.	WHY IS THE 2023 IRP UPDATE NECESSARY?

A.	As discussed in our direct testimony, the 2023 IRP Update is necessary to preserve and protect the reliability and quality of service our customers expect, address the extraordinary economic growth taking place in Georgia, and to ensure that Georgia Power can continue to reliably meet the rapidly growing energy needs of our customers and our state.

Q.	WHAT CAPACITY RESOURCES ARE NEEDED TO ENSURE THAT GEORGIA POWER CAN CONTINUE TO MEET THIS RAPID ECONOMIC GROWTH?

A. 	The 2023 IRP Update seeks approval of approximately 3,300 MW of additional capacity resources so that the Company can meet the state’s energy needs for the period of December of 2025 through November of 2028. Specifically, the Company has requested certification of (i) 750 MW from the MPC PPA, (ii) 230 MW from the Santa Rosa PPA, and (iii) 1,300 MW from three CTs proposed at Plant Yates, Units 8-10. The Company has also requested permission to build 1,000 MW of BESS and proposed two new DER customer programs, approval of a new demand response program, and an amendment to the certificate to expand the existing residential thermostat demand response program. The proposed resource portfolio is an economic and reliable mix of resources available to meet the capacity needs identified in this 2023 IRP Update.

Q.	HOW DOES THE COMPANY’S REQUEST FOR RESOURCES COMPARE TO THE TOTAL PIPELINE OF POTENTIAL ECONOMIC DEVELOPMENT PROJECTS IDENTIFIED IN ITS FORECAST?

A.	The Company’s request for 3,300 MW corresponds to the increase and the accelerated timing in the load growth forecast, which represents only a fraction of the now more than 21,000 MW of potential economic development projects seeking to meet their electricity needs.

Q.	CAN THE COMPANY WAIT UNTIL THE 2025 IRP TO REQUEST THESE RESOURCES?

A.	No. The magnitude and timing of the projected load that is being driven by economic growth require the Company to act now to secure the resources needed to continue to reliably serve our customers and meet our state’s energy needs. Waiting until the conclusion of the 2025 IRP would be too late and would risk not being able to serve the new economic development load that is coming to Georgia. Failing to serve these new large loads would stifle economic development and prevent Georgia Power’s customers from benefitting from the corresponding downward pressure on rates anticipated as a part of this 2023 IRP Update filing.

Q.	WHY IS IT INAPPROPRIATE TO INCLUDE A COST-OF-SERVICE STUDY IN THIS IRP UPDATE OR THE 2025 IRP?

A.	A cost-of-service study is a required aspect of base rate cases, which are the appropriate proceeding in which to determine the cost of service and allocation of those costs among rates and rate groups. The Company is not requesting to adjust rates as part of this IRP Update and a cost-of-service study is neither required nor possible. A cost-of-service study in its entirety takes multiple months and extensive Company resources to prepare. In addition, a rate case budget is required as an input to the cost-of-service study, and this information will not be finalized prior to the 2025 IRP filing.

Q.	IS THE COMPANY OPEN TO UPDATING RELEVANT PORTIONS OF THE COST-OF-SERVICE STUDY THAT IT FILED IN THE 2022 BASE RATE CASE TO SUPPORT ITS REQUEST IN THIS CASE?

A.	Yes. For purposes of high-level sensitivity analysis only, the Company performed an adjustment to the cost-of-service study filed in the 2022 Base Rate Case to isolate the revenues and revenue requirement associated with the resources proposed in this case. Exhibit 1 reflects a sensitivity based on Exhibit LPE-1 from the 2022 Base Rate Case and includes the additional loads, costs and revenues associated with this filing, as requested by Staff Panel Newsome-Hayet-Wellborn during Staff Direct Hearings. The results of this sensitivity measure the benefits to customer rate groups as a result of the 2023 IRP Update by an increase to Net Income or Return on Investment (“ROI”). The results of Exhibit 1 show an increase in Net Income and improved or approximately equal ROI for each customer rate group and clearly demonstrates that customer benefit is equal or improved across the board. Since the billed revenue for non-marginal rate groups did not change as a result of the 2023 IRP Update, the results from Exhibit 1 show lower costs borne by other rate groups, which are now being allocated to the new large loads in the Marginal rate group. This allocation produces benefits for other customer rate groups, including Domestic and Small Business.

Q.	DID THE COMPANY FILE THE 2023 IRP UPDATE AT THE APPROPRIATE TIME?

A.	Yes. The Company filed the IRP Update at the appropriate time and as soon as reasonably possible based upon the information available to it and which was needed for Commission consideration. Until June 2023, the capacity need driven by increased growth could be met with either (1) existing Company capacity resources, including the capacity PPAs approved in the 2022 IRP, or (2) an increase in the megawatt targets for the All-Source Capacity RFP for 2029-2031. There simply was no need to consider returning to the Commission prior to June 2023, when the Company’s forecasting sensitivities indicated its capacity need year moved earlier by two years from winter 2028/2029 to winter 2026/2027. As further described in Section III below, once the Company determined that the capacity need advanced, it promptly took steps to alert the Commission and address that change, resulting in the 2023 IRP Update. The continued growth in the load forecast from September 2023 used in this IRP Update further accelerated the capacity need year to winter 2025/2026.

Q.	WHY SHOULD THE COMMISSION APPROVE THE COMPANY’S REQUESTS IN THE 2023 IRP?

A. 	If approved, the Company’s requests will allow it to timely meet the significant energy needs being driven by Georgia’s extraordinary economic growth while also placing downward pressure on rates for the benefit of all customers. Thus, approval of the Company’s request is in the best interests of our customers and our state and will help ensure Georgia Power can continue to provide safe, clean, reliable, and affordable electric service to Georgia’s thriving and growing economy.

# III.	LOAD FORECAST AND PROJECTED GROWTH

Q.	WHY SHOULD THE COMMISSION HAVE CONFIDENCE IN THE 2023 IRP UPDATE LOAD FORECAST?

A.	The 2023 IRP Update is informed by the latest economic trends and uses proven methods to evaluate the probability, level, and timing in which the projected load will materialize. PIA Staff and the Intervenors submitting testimony on this issue accepted the validity of the Company’s organic load forecast and the statistically sound methodology used to account for the growth in new large load customers. (See, e.g., Tr. 89, lines 10-11; Tr. 1190, lines 8-9.) All indications, including direct input from customers, demonstrate that Georgia’s tremendous economic growth will continue and that we must invest in new resources now to meet the state’s growing energy needs and preserve and protect the reliability and quality of service our customers expect.

The Company’s forecasting methodology for large loads accounts for numerous types of uncertainty, including the potential that load will not materialize, will be delayed, or will materialize at a lower level than expected. Moreover, our forecast for large loads is based on the most recent economic trends, includes projects that have already selected Georgia Power as their electric service provider, and incorporates direct input from customers about growth in our state. As of the 2023 IRP Update filing, the Company had already been chosen to serve over 3,600 MW of load from the approximately 17,000 MW pipeline of economic development — nearly 3,000 MW of which is already under construction. Since the 2023 IRP Update filing, the Company has been selected to serve an additional 2,602 MW out of the current economic development pipeline of approximately 21,000 MW. As such, the Company’s forecast provides the most realistic depiction of large load growth in Georgia, and we have an extremely high degree of confidence in our forecast.

Q.	WITH REGARD TO THE COMPANY’S FORECAST, HOW MANY MW ARE ASSOCIATED WITH ACTUAL ECONOMIC DEVELOPMENT PROJECTS ANNOUNCED IN GEORGIA?

A.	Of the 51 large load customer projects included in the external adjustment to the Company’s 2023 IRP Update Load Forecast, 32 projects, accounting for almost 10,500 MW, have already chosen to do business in Georgia. These customers have taken concrete actions evidencing their commitment to do business in Georgia, such as purchasing or leasing property.

Q.	HOW MANY MW ARE ASSOCIATED WITH PROJECTS GEORGIA POWER HAS BEEN SELECTED TO SERVE?

A. 	At the time of the filing in October 2023, 14 customers, accounting for 3,612 MW, had selected Georgia Power as their electric service provider. As of March 18, 2024, the Company has been selected to serve an additional 2,602 MW for a total of 6,214 MW. These additional 2,602 MW include 968 MW expected to be online by winter 2027/2028.

Q.	WHAT IS THE STATUS OF THE CUSTOMER CHOICE PROJECTS THE COMPANY HAS BEEN SELECTED TO SERVE WITHIN THE LOAD REALIZATION MODEL?

A.	Fourteen of the 51 projects included in the Company’s load realization model in the 2023 IRP Update filing have executed a Request for Electric Service (“RFS”). As shown in Table 1 below, of these fourteen projects, nine have broken ground, four are pending construction, and only one is delayed. The thirteen projects that have broken ground or are pending construction comprise 3,546 MW of the total 3,612 MW. This evidence suggests that the biggest customer choice projects are moving forward and making progress without material delays.

Table 1: Status of Committed Customers

Q.	HOW DOES THE COMPANY USE AN RFS TO INFORM THE COMPANY’S DECISION THAT IT WILL BE REQUIRED TO SERVE A CUSTOMER?

A.	The RFS is a signed commitment that memorializes a customer’s selection of Georgia Power as their electric service provider. RFSs have consistently been recognized to be a legally binding agreement and are routinely used in Georgia Territorial Electric Service Act (“Territorial Act”) cases as evidence of customer choice. The Company incorporates all of the new large load customers with signed RFS in the Company’s adjusted Load Forecast, which serves as strong evidence supporting the Company’s decision that it will be required to serve these customers.

Q.	WHY DOES GEORGIA POWER NEED TO PROCURE CAPACITY TO SERVE ADDITIONAL LOAD THAT HAS NOT YET COMMITTED TO BE SERVED BY GEORGIA POWER?

A.	Customers expect Georgia Power to be prepared to serve their load. As evidenced by our progress to date, which has led to securing 6,214 MW with committed customers, we anticipate that projects will continue to advance through various stages of economic development and ultimately continue to materialize. As mentioned previously, the economic development pipeline continues to grow and has increased to 21,000 MW since the Company filed this proceeding. Georgia Power has consistently demonstrated effectiveness in acquiring and retaining customers within a competitive market, achieving a historical win rate that exceeds 70% of projects (representing approximately 90% of the associated load). This successful track record supports the inclusion of these projects in the Company’s forecast and the capacity need associated with these projections.

Q.	DOES THE IRP UPDATE ATTEMPT TO ADDRESS ALL OF GEORGIA’S POTENTIAL ECONOMIC DEVELOPMENT LOAD GROWTH?

A.	No. The Company’s forecast accounts for the fact that Georgia Power will ultimately only need to serve a portion of the large load customer projects it has identified. In August 2023, the Company identified approximately 17,000 MW of committed and potential projects, representing the full load of customers in the pipeline looking to locate or expand in Georgia through the mid-2030s. The 2023 IRP Update Forecast projects that, through the winter of 2030/2031, Georgia Power will be asked to serve only 6,600 MW of new load, representing only a portion of the 17,000 MW pipeline. The amount of customer projects in the pipeline has continued to grow and now stands at more than 21,000 MW, demonstrating that Georgia’s economic development success continues to attract new customer growth.

This IRP Update seeks authority to build or buy 3,300 MW of capacity resources to meet the Company’s capacity needs from 2026-2028 and ensure the continued reliability of the electric System. Consistent with the 2022 IRP Order, the Company will continue to implement all existing RFPs and will use the All-Source RFP to source the balance of the capacity needed from 2029-2031.

Q.	PLEASE PROVIDE ADDITIONAL DETAILS REGARDING THE INFORMATION THAT THE COMPANY PROVIDED STAFF TO ASSIST IN ITS EVALUATION OF THE LOAD FORECAST IN THIS CASE.

A. 	As part of its initial filing, the Company provided short-term, long-term, peak, and load realization models; workpapers including weather data, forecast inputs, short-term model outputs, and Peak Demand aggregate and Territorial files that contain final output information on peak and energy forecasts, and data supporting all charts and tables included in the filing. The Company also held a technical session, at PIA Staff’s request, to help orient and familiarize PIA Staff’s new consultant with Georgia Power’s practices, processes, and forecasting methodology. The Company also provided guidance on how to acquire the software programs to aid in PIA Staff’s and PIA Staff’s consultant’s analysis of the Company’s data. Once acquired, the software programs are available for immediate use, and the models that were provided to PIA Staff were self-contained and able to be run upon acquisition of the software. The models shared with PIA Staff provided more information than would normally be included in a static technical appendix; these models can also be tested and used to develop PIA Staff’s own comparable models. Ultimately, the Company met with PIA Staff and PIA Staff consultants to review the models and answer any questions, and to the extent PIA Staff had further questions or concerns, the Company was open to additional meetings with PIA Staff.

Q.	DID ANY PARTY PRESENT TESTIMONY CHALLENGING THE METHODOLOGY SUPPORTING THE COMPANY’S BASE FORECAST?

A.	No.

Q. 	DID ANY PARTY PRESENT TESTIMONY CHALLENGING THE COMPANY’S METHODOLOGY FOR ADJUSTING ITS BASE LOAD FORECAST TO ACCOUNT FOR LARGE LOAD CUSTOMER GROWTH?

A.	No. In fact, PIA Staff agrees that the Company’s methodology is appropriate and GIPL agrees that a new methodology was needed to account for this growth. PIA Staff and Intervenor objections regarding the load forecast are limited to the underlying assumptions on load ramp, load value, and delay.

Q.	WHAT WERE PIA STAFF’S RECOMMENDATIONS REGARDING THE ASSUMPTIONS USED IN THE LOAD REALIZATION MODEL?

A.	PIA Staff recommends three changes to the load realization model:

- Use uniform load materialization probabilities for all customers, rather than assume that data centers and cryptocurrency customers will materialize at a different probability than other customer segments.

- Use a REDACTED delay assumption for load ramp associated with data centers, rather than the REDACTED delay proposed by the Company, which is based on PIA Staff’s assumption that supply chain delays and labor shortages are likely to delay data center construction timelines.

- Increase the range of alternative futures by varying the key assumptions to produce a range of potential load additions along with a range of timing for those load additions to assess risks to the Company and customers. (Tr. 9-12.)

Q.	PLEASE RESPOND TO PIA STAFF’S ALLEGATION THAT THE COMPANY HAS NOT PROVIDED EVIDENCE TO SUPPORT ITS ASSUMPTION THAT DATA CENTERS AND CRYPTOCURRENCY CUSTOMERS WILL MATERIALIZE AT A DIFFERENT RATE THAN OTHER CUSTOMERS IN THE SAME INDUSTRY SEGMENT.

A.	The Company relied on prior experience with its 60 existing data center customers to inform the assumption that data centers and cryptocurrency customers will materialize at a different rate than other customer segments. The Company relied on the expertise of its employees who are in direct contact with existing and potential customers, including data centers, daily and who are intimately involved in the progress of these customers from the initial request for service to the date their facility is energized. The only distinction regarding the data center load anticipated in this case and the data center customers already served by Georgia Power is the speed and magnitude in which the load is projected to materialize. In addition, one of Georgia Power’s existing large load data center customers recently informed the Company that the load realization for two of its hyperscale data centers is approximately 80%, corroborating the Company’s assumed load realization.

Q.	DID STAFF PROVIDE EMPIRICAL EVIDENCE TO SUPPORT CHANGING THE DATA CENTER AND CRYPTOCURRENCY CUSTOMER LOAD REALIZATION ASSUMPTION?

A.	No. Staff simply rejected the Company’s assumption, arguing that because the Company relied only on its informed judgment, there was no reason to treat data center and cryptocurrency customers differently than customers in other segments.

Q.	PLEASE DISCUSS YOUR CONCERNS WITH PIA STAFF’S CHANGES TO THE COMPANY’S LOAD RAMP DELAY ASSUMPTION.

A.	PIA Staff’s proposed change to the data center load ramp assumption lacks any reasonable support. Indeed, PIA Staff relied on unrelated anecdotal references from Google searches of dated construction trade press, blog posts, and a FOX 5 news article to suggest that labor shortages and supply chain issues have delayed data center construction elsewhere in the country. PIA Staff admitted during the hearing that these articles may not be the best or most accurate sources but stated that their intent in citing these articles was merely to demonstrate uncertainty. (Tr. 227-228.) However, PIA Staff’s references are not specific to Georgia and are unrelated to the data centers seeking service from Georgia Power. Without justification, PIA Staff assumes that potential delays have not already been addressed by the construction timelines and load ramps of the large load customers coming to Georgia. In contrast, the Company’s assumptions are based on information obtained directly from the customers developing the projects in question. These customers are best positioned to address their project timelines based on their substantial industry experience and intimate knowledge of the projects themselves. Moreover, by altering the assumptions of the load realization model, PIA Staff’s efforts go beyond identifying areas of uncertainty or risk. If adopted, PIA Staff’s load forecast recommendations will materially impact the Company’s ability to serve new large load customer projects.

Q.	DID STAFF USE A RANGE OF ALTERNATIVE FUTURES LIKE IT RECOMMENDS THE COMPANY USE?

A.	No. Staff only considered scenarios involving a delay in load and did not evaluate what the load forecast would look like if loads materialized faster than projected. Significantly, three large load customers included in the external adjustment to the Company’s forecast have now requested to accelerate their load ramp – seeking 2,331 MW to be served by 2031 rather than 2,173 MW by 2036 as they initially requested. In certain years, such as 2028 and 2029, this acceleration would result in approximately 800 MW of additional load than was assumed for the 2023 IRP Update Load Forecast and demonstrates the potential for substantial load to materialize at a faster pace than projected.

Q.	WHY WOULD IT BE INAPPROPRIATE TO USE A P50 LOAD VALUE AS PROPOSED BY GIPL WITNESS HOTALING?

A.	Planning generation resources to the P50 load value presents unacceptable risk when seeking to serve the significant large loads coming to the state. Planning to P50 can help support a slower, steady growth in load. But the load growth being experienced in Georgia is extraordinary, not slow and steady. Planning generation resources to P50 necessarily means that the Company would not have sufficient resources to meet customer needs in half of the potential scenarios for new large load customers and would thus not be able to support as much new economic development load coming to the state. Notably, GIPL used the Company’s large load forecast methodology and assumptions but proposed using a P50 level load value instead of the P95 load value used by the Company. In doing so, GIPL asserted that the P50 value is, statistically speaking, the most likely outcome and should, therefore, be used in lieu of the P95 value. Using Figure 7 from GIPL Witness Hotaling’s testimony, you can see that the P50 value occurs at the peak of the bell curve on the distribution of possible outcomes. However, as shown in the modified Figure 7 graphic below, electing to use the P50 value for the large load forecast means that there is a 50% chance that loads exceed the predicted value, as seen by the red shaded area under the curve. Simply put, if Georgia Power were to plan its System using the P50 value, that would mean there is a 50% chance that it would have too few resources to meet large load customer needs, and therefore would not be able to reliably support the demands of new economic load growth.

Figure 1: 50/50 Peak Load Forecast

Further, the load forecast is a static snapshot in time that does not capture the fact that additional load growth is taking place. (Tr. 1312, lines 12-15.) For each new large load customer that comes onto the System, the load level previously planned for becomes less representative of the higher needs the Company must serve. (Tr. 1312-1313.) Thus, as customer load continues to grow, it is even more risky to plan according to the P50 load level than the P95 load level. This further demonstrates why it would be inappropriate to plan for the P50 load level, as recommended by Witness Hotaling, than the P95 load level, which better ensures the Company has sufficient resources needed to reliably serve the growing customer demand.

Q.	IS THE COMPANY WILLING TO ADOPT A TRACKING SYSTEM TO MONITOR MARKET ACTIVITIES AND TRACK THE STATUS AND OUTCOMES OF POTENTIAL LARGE LOAD CUSTOMER PROJECTS?

A.	Yes. In fact, the Company began tracking this data in greater detail in 2023 in response to the extraordinary growth in the state and the increase in large load customers asking to be served by Georgia Power.

Q.	PLEASE RESPOND TO STAFF AND INTERVENOR SUGGESTIONS THAT THE COMPANY SHOULD HAVE KNOWN EARLIER THAT CUSTOMER LOAD GROWTH WAS SIGNIFICANT ENOUGH TO REQUIRE RETURNING TO THE COMMISSION TO REQUEST ADDITIONAL RESOURCES.

A.	The Company could not have foreseen the changes prompting the 2023 IRP Update earlier than it did. As background, in August 2021, when the Load Forecast supporting the 2022 IRP was completed, there was no indication that commercial and industrial sectors would experience the exponential growth observed in 2022 and 2023. Before 2021, the Company averaged only about 100 MW of new large load economic development customers per year. This total rose to 336 MW in 2021 (due to the win of a single customer), tripling the historical average, and 2,197 MW in 2022, which was 22 times the historical average. The Company first identified a new increase in projected load when it created its Budget 2023 load forecast in August 2022 as part of its annual planning process. The Budget 2023 Forecast, which was based on the latest data available at the time, identified an expected load increase of only 1,100 MW through the winter of 2030/2031, as compared to the 2022 IRP filing.

In January 2023, following the continued increase in economic development projects, the Company began more detailed tracking of customer choice activity on a monthly basis. It also developed a model to produce load forecast sensitivities with greater frequency than the typical annual load forecast to help further inform its resource planning decisions. The load forecast sensitivities developed in June 2023 identified considerable increases in projected load and, for the first time, identified an accelerated capacity need for the winter of 2026/2027.

To be clear, until June of 2023, all increases in projected load could be covered by existing resources or addressed by increasing the size of the 2029-2031 All-Source Capacity RFP that was approved in the 2022 IRP. Thus, it was not until June 2023 that the Company detected a change in the Company’s capacity need year (i.e., the year in which the Company will require additional resources moved from winter 2028/2029 to winter 2026/2027). It was this change that necessitated the development of the 2023 IRP Update to procure resources to meet an even earlier capacity need beginning in the winter of 2025/2026 based on the final load forecast from September 2023.

Q.	HOW DO YOU RESPOND TO THE CONCERNS RAISED BY PIA STAFF REGARDING THE COMMISSION’S RULES FOR IRP LOAD FORECASTING AND THE COMPANY’S FILING IN THIS CASE?

A.	The Company complied with the Commission’s Rules regarding the contents and validity of a load forecast. As acknowledged by PIA Staff (See Tr. 244, lines 10-13) and the procedural and scheduling order in this docket, the Company’s IRP Update is of a limited scope. Although the Company would typically provide a high and low load growth sensitivity to the load forecast supporting the triennial IRP, the Load Realization Model used to adjust the forecast in this case for the new large load customer growth appropriately evaluated a range of outcomes and possible futures within the context of the changed circumstances the IRP Update was intended to address. The Company ran multiple load forecast sensitivities in the months leading up to the IRP Update filing, each of which was provided to PIA Staff in STF-DEA-1-4. The fact that the Company analyzed the different sensitivities, chose the most reasonable load forecast to plan to, and proposed a portfolio of resource solutions to meet the need is not a failure to meet Commission rules directed at the triennial IRP filing and certainly did not prevent PIA Staff or Intervenors from proposing an alternative forecast.

Second, the base forecast, which captures organic growth on the System, was compiled using the same methodologies, models, and techniques as used in prior IRPs and as accurately described in the Load Forecast Technical Appendix to the 2022 IRP. In addition, the Company provided alternate levels of expected growth as part of its resource mix study. A description of all load forecast determinants was provided in response to STF-JKA-2-10. The impact of self-generation and cogeneration is included in the Load Forecast Technical Appendix of the 2022 IRP, and the transparency of the Company’s forecasting tools are as transparent and appropriate as they have been in every IRP since 2001. In relying on the same methodology previously used, it was not necessary to re-submit Sections 4 through 6 of the Technical Appendix of the 2022 IRP. The 2023 IRP Update was appropriately focused on the Load Realization Model and forecast adjustments supporting the substantial new large loads coming to the state.

Q.	WHAT IS THE RISK OF ADOPTING STAFF’S RESOURCE PLAN BASED ON STAFF OR GIPL’S LOAD FORECAST IF MORE LOAD MATERIALIZES THAN THEY PROJECTED?

A.	If the load materializes at a rate higher than projected and outpaces the generation approved to serve that load, the Company would not be able to reliably serve its growing customer load or support Georgia’s economic growth. If there is insufficient generation to support the addition of more customer load, the Company will have to stop making offers to businesses looking to locate or expand in Georgia. Customers who would otherwise locate or expand in Georgia are likely to take their business elsewhere. In such case, Georgia would miss out on economic growth, and the Company and its customers would lose the opportunity to place downward pressure on rates by spreading the cost of electric service across a larger customer base.

Q.	CAN THE COMPANY AND THE COMMISSION MITIGATE POTENTIAL RISK IF THE COMMISSION ACCEPTS THE COMPANY’S PROPOSED PLAN BUT LESS LOAD MATERIALIZES THAN PROJECTED?

A.	Yes. There are several actions the Company and the Commission can take to mitigate risks associated with load materializing at a lower level than forecasted by the Company. Primarily, the Company can sell capacity in the wholesale market or slow down, reduce, or halt generation development in such a case. Other than remarketing capacity, the Company can also manage the development timeline of approved resources or the procurement amount from approved RFPs. For example, the Company can (1) reduce the amount of BESS it develops based on the unidentified balance of BESS MW in this case, and it can (2) reduce the target capacity (MW) to be procured in one or more future RFPs, including the All-Source RFP.

# IV. 	THE REQUEST FOR PROPOSAL PROCESS

Q.	WHY DID THE COMPANY REQUEST AN EXCEPTION TO THE COMMISSION’S RFP PROCESS IN THE IRP UPDATE?

A.	Due to the Company’s capacity need in the winters of 2025/2026, 2026/2027, and 2027/2028, there simply isn’t enough time to use an RFP, which typically takes two to two-and-a-half years to implement, evaluate, contract, and certify resources to meet the need. This is especially true in a constrained market with few existing resources available for contracting as additional time is needed to construct new resources and any necessary supporting transmission projects. Therefore, the Company requested to procure resources pursuant to one or more of the RFP exceptions to ensure it can serve the customer load identified in its forecast and continue to maintain a reliable electric System.

Q. 	DOES GEORGIA POWER SUPPORT THE COMMISSION’S RFP PROCESS?

A. 	Yes. Georgia Power supports the Commission’s RFP process and has conducted over 20 RFPs since 2006. The Company is currently developing and implementing numerous RFPs, including the All-Source Capacity RFP, CARES US RFP, the Biomass RFP, the DG RFP, and the 500 MW ESS RFP that were approved in the 2022 IRP. The Company fully intends to continue implementing its current RFPs and utilizing the RFP process in procuring generation resources in the future.

Q.	WHY CAN’T THE COMPANY RELY ON EXISTING RFPS TO PROCURE THE RESOURCES REQUIRED IN THE 2023 IRP UPDATE?

A.	The Company needs resources online to meet the capacity need in the winters of 2025/2026, 2026/2027 and 2027/2028, and the RFP process typically takes two to two-and-a-half years to identify, evaluate (including associated transmission), select, and certify capacity resources. Any new-build resources selected through such an RFP would not only have to be identified on an expedited timeline but constructed and brought online as early as November 2025 through November 2027, which is simply not feasible. Moreover, there is no guarantee that the market would offer a sufficient quantity of firm, dispatchable resources in response to an RFP to provide the required capacity in the timeframe needed. Also, the existing RFPs are crucial to meeting the needs identified in the 2022 IRP for renewable energy resources, ESS resources, and capacity resources for the needs in the 2029-2031 timeframe and therefore must be conducted to best meet those specific needs.

Q.	STAFF WITNESS KADUK PROPOSED ADDING 500 MW OF CAPACITY EQUIVALENCE TO THE RESOURCE LEDGER US SCALE RFP. WHY WOULD THIS NOT BE APPROPRIATE?

A.	The Company only includes installed, planned, and committed resources in its resource ledger beginning in the year the resource is known to be in-service and for which the Company knows the resource’s contribution to meeting capacity needs. It is impossible to know how many bids submitted into the CARES 2023 US RFP will be selected and will include renewable plus storage resources. There is also no guarantee the Company can fill the suggested 500 MW of storage from the portfolio of the 2023 CARES US RFP, which is the largest renewable RFP the Company has ever conducted. In addition, no Georgia Power US RFP portfolio has ever had every project achieve commercial operation at the same time, which PIA Staff Witness Kaduk acknowledged on the stand. There are risks in assuming there will be 500 MW of renewable plus storage resources all online at the same time before 2028.

Ultimately, this decision does not have to be made in this case. The Company plans to give the appropriate capacity credit to any storage resources that are selected in the 2023 CARES US RFP. If Staff’s prediction comes to fruition, the Company and the Commission can act at the time of certification, when the resources procured through the 2023 US RFP are known, to reduce the amount of capacity resources the Company needs to procure in a future RFP such as the 2029-2031 All-Source RFP.

Q.	PLEASE RESPOND TO THE TIMELINE OF DISCUSSIONS BETWEEN THE COMPANY AND STAFF PRESENTED IN THE NEWSOME, HAYET, WELLBORN PANEL.

A.	The Company always appreciates the opportunity to collaborate and work with Staff to discuss issues and possible solutions as they arise, which affirmatively evidences the constructive regulatory environment in Georgia. Although PIA Staff’s timeline accurately accounts for the chronology of the discussions, their presentation of what was discussed omits some important details that misconstrues the nature and timing of the Company’s request.

PIA Staff’s timeline suggests that the Company failed to notify the Commission early enough that its projected customer load had significantly increased. However, this ignores that in the 2022 IRP the Commission approved six capacity PPAs for over 2,200 MW and the All-Source RFP for needs in 2029-2031, which together would have been able to serve additional customer growth coming to the Company through 2031. As previously discussed, until June 2023 this additional load only increased the size of the Company’s capacity needs in 2029 and beyond but did not advance the need year. The Company appropriately alerted the Commission of the need to act when the load forecast sensitivities first indicated an acceleration in the Company’s capacity need year to winter 2026/2027.

PIA Staff’s timeline also leaves out the Company’s June 2023 proposal to divide the All-Source Capacity RFP into phases and issue an expedited “Phase 1” of the All-Source RFP in the fall of 2023. The Company proposed to shorten the RFP development timeline and to seek resources similar to those sought in the prior capacity RFP using the Commission-approved contracts from the 2022-2028 Capacity RFP. In response, PIA Staff questioned (i) whether the Company had the authority to issue more than one All-Source RFP under the terms of the 2022 IRP Final Order, and (ii) the appropriateness of procuring additional resources due to increased capacity needs without vetting the revised load forecast in a proceeding with hearings and public comment. Throughout the summer, the Company responded to follow-up questions, informal data requests, exchanged regular emails, and provided substantial data to PIA Staff that was not fully captured in PIA Staff’s Testimony. Even though the nature of the Company and PIA Staff’s discussions prior to the filing of the 2023 IRP Update does not change the Company’s requests in this case, we wanted to clarify both the Company’s and PIA Staff’s efforts to productively investigate and address the substantial energy need facing the state.

Q.	DID THE COMPANY CONSIDER ISSUING AN RFI EARLIER, AS PROPOSED BY SIERRA CLUB?

A.	Yes. In the absence of a targeted, expedited Phase 1 All-Source Capacity RFP, the Company sought to issue an RFI as soon as possible to gain information regarding the availability of existing and planned capacity resources for the capacity need identified for years 2026 through 2028 (the timeframe being addressed in the Company’s 2023 IRP Update) as well as for years 2029 through 2031, the time period to be addressed in the Company’s 2029-2031 All-Source Capacity RFP. For the years 2026 through 2028, the RFI would be very valuable in determining if there were additional existing resources available beyond those already identified by the Company. In August 2023, the Company proposed to issue the RFI through the independent evaluator (“IE”) website with the oversight of the IE that was selected for the All-Source Capacity RFP. However, delay in finalizing the IE contract led to the Company issuing the RFI on its own in September 2023 in an effort to solicit timely feedback from the market.

# V.	TARGET RESERVE MARGIN

Q.	WHAT TARGET RESERVE MARGIN DID THE COMPANY USE IN THE 2023 IRP UPDATE?

A.	Consistent with the 2022 IRP Final Order, the Company used a 26% winter target reserve margin for planning purposes. Planning for 26% in the long term and 25.5% in the short term resulted in an 80% increase in reliability in the Company’s 2021 Reserve Margin Study as compared to a 20% reserve margin, which was the 1:10 Loss of Load Expectation (“LOLE”) threshold. The Company’s winter target reserve margin served the state well in recent extreme weather events, such as Winter Storm Elliott on Christmas Eve in 2022 and Winter Storm Heather, which occurred earlier this year on the second day of direct hearings in this case. Planning to a 26% winter target reserve margin ensures that the Company is prepared to handle reliability events such as these, even as customer behavior evolves over time. Further, maintaining a 26% target reserve margin lowers expected customer costs as compared to a 20% reserve margin per the 2021 Reserve Margin Study, which considers not only capacity costs, but also production costs and reliability costs.

Q.	IS THERE A GENERAL TREND IN THE INDUSTRY TOWARD WINTER RESERVE MARGINS?

A. 	Yes. Several utilities are now either establishing winter reserve margins or are starting to plan for higher winter reserve margins. Duke Energy Carolinas, Duke Energy Progress, Santee Cooper, MISO, SPP, and PJM have either increased their winter target reserve margins or established winter target reserve margins in the last few years. Decreasing the Company’s reserve margin would be a step in the opposite direction compared to the industry and would reduce Georgia Power’s System reliability.

Q.	WHY IS STAFF’S PROPOSED 24.5% TARGET RESERVE MARGIN INAPPROPRIATE?

A.	Customers benefit from the enhanced reliability offered by planning to a winter target reserve margin of 26% for very little additional cost. Planning to a lower target reserve margin like the 24.5% recommended by PIA Staff reduces System reliability and does not provide substantial cost savings. If the Company planned to a 24.5% winter target reserve margin, the System’s performance during extreme winter weather events like Winter Storm Elliott would have been diminished. Also, Staff’s recommendation in the 2022 IRP for 24.5% sought to remove the risk of under forecasting loads from the Reserve Margin Study, while only planning for risks associated with over forecasting loads. Planning for only one direction of movement on something like a load forecast is inappropriate because it fails to sufficiently capture the reliability risk. The 2023 IRP Update is itself strong evidence that loads can be higher than forecasted.

Q.	PLEASE RESPOND TO INTERVENOR RECOMMENDATIONS THAT RE-RUNNING THE RESERVE MARGIN STUDY WOULD PLACE DOWNWARD PRESSURE ON THE ECONOMICS OF RESOURCES CONSIDERED BY THE COMPANY.

A.	Witness Hotaling suggested that higher current capacity prices might reduce the Target Reserve Margin down to the 20% threshold for 1:10 LOLE. (Tr. 1286, lines 15–17.) While capacity prices do impact the economic evaluation in a Reserve Margin Study, it would be inappropriate to update a single variable without considering how other variables may have also changed. The assumption that a higher capacity price could result in a lower Economic Optimum Reserve Margin (“EORM”) also ignores the Value at Risk component to the Company’s Reserve Margin Study, which considers the value to customers for a reserve margin higher than the EORM. The Company will update all the relevant variables and perform a full Reserve Margin Study that will be filed as part of its 2025 IRP. At that time, the impact of capacity price changes can be properly evaluated in the context of all other changes in the study, including any updates to the level of reserve margin associated with a 1:10 LOLE.

Q.	SHOULD THE COMPANY SIMPLY REDUCE ITS WINTER TARGET RESERVE MARGIN TO 20%, EQUIVALENT TO THE 1 IN 10 LOLE, AS RECOMMENDED BY PIA STAFF AND SOME INTERVENORS?

A.	No. The Company does not recommend reducing the winter target reserve margin below the 26% approved for planning purposes. Although some utilities plan to a level of reliability associated with a 1:10 LOLE, the Company considers that to be a minimum threshold, and also considers the costs and risks to customers when the target reserve margin is set. Lowering the winter target reserve margin to 20% would result in a reduced level of reliability, on par with or even below other regions that had firm load shed during recent winter events. Lowering the reserve margin to 20% would result in an 80% increase in the likelihood the Company would need to shed firm load, and the loss of firm load would be expected to be twice as severe, with a 110% higher amount of Expected Unserved Energy (“EUE”). With a 20% target reserve margin, the Company would be twice as reliant on interruptible loads and would expect higher generation production costs and purchased power costs. This lower level of reliability without consideration of costs and risks is not what the Company endeavors to provide its customers. System wide, adoption of a 20% winter planning reserve margin reduces the System capacity by approximately 1,800 MW. This 1,800 MW, embedded in the Company’s 26% winter target reserve margin, was necessary to maintain reliability during Winter Storm Elliott, and there is no evidence to the contrary.

# VI. 	PROPOSED RESOURCE SOLUTIONS

Staff Economic Analysis

Q.	Please describe Staff’s Economic Analysis and Resource Mix Analysis.

A.	PIA Staff conducted a review of the resources proposed by the Company. Their review encompassed two primary analyses – a Resource Mix Study and a Ranking Analysis – utilizing the Aurora optimization model, within the defined study period of 2024 to 2040, which was used to expedite simulation times. The Resource Mix Study was conducted to determine the optimal selection of resources. This study was also intended to address the perceived shortcomings in the Company’s economic analysis. In reevaluating the proposed resource investments, PIA Staff aimed to ascertain the necessity and economic viability of procurement of the Company’s proposed resources. The analysis purported to weigh the proposed new resources against generic candidate units. Additionally, an economic ranking analysis was carried out, positioning the Company’s identified resources on a spectrum from most to least favorable. This supplementary analysis was intended to provide the Commission with a structured reference should there be a requirement to pursue additional resources beyond the PIA Staff’s endorsement.

Q.	Does the Company have concerns with PIA Staff’s Economic Analysis and Resource Mix Study used in the 2023 IRP Update?

A.	Yes. The Company has several reservations regarding PIA Staff’s Economic Analysis and Resource Mix Study in the 2023 IRP Update. The extent of the issues signals to the Company that PIA Staff’s findings are flawed and merit no consideration by the Commission. The identified discrepancies and oversights in PIA Staff’s analysis are in the following key points:

- The abbreviated study duration ending in 2040 inadvertently skews results and biases the model against all new construction proposed by the Company, primarily because it fails to account for the complete operational lifespan of the proposed new construction Company-owned assets. This short study period also precipitated fundamental mistakes producing inaccurate results.

- PIA Staff’s analysis relied on generic units that are not feasible for construction within the time frame of 2026-2028, yet they were assumed to be available regardless.

- The conditions set by PIA Staff only allowed for the selection of new Company-owned proposals at their explicit Commercial Operation Dates (“COD”), in stark contrast to the ongoing availability afforded to generic alternatives, which could be selected at any time. This discrepancy, combined with an error related to the incorrect entry of the CODs for Plant Yates Units 8-10, hindered the model’s ability to consider the Company's proposed resources appropriately, effectively excluding Yates Units 8-10 from consideration.

- Finally, the approach taken did not consider variability of natural gas, ignoring the low and high gas price scenarios.

Q.	Please explain the impact of the shorter study period.

A.	The truncated study period chosen by PIA Staff has considerable implications, not the least of which is the disregard for the long-term benefits that Company-owned assets with extended lifespans could offer customers. By arbitrarily setting 2040 as the study cutoff, PIA Staff’s economic analysis fails to account for unit performance and cost savings that would accrue from assets like Plant Yates Units 8-10, the proposed BESS projects, and the proposed BESS plus Solar project—all of which are anticipated to operate beyond the end date assumed by PIA Staff.

PIA Staff’s methodological oversight in adjusting for the shortened study period also introduced significant errors, particularly in the assessment of Combined Cycle units with carbon capture and sequestration (“CC with CCS”). PIA Staff’s selection of a substantial volume of CC with CCS in the moderate gas, zero-dollar carbon scenario (“MG0”) raises questions about the legitimacy of their analysis. By limiting the final study year to 2040 in PIA Staff’s analysis, the availability of the 45Q tax credit — which is applicable only for the first 12 years of CC with CCS operation — was not correctly factored into the long-term economic model. Consequently, the stark cost increases that are expected to follow the 45Q tax credit’s expiration were disregarded in PIA Staff’s analysis. This oversight signifies broader analytical inaccuracies and undervalues the perceived benefits of the resources proposed by the Company, which in turn has contributed to PIA Staff’s recommendation to reject these resources.

Q.	Did Staff’s Resource Mix Analysis consider adding the proposed Plant Yates Units 8-10?

A.	No. PIA Staff’s analysis included a combination of errors that prevented the evaluation of Plant Yates Units 8-10 in the Resource Mix Analysis. Notably, the allowed selection dates for Plant Yates Units 8-9 and Unit 10 were incorrectly set to 1/1/2026 and 1/1/2027, respectively. In addition, there was no capacity modeled for Unit 9 in 2026, as the actual projected COD is in 2027, and only one month of capacity was modeled for Unit 8. PIA Staff artificially limited the opportunity for the model to pick Plant Yates Units 8-10 exclusively to the year of the entered selection dates and before any winter capacity contributions could be recognized by the model. Such limited parameters led to the Aurora model’s optimization algorithm dismissing the Yates Units outright without sufficient consideration.

In response to hearing requests, PIA Staff acknowledged that allowing the Yates CTs the flexibility to be chosen in years beyond 2026 and 2027 would have resulted in the selection of Plant Yates Unit 8 in 2028, even without extending the study period.

Q.	CAN Generic Resources MEET CAPACITY NEEDS in 2026-2028?

A.	No. Asserting that generic resources could meet the Company’s capacity requirements in 2026-2028 is fundamentally inappropriate. Generic resources lack defined specifics such as location, transmission interconnection and deliverability, land and fuel availability, finalized engineering plans, and the necessary environmental permits.

The utilization of these hypothetical constructs in place of the Company’s proposed projects undermines reliability, as generic resources cannot be built swiftly enough (if at all) to meet imminent capacity needs. A more reasonable approach would bypass the use of generics from 2026-2028, focusing solely on actual, executable resources.

Q. 	DID THE COMPANY COMPLETE AN ANALYSIS CORRECTING FOR STAFF’S ERRORS?

A. 	Yes. The Company modified PIA Staff’s modeling, which used the Company’s load forecast, to correct for the errors described above to conduct an updated analysis. Specifically, the Company’s analysis extends the study period to 2058 and corrects the limitation on Plant Yates Unit 8-10 CODs. This recalibration not only rectifies the CC with CCS error but also provides a more accurate representation of new construction resource lifespans.

The results achieved by using PIA Staff’s own model—with the Company’s corrections—led to the selection of previously excluded projects, including the Robins and Moody BESS projects and Plant Yates Units 8-10. These outcomes demonstrate that these projects included in the Company’s proposed portfolio of resources are economically favorable when evaluated without errors. The Company’s revised analysis correcting PIA Staff’s modeling casts reasonable doubt on PIA Staff’s initial rejection of the proposed Yates CTs and Robins and Moody BESS projects and underscores the importance of a more thorough and long-term evaluation provided by the Company’s adjustments to PIA Staff’s analysis.

The MPC and Santa Rosa PPAs

Q.	WOULD FULLY INTEGRATED, JOINT RESOURCE PLANNING WITH OTHER SOUTHERN COMPANY SUBSIDIARIES LIKE MPC HAVE NEGATED THE NEED FOR THE MPC PPA AS ALLEGED BY GAM?

A.	No. To be clear, we do plan jointly with other Southern Company operating companies. However, each retail operating company is subject to the oversight of a different state regulator and is ultimately responsible for maintaining the generation capacity needed to serve its customers consistent with the requirements of the state in which it operates. Indeed, GAM witness Pollock acknowledged this under cross-examination, stating that “over the long term, the notion is that each utility, each operating company [of Southern Company], should stand on its own” in terms of bringing resources online to meet their own load. (Tr. 1048, lines 810) In addition, per the terms of the IIC, a utility may retire or seek off System wholesale sales of excess capacity if in the best interest of its own customers. The Mississippi Public Service Commission directed MPC to retire 950 MW of capacity resources no longer needed to serve retail load in Mississippi. As previously explained, the MPC PPA was necessary to secure the available capacity for Georgia Power customers, and ensure that such capacity remained in the pool, dedicated to Georgia Power customers, and was not sold off the Southern Company System or otherwise retired. Had the Company not acted, Georgia Power would not have been able to ensure that these resources were available to serve our customers.

Q.	CERTAIN INTERVENORS EXPRESSED CONCERN ABOUT THE LACK OF FIRM TRANSMISSION SERVICE FOR THE SANTA ROSA PPA. DO YOU HAVE AN UPDATE ON THAT ISSUE?

A.	Yes. Georgia Power was able to secure firm transmission on the Southern Transmission System for transfer across the FPL/Southern Company interface through the Winter of 2024/2025. The Company will continue to seek firm transmission service for the remainder of term of the agreement.

Q.	HAS GEORGIA POWER BEEN ABLE TO REMARKET ANY MORE OF THE CAPACITY FROM THE MPC PPA OR SANTA ROSA PPA FOR 2024 AND 2025?

A.	While no further contracts have been executed, the Company is actively engaged with and in negotiations with other entities through its agent Southern Wholesale Energy (“SWE”) for capacity sales in the years 2024 and 2025.

Proposed Yates CTs

Q.	WHY SHOULD THE COMMISSION CERTIFY THE YATES CTS?

A.	Plant Yates Units 8-10 are critical components of the 2023 IRP Update that will provide reliable and economical peaking resources needed to ensure Georgia Power can continue to reliably meet the electricity needs of its customers and support continued economic development in Georgia. Notably, the new units will be located at the existing Plant Yates site, allowing the Company to avoid costs and other issues related to the development of a greenfield site, while taking advantage of existing site infrastructure. Moreover, the environmental conditions, fuel supply, and life cycle operation and maintenance associated with the Plant Yates site are all favorable. Plant Yates is also located in an area of the state that is continuing to see significant electrical growth. Thus, locating these new CTs in this growing area provides additional reliability to the area, which has seen limited growth in generation development.

Finally, the Yates CTs will support the continued integration and penetration of renewables and storage on the electric System. Notably, the Company’s correction of PIA Staff’s expansion plans resulted in the selection of Yates 8 in winter 2027 and Yates 9-10 in winter 2028 as the Company proposed.

Q.	PLEASE RESPOND TO THE ASSERTIONS MADE BY INTERVENORS THAT THE COMPANY DOES NOT NEED ALL THREE OF THE YATES CTS IF TRANSMISSION RESTRICTS THE OUTPUT OF THE PLANT DURING PEAK PERIODS WITH TRANSMISSION CONTINGENCIES?

A.	There is only one specific transmission case where the full output of the three units was restricted. In all other scenarios, once online, all three units will be available to be economically dispatched. It is more economical to build three units consecutively to take advantage of economies of scale, especially when the expansion plan indicates a need for CTs to meet future needs. Additionally, the three CTs will be the most efficient CTs on the Southern Company System, which enables all three units to be dispatched ahead of other CTs and the Yates 6-7 steam units.

Q.	WHY SHOULD THE COMMISSION HAVE CONFIDENCE IN THE ECONOMICS OF THE PROPOSED YATES UNITS?

A.	Even though the proposed Yates units are being procured outside the typical RFP process, the Commission can have confidence in the economics of Plant Yates Units 8-10. The Company routinely engages with established original equipment manufacturers (“OEMs”) and engineering, procurement, and construction (“EPC”) firms to evaluate the costs and risks associated with projects like those proposed at Plant Yates. The expertise garnered from these engagements ensures a high level of economic scrutiny and cost-effectiveness. Moreover, the Plant Yates project is strategically positioned to meet the anticipated load growth in a timely manner. As explained in the testimony of Aaron Abramovitz, the capacity additions from Plant Yates Units 8-10, in conjunction with the other resources proposed in this IRP Update and the expected energy sales’ revenues, are projected to put downward pressure on rates. The combination of timely delivery through credible partnerships and the positive impact on rates underscores the economic viability of the Plant Yates Units.

Additionally, when comparing to publicly available information for similar technologies, the estimated costs for Plant Yates is comparable to other CTs. This is demonstrated in “TS Attachment D – Cost Comparison of Similar Projects” filed with the Yates Certification Application in this docket on January 31, 2024, as well as Exhibit 2, which provides a supplemental update to this attachment to more accurately capture the cost adjustment for one of the comparison units. In addition, the cost of Yates Units 8-10 fall within the cost range for gas peaking technologies included in Lazard’s 2023 Levelized Cost of Energy Analysis attached as Exhibit 3. And while there are several site-specific aspects to the costs of the proposed CTs, these references demonstrate that the Company’s cost for Plant Yates Units 8-10 are in line with costs of comparable CTs.

Q.	IS GEORGIA POWER STILL COMMITTED TO RESPONSIBLY TRANSITIONING ITS GENERATION FLEET TO INCLUDE MORE ECONOMICAL, LOW- OR ZERO- CARBON RESOURCES?

A.	Yes, and we will continue to work constructively with the Commission to transition the generation fleet in an economical and reliable way that is in the best interests of our customers. This commitment includes a well-balanced and diversified approach to strategically deploying clean, highly efficient, dispatchable BESS and natural gas resources, such as those proposed at Plant Yates, needed to provide reliable electric service. Significantly, we are already conducting some of the largest renewable RFPs in the country and plan to continue to develop more renewable resources in the future. Specifically, updated modeling for the 2023 IRP Update indicates that adding up to approximately 10,000 MW of new renewable resources by 2035 can provide economic benefits for customers. The certification of the proposed resource plan in this IRP Update, including the Yates CTs, is a necessary component of the Company’s long-term fleet transition plan while maintaining a reliable electric System to address customers’ energy needs.

Q.	WOULD IT BE APPROPRIATE TO INCORPORATE INTO THIS IRP UPDATE PROPOSED ENVIRONMENTAL REGULATIONS, LIKE THE 111 RULE, PRIOR TO FINAL APPROVAL, AS PROPOSED BY SIERRA CLUB?

A.	No. It would be inappropriate to plan for the specific requirements of a proposed environmental regulation such as the proposed 111 Rule, which would regulate greenhouse gas emissions at fossil fuel-fired power plants.

The Company believes that the implications of a final 111 Rule are captured within the range of carbon pressure scenarios included in the 2023 IRP Update. Since the proposed 111 Rule has yet to be finalized and state plans have not yet been developed or approved for existing unit requirements (which may take up to three years under the proposal), the Company believes that detailed analysis of the compliance options and development of the compliance strategy for the proposed 111 Rule would be premature and speculative. Specifically for the requests in this 2023 IRP Update, the contract periods for the PPAs with Mississippi Power and Santa Rosa Energy Center LLC end prior to the compliance dates for existing units in the proposed 111 Rule; therefore, these PPAs are not expected to be impacted by this rule. Also, BESS are not subject to the 111 Rule.

Based on the proposed rule, the Company expects the proposed CTs at Plant Yates to comply with the 111 Rule and does not anticipate any changes impacting the decision to request these additional resources.

1,000 MW BESS – Robins, Moody, 200 MW BESS plus 200 MW Solar

Q.	WHAT IS THE STATUS OF THE ROBINS, MOODY, AND 200 MW BESS PLUS 200 MW SOLAR PROJECTS?

A.	All the BESS projects proposed in this proceeding continue to move forward in order to meet a December 2026 in-service requirement. The Company issued inquiry packages to several BESS OEMs and EPC contractors. The Company is currently in the process of evaluating and finalizing contracts around these supplier options. Additionally, the Company has continued negotiations with the developer of the 200 MW BESS plus 200 MW Solar facility with the goal of having final contracts signed as soon as possible.

Q.	HAS THE COMPANY IDENTIFIED ANY OTHER BESS PROJECTS TO MEET PART OF THE 1,000 MW REQUEST IN THIS CASE?

A.	Yes. The Company has identified several BESS projects it is pursuing as part of the need to deploy 1,000 MW of BESS by the end of 2027 to address the capacity needs associated with serving the new load coming to Georgia.

DER

Q.	DOES THE COMPANY AGREE WITH PIA STAFF WITNESS KADUK’S PROPOSED SIZE CAP TO THE DER CUSTOMER PROGRAMS?

A.	No. The Company does not agree with the size cap PIA Staff Witness Kaduk recommended for DERs in the DER Co-location program. The Co-location program was designed to make more efficient use of resiliency resources that customers are bringing to provide backup power for their operations, and to incent cleaner resources certified and permitted for non-emergency use. Introducing a 10 MW cap would exclude a significant portion of the resiliency resources large load customers will be procuring and prevent them from being used for the benefit of all customers.

Further, PIA Staff recommends setting the limit on the installed DER to match the customer’s annual peak load at the premises, up to, but not exceeding the program maximum DER size limit. This recommendation is inappropriate for two reasons. First, resiliency assets designed to provide full back up are typically sized with nameplate capacity exceeding peak load. This accounts for operational best practice not to run resources for extended periods at maximum output and mitigates concerns should an individual asset fail. Second, unlike resources utilized in the DRC-1 tariff Witness Kaduk references, the resources deployed through these programs will be supply side assets capable of pushing back to the grid. As a result, there is no need or basis for putting a size cap based on load.

Q. 	PLEASE RESPOND TO GAM WITNESS POLLOCK’S RECOMMENDED MODIFICATIONS TO THE DER CUSTOMER PROGRAMS.

A.	One of GAM Witness Pollock’s concerns is that the proposed tariffs do not specify the amount of the required credits/payments. He believes that this gives the Company “undue discretion” and that the “customer would have no opportunity to either vet the proposed credits/payments or seek a remedy from the Commission.” (Tr. 962.) However, by not detailing the specific credit or payment within the terms of the tariff, the programs have flexibility to accommodate different types of resources, can expand to reflect additional use cases should they materialize, and are able to adjust to changing conditions. That does not mean that customers and the Commission will not have an opportunity to view or vet the values and associated calculation methodologies. In fact, each of the proposed programs and tariffs requires an additional customer agreement. The customer agreement and supporting documents will provide further details, requirements, and specifications for the individual customer and resources. The resources participating in DCL-1 and DCO-1 will be supply side resources subject to Commission certification and approval.

Witness Pollock also expressed concern about the procurement of resources in the proposed DER Co-location Program and wants to require a competitive solicitation with engagement from the customer. The Company agrees that the participating customer must be engaged in the selection of resources but does not support a requirement that each resource must be competitively sourced. A participating customer may have existing vendor relationships or specific preferences on what technologies and or companies they would like to work with outside of a competitive procurement process. In addition, the Company has already issued an RFP and selected qualified vendors for the current DER Customer Pilot. These same vendors can be utilized for the proposed DER programs.

Q.	DO THE DER CO-LOCATION AND CUSTOMER OWNED PROGRAMS EXCLUDE CARBON FREE RESOURCES?

A.	No. The program is designed to be resource neutral; provided that such resources are dispatchable, have a firm fuel supply, and are interconnected to transmit the energy they produce to the electric grid. This could include microgrids, fuel cells, or other carbon free resources. Ultimately, the participating customer will be responsible for determining the set of resources that meet their needs and the Company will evaluate and reflect the appropriate System value associated with those resources.

Q.	SHOULD THE COMPANY CONSIDER ADDING A VIRTUAL POWER PLANT OPTION TO ITS RESOURCE PORTFOLIO IN THIS CASE, AS SUGGESTED BY THE COALITION OF LOCAL GOVERNMENTS AND GEORGIA SOLAR ENERGY ASSOCIATION?

A.	No. The Company proposed expansions of existing and new distributed energy resource programs that rely on end-use or customer-sited technology. Fully leveraging additional load flexibility programs, like virtual power plants (“VPP”), will require more planning time and further operational capabilities than exist in this 2023 IRP Update. The Company is in the process of evaluating and planning demand-side programs that will be filed in the 2025 IRP, including potential VPP programs. Deriving System value from mass market load flexibility programs will require continued investment in enterprise Distributed Energy Resource Management Systems (DERMS) for visibility, predictability, and enhanced operational capabilities of these resources.

Minimum Ownership

Q.	SHOULD THE COMMISSION REVISE THE MINIMUM OWNERSHIP REQUIREMENT IN ITS RULES?

A.	No. The Commission’s longstanding 70/30 policy ensures System reliability and sufficient Commission oversight of the resources serving customers. Staff and Intervenors dismiss the Commission’s 70/30 rule claiming that it is outdated and does not ensure that the Company procures the least cost resources for customers. However, this ignores the fact that apart from the resources requested in this case, the vast majority of all other capacity resources since 2001 were successfully procured through an RFP process. Further, allegations that the ratio is too high and biased in favor of Company-owned resources are based on comparisons to utilities in RTOs and deregulated markets, where service reliability has been a challenge in extreme weather events. Notably, Georgia is not alone in providing a minimum number of utility-owned and controlled resources to ensure a sufficient level of reliability and oversight. For example, the 70/30 ratio is comparable to that set in Virginia, where 65% of all new renewables are to be utility owned, and N.C.G.S. § 62-110.9(2)(b) in North Carolina, which provides for all new resources to be company owned except for 45% renewables and storage.

# VII.	TRANSMISSION

Q.	PLEASE CLARIFY THE COMPANY’S TRANSMISSION REQUEST IN THIS CASE.

A.	The Company requests approval of the transmission improvements necessary to accommodate the resources proposed in the 2023 IRP Update. These improvements were identified in the preliminary transmission screening analyses filed in the Technical Appendix to the 2023 IRP Update, confirmed in the Transmission Supplemental Filing, and are consistent with the types of transmission improvements typically required to accommodate new generation added to the System.

Q.	IS THE COMPANY REQUESTING COMMISSION APPROVAL OF EACH OF THE EIGHT PROJECTS LISTED IN THE TRANSMISSION SUPPLEMENTAL FILING?

A.	No. Consistent with Georgia Power’s annual transmission planning processes, the Company will continue to study and reevaluate the actual transmission projects needed to bring the Yates CTs online. The eight projects identified are the slate of projects currently identified as necessary to support the Yates CTs. As the transmission system changes and additional studies are completed through established processes, it is possible that the projects necessary to bring the Yates CTs online may change or be replaced with better alternatives. This is consistent with how the Company conducts its standard transmission planning process in the triennial IRP.

Q.	ARE THE TRANSMISSION SCREENING ANALYSES AND TRANSMISSION SUPPLEMENTAL FILING COMPREHENSIVE ENOUGH TO SUPPORT THE COMPANY’S REQUEST IN THIS CASE?

A.	Yes. The Company conducted initial screening analyses for the 2023 IRP Update filing at a base load level that includes all committed large loads. The Company then continued to refine the analyses for the supplemental filing with an updated load forecast that includes committed and potential large loads. Both versions of the analyses yielded the same results for transmission needs validating the comprehensive process conducted by the Company. Additionally, the Company conducted a Unit Designation Study for the Yates CTs that further validated the transmission needs.

Q.	DO THE TRANSMISSION LIMITATIONS ON THE PROPOSED YATES UNITS LIMIT DELIVERY FROM THE UNITS ALL THE TIME?

A.	No. The transmission upgrades required to unlock the full designated capacity of the three proposed Yates CTs only impact power delivery in peak demand periods under certain transmission contingencies. For most hours throughout the year, the new Yates CTs will be available to serve load up to the full designated capacity as soon as they come online.

Q.	DID THE COMPANY PROVIDE SUPPORT FOR THE 600 MW TEMPORARY DELIVERY LIMITATION FOR THE YATES CTS IN PEAK PERIODS UNTIL 2028 WHEN TRANSMISSION CONSTRAINTS ARE ALLEVIATED?

A.	Yes. As shown in the supporting studies and workpapers accompanying the Transmission Supplemental Filing on January 19, 2024, the Company provided documentation of its analysis and results regarding the transmission limitations on the proposed Plant Yates CTs until required transmission improvements as listed in the Supplemental Filings are complete.

Q.	ARE THE PROPOSED YATES CTS SUBJECT TO TRANSMISSION CURTAILMENT RISK AS A RESULT OF THE COMPANY HAVING REQUESTED ENERGY RESOURCE INTERCONNECTION SERVICE RATHER THAN NETWORK RESOURCE INTERCONNECTION SERVICE?

A.	No. Since the Company’s transmission planning process includes firm and future firm commitments only, there is no curtailment risk for the delivery of power from the proposed Yates CTs because of the Company’s interconnection service request. This concern from Staff Witness Goggin and SREA Witness Olson represents a fundamental misunderstanding between the requests and studies for interconnection service and delivery service on the Southern Company System. As explained in the Company’s response to STF-GS-2-1, neither Energy Resource Interconnection Service (“ERIS”) nor Network Resource Interconnection Service (“NRIS”) conveys delivery rights to a generator. Delivery service in the Southern Company System is separately requested through a transmission service request for point-to-point transmission or through the designation of the resource as a network resource for networked transmission service. The Company has already requested that Plant Yates Units 8-10 be designated as network resources and that designation study is complete.

The fact that transmission operators in other parts of the country and in different market structures combine interconnection and delivery service as part of a NRIS request does not signal a fundamental flaw or risk in how the Company has planned for the delivery of power from the proposed Yates CTs.

Q.	DOES THE COMPANY CONSIDER NON-WIRES ALTERNATIVES IN ITS TRANSMISSION PLANNING AND, IF SO, WHAT ALTERNATIVES WERE CONSIDERED IN THIS CASE?

A.	Yes, the Company considers non-wires alternatives in its transmission planning and has demonstrated the integration of these solutions in past projects where they added operational flexibility and were more cost effective. However, given the time constraints in this case, the Company was unable to explore all the options typically available for a given transmission constraint or deficiency as part of the transmission analyses supporting the resource requests in this case. Nevertheless, the transmission projects identified to support the Yates CTs are consistent with the typical types of projects needed to accommodate the addition of large generation resources to the System.

Q.	PLEASE RESPOND TO STAFF AND INTERVENOR RECOMMENDATIONS THAT THE COMPANY EMPLOY EMERGING, GRID ENHANCING TECHNOLOGIES AND NON-WIRES ALTERNATIVES LIKE DYNAMIC LINE RATING, GEOLOGICAL TYPOLOGY OPTIMIZATION, FLEXIBLE AC TRANSMISSION SYSTEMS (“FACTS”), ETC.

A.	The Company already employs many of the alternative and advancing solutions that Staff and Intervenors propose where they provide value to customers. Grid Enhancing Technologies refers to a broad range of technologies, and these are considered as part of the Company’s 10-year Transmission Planning Process. For example, the Company already uses FACTS on the System through its deployment of static VAR compensators and static synchronous compensators to improve power quality and efficiency of the transmission grid. The Company has also specified the use of series reactors and series compensation as power flow control devices in addition to advanced conductors. As a standard practice and through collaboration with the Southern Company Research and Development team, the Company continues to consider new types of technologies in its evaluation criteria. However, there are limitations to using some of the suggested technologies as they are not mature enough for deployment on the System, require long lead times, or are inappropriate for long term planning. To this point, dynamic line ratings (“DLR”) have the potential to enhance operational flexibility by incorporating various factors such as wind speed, temperature, load profiles, and solar irradiance. These benefits occur in real-time or near real-time conditions, however, which make it inappropriate to use DLR capabilities as a long-term planning solution because it is impossible to know today what speeds the wind will blow at or what the solar irradiance will be many years in the future. Although not a long-term planning solution, the Company is evaluating opportunities for DLR implementation under unique circumstances to provide real-time operational benefits as a temporary solution until a long-term solution can be executed.

Q.	DOES THE COMPANY USE AMBIENT-ADJUSTED RATINGS (“AAR”) IN THEIR OPERATIONS AND PLANNING PROCESSES?

A.	Yes. The Company uses AAR in its dynamic ampacity ratings program for transmission planning and operations planning processes that includes local parameters such as weather and wind. By use of this program, the Company equips its operators with current System conditions and minimizes risks associated with short-term, excess conductor loading. Within the Company’s transmission planning processes, the Company leverages AAR as a bridge to permanent solutions, where appropriate. These applications tend to occur in the early years of the planning horizon when there is not sufficient time to construct a project.

Q.	WHY DIDN’T THE COMPANY CONSIDER BATTERIES SITED CLOSE TO LOAD AS A TRANSMISSION SOLUTION IN THIS CASE?

A.	Batteries sited near load are not a practical solution or replacement for the identified transmission upgrades for several reasons. First, the battery would need to charge from the grid, which causes it to act like additional load, thereby exacerbating the problem the additional resources and transmission solutions are trying to resolve. Second, a battery serving as a solution to a transmission contingency cannot be counted as both generation capacity and a transmission solution by planners on the Southern Company System. To serve as a transmission solution, a battery would need to be fully charged around the clock, available when and if called upon to address a contingency since contingencies can occur at any time and potentially for extended durations. Third, a 4-hour battery is not a practical solution to address transmission contingency scenarios. For example, a tornado could create an unexpected outage during hot weather conditions that lasts for a week. For batteries to resolve the transmission constraints identified in the transmission supplemental filing analysis, the transmission grid would need to have enough available capacity to charge the battery system(s), they would need to be of significant size and discharge time, and there would need to be multiple battery systems to cover the multiple contingencies across different locations identified in the analysis. The overall cost and land requirements to support battery projects that can cover extended duration outages would be cost prohibitive, especially when contemplating the relatively small magnitude of the total amount of transmission projects identified in the supplemental transmission filing. In addition, a total net present value of the battery systems versus wire solutions would need to be run to contemplate the total life-cycle costs of the two alternatives.

Q.	SHOULD THE COMPANY PROACTIVELY INVEST IN MORE 500 KV TRANSMISSION LINES ACROSS THE STATE AS RECOMMENDED BY STAFF WITNESS GOGGIN, SACE WITNESS PATEL, AND SREA WITNESS OLSON?

A.	No, not as part of its request in this case. Intervenor-proposed 500kV solutions cannot be implemented in the required timeframe and would not completely address the local area 230kV constraints identified to bring the Yates CTs online. That said, the solutions proposed in the 2023 IRP Update and supplemental filings could complement future 500kV development.

Further, simply proposing to build more 500kV lines in the state misunderstands how transmission planning is coordinated with generation resource planning in Georgia and would result in very expensive infrastructure investment with no guarantee to alleviate known or anticipated transmission constraints. In deregulated markets, transmission owners build large transmission lines across states hoping that they have sited the infrastructure where independent power producers will seek to interconnect. In contrast, Georgia Power builds transmission as needed to deliver power from facilities that have been sited, financed, and have initiated the process of interconnecting to the System. Georgia Power’s integrated approach ensures interconnections actually occur and minimizes transmission investments based upon speculation. Further, Witness Goggin’s testimony seems to ignore the integrated nature of the transmission system in Georgia whereby Georgia Power jointly plans and operates the networked transmission system with the other Georgia ITS participants in the state: Georgia Transmission Corporation (“GTC”) and the Municipal Electric Authority of Georgia (“MEAG”).

In addition, adding or upgrading existing line voltage to 500 kV is not as simple as swapping out the line on existing structures. The Company requires additional rights of way access for larger voltage lines, the acquisition of which adds substantial time and cost to the process of rebuilding or retrofitting a line. Finally, Witness Goggin seems to gloss over the significant costs and time requirements associated with changing the voltage level of existing facilities, which would be additional costs borne by Georgia Power customers.

Q.	PLEASE RESPOND TO THE RECOMMENDATION OF SEVERAL PARTIES THAT THE COMPANY IMPLEMENT A MORE HOLISTIC, INTEGRATED PLANNING BETWEEN TRANSMISSION AND GENERATION THAT IS PROACTIVE RATHER THAN REACTIVE.

A.	The Company already does most of the planning improvements parties recommend. Unlike deregulated markets, which lack the insight and structural mechanisms to jointly plan transmission and generation, the Company’s IRP process already holistically and intentionally considers the balance between transmission investment and generation deployment. While transmission is a significant aspect of IRP processes, long-term firm commitments by third parties under a FERC-jurisdictional Open Access Transmission Tariff (“OATT”) is also a key driver in the development of transmission expansion planning. Additionally, Southern Company and Southeastern Regional Transmission Planning (“SERTP”) Sponsors’ transmission planning processes utilizes multi-disciplined analyses that identify System needs using least-cost and reliable solutions from all reasonably available alternatives. As an added step, the Commission reviews, regulates, and approves the Company’s planning process and ensures that the assets built are reliable, economic, and in the public interest.

Q.	DOES GEORGIA POWER ALREADY PARTICIPATE IN REGIONAL PLANNING WITH NEIGHBORING SYSTEMS?

A.	Yes. That is the purpose of the SERTP organization. Georgia Power is also a Participant in the Georgia ITS with GTC, MEAG, and Dalton Utilities.

# VIII.	CONCLUSION

Q.	IN CONCLUSION, PLEASE SUMMARIZE WHY THE COMMISSION SHOULD APPROVE THE COMPANY’S REQUEST WITHOUT MODIFICATION.

A.	The 2023IRP Update presents a plan that will ensure Georgia Power can continue to reliably serve the state’s growing capacity needs while supporting economic growth and lowering rates for all retail customers. The Company’s plan provides substantial benefits for our customers and our state, and we request that the Commission approve the Company’s request without modification.

Q.	DOES THIS CONCLUDE YOUR TESTIMONY?

A.	Yes.

EXHIBIT 1 – Cost Impact by Rate Group Sensitivity

EXHIBIT 2 – Revised TS Attachment D to the Yates Certification Application

EXHIBIT 3 – Capital Cost Comparison from Lazard’s 2023 Levelized Cost of Energy Analysis

https://www.lazard.com/research-insights/2023-levelized-cost-of-energyplus/

See, e.g., Order for Transfer of Retail Electric Service, Docket No. 55460; Order for Transfer of Retail Electric Service, Docket No. 55473.