# Q1 2024 Large Load Economic Development Report

May 15, 2024

Docket No. 55378

# Introduction

This Large Load Economic Development Report is provided in accordance with the Order Adopting Stipulated Agreement issued by the Georgia Public Service Commission (the “Commission”) approving the Stipulation in Georgia Power Company’s (“Georgia Power” or the “Company”) 2023 Integrated Resource Plan (“IRP”) Update in Docket No. 55378. To keep the Commission informed during this period of extraordinary economic growth, Item 2 from the Stipulation requires the Company to file quarterly reports that include information identified in Attachment A of the Stipulation and any other pertinent information about large load economic development activity in the 2023 IRP Update Load Forecast and any changes since the previous update.

The load forecast presented as a part of Georgia Power Company’s initial 2023 IRP Update in October 2023 was informed by the latest economic trends and used proven methods to evaluate the probability, level, and timing in which the projected load will materialize. The Company’s forecasting methodology for large loads accounts for numerous types of uncertainty, including the potential that load will not materialize, will be delayed, or will materialize at a level lower than expected. Moreover, the forecast is based on the most recent economic trends, includes projects that have already selected Georgia Power as their electric service provider, and incorporates direct input from customers about economic growth in Georgia. All indications continue to support Georgia Power’s expectation for continued and robust economic growth in Georgia and the timing of new large customers.

This quarterly report is informed by the Company’s forecasting methodology and incorporates information through March 31, 2024. This report draws a comparison between information through March 31, 2024, and the information filed in the Company’s 2023 IRP Update on October 27, 2023. The information presented in this first quarterly report is similar to the information presented as a part of the Company’s rebuttal testimony in the 2023 IRP Update.

# Changes in the Economic Development Pipeline

Consistent with the trend leading up to the 2023 IRP Update filing in October 2023, the pipeline of committed and potential economic development projects has increased significantly in the months since the 2023 IRP Update filing.

As of October 27, 2023, the total pipeline of economic development projects consisted of approximately 17,000 MW. After removing projects that were assumed to be below the organic load growth thresholds for industrial and commercial load, the large load economic development pipeline was approximately 16,000 MW.

As of March 31, 2024, the total pipeline of economic development projects projected through the mid-2030s has increased by approximately 4,000 MW, bringing the total number to approximately 21,000 MW. The large load economic development pipeline, which represents the majority of this growth, has increased by approximately 3,600 MW, and now totals approximately 19,600 MW. This increase of approximately 3,600 MW represents the net change between projects entering and exiting the large load economic development pipeline plus the net change to the announced load of the existing projects in the pipeline. Approximately 9,900 MW of new large load projects have entered the pipeline since the 2023 IRP Update filing. During this same time, approximately 6,100 MW of large load projects exited the pipeline. In addition, there was an approximately 200 MW net decrease in the load announced for existing projects in the pipeline. Details about the existing, new, and former projects in the pipeline are provided in the attachment to this report.

In the near-term, for the winter of 2028/2029, the total pipeline is estimated at nearly 14,200 MW, representing an increase of more than 2,500 MW to the 11,600 MW estimated at the time of 2023 IRP Update filing in October 2023. The large load economic development pipeline for this same time period has increased by approximately 2,000 MW and totals approximately 12,500 MW.

# Changes in Commitments from Large Load Customers

Importantly, the number of commitments within the large load economic development pipeline has also increased. As of October 27, 2023, 14 customers, accounting for 3,612 MW, had selected Georgia Power as their electric service provider. As of March 31, 2024, the Company was selected to serve an additional nine large load customers, accounting for an increase of 2,569 MW, for a total of 6,187 MW from twenty-three large load customers. All twenty-three of the committed large load customers are expected to be in service by Q2 2028 or sooner, with approximately 4,100 of the 6,187 MW expected online by the winter of 2028/2029.

Table 1 below provides a summary of the construction status of the twenty-three large load projects included in the Company’s load realization model that have executed a Request for Electric Service (“RFS”) as of March 31, 2024. Twelve of these projects have broken ground, ten are pending construction, and only one 66 MW project has delayed construction. The twenty-two projects that have broken ground or are pending construction represent 6,121 MW of the total 6,187 MW. This evidence clearly indicates that these large load customers are materializing and making progress without material delays. In the near-term, projects that have broken ground represent approximately 2,300 MW of the total 4,100 MW of customer commitments for the winter of 2028/2029.

Table 1. Summary of Committed Customers

Table 2 below provides a summary of the changes in the economic development pipeline, commitments from large load customers, and announced load ramps for projects that have broken ground.

Table 2. Summary of Pipeline Changes (approximate MW)

| Date | October 2023 |  | Q1 2024 |  | Change |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 2028/2029 | Mid-2030s | 2028/2029 | Mid-2030s | 2028/2029 | Mid-2030s |
| Total Pipeline | 11,600 | 17,000 | 14,200 | 21,000 | 2,600 | 4,000 |
| Large Load Pipeline | 10,500 | 16,000 | 12,500 | 19,600 | 2,000 | 3,600 |
| Commitments | 2,700 | 3,600 | 4,100 | 6,200 | 1,400 | 2,600 |
| Broken Ground | 2,000 | 2,900 | 2,300 | 3,500 | 300 | 600 |

# Variables Included in the Report

Consistent with the requirements of Attachment A of the Stipulation, included in this report are the following variables tracked in the load realization model:

- Customer or Project name;

- Project address;

- Identify if the project is located inside or outside the Company’s service territory;

- Announced Project Load (MW);

- Project load ramp including load (MW) and timing;

- Changes in project status since the last report to include:

  - Updates to announced load,

  - Updates to load ramp,

  - Project Stage (new project, selected energy provider, technical review, final contract status – Request for Electric Service, Contract for Electric Service),

  - Initial service date;

- Reason for project loss if known (selected alternative state/selected alternative GA supplier/Project cancelled/project delayed indefinitely).

Updates for this information are included in the attachment to this report.

# Conclusion

Since October 2023:

- The total economic development pipeline has expanded from approximately 17,000 MW to approximately 21,000 MW through the mid-2030s;

- Near-term 2028/2029 loads have increased more than 2,000 MW; and

- Customer commitments have expanded from 3,612 MW to 6,187 MW.

This information combined with increased construction activity since October 2023 should provide further certainty that the Company’s load forecast is materializing and that the constructive outcome of the 2023 IRP Update is supportive of economic growth in Georgia.

The Company will continue to monitor economic growth and will keep the Commission apprised of large load activity consistent with the requirements of the Commission’s Order Adopting Stipulated Agreement in the 2023 IRP Update.

This additional large load project total does not include two commitments (33 MW total) that are below the size threshold to be considered large load projects in the Company’s load forecast but were included in the 2023 IRP Update Rebuttal Testimony.

6,187 MW of total commitments include a net increase of 6 MW from the original fourteen commitments in the October 2023 filing and exclude the 33 MW from footnote one.