BEFORE THE

GEORGIA PUBLIC SERVICE COMMISSION

In Re:

Georgia Power Company’s Application	)

for Certification of the 2023 BIOMASS	)	Docket No. 44880

REQUEST FOR PROPOSALS Power			)

Purchase Agreements 				)

|  | DIRECT TESTIMONY |  |
| --- | --- | --- |
|  | OF |  |
|  | JAMIE BARBER AND JOHN L. KADUK |  |

PUBLIC DISCLOSURE

On Behalf of the

Georgia Public Service Commission

Public Interest Advocacy Staff

August 13, 2024

DIRECT TESTIMONY OF

JAMIE BARBER AND JOHN L. KADUK

IN THE MATTER OF Georgia Power Company’s APPLICATION FOR THE CERTIFICATION OF THE 2023 BIOMASS REQUEST FOR PROPOSALS POWER PURCHASE AGREEMENTS

DOCKET NO. 44880

I.	INTRODUCTION

Q.	PLEASE STATE YOUR NAMES AND BUSINESS ADDRESS.

A.	Our names are Jamie Barber and John L. Kaduk. Our business address is 244 Washington, Street, SW, Atlanta, Georgia 30334.

Q.	MS. BARBER, PLEASE STATE YOUR TITLE, EMPLOYER, EDUCATIONAL BACKGROUND AND WORK EXPERIENCE.

A.	I am the Director of the Energy Efficiency and Renewable Energy Unit with the Georgia Public Service Commission (“Commission”).  My educational background and work experience are provided in my resume, which is attached as Public Interest Advocacy Staff (“Staff”) Exhibit_ (BK-1).

Q.	MR. KADUK, PLEASE STATE YOUR TITLE, EMPLOYER, EDUCATIONAL BACKGROUND AND WORK EXPERIENCE.

A.	I am a Senior Public Utilities Engineer in the Energy Efficiency and Renewable Energy Unit with the Commission.  My educational background and work experience are provided in my resume, which is attached as Staff Exhibit_ (BK-2).

Q.	WHAT IS THE PURPOSE OF YOUR TESTIMONY IN THIS PROCEEDING?

A.	The purpose of our testimony is to address Georgia Power Company’s (“Georgia Power” or “Company”) Application for the Certification of the 2023 Biomass Request for Proposals Power Purchase Agreements (“Application”) that was submitted pursuant to O.C.G.A § 46-3A-4 on July 29, 2024.

Q.	MS. BARBER, HAVE YOU PREVIOUSLY TESTIFIED BEFORE THIS COMMISSION?

A.	Yes.  I testified in each of the 1998 through 2009 United Cities Gas Company (now known as Atmos Energy Corporation) Gas Supply Plan Proceedings. I have also testified in Docket No. 10270, GPSC Determination of Lack of Market Constraints on Atlanta Gas Light Company’s Commodity Sales; Docket No. 11114, Rule Nisi Against United Gas Management of Georgia, Inc.; Docket No. 14311, Earnings Review to Establish Just and Reasonable Rates for Atlanta Gas Light Company; Docket No. 15296 Service Quality Standards for Certified Marketers and Regulated Provider; Docket No. 18638-Atlanta Gas Light Company’s 2004/2005 Rate Case; Docket No. 20298 Atmos Energy Corporation’s 2005 Rate Case; Docket No. 27163 Atmos Energy Corporation’s 2008 Rate Case; Docket No. 30442 Atmos Energy’s 2010 Rate Case; Docket No. 36498 Georgia Power Company’s 2013 IRP Filing; Docket No. 36499 Georgia Power Company’s 2013 Demand Side Program Certification; Docket No. 37854, Georgia Power Company’s Application for the Certification of the Power Purchase Agreements for Wind Resources from the Blue Canyon II and Blue Canyon VI Wind Farms; Docket No. 38877, Georgia Power Company’s Application for the Certification of the 2015 and 2016 Advanced Solar Initiative Prime Power Purchase Agreements and Request for Approval of the 2015 Advanced Solar Initiative Power Purchase Agreements, Docket No. 36989 Georgia Power Company’s 2013 Rate Case, Docket No. 40161 Georgia Power Company’s 2016 IRP Filing, 40162 Georgia Power Company’s 2016 Demand Side Program Certification, Docket No. 41596, Georgia Power Company’s Application for the Certification of the 2018/2019 Renewable Energy Development Initiative Utility Scale Power Purchase Agreements, Docket No. 41734, Georgia Power Company’s Application for the Certification of the 2018/2019 Renewable Energy Development Initiative Utility Scale Power Purchase Agreements for the Commercial and Industrial Program, Docket No. 42310 Georgia Power Company’s 2019 IRP Filing, Docket No. 42311 Georgia Power Company’s Application for the Certification, Decertification, and Amended Demand Side Plan, Docket No. 42516 Georgia Power Company’s 2019 Rate Case, Docket No. 44160 Georgia Power Company’s 2022 Integrated Resource Plan, Docket No. 44161 Georgia Power Company’s Application for the Certification, Decertification and Amended Demand Side Plan, and Docket No.44280 Georgia Power Company’s 2022 Rate Case.

Q.	MR. KADUK, HAVE YOU PREVIOUSLY TESTIFIED BEFORE THIS COMMISSION?

A.	Yes. I have testified in Docket No. 31081, Georgia Power Company’s 2010 Integrated Resource Plan; Docket No. 36498, Georgia Power Company’s 2013 Integrated Resource Plan; Docket No. 38877, Georgia Power Company’s Application for the Certification of the 2015 and 2016 Advanced Solar Initiative Prime Power Purchase Agreements and Request for Approval of the 2015 Advanced Solar Initiative Power Purchase Agreements; Docket No. 40161, Georgia Power Company’s 2016 Integrated Resource Plan; Docket No. 41596, Georgia Power Company’s Application for the Certification of the 2018/2019 Renewable Energy Development Initiative Utility Scale Power Purchase Agreements; Docket No. 41734, Georgia Power Company’s Application for the Certification of the 2018/2019 Renewable Energy Development Initiative Utility Scale Power Purchase Agreements for the Commercial and Industrial Program; Docket No. 42310; Georgia Power Company’s 2019 Integrated Resource Plan; Docket No. 42625, Georgia Power Company’s Application for the Certification of the 2020/2021 Renewable Energy Development Initiative Utility Scale Power Purchase Agreements; Docket Nos. 4822, 16573 and 19279 Georgia Power Company’s Avoided Cost Dockets; Docket No. 43814, Georgia Power Company’s Application for the Certification of the 2022/2023 Utility Scale Renewable Power Purchase Agreements; and Docket No. 55378, Georgia Power Company’s 2023 Integrated Resource Plan Update.

Q. 	PLEASE SUMMARIZE YOUR FINDINGS WITH RESPECT TO THE ISSUES BEFORE THE COMMISSION IN THIS PROCEEDING.

A.	In our review, we find that:

- Georgia Power followed the Request for Proposals (“RFP”) process as approved by the Commission on July 29, 2022, in its Order Adopting Stipulation in Docket No. 44160 (“2022 Integrated Resource Plan (“IRP”) Final Order”) that set out to procure up to 140 megawatts (“MW”) of new biomass capacity and energy for Georgia Power customers.

- The three new 2023 Biomass RFP Power Purchase Agreements (“PPAs”) support economic development growth in Georgia.

- Georgia Power appropriately amended the existing Contracts for the Purchase of Firm Capacity and Energy From a Renewable Qualifying Facility Utilizing the Proxy Unit Methodology (“Proxy Price PPA”) between Georgia Power and International Paper Company (“International Paper”) for the Flint River Mill and Port Wentworth Mill facilities. Such amendments were necessary to accommodate the new Biomass Addition PPAs sought for certification as the additional biomass capacity is at facilities with existing Proxy Price contracts. The amendments align the sale of energy generated in excess of the Committed Capacity under the Proxy Price PPAs to the requirements set forth in the Biomass Addition PPAs and resolve inconsistencies between the Proxy Price and Biomass Addition PPAs.

- The 2022 IRP Final Order approved an additional sum of $3 per kilowatt-year (“kW-year”) for the resources procured through the 2023 Biomass RFP for the term of the PPA for such resources.

Q. 	PLEASE SUMMARIZE YOUR CONCLUSIONS AND RECOMMENDATIONS.

A.	Based on our review of the Company’s Application and our independent analysis, we have the following recommendations:

- The Commission should certify the three new PPAs from the 2023 Biomass RFP portfolio that total 77.9 MW and provide energy, electrical products, and environmental attributes.

- The Commission should approve the Proxy Price PPA amendments for International Paper’s Flint River Mill and Port Wentworth Mill facilities.

- Consistent with prior Georgia Power RFPs, the Commission should approve Georgia Power’s request to include any remaining 2023 Biomass RFP costs and subsequent Biomass PPA costs not offset by bid fees and winner’s fees in its fuel clause and recover such costs through Georgia Power’s Fuel Cost Recovery (“FCR”) mechanism.

II.	2023 BIOMASS RFP PROCESS

Q.	PLEASE DISCUSS THE PURPOSE OF THE 2023 BIOMASS RFP.

A.	The Commission’s 2022 IRP Final Order required Georgia Power to procure up to 140 MW of new biomass capacity and energy for its customers.  This Order also approved the procurement of biomass resources up to 80 MW in size with expected commercial operation dates of June 2025 through November 2029.  As ordered by the Commission, the 2023 Biomass RFP required that bidders provide the following economic development information with their bid: the number and nature of new jobs, if any, the project will provide; the amount of new capital investment that will be put into the project; and other information relevant to economic development stemming from the project.  The fuel required to be used by a biomass facility selected for contracting was “biomass material” as defined in Georgia Code (O.C.G.A 48-8-3(83)(B).  The 2023 Biomass RFP allowed for the limited use of natural gas for startup and shutdown of proposed facilities, in accordance with Prudent Industry Practices.

Q.	PLEASE DESCRIBE THE RFP PROCESS THAT WAS USED FOR THE BIOMASS PROCUREMENT.

A.	Georgia Power drafted the 2023 Biomass RFP documents with input from Staff and the Independent Evaluator (“IE”), Accion Group, LLC.  All parties met several times to discuss the draft documents prior to the posting of the documents on the IE website.  Drafts of the RFP and PPA documents were posted to the IE website on February 1, 2023, to allow for comments on the documents from potential bidders until March 2, 2023.  All of the comments uploaded to the IE website were reviewed by Georgia Power, Staff, and the IE.   A Bidder’s Conference webinar for potential Bidders and interested parties was held on February 16, 2023, which allowed the parties to discuss the 2023 Biomass RFP process and the draft RFP documents.

Q.	PLEASE DISCUSS WHAT OCCURRED AFTER THE REVIEW OF THE COMMENTS THAT WERE UPLOADED TO THE IE WEBSITE.

A.	After the review of these comments, the Company drafted responses to the proposed edits.  Both Staff and the IE reviewed the responses prior to the responses being sent to the respective parties by the IE.  The Company then filed revised RFP and PPA documents on March 10, 2023, for Commission approval.

Q.	WERE ADDITIONAL DISCUSSIONS HELD ON THE DRAFT RFP DOCUMENTS AFTER THEY WERE FILED WITH THE COMMISSION?

A.	Yes.  On March 22, 2023, the IE facilitated a meeting between Staff, Georgia Power and International Paper to further discuss the responses to the comments regarding the Draft RFP and PPA that were posted by International Paper.  On March 29, 2023, Georgia Power posted on the IE website additional responses to the comments discussed during the March 22, 2023 meeting.

Q.	WHEN WERE THE FINAL RFP AND PPA DOCUMENTS CONSIDERED AND APPROVED BY THE COMMISSION?

A.	In a memo to Commissioners dated March 27, 2023, Staff recommended approval of the 2023 Biomass RFP document and Pro Forma PPAs (Biomass Addition and Greenfield) as filed with an updated Solicitation Schedule to be determined later. At its April 4, 2023 Administrative Session, the Commission approved Staff’s recommendation as amended by a motion by Commissioner Shaw to lower the Bid Security cap for the 2023 Biomass RFP from $3 million to $1.5 million.

Q.	PLEASE DESCRIBE THE PROJECT REQUIREMENTS OF THE 2023 BIOMASS RFP.

A.	As discussed earlier, the 2023 Biomass RFP was designed to procure biomass resources up to 80 MW in size with an expected commercial operation date between June 2025 and November 2029.  The Biomass project could be located anywhere in the United States but must be able to deliver their energy to Georgia Power, and the project must be fueled by biomass and bundled with the environmental attributes and all electrical products produced by or related to the production of such energy.  Both new Greenfield projects and Biomass Addition projects were allowed to participate in the RFP.  Bidders could choose a term of 10, 15, 20, 25, or 30 years.  For the evaluation of projects with unequal contract term lengths, the Company utilized its projected avoided costs to be able to evaluate bids on an equivalent basis. This methodology is consistent with what has been done in prior RFPs.   Section 2.2.3 of the approved 2023 Biomass RFP document prohibited bids for turnkey facilities, sale of assets, and/or other form of sale of ownership in any facility.  Georgia Power’s evaluation primarily focused on a bid’s economic net benefits, but other qualitative and non-price attributes, such as locating a facility in Georgia, were to be considered, especially when one or more bids offer a substantially similar economic benefit.

Q.	WHEN DID THE RFP PROCESS BEGIN AND HOW MANY BIDDERS BID INTO THE PROCESS?

A.	The RFP was issued on May 3, 2023, and closed on July 14, 2023. There were 3 unique bidders that proposed a total of approximately 108 MW, which included 4 proposals.

Q.	WAS GEORGIA POWER AND ITS AFFILIATES ALSO ALLOWED TO BID INTO THE RFP?

A.	No.  Section 1.3.2 of the approved 2023 Biomass RP document prohibited bids from any affiliates of Georgia Power.  Section 2.2.4 of the approved 2023 Biomass RFP document prohibited self-build or Company-owned proposals from being submitted.

Q.	DID STAFF PARTICIPATE DURING THE BIOMASS BID EVALUATION PROCESS?

A.	Yes. Staff participated throughout the bid evaluation process and independently analyzed the bids received using Georgia Power’s evaluation model.  This model had been “locked down” prior to the evaluation process. Staff agreed with the Company’s initial competitive tier for the 2023 Biomass RFP portfolio which did not include system improvement costs.

Q.	PLEASE DESCRIBE THE PROCESS THAT WAS USED AFTER THE INITIAL COMPETITIVE TIER WAS DETERMINED.

A.	After the initial competitive tier was determined, the Company then began the process to determine the system impacts for each respective project. This evaluation was necessary since bidders were only required to include in its bid price interconnection costs up to the point of interconnection. System improvements and other interconnection costs beyond the point of interconnection were calculated by Southern Company’s Transmission Planning Group and reviewed by the IE and Staff.  These costs were then imputed into the economic value of the bids.

Q.	WHAT WAS THE NEXT STEP ONCE THE UPDATED COMPETITIVE TIER WAS FINALIZED?

A.	After the determination of the competitive tier that included system improvement costs, the Company identified the portfolio of projects that could satisfactorily meet the procurement target. This portfolio was selected as the Short List for the 2023 Biomass RFP.

Q.	WAS STAFF IN AGREEMENT WITH THE SHORT LIST?

A.	Yes. Staff agreed with the Company’s Short List determination.

Q.	ONCE THE SHORT LIST WAS FINALIZED, WHAT HAPPENED NEXT?

A.	After the Short List was finalized, parties were notified through the IE website as to the current status of their bid(s).  The Company then scheduled calls and virtual meetings with all parties on the Short List.

Q.	DID STAFF PARTICIPATE IN THE VIRTUAL MEETINGS WITH THE WINNING BIDDERS?

A.	Yes.  Staff, along with the Company and IE, participated in all virtual meetings with the winning bidders.

Q.	WHAT ISSUES WERE DISCUSSED IN THE VIRTUAL MEETINGS WITH THE WINNING BIDDERS?

A.	The Company, IE, and Staff discussed the pro forma terms of the PPAs with the winning bidders.  Georgia Power provided International Paper amended Proxy Price PPAs between Georgia Power and International Paper for the Flint River Mill and Port Wentworth Mill facilities to accommodate the new Biomass Addition capacity.  The amendments aligned the sale of energy generated in excess of the Committed Capacity under the Proxy Price PPAs to the requirements set forth in the Biomass Addition PPAs and resolved inconsistencies between the Proxy Price and Biomass Addition PPAs.  In the virtual meetings, the Company, IE, and Staff also discussed adding site-specific redlines in the PPAs obligating the PPA counterparties to share the benefit of any Qualifying Federal Support received for their respective projects through a reduction in the Monthly Energy Price paid by Georgia Power.  After review by the IE and Staff, Georgia Power provided revised PPAs to the winning bidders for final review and execution.

III.	CERTIFICATION AND APPROVAL OF PPAS

Q.	PLEASE DESCRIBE THE BIOMASS RESOURCES FOR WHICH THE COMPANY REQUESTED CERTIFICATION IN ITS JULY 29, 2024 FILING.

A.	In its July 29, 2024 Application, Georgia Power requested that the Commission certify 3 projects that total 77.9 MW.

Q.	PLEASE DESCRIBE THE PROJECTS THAT MAKE UP THE BIOMASS PORTFOLIO.

A.	The projects that make up the 2023 Biomass portfolio include: International Paper – Flint River Mill, International Paper – Port Wentworth Mill, and Altamaha Green Energy, LLC.

1.	International Paper – Flint River Mill is a 3.6 MW biomass addition facility located in Chatham County, Georgia. The PPA with International Paper is for a ten-year term and is expected to begin commercial operation by October 8, 2026.

2.	International Paper – Port Wentworth Mill is a 4.3 MW biomass addition facility located in Macon County, Georgia. The PPA with International Paper is for a ten-year term and is expected to begin commercial operation by April 1, 2027.

3.	Altamaha Green Energy, LLC is a 70 MW new greenfield biomass facility located in Chatham County, Georgia. The PPA with Altamaha Green Energy, LLC is for a thirty-year term and is expected to begin commercial operation by November 30, 2029.

Q.	WHAT IS THE PPA PRICING FOR THE THREE BIOMASS PROJECTS?

A.	The kWh pricing for each biomass project is provided below:

| ($/MWh) |  |  |  |
| --- | --- | --- | --- |
| Annual Period | Internation Paper - Flint River | International Paper - Port Wentworth | Altamaha Green Energy, LLC |
| 1 | XXXXX | XXXXX | XXXXX |
| 2 | XXXXX | XXXXX | XXXXX |
| 3 | XXXXX | XXXXX | XXXXX |
| 4 | XXXXX | XXXXX | XXXXX |
| 5 | XXXXX | XXXXX | XXXXX |
| 6 | XXXXX | XXXXX | XXXXX |
| 7 | XXXXX | XXXXX | XXXXX |
| 8 | XXXXX | XXXXX | XXXXX |
| 9 | XXXXX | XXXXX | XXXXX |
| 10 | XXXXX | XXXXX | XXXXX |
| 11 |  |  | XXXXX |
| 12 |  |  | XXXXX |
| 13 |  |  | XXXXX |
| 14 |  |  | XXXXX |
| 15 |  |  | XXXXX |
| 16 |  |  | XXXXX |
| 17 |  |  | XXXXX |
| 18 |  |  | XXXXX |
| 19 |  |  | XXXXX |
| 20 |  |  | XXXXX |
| 21 |  |  | XXXXX |
| 22 |  |  | XXXXX |
| 23 |  |  | XXXXX |
| 24 |  |  | XXXXX |
| 25 |  |  | XXXXX |
| 26 |  |  | XXXXX |
| 27 |  |  | XXXXX |
| 28 |  |  | XXXXX |
| 29 |  |  | XXXXX |
| 30 |  |  | XXXXX |

Q.	WHAT ECONOMIC DEVELOPMENT VALUE WILL THE THREE BIOMASS PROJECTS BRING TO THE STATE OF GEORGIA?

A.	Both International Paper and Altamaha Green Energy, LLC provided the required supplemental project information that described the potential economic impact of their proposed facilities to the state of Georgia.  Examples of such supplemental information provided include: the number of proposed employees for the facilities, the economic impacts to biomass fuel suppliers, construction contractors and subcontractors, and local tax revenues.

Q.	WHAT IS STAFF’S RECOMMENDATION REGARDING THE COMPANY’S REQUEST FOR CERTIFICATION OF THREE 2023 BIOMASS RFP PPAS AND approvAL OF the Proxy Price PPA amendments for International Paper’S Flint River Mill and Port Wentworth Mill facilities?

A.	Staff recommends that the Commission certify the three PPAs from the Biomass portfolio that total 77.9 MW.  These projects provide energy, environmental attributes, and electrical products and support Georgia’s forest industry and rural and economic development growth.  Staff further recommends that the Commission approve the Proxy Price PPA amendments for International Paper’s Flint River Mill and Port Wentworth Mill facilities.

IV.	ADDITIONAL SUM AND COST RECOVERY OF RFP EXPENSES

Q.	HOW DOES THE COMPANY PROPOSE TO RECOVER THE COSTS RELATED TO THE PROCUREMENT OF THE 2023 BIOMASS RFP PPAS?

A.	As approved by the Commission in its 2022 IRP Final Order, Georgia Power is allowed to recover all of its program costs to implement and administer the 2023 Biomass RFP.  The costs of conducting and administering the 2023 Biomass RFP were partially offset by bid fees and winner’s fees.  In its Application, Georgia Power requested to include any remaining 2023 Biomass RFP costs and subsequent Biomass PPA costs in its fuel clause and recover such costs through the FCR mechanism.

Q.	DID THE COMPANY REQUEST AN ADDITONAL SUM IN THIS PROCEEDING?

A.	Yes.  The Company requested an additional sum of $3 per kW-year for the 2023 Biomass RFP PPAs for the term of the PPAs.

Q.	HAS THE ADDITIONAL SUM AMOUNT FOR THE 2023 BIOMASS PROJECTS ALREADY BEEN APPROVED BY THE COMMISSION?

A.	Yes. In the 2022 IRP Final Order, the Commission approved an additional sum of $3 per kW-year for the 2023 Biomass PPAs for the term of the PPAs.

Q.	WHAT IS STAFF’S RECOMMENDATION PERTAINING TO THE COMPANY’S REQUEST TO include any remaining 2023 Biomass RFP costs and subsequent Biomass PPA costs in its fuel clause and recover such costs through the FCR mechanism?

A.	Staff recommends that the Commission approve Georgia Power’s request to include any remaining 2023 Biomass RFP costs and subsequent Biomass PPA costs in its fuel clause and recover such costs through the FCR mechanism, which is similar to treatment of such costs in previous RFPs.

Q.	DOES THIS COMPLETE YOUR TESTIMONY?

A.	Yes.