| COMMISSIONERS: JASON SHAW, Chairman TIM G. ECHOLS, Vice-Chairman FITZ JOHNSON LAUREN “BUBBA” McDONALD TRICIA PRIDEMORE |  | REECE McALISTER EXECUTIVE DIRECTOR SALLIE TANNER EXECUTIVE SECRETARY |
| --- | --- | --- |
| # Georgia Public Service Commission |  |  |
| (404) 656-4501 (800) 282-5813 | 244 WASHINGTON STREET, SW ATLANTA, GEORGIA 30334-5701 | FAX: (404) 656-2341 psc.ga.gov |

August 19, 2024

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

RE:	 Docket No. 44160 / Georgia Power Company's 2022 Integrated Resource Plan

Docket No. 44161 / Georgia Power Company’s 2022 Application for the Certification, 	Decertification, and Amended Demand-Side Management Plan

Data Request from Commission Staff (STF-TXP-1)

Dear Mr. Haswell:

Enclosed herewith, please find Commission Staff Data Request STF-TXP-1.  Georgia Power’s initial responses to this Data Request package are requested as soon as possible, but not later than September 18, 2024.

If you have any questions concerning this transmittal, please contact Rob Trokey at 404-656-4549.

Sincerely,

Rob Trokey

Director

Electric Unit

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of		)

)

Georgia Power Company’s		) Docket No. 44160

2022 Integrated Resource Plan					)

)

Georgia Power Company’s					) Docket No. 44161

2022 Application for the Certification, Decertification,	)

and Amended Demand-Side Management Plan		)

STAFF'S DATA REQUEST STF-TXP-1 TO

GEORGIA POWER COMPANY

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

COMES NOW the Staff of the Georgia Public Service Commission (“Commission”) and, pursuant to the authority vested in it by the Commission pursuant to O.C.G.A. § 46-2-57, herein propounds the following interrogatories and requests for production of documents (collectively, “data requests”), to be answered under oath by designated representatives or agents of Georgia Power Company.  Staff requests that a complete set of the responses and supporting documents be filed with the Commission’s Executive Secretary in the manner set forth in Utility Rule 515-2-.04(4).  Staff requests that an original and five (5) copies be filed with the Executive Secretary of the Commission.  Accompanied therewith shall be an electronic version of the filing, which shall be made on a 3 ½ inch diskette or a CD ROM containing an electronic version of its filing in Microsoft Word® for text documents or Excel® for spreadsheets.  As contemplated by law, responses to these Data Requests are expected from Georgia Power Company on or before September 18, 2024.

## DEFINITIONS

As may be used in this document:

1.	“The Company,” “Georgia Power” or “The Utility” means Georgia Power Company and its present and former officers, employees, agents, representatives, directors, and all other persons acting or purporting to act on behalf of said Company.

- The term “you” and “your” refer to “the Company.”

- The term “person” means any natural person, corporation, corporate division, partnership, other unincorporated association, trust, government agency, or entity.

- The term “document” or “documentation” shall have the broadest possible meaning under applicable law.  “Document” or “documentation” means every writing or record of every type and description that is in the possession, custody or control of the Company including, but not limited to, correspondence, memoranda, e-mails, drafts, workpapers, summaries, stenographic or handwritten notes, studies, notices, publications, books, pamphlets, reports, surveys, minutes or statistical compilations, computer and other electronic records or tapes or printouts, including, but not limited to, electronic mail files; and copies of such writing or records containing any commentary or notation whatsoever that does not appear in the original.  The term “document” or “documentation” further includes, by way of illustration and not limitation, schedules, progress schedules, time logs, drawings, computer disks, chart projections, time tables, summaries of other documents, minutes, surveys, work sheets, drawings, comparisons, evaluations, laboratory and testing reports, telephone call records, personal diaries, calendars, personal notebooks, personal reading files, transcripts, witness statements and indices.

- The term “referring or relating to” means consisting of, containing, mentioning, suggesting, reflecting, concerning, regarding, summarizing, analyzing, discussing, involving, dealing with, emanating from, directed at, pertaining to in any way, or in any way logically or factually connected or associated with the matter discussed.

- “And” and “or” as used herein shall be construed both conjunctively and disjunctively and each shall include the other whenever such construction will serve to bring within the scope of these discovery requests any information that would not otherwise be brought within their scope.

- The singular as used herein shall include the plural and the masculine gender shall include the feminine and the neuter.

- “Identify” or “identifying” or “identification” when used in reference to a person other than a natural person means to state:  the full name of the person and any names under which it conducts business; the present or last known address of the person; and, the present or last known telephone number of the person.

- “Identify” or “identifying” or “identification” when used in reference to a document means to provide with respect to each document requested to be identified by these discovery requests a description of the document that is sufficient for purposes of a request to produce or a subpoena duces tecum, including the following:

    - the type of document (e.g., letter, memorandum, etc.);

    - the date of the document; the title or label of the document;

    - the Bates number or other identifier used to number the document for use in litigation; the identity of the originator;

    - the identity of each person to whom it was sent;

    - the identity of each person to whom a copy or copies were sent;

    - a summary of the contents of the document;

    - the name and last known address of each person who presently has possession, custody or control of the document;

    - if any such document was, but is no longer, in your possession, custody or control or is no longer in existence, state whether it: (1) is missing or lost; (2) has been destroyed; or (3) has been transferred voluntarily or involuntarily, and if so, state the circumstances surrounding the authorization for each such disposition and the date of such disposition.

- “Identify”, “identifying” or identity” when used in reference to a communication should be read to include information regarding the date of the communication, whether the communication was written or oral, the identity of all parties and witnesses to the communication, the substance of what was said and/or transpired and, if written, the identity of the document(s) containing or referring to the communication.

## INSTRUCTIONS

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

  - the privilege asserted and its basis.

  - the nature of the information withheld;

  - the subject matter of the document, except to the extent that you claim it is privileged.

      - The answers provided should first restate the question asked and also provide the name of the Company employee(s) or agents responsible for compiling and providing the information contained in each answer.

      - These data requests are to be answered with reference to all information in your possession, custody or control or reasonably available to you.  These discovery requests are intended to include requests for information, which is physically within your possession, custody or control as well as in the possession, custody or control of your agents, attorneys, or other third parties from which such documents may be obtained.

      - If any data request cannot be responded to or answered in full, answer to the extent possible and specify the reasons for your inability to answer fully.

      - These data requests are continuing in nature and require supplemental responses should information unknown to you at the time you serve your responses to these interrogatories subsequently become known.

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

- the privilege asserted and its basis.

- a log should be provided identifying starting and ending bates numbers.

- the nature of the information withheld;

- the subject matter of the document, except to the extent that you claim it is privileged.

- a description of the document to which the privilege applies.

2023 GA ITS Ten-Year Plan (2024-2033)

- Refer to Page 40 and the cost of the McGrau Ford Statcom System.

        - What are the specific high voltage issues that occur during valley load conditions?

        - Under which generation dispatch scenario are high voltage issues observed during valley load conditions?

        - What are the implications to T&D if specific high voltage issues are not addressed?

        - Why is Georgia Power’s proposed solution most efficient and economical for ratepayers?

        - Is there any cost benefit analysis to support the cost of this solution? If yes, please provide.

        - Were any alternatives to the installation of a +150/-150 MVAR STATCOM considered?

- Refer to Page 48 and the cost of the McIntosh – Purrysburg 230KV Reactors.

        - What are TSRs providing service to South Carolina?

        - Why are Georgia Power retail customers paying to provide service to South Carolina?

        - What is the specific contingency(ies) used to justify the expenditure?

        - How often have these contingencies occurred in the past?

        - How often does Georgia Power expect these contingencies to occur in the future?

        - What are the implications to T&D system if the solution is not implemented or postponed?

        - Is there any cost benefit analysis to support the cost of this solution?

- Refer to Page 50 and the cost of the Arkwright – Lloyd Shoals 115 KV Line Reconductor.

        - What is the specific contingency?

        - How often has this contingency occurred in the past?

        - How often does Georgia Power expect this contingency to occur in the future?

        - What are the implications to T&D system if the solution is not implemented or postponed?

        - Is there any cost benefit analysis to support the cost of this solution?

        - Please clarify under which planning case scenarios and load levels the loading issues were observed.

- Refer to Page 54 and the cost of the Kingsland Bank C Replacement.

        - Why are Georgia Power customers paying for infrastructure to transfer power between two Florida utilities?

        - How will the two Florida utilities compensate Georgia Power for this investment?

        - Under which planning case scenario and load levels were the transformer loading issues observed?

        - Is there any cost benefit analysis to support cost of this solution?

- Refer to Page 57 and the cost of the Pine Grove Primary Bank B Replacement.

        - Why are Georgia Power customers paying for infrastructure to transfer power between two Florida utilities?

        - Will the two Florida utilities compensate Georgia Power for this investment?

        - Is there any cost benefit analysis to support cost of this solution? If yes, please provide.

- Refer to Page 58 and the cost of the THOMSON PRI - WARRENTON PRI 115KV WHITE LINE REBUILD.

        - How often has the loss of the Goldens Creek - Warrenton Primary 230kV line occurred in the past?

        - How often does Georgia Power expect to lose the Goldens Creek - Warrenton Primary 230kV line occurred in the future?

        - When has the Thomson Primary - Warrenton Primary (White) 115kV line exceeded its conductor rating in the past ten years?

        - What caused Thomson Primary - Warrenton Primary (White) 115kV line to exceed conductor rating in the past?

        - Is there any cost benefit analysis to support cost of this solution? If yes, please provide.

        - Under which planning case scenarios (load levels and generation dispatch) was the overloaded element observed?

- Refer to Page 63 and the cost of the CC - MICROSOFT – SHUGART.

        - Is the Microsoft facility the primary driver of this project?

        - What other projects, if any, are driving this investment?

        - What are expected base revenues (excluding fuel revenues) to be collected from CC - Microsoft – Shugart facility over period 2024 – 2044?

        - Is there any cost benefit analysis to support cost of this solution?

        - What has been the load growth on this line for the past ten years? Show forecast and actual values.

        - Are the upgrades needed to satisfy loading under contingencies or other outage scenarios? If so, please clarify under which planning case scenarios and load levels the loading issues were observed.

- Refer to Page 64 and the cost of the QCELLS HILL VIEW 230 KV & GRASSY HOLLOW SWITCHING STATIONS.

        - Who are the specific customers driving this load growth?

        - What are expected base revenues (excluding fuel revenues) to be collected from these customers over period 2024 – 2044?

        - Is there any cost benefit analysis to support cost of this solution?

        - What has been the load growth on this line for the past ten years? Show forecasted and actual values.

        - Are the upgrades needed to satisfy loading under N-1 contingencies or another outage scenario? If so, please clarify under which planning case scenarios and load levels the loading issues were observed.

- Refer to Page 68 and the cost of the BREMEN - CROOKED CREEK (APC) 115KV.

        - How often has Fortson – Tenaska 500 kV line been lost in past ten years?

        - How often does Georgia Power expect the Fortson – Tenaska 500 kV line to be lost in the next ten years?

        - When the Fortson – Tenaska 500 kV line has been lost in the past did Bremen to Indian Creek Road overload? How often? If the line has had multiple overloads in the past five years, why was a rebuild not planned sooner?

        - When was the last time this line was reconductored?

        - Under which planning case scenarios (load levels and generation dispatch) were the thermal constraints observed?

        - Was an alternative conductor size evaluated that could provide more future headroom?

- Refer to Page 69 and the cost of the DEPTFORD - MAGNOLIA 115KV REBUILD.

          - What are the specific contingencies?

          - How often have these contingencies occurred in the past?

          - How often does Geogia Power expect these contingencies to occur in the future?

          - Is there any cost benefit analysis to support cost of this solution?

          - Under which planning case scenarios (load levels and generation dispatch) were the thermal constraints observed?

          - Was an alternative conductor size evaluated that could provide more future headroom?

- Refer to Page 72 and the cost of the GARRETT ROAD SWITCHING STATION - TRAE LANE NETWORK UPGRADES.

        - Who is the customer?

        - What are expected base revenues (excluding fuel revenues) to be collected from this customer over period 2024 – 2044?

        - Is there any cost benefit analysis to support cost of this solution?

        - Are the upgrades needed to satisfy loading under N-1 contingencies? If so, please clarify under which planning case scenarios and load levels the loading issues were observed under.

- Refer to Page 82 and the cost of the MITCHELL - NORTH TIFTON 230KV RECONDUCTOR.

        - How often has the North Tifton - Raccoon Creek 500kV line been lost over the past 10 years?

        - How long (duration) were the North Tifton - Raccoon Creek 500kV line losses when they occurred?

        - Each time the North Tifton - Raccoon Creek 500kV line was lost did the Mitchell - North Tifton 230kV line overload?

        - Is there any cost benefit analysis to support cost of this solution?

        - When was the last time this line was reconductored?

        - Is the analysis showing the line will overload with the loss of North Tifton – Raccoon Creek 500kV line, or has the line overloaded?

        - Under which planning case scenarios (load levels and generation dispatch) were the thermal constraints observed?

- Refer to Page 86 and the cost of the SMART VALVE INSTALLATION.

        - Identify the specific contingencies.

        - How often have these contingencies occurred in the last ten years?

        - How often does Georgia Power expect these contingencies to occur over the next ten years?

        - Is there any cost benefit analysis to support cost of this solution?

        - Under which planning case scenarios (load levels and generation dispatch) were the thermal constraints observed?

- Refer to Page 90 and the cost of the ANTHONY SHOALS STATCOM SYSTEM.

        - How does the Transmission Service agreement with the Southeastern Power Administration (SEPA) compensate Georgia Power for the cost of this investment?

        - Is Russell Dam a Georgia Power facility? If not, who owns Russell Dam?

        - What is the generation resource providing the 186 incremental MWs?

        - Were alternative solutions such as static reactive devices, considered in lieu of the STATCOM?

- Refer to Page 93 and the cost of the CC - QTS FAYETTEVILLE TRANSMISSION NEEDS.

        - What are expected base revenues (excluding fuel revenues) to be collected from this customer over period 2024 – 2044?

        - Is there any cost benefit analysis to support cost of this solution? If yes, please provide.

        - Were any alternative solutions tested?

        - Under which planning case scenarios (load levels and generation dispatch) were the thermal constraints observed?

- Refer to Page 94 and the cost of the UNION CITY - YATES 230 KV WHITE LINE REBUILD.

        - How often has the Union City - Yates 230kV Black line been lost over the past ten years?

        - Each time the Union City - Yates 230kV Black line was lost did the Union City - Yates 230kV White line overload?

        - How often does Georgia Power expect the Union City - Yates 230kV Black line to be loss over the next ten years?

        - Under which planning case scenarios (Load levels and generation dispatch) did the Union city to yates 230 kV White line overload?

        - Is there any cost benefit analysis to support cost of this solution?

- Refer to Page 95 and the cost of the BIG OGEECHEE 500/230KV.

        - How often has the McIntosh-West McIntosh 230kV line been loss over the past ten years?

        - Each time the McIntosh-West McIntosh 230kV line been loss did the 500/230kV West McIntosh autotransformer to exceed its rating?

        - Is there any cost benefit analysis to support cost of this solution?

        - Could an additional, parallel transformer be added to West Mcintosh?

        - Have additional transmission lines or alternative configurations been analyzed?

- Refer to Page 106 and the cost of the GTC: SR ROBINS-TRANSMISSION IMPROVEMENTS.

- Identify SR Robins.

- SR Robins is an EMC Solar project according to https://greenpoweremc.com/emc-solar-sites, 250 MW, Owned by Silicon Ranch Corporation.

- Recommended to remove this question, or to restate the question to verify that this is the project.

- What is the proposed Commercial Operation Date of the SR Robins site.

- Identify solar facilities being served by this investment?

- What is the size (MW) of the solar facilities to be served by this investment?

- Under which studied scenarios did SR Robins cause thermal loading issues?

- Under which generation dispatch scenarios did SR Robins cause thermal loading issues?

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of		)

)

Georgia Power Company’s		) Docket No. 44160

2022 Integrated Resource Plan					)

)

Georgia Power Company’s					) Docket No. 44161

2022 Application for the Certification, Decertification,	)

and Amended Demand-Side Management Plan		)

# CERTIFICATE OF SERVICE

I hereby certify that the foregoing Staff’s Data Request STF-TXP-1 in the above-referenced docket was filed with the Commission's Executive Secretary, an electronic copy of same was served upon all parties and persons listed below via electronic mail, or unless otherwise indicated, as follows:

| Sallie Tanner Executive Secretary Georgia Public Service Comm. 244 Washington Street, SW Atlanta, GA 30334 stanner@psc.state.ga.us | Jeremiah Haswell Director, Regulatory Affairs Georgia Power Company Bin 10230 241 Ralph McGill Boulevard, NE Atlanta, GA 30308-3374 JHASWELL@southernco.com | Brandon Marzo Troutman Pepper Hamilton Sanders LLP 600 Peachtree Street NE, Suite 3000 Atlanta, GA 30308-2216 brandon.marzo@troutmansanders.com |
| --- | --- | --- |
| Preston Thomas, Staff Attorney Georgia Public Service Commission 244 Washington Street, SW Atlanta, GA 30334 pthomas@psc.state.ga.us | Jeffry C. Pollock J. Pollock Incorporated 12647 Olive Boulevard Suite 585 St. Louis, Missouri 63141 jcp@jpollockinc.com | Dante Mugrace PCMG and Associates 90 Moonlight Court Toms River, NJ 08753 Dmugrace@pcmgregcon.com |
| Kurt J. Boehm, Esq. Jody Kyler Cohn, Esq. BOEHM, KURTZ & LOWRY 36 East Seventh Street, Suite 1510 Cincinnati, Ohio 45202 kboehm@bkllawfirm.com jkylercohn@bkllawfirm.com | Charles B. Jones, III Lloyd Avram Roy Bowen Georgia Association of Manufacturers The Hurt Building 50 Hurt Plaza, Suite 985 Atlanta, GA 30303 cjones@gamfg.org lavram@gamfg.org rbowen@gamfg.org | Tia Brightwell Terry Cummings Shelia Edwards Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 brightwelltia@gmail.com cummingsterry3@gmail.com shelia@trappcomm.com |
| Trudy Jones Deborah Opie Brionte McCorkle Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 dr.twj1@gmail.com deborah@gcvoters.org brionte@gcvoters.org | Kevin Higgins Justin Bieber ENERGY STRATEGIES, LLC 215 South State Street, Suite 200 Salt Lake City, Utah 84111 khiggins@energystrat.com jbieber@energystrat.com | EmilyW. Medlyn General Attorney U.S. Army Legal Services Agency ELD Division 9275 Gunston Road Fort Belvoir, Virginia 22060-4446 emily.w.medlyn.civ@army.mil |
| Jim Clarkson Resource Supply Management 135 Emerald Lake Rd Columbia, SC 29209 jclarkson@rsmenergy.com | William Bradley Carver, Sr., Esq. Joel L. McKie, Esq. HALL BOOTH SMITH, P.C. 191 Peachtree Street NE, Suite 2900 Atlanta, Georgia 30303 bcarver@hallboothsmith.com jmckie@hallboothsmith.com | L. Craig Dowdy Steven L. Jones Taylor English Duma LLP 1600 Parkwood Circle, Suite 200 Atlanta, Georgia 30339 cdowdy@taylorenglish.com sjones@taylorenglish.com |
| Sandra Willis McKelson Fraser Linda Gray-Clark Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 mssanwil@gmail.com mckelsonfraser@yahoo.com linda.clark64131990@outlook.com | James Riles Harriet Feggins Fenika Miller Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 jrismoney@aol.com olivialoveu78@gmail.com fenikamiller@gmail.com | Eugene Vickerson Eddie White Dorothy Burnam Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 eugenecvickerson@gmail.com Edman1226@gmail.com dorothyburnam@icloud.com |
| Cynthia Tucker Cynthia Pryor H. Benjamin Williams Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 cynthiatucker34@yahoo.com skeetscynthia@yahoo.com docben@att.net | Christopher Stathums Chequeta Riles Carol Dollison Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 christathums@gmail.com criles111@aol.com directordoll@yahoo.com | Brandon Winns Anita Garnes Tara Opie Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 Coronerbrandonmichael@gmail.com Anitagarnes17@gmail.com Tarakspecializes@gmail.com |
| Brendalyn Gardner Candace Woodall Sharrita Harden Georgia Conservation Voters Education Fund 725 Ponce De Leon Avenue, FL 2 Atlanta, GA 30306 choreografitti60@yahoo.com ritaharden73@gmail.com | Robert Jackson, Esq. Robert B. Jackson, IV, LLC 260 Peachtree Street, Suite 2200 Atlanta, GA 30303 rbj4law@gmail.com | Isabella Ariza, Esq. Sierra Club 50 F Street NW, 8th Floor Washington, DC 20001 isabella.ariza@sierraclub.org |
| Ben J. Stockton, PE, MBA Executive Director Concerned Ratepayers of Georgia 2230 Allen Road Macon, GA 31216 encomanager13@gmail.com | Steven C. Prenovitz, MBA Consultant Concerned Ratepayers of Georgia 4295 Amberglade Ct Norcross, GA 30092 scprenovitz@gmail.com | Newton M. Galloway Terri M. Lyndall Galloway & Lyndall, LLP 406 North Hill Street Griffin, Georgia 30223 ngalloway@gallyn-law.com tlyndall@gallyn-law.com |
| Bryan Jacob Southern Alliance for Clean Energy 1455 Hampton Hill Drive Alpharetta, GA 30022 bryan@cleanenergy.org | Robert B. Baker Robert B. Baker, P.C. 2480 Briarcliff Road, NE, Suite 6 Atlanta, GA 30329 bobby@robertbbaker.com | Katie Southworth William Collier Southface Energy Institute 241 Pine Street, NE Atlanta, GA 30308 ksouthworth@southface.org wcollier@southface.org |
| William Collier Southface Energy Institute 241 Pine Street, ME Atlanta, GA 30308 wcollier@southface.org | Nicole R. Barnett Slaughter G.A. State Bar No.: 039239 HAMLET LAW 5215 Junction Park Circle, Suite 202 Wilmington, NC 28412 nslaughter@hamlet-law.com mhamlet@hamlet-law.com smorin-gage@hamlet-law.com jallen@hamlet-law.com | Jennifer Whitfield Jillian Kysor Southern Environmental Law Center Ten 10th Street, NW, Suite 1050 Atlanta, GA 30309 jwhitfield@selcga.org jksor@selcga.org |
| Alan R. Jenkins Jenkins at Law, LLC 2950 Yellowtail Avenue Marathon, FL33050 aj@jenkinsatlaw.com | John R. Seydel City of Atlanta Office of Resilience 55 Trinity Avenue Atlanta, GA 30303 Jrseydel@atlantaga.gov | Alicia Brown City of Savannah, Office of Sustainability 801 E. Gwinnett Street Savannah, GA 31401 alicia.brown@savannahga.gov |
| David Nifong City of Decatur, Department of Public Works 2635 Talley Street Decatur, GA 30030 david.nifong@decaturga.com | Mike Wharton Athens-Clarke County Unified Government, Sustainability Office 110 Bray Street Athens, GA 30601 Mike.Wharton@accgov.com | Donald Moreland Georgia Solar Energy Association 1199 Euclid Avenue Atlanta, GA 30307 don@solarcrowdsource.com |
| Scott Thomasson Thomasson Law, LLC 1025 Bond Street Macon, GA 31201 scott@thomassonlaw.net | Angie Fiese Cypress Creek Renewables, LLC 5310 S. Alston Avenue Building 300 Durham, NC 27713 angie.fiese@ccrenew.com | Matt Kozey Cypress Creek Renewables, LLC 1000 Wisconsin Avenue, Suite 100 Washington, D.C. 20007 Matt.kozey@ccrenew.com |
| Nikhil Vijaykar Jason Keyes Alicia Zaloga Keyes & Fox LLP 580 California St. 12th Floor San Francisco, CA 94104 nvijaykar@keyesfox.com jkeyes@keyesfox.com azaloga@keyesfox.com | Scott F. Dunbar Keyes & Fox LLP 1580 Lincoln St., Suite 1105 Denver, CO 80203 sdunbar@keyesfox.com | Matthew Deal ChargePoint Inc. 254 E. Hacienda Ave. Campbell, CA 95125 Matthew.Deal@chargepoint.com |
| Alicia Zaloga Keyes & Fox LLP 1155 Kildaire Farm Road Suite 202-203 Cary, NC 27511 azaloga@keyesfox.com | Jared Ballew ChargePoint, Inc. 254 E. Hacienda Avenue Campbell, CA 95125 Jared.ballew@chargepoint.com | J. Brett Newsom Adam Wise Interstate Gas Supply, Inc. Suite 2150 Atlanta, GA30326 brett.newsom@scanaenergy adam.wise@scanaenergy.com |

So certified, this 19th day of August 2024.

Rob   Trokey

Director

Electric Unit