| COMMISSIONERS: JASON SHAW, Chairman TIM G. ECHOLS, Vice-Chairman FITZ JOHNSON LAUREN “BUBBA” McDONALD TRICIA PRIDEMORE |  | REECE McALISTER EXECUTIVE DIRECTOR SALLIE TANNER EXECUTIVE SECRETARY |
| --- | --- | --- |
| # Georgia Public Service Commission |  |  |
| (404) 656-4501 (800) 282-5813 | 244 WASHINGTON STREET, SW ATLANTA, GEORGIA 30334-5701 | FAX: (404) 656-2341 psc.ga.gov |

August 28, 2024

PUBLIC DISCLOSURE

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

RE:	Docket No. 55378 / Georgia Power Company's 2023 Integrated Resource Plan Update

Data Request from Commission Staff (STF-PIA-15)

Dear Mr. Haswell:

Enclosed herewith, please find Commission Staff Data Request STF-PIA-15.  Georgia Power’s initial responses to this Data Request package are requested as soon as possible, but not later than September 13, 2024.

If you have any questions concerning this transmittal, please call me at 404-651-5958.

Sincerely,

Jamie Barber

EERE Director

EERE Unit

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of	)

)	Docket No. 55378

Georgia Power Company’s	)

2023 Integrated Resource Plan Update			)

)

PIA STAFF'S FIFTEENTH SET OF DATA REQUESTS TO

GEORGIA POWER COMPANY

Jeremiah Haswell

Director, Regulatory Affairs

Georgia Power Company

Regulatory Affairs Bin 10230

241 Ralph McGill Blvd., N.E.

Atlanta, Georgia 30308-3374

COMES NOW the Staff of the Georgia Public Service Commission (“Commission”) and, pursuant to the authority vested in it by the Commission pursuant to O.C.G.A. § 46-2-57, herein propounds the following interrogatories and requests for production of documents (collectively, “data requests”), to be answered under oath by designated representatives or agents of Georgia Power Company.  Staff requests that a complete set of the responses and supporting documents be filed with the Commission’s Executive Secretary in the manner set forth in Utility Rule 515-2-.04(4).  Staff requests that an original and five (5) copies be filed with the Executive Secretary of the Commission.  Accompanied therewith shall be an electronic version of the filing, which shall be made on a 3 ½ inch diskette or a CD ROM containing an electronic version of its filing in Microsoft Word® for text documents or Excel® for spreadsheets.  As contemplated by law, responses to these Data Requests are expected from Georgia Power Company on or before September 13, 2024.

## DEFINITIONS

As may be used in this document:

1.	“The Company,” “Georgia Power” or “The Utility” means Georgia Power Company and its present and former officers, employees, agents, representatives, directors, and all other persons acting or purporting to act on behalf of said Company.

- The term “you” and “your” refer to “the Company.”

- The term “person” means any natural person, corporation, corporate division, partnership, other unincorporated association, trust, government agency, or entity.

- The term “document” or “documentation” shall have the broadest possible meaning under applicable law.  “Document” or “documentation” means every writing or record of every type and description that is in the possession, custody or control of the Company including, but not limited to, correspondence, memoranda, e-mails, drafts, workpapers, summaries, stenographic or handwritten notes, studies, notices, publications, books, pamphlets, reports, surveys, minutes or statistical compilations, computer and other electronic records or tapes or printouts, including, but not limited to, electronic mail files; and copies of such writing or records containing any commentary or notation whatsoever that does not appear in the original.  The term “document” or “documentation” further includes, by way of illustration and not limitation, schedules, progress schedules, time logs, drawings, computer disks, chart projections, time tables, summaries of other documents, minutes, surveys, work sheets, drawings, comparisons, evaluations, laboratory and testing reports, telephone call records, personal diaries, calendars, personal notebooks, personal reading files, transcripts, witness statements and indices.

- The term “referring or relating to” means consisting of, containing, mentioning, suggesting, reflecting, concerning, regarding, summarizing, analyzing, discussing, involving, dealing with, emanating from, directed at, pertaining to in any way, or in any way logically or factually connected or associated with the matter discussed.

- “And” and “or” as used herein shall be construed both conjunctively and disjunctively and each shall include the other whenever such construction will serve to bring within the scope of these discovery requests any information that would not otherwise be brought within their scope.

- The singular as used herein shall include the plural and the masculine gender shall include the feminine and the neuter.

- “Identify” or “identifying” or “identification” when used in reference to a person other than a natural person means to state:  the full name of the person and any names under which it conducts business; the present or last known address of the person; and, the present or last known telephone number of the person.

- “Identify” or “identifying” or “identification” when used in reference to a document means to provide with respect to each document requested to be identified by these discovery requests a description of the document that is sufficient for purposes of a request to produce or a subpoena duces tecum, including the following:

    - the type of document (e.g., letter, memorandum, etc.);

    - the date of the document; the title or label of the document;

    - the Bates number or other identifier used to number the document for use in  litigation; the identity of the originator;

    - the identity of each person to whom it was sent;

    - the identity of each person to whom a copy or copies were sent;

    - a summary of the contents of the document;

    - the name and last known address of each person who presently has possession, custody or control of the document;

    - if any such document was, but is no longer, in your possession,  custody or control or is no longer in existence, state whether it: (1) is missing or lost; (2) has been destroyed; or (3) has been transferred voluntarily or involuntarily, and if so, state the circumstances surrounding the authorization for each such disposition and the date of such disposition.

- “Identify”, “identifying” or identity” when used in reference to a communication should be read to include information regarding the date of the communication, whether the communication was written or oral, the identity of all parties and witnesses to the communication, the substance of what was said and/or transpired and, if written, the identity of the document(s) containing or referring to the communication.

## INSTRUCTIONS

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

  - the privilege asserted and its basis.

  - the nature of the information withheld;

  - the subject matter of the document, except to the extent that you claim it is privileged.

      - The answers provided should first restate the question asked and also provide the name of the Company employee(s) or agents responsible for compiling and providing the information contained in each answer.

      - These data requests are to be answered with reference to all information in your possession, custody or control or reasonably available to you.  These discovery requests are intended to include requests for information, which is physically within your possession, custody or control as well as in the possession, custody or control of your agents, attorneys, or other third parties from which such documents may be obtained.

      - If any data request cannot be responded to or answered in full, answer to the extent possible and specify the reasons for your inability to answer fully.

      - These data requests are continuing in nature and require supplemental responses should information unknown to you at the time you serve your responses to these interrogatories subsequently become known.

      - If you contend that any response to any data request may be withheld under the attorney-client privilege, the attorney work product doctrine or any other privilege or basis, please state the following with respect to each such response in order to explain the basis for the claim of privilege and to permit adjudication of the propriety of that claim:

- the privilege asserted and its basis.

- a log should be provided identifying starting and ending bates numbers.

- the nature of the information withheld;

- the subject matter of the document, except to the extent that you claim it is privileged.

- a description of the document to which the privilege applies.

PUBLIC DISCLOSURE

- Please refer to the Application for Certification, pg. 4, stating that the Robins and Moody BESS will “be constructed with the capability to grid-charge if constraints are not present on the transmission system.”

- Please describe the constraints that would prevent the BESS from charging from the grid.

- In the economic analysis of the Robins and Moody projects, including the Aurora modeling, did the Company assume the projects are capable of charging from the grid? Please provide a narrative description of the modeling treatment of this constraint.

- Please refer to the Application for Certification, Figures 4-15; please provide a narrative description of each column/row in each figure.

- The Application for Certification refers to a “Supply Chain RFP process” related to both the EPCs and BESAs. See, e.g. discussion of Robins major contracts on pg. 14.

- Was the Supply Chain RFP process the same process used for both the EPC and BESA?

- Please provide a narrative description of the Supply Chain RFP process, including steps, schedule, entities involved, etc.

- Provide documentation (reports, analyses, presentations, etc.) summarizing the process and results of the RFP.

- Please refer to the Application for Certification, pg. 14.  Provide the Long-Term Commitments Agreement for each of the proposed BESS projects.

- Regarding the McGrau Ford Phase II project.

- How does this expansion impact the design of Phase I?

- How is the Company allocating the common costs of the two projects between the Certification Applications for the two phases?

- How does Phase II impact the interconnection requirements for the combined project?

- Please refer to the Application for Certification, pg. 4.  Please provide augmentation schedules and narrative summaries to ensure all proposed BESS facilities maintain adequate energy capacity over the 20-year life of the resources. Who is responsible for augmentation cost (e.g. Battery vendor or Georgia Power)? What is the estimated cost for augmentation for each project?

- Please refer to the Application for Certification, pg. 2, stating that “these projects save time and avoid additional capital investment otherwise required to construct interconnection facilities and transmission system upgrades to charge and discharge the BESS.”  Please reconcile this statement with the transmission analysis results presented in Trade Secret Attachment F.

- Please refer to the Application for Certification, Figure 1 (pg. 4).

- Please explain why there are differences in the site round-trip efficiency (“RTE”) for the different projects.

- Please explain why the RTE values provided in TS Attachment B do not match the values provided in TS Attachment C.

- Please refer to Trade Secret Attachment A spreadsheet, ‘Energy Benefits tab.  Please provide the workpapers calculating each of these values, including the source data from Aurora output files used for the calculations. Workpapers should be provided in electronic spreadsheet format with formulas intact.

- Please refer to Trade Secret Attachment B.

- Please provide a description of each data column in the table.

- XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX XXXXXXXXXXXXXXXXXXXXXX

- XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX

- Please refer to Trade Secret Attachment C. Please explain why XXXXXXXXXXXXXXX XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX

- Please provide a detailed explanation regarding how contingency was calculated for each of the proposed BESS projects.

- How will Georgia Power maintain system output for each of the full 20-year terms?  Are replacement components anticipated in the final 5-10 years? What is the estimated cost of these components?

- Referring to the Application for Certification, pg. 2, how will the Company be able to “streamline the contracting and construction process”? What best engineering practices and lessons learned provide this assurance?

- Please refer to Trade Secret Attachment A spreadsheet “Cost Inputs” tab. Please explain the calculation for “Fixed O&M” for the year 2046 for each project.

- Please refer to Trade Secret Attachment A spreadsheet, “Summary” tab. Please explain how “WACC” was calculated. Identify capital structure components and their weights. Identify cost of equity and cost of debt. If these values are not consistent with capital structure and cost of equity approved by the Commission in the Company’s 2022 Rate Case order, provide an explanation for the difference.

BEFORE THE GEORGIA PUBLIC SERVICE COMMISSION

In the Matter of	)

)	Docket No. 55378

Georgia Power Company’s	)

2023 Integrated Resource Plan Update			)

)

# CERTIFICATE OF SERVICE

I hereby certify that the foregoing Staff’s Data Request STF-PIA-15 in the above-referenced docket was filed with the Commission's Executive Secretary, an electronic copy of same was served upon all parties and persons listed below via electronic mail, or unless otherwise indicated, as follows:

| Sallie Tanner Executive Secretary Georgia Public Service Comm. 244 Washington Street, SW Atlanta, GA 30334 stanner@psc.state.ga.us | Jeremiah Haswell Director, Regulatory Affairs Georgia Power Company Bin 10230 241 Ralph McGill Boulevard, NE Atlanta, GA 30308-3374 JHASWELL@southernco.com | Brandon Marzo Troutman Pepper Hamilton Sanders LLP 600 Peachtree Street NE, Suite 3000 Atlanta, GA 30308-2216 brandon.marzo@troutmansanders.com |
| --- | --- | --- |
| Preston Thomas, Staff Attorney Georgia Public Service Commission 244 Washington Street, SW Atlanta, GA 30334 pthomas@psc.state.ga.us | Mr. G. L. Bowen, III Charles B. Jones, III Georgia Association of Manufacturers The Hurt Building 50 Hurt Plaza, Suite 985 Atlanta, Georgia 30303 rbowen@gamfg.org cjones@gamfg.org | Jeffry C. Pollock J. Pollock Incorporated 14323 South Outer 40 Road, Suite 206N Town and Country, Missouri 63017-5734 jcp@jpollockinc.com |
| Scott F. Dunbar Partner, Keyes & Fox LLP 1580 Lincoln Street, Suite 1105 Denver, CO 80203 sdunbar@keyesfox.com | Alicia Zaloga Assistant, Keyes & Fox LLP 1155 Kildaire Farm Road Suite 202-203 Cary, NC 27511 azaloga@keyesfox.com | Whit Cox Southern Renewable Energy Association 337 Druid Oaks Northeast Atlanta, GA 30329 whit@southernrenewable.org |
| Jennifer Whitfield Bob Sherrier Southern Environmental Law Center Ten 10th Street NW, Suite 1050 Atlanta, GA 30309 jwhitfield@selcga.org bsherrier@selcga.org | Kimberly (“Kasey”) A. Sturm Weissman PC One Alliance Center, Fourth Floor 3500 Lenox Road Atlanta, GA 30326 kaseys@wessman.law | Peter J. Andrews Metropolitan Atlanta Rapid Transit Authority 2424 Piedmont Road, NE Atlanta, GA 30324 pandrewa@itsmarta.com |
| Curt Thompson, Esq. Thompson & Associates Law Firm, PC 3775 Venture Drive, D100 Duluth, GA 30096 curtbthompson@bellsouth.net | Isabella Aria, Esq. Sierra Club 50 F Street NW, 8th Floor Washington, DC 20001 Isabella.ariza@sierraclub.org | Dorothy E. Jaffe, Esq. Sierra Club 50 F Street, 8th Floor Washington, D.C. 20001 dori.jaffe@sierraclub.org |
| Zachary M. Fabish, Esq. Sierra Club 50 F Street NW, 8th Floor Washington, D.C. 20001 zack.fabish@sierraclub.org | William Bradley Carver Sr. Esq. Hall Booth Smith, P.C. 191 Peachtree Street, NE Suite 2900 Atlanta, GA 30303 bcarver@hallboothsmith.com | Simon Mahan Southern Renewable Energy Association 11610 Pleasant Ridge Road Suite 103 #176 Little Rock, AR 72223 simon@southernwind.org |
| Stephanie U. Eaton Carrie H. Grundmann Spilman Thomas & Battle, PLLC 110 Oakwood Drive, Suite 500 Winston-Salem, NC 27103 seaton@spilmanlaw.com cgrundmann@spilmanlaw.com | Steven W. Lee Spilman Thomas & Battle, PLLC 1100 Bent Creek Blvd., Suite 101 Mechanicsburg, PA 17050 slee@spilmanlaw.com | Liz Coyle Georgia Watch 55 Marietta Street, Suite 903 Atlanta, GA 30303 lcoyle@georgiawatch.org |
| Peter Hubbard Georgia Center for Energy Solutions 55 Leslie Street, SE Atlanta, GA 30317 peter@georgia-ces.org | Chandra Farley City of Atlanta, Mayor’s Office of Sustainability & Resilience 55 Trinity Avenue Atlanta, GA 30303 cfarley@atlanta.gov | John R. Seydel City of Atlanta, Mayor’s Office of Sustainability & Resilience 55 Trinty Avenue Atlanta, GA 30303 Jrseydel@atlantaga.gov |
| Alicia Brown City of Savannah, Office of Sustainability 801 E. Gwinnett Street Savannah, GA 31401 alicia.brown@savannahga.gov | David Nifong City of Decatur, City Manager’s Office 2635 Talley Street Decatur, GA 30030 david.nifong@decaturga.com | Mike Wharton Athens-Clarke County Unified Government, Sustainability Office 110 Bray Street Athens, GA 30601 Mike.Wharton@accgov.com |
| H. Gordon Kenna DeKalb County Government, Department of Public Works 1300 Commerce Drive Decatur, GA 30030 hgkenna@dekalbcountyga.gov | Kathy Reed DeKalb County Government, Department of Planning & Sustainability 178 Sams Street Decatur, GA 30030 kdreed@dekalbcountyga.gov | John Joseph McNutt Regulatory Law Counsel U.S. Army Legal Services agency Office of The Judge Advocate General Environmental Lae Division 9275 Gunston Road, Suite 4300 Fort Belvoir, VA 22060-5546 john.j.mcnutt.civ@army.mil |
| Jim Clarkson Resource Supply Management 135 Emerald Lake Road Columbia, SC 29209 jclarkson@rsmenergy.com | Robert B. Baker Robert B. Baker 2480 Briarcliff Road, NE, Suite 6 Atlanta, GA 30329 bobby@robertbbaker.com | Donald Moreland Georgia Solar Energy Association 1199 Euclid Avenue Atlanta, GA 30307 don@solarcrowdsource.com |
| Kimberly Scott Georgia WAND Education Fund Inc 250 Georgia Avenue, SE Suite 202 Atlanta, GA 30312 kim@georgiawand.org info@georgiawand.org | Newton M. Galloway Terri M. Lyndall Galloway & Lyndall, LLP The Lewis Mills House 406 North Hill Street Griffin, GA 30223 ngalloway@gallyn-law.com tlyndall@gallyn-law.com | Kimberly B. Frank K&L Gates LLP 1601 K Street, N.W. Washington, DC 20006 kimberly.frank@klgates.com |
| Tyler Mauldin Microsoft Corporation 200 17th Street, NW Atlanta, GA 30363 tylermauldin@microsoft.com |  |  |

So certified, this 28th day of August 2024.

__________________________________

Jamie Barber

EERE Director

EERE Unit