STF-PIA-15-1

Question:

Please refer to the Application for Certification, pg. 4, stating that the Robins and Moody BESS will “be constructed with the capability to grid-charge if constraints are not present on the transmission system.”

- Please describe the constraints that would prevent the BESS from charging from the grid.

- In the economic analysis of the Robins and Moody projects, including the Aurora modeling, did the Company assume the projects are capable of charging from the grid? Please provide a narrative description of the modeling treatment of this constraint.

Response:

- Please see the Company’s response to STF-DEA-9-5. Until firm transmission delivery service has been studied for the Robins and Moody BESS, grid-charging constraints related to congestion or stability issues on the bulk power system are unknown. The Company will investigate firm transmission deliverability service for charging in the future to expand the operational flexibility of the resources.

- The Robins and Moody BESS projects will be primarily charged by the existing solar resources at each site. In the Aurora simulations, the Company limited charging to the adjacent solar facility. During real-time operations, the Company will grid-charge when transmission is available and it makes economic sense.  Given that firm transmission delivery for charging is currently unknown, this modeling approach is a reasonable approximation of energy benefits.