STF-PIA-15-13

Question:

How will Georgia Power maintain system output for each of the full 20-year terms?  Are replacement components anticipated in the final 5-10 years? What is the estimated cost of these components?

Response:

Please see the Company’s response to STF-PIA-15-6 for details related to maintaining system output and estimated costs. As shown in the BESS augmentation schedules referenced in STF-PIA-15-6, the Company does anticipate replacement components in the final 5 – 10 years of operation.