STF-PIA-15-15

Question:

Please refer to Trade Secret Attachment A spreadsheet “Cost Inputs” tab. Please explain the calculation for “Fixed O&M” for the year 2046 for each project.

Response:

The Company escalates fixed O&M across the life of these projects. Additionally, in the final year of each project, the company adds an estimate of the cost of removal and remediation for each project site including this expense under the Fixed O&M line item. This is consistent with the approach used for the resources submitted for the 2023 IRP Update.  Please see the workpapers “TS SAM ('23) - 7.0.1 Hammond BESS Certification Final.xlsm,”  “TS SAM ('23) - 7.0.1 MF2 BESS Certification Final.xlsm,” “TS SAM ('23) - 7.0.1 Moody BESS Certification Final.xlsm,” and “TS SAM ('23) - 7.0.1 Robins BESS Certification Final.xlsm” provided concurrently with the Certification Application on August 16, 2024, for more information on the costs that produce this input value.