STF-PIA-15-5

Question:

Regarding the McGrau Ford Phase II project.

- How does this expansion impact the design of Phase I?

- How is the Company allocating the common costs of the two projects between the Certification Applications for the two phases?

- How does Phase II impact the interconnection requirements for the combined project?

Response:

- Adding the McGrau Ford Phase II project to the same site as the McGrau Ford Phase I project did not impact the design of Phase I.

- Common costs, such as the O&M building, water line, and land, are included within the McGrau Ford Phase I cost estimates. McGrau Ford Phase II covers any incremental costs associated with common facilities beyond what was originally planned for McGrau Phase I, such as the project level substation expansion.

- McGrau Ford Phase I and Phase II will utilize the same Point of Interconnection (“POI”) and generation tie-line to the McGrau Ford Battery project level substation. McGrau Ford Phase II will be an incremental addition to the McGrau Ford Phase I project and will utilize the same interconnection.