STF-PIA-15-6

Question:

Please refer to the Application for Certification, pg. 4.  Please provide augmentation schedules and narrative summaries to ensure all proposed BESS facilities maintain adequate energy capacity over the 20-year life of the resources. Who is responsible for augmentation cost (e.g. Battery vendor or Georgia Power)? What is the estimated cost for augmentation for each project?

Response:

The BESS Certification Application included the requested augmentation schedules and cost estimates. Please see the Application in column 8- “Estimated Annual Capital Additions” of Figure 4 - Robins BESS Estimated Annual Costs on page 10, Figure 7- Moody BESS Estimated Annual Costs on page 18, Figure 10 – Hammond BESS Estimated Annual Costs on page 26, and Figure 13 – McGrau Ford Phase II BESS Estimated Annual Costs on page 34.

Regarding energy capacity over time, please see Attachment A through Attachment D provided in the Company’s response to STF-PIA-15-4. These Long-Term Commitments Agreements (“LTCA”) with Tesla performance guarantee.  Under the LTCAs, Tesla has provided a guaranteed energy retention curve. The LTCA includes remedies if the energy capacity fades below performance guarantees. In addition, the Company plans to augment sites to mitigate impacts from normal degradation over the lifetime of the assets. The Company is responsible for these regular augmentations and associated costs over the 20-year life of the asset.