STF-PIA-15-7

Question:

Please refer to the Application for Certification, pg. 2, stating that “these projects save time and avoid additional capital investment otherwise required to construct interconnection facilities and transmission system upgrades to charge and discharge the BESS.”  Please reconcile this statement with the transmission analysis results presented in Trade Secret Attachment F.

Response:

The Company brought forth a 500 MW portfolio of BESS projects that required minimal network upgrades in years later than the commercial operation date and for only one BESS project, as discussed in Attachment F. Using existing transmission infrastructure, such as generator step-up (“GSU”) transformers, tie-lines and interconnection substations, will allow the Company to cost-effectively bring this portfolio of BESS projects online to meet capacity needs for the Winter of 2026/2027.